## 01
ESTIMATE FOR CONSTRUCTION OF TOMB AND DARGAH SHAHEED BADSHAH TALUKA KHAIRPUR (ADDITIONAL WORK ADP NO:379) (ELECTRIFICAITON)
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 20 | Nos | 1130 | p.point | 22600
2 | Providng and Laying (Main or Sub Main) Pvc insulated with size 2-7/.029 copper conductor in 3/4" Dia Pvc conduit ressassed on walls are columns as required (S.I.No:10 P.No:2) | 100 | Mtr | 222 | p.mtr | 22200
3 | Providng and Laying (Main or Sub Main) Pvc insulated with size 2-7/.044 copper conductor in 3/4" Dia Pvc conduit ressassed on walls are columns as required (S.I.No:12 P.No:2) | 150 | Mtr | 341 | p.mtr | 51150
4 | Providng and Laying (Main or Sub Main) Pvc insulated with size 2-7/.064 copper conductor 300/500 Volts (S.I.No:56 P.No:) | 64 | Mtr | 524 | p.mtr | 33536
5 | Providing and circuit breaker 06,10,15,20,30,40,50 and 73amps SP (TP-5s) on an prepared board as required )S. I. 203 P.NO:31) | 4 | Nos | 916 | p.no | 3664
6 | Providing and circuit breaker 06,10,15,20,30,40and 63amps DP (TP-58) on an prepared board as required )S. I. 204 P.NO:31) | 2 | Nos | 2456 | p.no | 4912
7 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps SP (TP-5s) on an prepared board as required )S. I. 207 P.NO:31) | 1 | Nos | 9261 | p.no | 9261
8 | Providing and fixing AC one way SP 5 amps switch flush type (S.I.NO 219 P.NO:33) | 20 | Nos | 56/10 | p.no | 1080
9 | Providing and fixing brass button holder (S.I NO:232 P.NO:33) | 20 | Nos | 70 | p.no | 1400
10 | Providing and fixing brass fan 18" sweep Good quality (S.I NO:236 P.NO:364) | 4 | Nos | 2791 | p.no | 11164
|  | Part "A" Total Amount |  |  |  | 160967
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 20 | Nos | 497 | each | 9940
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 4 | Sft | 1426 | p.sft | 5704
3 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 2 | Nos | 3610 | each | 7220
|  |  | Part "B" Total Amount |  |  | 22864
Part "C" Non Shedule Items
1 | P/F Schandrial of seven arms complete with brass lamps holder and energy sever i/c handing with crystal badams tables and full length of jhallar of jharr etc complete aproved by office incharge | 1 | Nos | 12000 | each | 12000
2 | P/F MS tublar pole 20 ft long with complete socket and duly welded and mild steel of 18"x18" 3/4. etc complete (R.A Pass by chief enginner building hyderabad) | 3 | Nos | 19894 | each | 59682
3 | P/F street light HRC-II complete with chock and 85 watts energy sever etc complete (R.A pass by chief engineer) | 3 | Nos | 9900 | each | 29700
4 | C.C foundation 20ft long tublar pole ratio 1.2.4 (R.A pass by chief engineer) | 3 | Nos | 4000 | each | 12000
5 | S/F anchor bolts fixing in c.c foundation of pole | 12 | Nos | 200 | each | 2400
6 | Colouring of Pole with paint of silver paint two coats | 3 | Nos | 800 | each | 2400
|  |  | Part "C" Total Amount |  |  | 118182
A B S T R A C T
1) Part "A" Total Rs: |  | 160967
2) Part "B" Total Rs: |  | 22864
| 3) Part "C" Total Rs: | 118182
| Grant Total Amount | 302013
| Say Amount | 300000
| SUB: ENGINEER | ASSISTANT ENGINEER
BUILDING (ELECTRIC) SUB:DIVISION
KHAIRPUR

## 01 (2)
CONSTRUCTION OF DARGAH SYED AKBAR SHAH AT ACHI KHOHI TALUKA KHAIRPUR (ELECTRICFICATION)
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 20 | Nos | 1130 | p.point | 22600
2 | wiring for plug point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit recessed in the walls or columns as required (S.I.NO:126 P.NO:15). | #REF! | Nos | 985 | p.point | #REF!
3 | Providing and fixing curcuit breaker 6,10,15,20,30,40,50, and 63 amps a.p (TB-5a). | 150 | Nos | 916 | p.no | 137400
4 | Providing and circuit breaker 6,10,15,20,30,40, and 63amps DP (TB-5a) on an prepared board as required )S. I. 204 P.NO:31) | 64 | Nos | 2456 | p.no | 157184
5 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps DP (TB-5a) on an prepared board as required )S. I. 207 P.NO:31) | 4 | Nos | 9261 | p.no | 37044
6 | Providing and fixing on-e way s.p 5amps switch flush type (S.I. NO:219 P.NO:33) | 2 | Nos | 54 | p.no | 108
7 | Providing and fixing two pin 5amps plug and socket flush type (S.I. NO:225 P.NO:33) | 1 | Nos | 83 | p.no | 83
8 | Providing and fixing three pin 15amps 10 amps plug socket flush type (S.I.NO 227 P.NO:33) | 20 | Nos | 162 | p.no | 3240
9 | Providing and fixing bakelite ceiling Rose with two terminals (S.I NO:228 P.NO:33) | 20 | Nos | 72 | p.no | 1440
10 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/029 copper conduter in 3/4 pvc conduit recessed in the walls or columns as required (S.I NO:10 P.NO:2) | 4 | Mtr | 222 | p.mtr | 888
11 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/044 (6mm2) copper conduter in 3/4 dia pvc conduit recessed in the walls or columns as required (S.I NO:12 P.NO:2) | #REF! | Mtr | 341 | p.mtr | #REF!
12 | Providing and laying (Main or Sub Main ) Pvc insulated pvc sheeted with single core copper conductor 300/500 volte size 2-7/064 P.NO:57 P.NO:7 | #REF! | Mtr | 524 | p.mtr | #REF!
13 | Providing and fixing celling fan 56"sweep (Good Quilty) (S.I NO:235 P.NO:54) | #REF! | Nos | 3185 | p.no | #REF!
14 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | #REF! | Nos | 70 | p.no | #REF!
15 | Providing and laying (Main or Sub Main ) Pvc insulated with size 2-7/036 copper conductorin 3/4 dia pvc conduit recessed in the wall or Columns as required (S.I NO:11 P.NO:02) | #REF! | Mtr | 252 | p.mtr | #REF!
16 | Providing and fixing Junction box as per following specification size of box 8'x6"x4 Ms plate 16swg thick clamp screw painting two ceats of rust preventive red eride and two coasts of IGI oil paint as per site requirement and instruciton of EI (S.I NO:158 P.NO:24) | #REF! | Nos | 800 | p.no | #REF! | #REF!
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 20 | Nos | 497 | each | 9940
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 4 | Sft | 1426.33 | p.sft | 5705.32
3 | S/F of A.C ceilling fan regulator on metal board recessed in the walls or columns and covered with plastic sheet (S.I NO:(A)3 P.NO:14) | #REF! | Nos | 124.3 | each | #REF!
4 | P/F wall braket light fancy type suprior quality i/c necessary electric connection and fixing on walls or ceiling etc complete (S.I NO:10 P.NO:33) | #REF! | Nos | 497 | each | #REF!
5 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 2 | Nos | 3610 | each | 7220
(NOTE) | [6 empty] | #REF!
Quotation and Rate may be changed as per / according technical sanctioned by competent Authorities.
A B S T R A C T
1) Part "A" Total Rs: |  | #REF!
1) Part "B" Total Rs: |  | #REF!
| Grant Total | #REF!
| Say Rs: | 302013
EXECUTIVE ENGINEER
BUILDING DIVISION
KHAIRPUR
Part "A" Total Amount 260534
Part "B" Total Amount 18920
Part "A" Total Amount 131414

## Sheet2
F A C E S H E E T
FUND HEAD:-
MAJOR HEAD:-
MINOR HEAD:- |  | ESTIMATE FOR CONSTRUCTION OF TOMB AND DARGAH SHAHEED BADSHAH TALUKA KHAIRPUR (ADDITIONAL WORK ADP NO:379) (ELECTRIFICAITON)
SERVICE HEAD:-
DEPTT:HEAD:-
This estimate has been framed in the office of the Executive Engineer
Building Division Khairpur for the Expenditure that wil be incurred on the above subjected work.
|  |  |  | AMOUNT TO RS: | 300000
…………………………………