## 01
ESTIMATE FOR CONSTRUCTION FOR PUBLIC PARK SYED ABDUL QADIR SHAH JEELANI AT UC OFFICE RANIPUR TALUKA SOBODERO (ELECTRICFICATION)
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 25 | Nos | 910 | p.point | 22750
2 | wiring for plug point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit recreased in the walls or columns as required (S.I.NO:126 P.NO:15). | 6 | Nos | 742 | p.point | 4452
3 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/029 copper conduter in 3/4 pvc conduit recreased in the walls or columns as required (S.I NO:10 P.NO:2) | 100 | Mtr | 171 | p.mtr | 17100
4 | Providing and laying (Main or Sub Main ) Pvc insulated with size 2-7/036 copper conductorin 3/4 dia pvc conduit recreased in the wall or Columns as required (S.I NO:11 P.NO:02) | 50 | Mtr | 200 | p.mtr | 10000
5 | Providing and laying (Main or Sub Main ) Pvc insulated with size 2-7/.052 copper conductorin 3/4 dia pvc conduit recreased in the wall or Columns as required (S.I NO:13 P.NO:02) | 126 | Mtr | 335 | p.mtr | 42210
6 | Providing and circuit breaker 6,10,15,20,30,40, and 63amps DP (TB-5a) on an prepared board as required )S. I. 204 P.NO:31) | 1 | Nos | 916 | p.no | 916
7 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps DP (TB-5a) on an prepared board as required )S. I. 207 P.NO:31) | 1 | Nos | 5301 | p.no | 5301
8 | Providing and fixing two pin 5amps plug and socket flush type (S.I. NO:225 P.NO:33) | 6 | Nos | 83 | p.no | 498
9 | Providing and fixing three pin 25amps 10 amps plug socket flush type (S.I.NO 227 P.NO:33) | 2 | Nos | 162 | p.no | 324
10 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | 25 | Nos | 70 | p.no | 1750
11 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | 25 | Nos | 70 | p.no | 1750
12 | Providing & Fixing circuit breaker 60amps TP (S.I.No:5 P.No:20) | 1 | Nos | 6157 | p.no | 6157
13 | Providing & Fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepared board as required. (S.I.No: 207 P.No:31) | 1 | Nos | 9138 | p.no | 9138
|  | Part "A" Total Amount |  |  |  | 122346
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 32 | Nos | 497 | each | 15904
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 3 | Sft | 1426.33 | p.sft | 4278.99
3 | P/F wall braket light fancy type suprior quality i/c necessary electric connection and fixing on walls or ceiling etc complete (S.I NO:5 P.NO:33) | 6 | Nos | 497 | each | 2982
4 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 5 | Nos | 3610 | each | 18050
|  | Part "B" Total Amount |  |  |  | 41214.99
Part "C" Non Shedule Items 2004
1 | P/F Ms tublar pole of 20`long with 10`x5`"x4`x3` complete with socket duly walded and mild steel of 18"x18" 3/4" duly welded with overlab etc complete.(R.A. Pass by Chief Engineer Hyd) | 1 | Nos | 19894 | each | 19894
2 | P/F street light HRC-II complete with chock and 85watts energy saver etc complete.(R.A. Pass by Chief Engineer Hyd) | 1 | Nos | 9900 | each | 9900
3 | C.C foundation of 20`long tublar pole ratio 1:2:4.(R.A. Pass by Chief Engineer Hyd) | 1 | Nos | 4000 | each | 4000
4 | S/F anchor bolts fixing in c.c foundation for tublar pole. (R.A. Pass by Chief Engineer Hyd) | 44 | Nos | 200 | each | 8800
5 | Colouring of pole with paint silver two coats.(R.A. Pass by Chief Engineer Hyd) | 11 | Nos | 800 | each | 8800
6 | S/F lawn light pole 15"x15"x4` 10 long 5`x3"x5`x2" complete with socket duly welded with overlab etc complete. (R.A. Pass by Chief Engineer Hyd) | 10 | Nos | 4290 | each | 42900
7 | S/F fancy light in round shap and energy saver 45watts etc complete | 10 | Nos | 4268 | each | 42680
|  | Part "C" Total Amount |  |  |  | 136974
A B S T R A C T
1) Part "A" Total Rs: |  | 122346
1) Part "B" Total Rs: |  | 41214.99
1) Part "C" Total Rs: |  | 136974
| Grant Total | 300534.99
| Say Rs: | 300000
| SUB: ENGINEER | ASSISTANT ENGINEER
BUILDING (ELECTRIC) SUB:DIVISION
KHAIRPUR

## 01 (2)
CONSTRUCTION FOR PUBLIC PARK SYED ABDUL QADIR SHAH JEELANI AT UC OFFICE RANIPUR TALUKA SOBODERO (ELECTRICFICATION)
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 25 | Nos | 910 | p.point | 22750
2 | wiring for plug point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit recreased in the walls or columns as required (S.I.NO:126 P.NO:15). | 6 | Nos | 742 | p.point | 4452
3 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/029 copper conduter in 3/4 pvc conduit recreased in the walls or columns as required (S.I NO:10 P.NO:2) | 100 | Mtr | 171 | p.mtr | 17100
4 | Providing and laying (Main or Sub Main ) Pvc insulated with size 2-7/036 copper conductorin 3/4 dia pvc conduit recreased in the wall or Columns as required (S.I NO:11 P.NO:02) | 50 | Mtr | 200 | p.mtr | 10000
5 | Providing and laying (Main or Sub Main ) Pvc insulated with size 2-7/.052 copper conductorin 3/4 dia pvc conduit recreased in the wall or Columns as required (S.I NO:13 P.NO:02) | 126 | Mtr | 335 | p.mtr | 42210
6 | Providing and circuit breaker 6,10,15,20,30,40, and 63amps DP (TB-5a) on an prepared board as required )S. I. 204 P.NO:31) | 1 | Nos | 916 | p.no | 916
7 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps DP (TB-5a) on an prepared board as required )S. I. 207 P.NO:31) | 1 | Nos | 5301 | p.no | 5301
8 | Providing and fixing two pin 5amps plug and socket flush type (S.I. NO:225 P.NO:33) | 6 | Nos | 83 | p.no | 498
9 | Providing and fixing three pin 25amps 10 amps plug socket flush type (S.I.NO 227 P.NO:33) | 2 | Nos | 162 | p.no | 324
10 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | 25 | Nos | 70 | p.no | 1750
11 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | 25 | Nos | 70 | p.no | 1750
12 | Providing & Fixing circuit breaker 60amps TP (S.I.No:5 P.No:20) | 1 | Nos | 6157 | p.no | 6157
13 | Providing & Fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepared board as required. (S.I.No: 207 P.No:31) | 1 | Nos | 9138 | p.no | 9138
|  | Part "A" Total Amount |  |  |  | 122346
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 32 | Nos | 497 | each | 15904 | 260596
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 3 | Sft | 1426.33 | p.sft | 4278.99
3 | P/F wall braket light fancy type suprior quality i/c necessary electric connection and fixing on walls or ceiling etc complete (S.I NO:5 P.NO:33) | 6 | Nos | 497 | each | 2982
4 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 5 | Nos | 3610 | each | 18050
|  | Part "B" Total Amount |  |  |  | 41214.99
Part "C" Non Shedule Items 2004
1 | P/F Ms tublar pole of 20`long with 10`x5`"x4`x3` complete with socket duly walded and mild steel of 18"x18" 3/4" duly welded with overlab etc complete.(R.A. Pass by Chief Engineer Hyd) | 1 | Nos | 19894 | each | 19894
2 | P/F street light HRC-II complete with chock and 85watts energy saver etc complete.(R.A. Pass by Chief Engineer Hyd) | 1 | Nos | 9900 | each | 9900
3 | C.C foundation of 20`long tublar pole ratio 1:2:4.(R.A. Pass by Chief Engineer Hyd) | 1 | Nos | 4000 | each | 4000
4 | S/F anchor bolts fixing in c.c foundation for tublar pole. (R.A. Pass by Chief Engineer Hyd) | 44 | Nos | 200 | each | 8800
5 | Colouring of pole with paint silver two coats.(R.A. Pass by Chief Engineer Hyd) | 11 | Nos | 800 | each | 8800
6 | S/F lawn light pole 15"x15"x4` 10 long 5`x3"x5`x2" complete with socket duly welded with overlab etc complete. (R.A. Pass by Chief Engineer Hyd) | 10 | Nos | 4290 | each | 42900
7 | S/F fancy light in round shap and energy saver 45watts etc complete | 10 | Nos | 4268 | each | 42680
|  | Part "C" Total Amount |  |  |  | 136974
(NOTE)
Quotation and Rate may be changed as per / according technical sanctioned by competent Authorities.
A B S T R A C T
1) Part "A" Total Rs: |  | 122346
1) Part "B" Total Rs: |  | 41214.99
1) Part "C" Total Rs: |  | 136974
| Grant Total | 300534.99
| Say Rs: | 300000
EXECUTIVE ENGINEER
BUILDING DIVISION
KHAIRPUR

## Sheet2
F A C E S H E E T
FUND HEAD:-
MAJOR HEAD:-
MINOR HEAD:- |  | ESTIMATE FOR CONSTRUCTION FOR PUBLIC PARK SYED ABDUL QADIR SHAH JEELANI AT UC OFFICE RANIPUR TALUKA SOBODERO (ELECTRICFICATION)
SERVICE HEAD:-
DEPTT:HEAD:-
This estimate has been framed in the office of the Executive Engineer
Building Division Khairpur for the Expenditure that wil be incurred on the above subjected work.
|  |  |  | AMOUNT TO RS: | 300000
…………………………………