NAME OF WORK:-	CONSTRUCTION   OF COMPOUND WALL FOR GRAVE YARD @ FAKIR NIDAM GOPANG  TALUKA FAIZ GUNJ DISTRICT KHAIRPUR.

(SCHEDULE -B)

| Sr | Item of work |  | QTY | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |

1/- 	Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.5)

Qty: 3672 Cft	@RS:3176.25		% Cft	RS:11663/-

Thirty one hundred seventy six rups:twenty five ps:

02/-       	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (b) P.No.14)

Qty: 911 Cft	@RS: 8694.95		% Cft	RS:6182/-

(Eight six hundreds ninty four rupees,ninty five ps:)

03/-	Pacca Brick work in foundation / Plint  in cement

cement  & sand  mortar  ratio (1:6)(S.I No:05 (c)P.No:20)

Qty: 1017 Cft	@RS: 11948.36  	% Cft	RS:121515/-

(Eleven thousands nine hundered fourty eight rs: thirty six ps.)

04/-	Coursed Rubble Masnory 1:6 including hammer dressing (S.I No: 2 d P.26).

Qty: 815 Cft	@RS: 25321/-		% Cft	RS: 206366/-

(twenty five thousands three hundreds te=wenty one rups:)

5/-	R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) .(S,I No:06 P-19).

Qty:  1082cft	@RS: 337/-		P.Cft	RS: 364634/-

(Three hudred thirt seven ps.)

6/-	Fabrication of mild steel reinforcement for 	cement Concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a)  P.No.20)

Qty: 48.303cwt  @RS:5001.70	P.cwt	RS:15405/-

(Five thousands & one ripes, seventy ps:)

7/-	Pacca  Brick  work in Ground Floor   in cement sand mortarRatio (1:6) (S.I No:5 P-25).

Qty: 3291 Cft	@RS: 12674.65	 % Cft	RS: 406328/-

(Tweleve thousands six hundred seventy four rupees, sixty five ps.)

| Sr | Item of work |  | QTY | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |

08/-	Supplying Sand under floor plugging into wall (S.I NO: 29 P.NO: 26)

Qty: 25000 cft		@RS: 1141.25		% Cft	RS: 285312/-

(Eleven hundred fourty one rupees, twenty five ps.)

09/-	Cement Plaster 1:6 up to 20’-0 height ½” thick. (S.I NO: 13(b)    P: NO:52   )

Qty: 4331 Sft		@RS: 2206.60		% Sft	RS: 95568/-

(Twenty two hundreds six rupees, sixty ps.)

10/-	Cement Plaster 1:4 up to 20”-0 heights 3/8” thick. . ( S.I NO: 11(a) P:NO:52   )

Qty: 4331 Sft		@RS: 2197.52		% Sft	RS: 95175/-

(Twenty one hundred ninty seven rupees, fifty two ps.)

11/-	Cement Pointing struck joints on wall raio 1:6 (P.NO: 19 P-59).

Qty: 4331 sft		@RS: 1287.44		% Sft	RS: 55759/-

12/-	Making & Fixing  Steel grated door with 1/16” thick sheeting  including angle iron frame 2”x2”x3/” and square bars 4” center to center with locking arrangement .(S.I NO:24)P.NO:92

Qty: 35 sft	@RS: 726.72		P.Sft	RS: 25435/-

(seven hundred twenty six rupes, seventy two ps.)

13/-	Providing & Laying HALA or pattern tiles glazed 6”x6”x1/4” on floor or wall facing in required color & pattern od STILE specification jointed in white cement & pigment over a base of 1:2 grey cement mortar ¾” thick including washing & filling or joints with slurry of  white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc. complete including cutting tiles to proper profile (S.I No:61 P.NO:480)

Qty: 160 Sft	@RS: 47651.56	% Sft	RS: 55232/-

14/-	Painting guard bars gets iron bars grating , railing including standard braces (etc) and similar open work. (S.I NO:4(d)P.NO:69).

Qty: 70 Sft	@RS: 896.39		% Sft	RS: 627/-

(Six hundreds seventy four rupees sixty one ps:)

30/-	Colour washing two 02 coats etc

Qty: 8662 Sft	@RS: 859.90		% Sft	RS:74485/-

(Eight hundred fifty nine rupees, ninty ps.)

==================================

Total						RS: 2100917/-

______% Above / Below (Amount to be added as per/deducted)RS:___________

G.Total					RS:

Total Amount in word:________________________________________________

__________________________________________________________________

Note:- 	Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE  ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT  KHAIRPUR