## 01
REHABILITATION OF DISTRICT COUNCIL MEDICAL DISPENSARY AT ARBAB ALI CHANNA
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:(B) 6 P.NO:1) | 35 | Nos | 469/49 | Each | 16432
2 | wiring for plug point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit recreased in the walls or columns as required (S.I.NO:(B) 10 P.NO:02). | 4 | Nos | 244/41 | Each | 978
3 | Wiring for main 2-1/1.78(3/.029) PVC insulated wire in 20 mm PVC conduit recessed in the walls are columns as required (S.I.No: (B) 10 P.No: 02) | 275 | Rft | 25/67 | P.Rft | 7059
4 | Wiring for main (7/.044) PVC insulated wire in 25 mm (1") PVC conduit (S.I.No:20 P.No: 05) | 200 | Rft | 32/73 | P.Rft | 6546
5 | P/F Ac one way SP 5 amps suitch plug type on metal board recessed in the walls are columns and covered with fiber Sheet (S.I.No: (A) 5 P.No:10) | 35 | Nos | 56/10 | Each | 1964
6 | Providing and fixing 5 amps SP Plug socket switch and shoe unit on metal board recessed or columns and covered with plastic sheet (S.I.No: (B) 22 P.No:11) | 4 | Nos | 186/67 | Each | 746
7 | Providing and fixing Ac or Dc Electric bell 220 / 250 Volts 70 mm (S.I.No:21 P.No:11) | 2 | Nos | 150/70 | Each | 301
8 | Providing and fixing Bc bakelite angel type button holder (S.I.No: (A) 1 P.No:14 | 8 | Nos | 53/59 | Each | 439
9 | Providing and fixing Errection of ceiling fan i/e wiring of down with 1/1. 13 mm (3/.029) PVC wire Fixing of regulator etc required (S.I.No:1 P.No: 14) | 4 | Nos | 82/16 | Each | 329
10 | Providing and Fiixing pannel board doubble shatter to accommodate heavy duty circuit braker bus bar i/e painting with enemelled paint for other Simillar jobs on surface (S.I.No:8 P.No:13) | 1 | Sft | 1426/33 | P.Sft | 1426
11 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 1 | sft | 3610/04 | Each | 3610
12 | Providing and Fixing S.W.Block and bakelite ceiling rose on S.W.Block (S.I.No:(D) 3 P.No:14) | 14 | Nos | 44 | Each | 616
13 | S/F 1-40 watts tubelight complete with 40 watts 4" -0 long chock, starter and patti and philips complete i/c nessesary electric connection and fixing on wall or ceiling etc complelte (S.I.No:1 P.No: 33) | 6 | Nos | 396 | Each | 2376
14 | Providing and fixing Wall bracket fancy type superior quality i/c nessasry electric connection and fixing on wall or ceiling complete | 8 | Nos | 497 | Each | 3976
15 | Providing and fixing Energy sever superior quality (S.I.No: 5 P.No:33 | 15 | Nos | 497 | Each | 7455 | 54253
16 | Providing and fixing circuit braker 60 amps to 63 amps DP i/c fixing on wall perpared board and nessesary connection (S.I.No:1 P.No: 20) | 4 | Nos | 442/02 | Each | 1748
17 | Providing and fixing circuit braker 30 amps to 50 amps Tripple Pole i/c fixing on wall perpared board and nessesary connection (S.I.No:4 P.No: 20) | 1 | Nos | 3837/63 | Each | 3838
|  |  |  | Part "A" Total |  | 60225
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
Part "B" Non Shedule Items
1 | S/F Ac ceiling fan 56" sweep (Pak,falken Delux) etc complete | 2 | Nos |  | each
|  |  | Part "B" Total |  |  |  | 0
A B S T R A C T
1) Part "A" Total Rs: |  | 60225
2) Part "B" Total Rs:
EXECUTIVE ENGINEER
BUILDINGS DIVISION
KHAIRPUR

## 01 (2)
ESTIMATE FOR REHABILITATION OF DISTRICT COUNCIL MEDICAL DISPENSARY AT ARBAB ALI CHANNA
S.NO | NAME OF ITMES | QTY |  | RATE | UNIT | AMOUNT
PART "A" Shedule Items 2012.
1 | wiring for light or fan light point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit receased in the walls or columns as required (S.I.NO:124 P.NO:15) | 65 | Nos | 1130 | p.point | 73450
2 | wiring for plug point with 3/029 pvc insulated wire in 20mm (3/4) pvc conduit recreased in the walls or columns as required (S.I.NO:126 P.NO:15). | 10 | Nos | 985 | p.point | 9850
3 | Providing and fixing curcuit breaker 6,10,15,20,30,40,50, and 63 amps a.p (TB-5a). | 10 | Nos | 916 | p.no | 9160
4 | Providing and circuit breaker 6,10,15,20,30,40, and 63amps DP (TB-5a) on an prepared board as required )S. I. 204 P.NO:31) | 3 | Nos | 2456 | p.no | 7368
5 | Providing and circuit breaker 15,20,30,40,50,60,75 and 100amps DP (TB-5a) on an prepared board as required )S. I. 207 P.NO:31) | 1 | Nos | 9261 | p.no | 9261
6 | Providing and fixing on-e way s.p 5amps switch flush type (S.I. NO:219 P.NO:33) | 65 | Nos | 54 | p.no | 3510
7 | Providing and fixing two pin 5amps plug and socket flush type (S.I. NO:225 P.NO:33) | 10 | Nos | 83 | p.no | 830
8 | Providing and fixing three pin 15amps 10 10 amps plug socket flush type (S.I.NO 227 P.NO:33) | 10 | Nos | 162 | p.no | 1620
9 | Providing and fixing bakelite ceiling Rose with two terminals (S.I NO:228 P.NO:33) | 12 | Nos | 72 | p.no | 864
10 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/029 copper conduter in 3/4 pvc conduit recreased in the walls or columns as required (S.I NO:10 P.NO:2) | 150 | Mtr | 222 | p.mtr | 33300
11 | Providing and fixing (Main or subLMain) Pvc insulated with size 2-7/044 (6mm2) copper conduter in 3/4 dia pvc conduit recreased in the walls or columns as required (S.I NO:12 P.NO:2) | 25 | Mtr | 341 | p.mtr | 8525
12 | Providing and laying (Main or Sub Main ) Pvc insulated pvc sheeted with single core copper conductor 300/500 volte size 2-7/064 P.NO:57 P.NO:7 | 79 | Mtr | 524 | p.mtr | 41396
13 | Providing and fixing celling fan 56"sweep (Good Quilty) (S.I NO:235 P.NO:54) | 12 | Nos | 3185 | p.no | 38220
14 | Providing and fixing bass button holder (S.I NO:232 P.NO:33) | 50 | Nos | 70 | p.no | 3500
15 | Providing and laying (Main or Sub Main ) Pvc insulated with size 2-7/036 copper conductorin 3/4 dia pvc conduit recreased in the wall or Columns as required (S.I NO:11 P.NO:02) | 40 | Mtr | 252 | p.mtr | 10080
16 | Providing and fixing Junction box as per following specification size of box 8'x6"x4 Ms plate 16swg thick clamp screw painting two ceats of rust preventive red eride and two coasts of IGI oil paint as per site requirement and instruciton of EI (S.I NO:158 P.NO:24) | 12 | Nos | 800 | p.no | 9600 | 260534
Part "B" Shedule Items 2004
1 | S/F Engery saver suprior quality (S.I NO:15 P.NO:33) | 50 | Nos | 497 | each | 24850
2 | P/F Main pannal board doubble shutter to accomedate heavy duty circuit bus bar i/e painting with other simllar jobs(S.I NO:8 P.NO:13) | 3 | Sft | 1426.33 | p.sft | 4278.99
3 | S/F of A.C ceilling fan regulator on metal board recreased in the walls or columns and covered with plastic sheet (S.I NO:(A)3 P.NO:14) | 12 | Nos | 124.3 | each | 1491.6
4 | P/F wall braket light fancy type suprior quality i/c necessary electric connection and fixing on walls or ceiling etc complete (S.I NO:10 P.NO:33) | 10 | Nos | 497 | each | 4970
5 | P/F earthing sets with 2"x2"x1/2 copper plate burried in ground at depth of 12"less if water from the ground level with salt and characal etc I/C plate to be connected with No:8 s.w.f. boxes copper wiring in 2x1/2" G.I pipe strenght from (S.I NO:(A)1 P.NO:26) | 1 | Nos | 3610 | each | 3610
(NOTE) | [6 empty] | 39200.59
Quotation and Rate may be changed as per / according technical sanctioned by competent Authorities.
A B S T R A C T
1) Part "A" Total Rs: |  | 260534
1) Part "B" Total Rs: |  | 39200.59
| Grant Total | 299734.59
| Say Rs: | 300000
EXECUTIVE ENGINEER
BUILDING DIVISION
KHAIRPUR

## Sheet2
F A C E S H E E T
FUND HEAD:-
MAJOR HEAD:-
MINOR HEAD:- |  | ESTIMATE FOR REHABILITATION OF DISTRICT COUNCIL MEDICAL DISPENSARY AT ARBAB ALI CHANNA
SERVICE HEAD:-
DEPTT:HEAD:-
This estimate has been framed in the office of the Executive Engineer
Building Division Khairpur for the Expenditure that wil be incurred on the above subjected work.
|  |  |  | AMOUNT TO RS: | 80000
…………………………………