## Page-01
NOTES
(Reference P. W account Code Chapter X Para 288, and pares 544 and 548 of W. D. Manual)
(For Contractor and suppliers This Form provides only for Payment for work or suppliers actual measured. | DIVISION: EXECUTIVE ENGINEER BUILDINGS DIVISION KHAIRPUR
1. The full name of the work as given in the estimate, should be entered against the line "name of work" except in the case of bill for "Stock" materials. | SUB-DIVISION:- ASSISTANT ENGINEER,BUILDINGS (ELECTRIC ) SUB-DIVISION KHP:
2.The Purpose of supply applicable to the case should be filled in and the rest score out.
3. If the outlay on the work is recorded by sub head the total for each sub-head should be shown in column 5 and against this total, there should be on entry in column 6 also. In no other case should any entries be mad in column 6.
Memorandum of Payments | RUNNING BILL-C
4. The figures against ( K) should be tested to see that it agrees with total of items 4 & 5. |  |  | 20
5. If net amount to be paid is less that Rs. 10 and it cannot be included in a Cheque, the payment should be made in cash the pay order being altered suitably and the alteration by dated initials. | Cash Book Voucher No:
6. The payee's acknowledgement should be for the gross amount paid as per items (i. e. a. + b. + e. ).
7. Payment should be attested by some known person who the payee's acknowledgement it given by a mark seal or thumb-impression. | Name of Contractor or supplier: M/S G.A Electric Store
8. The columns "Figures for works abstract" is not required in the case of bill of suppliers . | Name of Work:- Construction of Revenue House at Khairpur (Internal & External) Electrification
1. S. Date of start: 20-12-2012 | Purpose of Supply: _____________
2. Actual date of Start: 20-12-2012 | Serial No: of this bill:- 5th & Final Bill.
3. S. Date of Comp: 19-06-2015 | No. and date of last bill for this work order issued by XEN vide No: TC/G-55/733 Khairpur dated:- 13-12-2012
4. Actual Date of Comp: 20-05-2015
Revised Estimate Cost Rs: 1897230
1. certified that the work has been carriedout as per P.W.D specification.
2. Certified that the amount of this bill is carried out not paid previbly in any shap.
3. Certified that the nothing is out standing against the Contractor. •
4. Certified that no advance Measurments have been recorded in the Bills if any advance Excess Measurment discovered , I shall be responsible for the same.
5. Certified that the Measurment 100 % Checked by me on________
ASSISTANT ENGINEER,
BUILDINGS (ELECTRIC ) SUB-DIVISION
KHAIRPUIR

## Page-02
Unit | Quantity excepted or supplied upto date a per measurement Book |  | Item of work or supplies grouped under sub-heads or sub work or estimate | Rate |  | Amount |  |  |  | Remarks
[6 empty] | Up to date |  | Since previous bill total for each sub-head
1 | 2 |  | 3 | 4 |  | 5 |  | 6 |  | 7
| Quantity |  |  | Rs. | Ps. | Rs. | Ps. | Rs. | Ps
each | 272 | Nos | 1. Wiring for Light and Fan Point with 3/.029 | 469/49 | - | 127701/28 | - | - | - | -
each | 35 | Nos | 2. Wiring for Plug Point | 244/41 | - | 8554/35 | - | - | - | -
P.Rft | 2000 | Rft | 3. Wiring for Main 3/.029 Pvc wire | 25/67 | - | 51340 | - | - | - | -
P.Rft | 300 | Rft | 4. Wiring for Main with 7/.036 | 29 10 | - | 8730 | - | - | - | -
P.Rft | 250 | Rft | 5. Wiring for Main with 7/.044 | 32/73 | - | 8182 | -
P.Rft | 200 | Rft | 6. Wiring for Main with 7/.064 | 45/73 | - | 9146 |  | - | - | -
P.Rft | 1055 | Rft | 7. P/F 35mm 4 core 660/1000 Volt | FR 219/98 PR 200 | - | 211000 |  | - | - | -
each | 272 | Nos | 8. P/F AC one way SP 5 amps switch | 56/10 | - | 15259/20 |  | - | - | -
each | 6 | Nos | 9. P/F Ac Three Pin 15 amps SP Plug Socket Switch | 186/67 | - | 1120/02 |  | - | - | -
each | 35 | Nos | 10. P/F Flush Type two pin 5 amps SP Plug Socket Switch | 93/78 | - | 3282/30 |  | - | - | -
each | 5 | Nos | 11. P/F Ac or Dc Electric Bell | 150/70 | - | 753/50 |  | - | - | -
each | 6 | Nos | 12. P/F Mild Steel bar fan clamps | 141/01 | - | 8601 |  | - | - | -
each | 16 | Nos | 13. P/F earthing set | FR 3610/01 PR 3000 | - | 48000 | - | - | - | -
each | 36 | Nos | 14. P/F Circuit braker 6 amps to 63 amps | 442/02 |  | 15912/72 |  | -
each | 6 | Nos | 15. P/F Circuit braker 100 amps | 9138/25 |  | 54829/50 |  | -
each | 2 | Nos | 16. P/F Circuit braker 60 amps to 50 amps | 6157/25 |  | 12314/50 |  | -
each | 1 | Nos | 17. P/F cirucit braker 60 amps to 63 amps | 948/02 |  | 948/02 |  | -
each | 4 | Nos | 18. P/F on a perpare board bus bar | 4144/28 |  | 16577 |  | -
P.Sft | 19.81 | Sft | 19. P/F main pannel board | 1426/33 |  | 28255/59 |  | -
each | 165 | Nos | 20. P/F energy sever | 497 |  | 82005 |  | -
each | 10 | Nos | 21. P/F 2-40 watts tube light | 1677 |  | 16770 |  | -
each | 108 | Nos | 22. P/F wall braket fancy light | 497 |  | 53676 |  | -
each | 18 | Nos | 23. P/F B.C button holder | 53/68 |  | 966/24 |  | -
each | 43 | Nos | 24. Errection of ceiling fan | 82/16 |  | 3532/88 |  | -
each | 51 | Nos | 25. P/F ceiling fan regulator | 124/30 |  | 6339/30 |  | -
each | 5 | Nos | 26. P/F water pumping set 1 H.P | FR 22000 PF 20000 |  | 100000 |  | -
|  |  |  | Total | = | 926356/30 |  | -
|  |  | 19.50 % Above |  |  | 180639/47 |  | -
|  |  | Total Part "A" |  |  | 1106995/77
In the case applied the name of the officer or subordinate who took the articles should be noted in this column unless the draw up by him
Unit | QTY | S.no | Name of Item | Rate |  | Amount |  | Amount
Part "B" Shedule Item
each | 54 | Nos | 1. S/F Ceiling fan 56" Sweep | 3080 | - | 166320 | - | - | -
each | 10 | Nos | 2. S/F Exhast fan 18" Sweep | 2090 | - | 20900 | - | - | -
each | 2 | Nos | 3. S/F Fancy Type light round shape | 4268 | - | 8536 | - | - | -
each | 2 | Nos | 4. S/F M.S Tubelar Pole 20 ft long | 19894 | - | 218834 | - | - | -
each | 11 | Nos | 5. P/F Street light HRC-II | 9900 | - | 108900 | - | - | -
each | 11 | Nos | 6. C.C foundation of Pole 20ft long | 4000 | - | 44000 | - | - | -
each | 10 | Nos | 7. Coluring of Pole | 800 | - | 8000 | - | - | -
each | 44 | Nos | 8. S/F Ancher Bolts | 200 | - | 8800 | - | - | -
each | 10 | Nos | 9. S/F Lawn light Pole | 4290 | - | 42900 | - | - | -
|  |  | Part "B" Total Amount |  |  | 627190 | - | -
Abstract
|  |  | 1) Part "A" Total | 1106995 -
|  |  | 2) Part "B" Total | 627190 -
1734185 -

## Page-03
Unit | Quantity excepted or supplied upto date a per measurement Book | Item of work or supplies grouped under sub-heads or sub work or estimate | Rate |  | Amount |  |  |  | Remarks
[5 empty] | Up to date |  | Since previous bill total for each sub-head
1 | 2 | 3 | 4 |  | 5 |  | 6 |  | 7
|  | Brought Over | Rs. | Ps. | Rs. | Ps. | Rs. | Ps
Brought Over
Total Value of work done Deduct value of work or supplies made to a date (A) Deduct_________ value of work or supplies shown as previous bill Net value of work or supplies since previous bill (F) Figure (F) in words)
Aready Paid (-)
Total:-
II-Certificate and Signature.
This measurements were made by Mr. are recorded at pages 92/2 to 95/2 of measurement Book No: 67 Old (L-S) advance payment has been made previously without detailed measurement.
( Signature )
Date | 2016 | Dated Signature
Officer preparing
ASSISTANT ENGINEER,
|  | Dated (Signature) |  |  | BUILDINGS (ELECTRIC ) SUB-DIVISION
KHAIRPUIR
Date Signature of Contractor |  | officer disbursing payment
The second signature is only necessary when the Officer who prepare the bill is not the officer who makes the payment

## Page-04
III- Memorandum of Payment
1. Total value of work done, as per Account 1, Column 5 Entry (A) | [7 empty] | Rs. | Ps.
2. Deduct amount with held:-
Figures Work abstract | [5 empty] | Rs. | Ps.
Rs. | Ps. | (a) From Previous bill as per last Running Account bill (b)
(b)From this bill
3. Balance i.e. "Up- ot-date" payment (Item I — 2).
4. Total amount of payments already made as per entry (K) of last Running
Account bill No: of onwarded with account for
|  | 5. Payment now to be made as detailed below__________ |  |  |  | Rs. | Ps.
|  | (a) | By recovery of amount creditable to this work__________
|  |  | Value of Stock supplied as detailed In the lodger in |  | (a)
Total 2 (b) + 5 (a) G
|  | (b ) | By recovery of amount creditable to ether work of heads or accounts
(c )
By cheque
|  | (c ) | Total 5 (b) + (c) II
Pay Rs. | [5 empty] | by Cheque
Received Rs. ( |  |  |  |  | (Dated Initials of Disbursing Officer)
as per above memorandum
On account of this work
Dated |  | 2016
Witness |  |  |  |  | (Full Signature of Contractor )
Paid by me vide Cheque No. |  |  |  | dated |  | Cashier
(Dated Initials of person actually making payments)
IV Remarks.
This space is received to any remarks the disbursing officer or the Executive Engineer may with to record in respect to the execution work Cheque of measurement of measurement or the state or Contractors Accounts.
Here specify the Net amount payable vide Item 5 €