NAME OF WORK: - **Construction of C/W & Civil Structure for graveyard of Tehran Shaheed Village Shah Abdul Rasheed UC Bala Setharja Taluka Sobhodero**

Name of Contractor: - \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Whom tender issued: - GOVERNMENT CONTRACTOR

Tender fee received : - \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

D.R No : - \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Dated : - \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |
| --- |
| **EXECUTIVE ENGINEER**  PUBLIC HEALTH ENGINEERING  DIVISION-II KHAIRPUR @ RANIPUR |

MEMORANDUM

General Description As Above

Estimated Cost Rs.2000000/-

Earnest Money @ 2% Rs. 40000/-

Security Deposit @10% Rs.200000/-

Percentage if any to be Rs.160000/-

Deduction from bill 8%

Date of written order to complete **12 Months**

I/We here by tendered for execution of above work at percentage rate \_\_\_\_\_\_\_\_\_ below/above on schedule rate in the schedule B in accordance with section designed drawing etc and shall executed the agreement on the proper from in case may tender in accepted.

Earnest shape of call deposit vide no\_\_\_\_\_\_\_\_\_\_\_\_\_ dated \_\_\_\_\_\_\_\_\_\_\_ for Rs\_\_\_\_\_\_\_ of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contractor

**EXECUTIVE ENGINEER**

PUBLIC HEALTH ENGINEERING

DIVISION-II KHAIRPUR @ RANIPUR

Bid Reference No:- **Construction of C/W & Civil Structure for graveyard of Tehran Shaheed Village Shah Abdul Rasheed UC Bala Setharja Taluka Sobhodero**

To,

The Executive Engineer,

Public Health Engg. Division-II

**Khairpur.**

**GENTLEMAN.**

1. Having examined the Bidding Documents instructions to bidders, bidding datea conditions of Contract, Contract Data, specification, Drawings, if any, Schedule of prices and agenda Nos: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ for the execution of the above named works, we the undersigned being a company doing business under the name of and address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ and being duly incorporated under the laws of Pakistan hereby offer to execute, and complete such work and remedy any defects therein in conformity with the said Documents including agenda there to for the Total Bid Price of Rs.\_\_\_\_\_\_\_\_\_\_\_ (Rupees \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_) of such other sum as my be ascertained in accordance with said Documents.
2. We understand that all the schedules attached here to form part of this Bid.
3. As security for due performance of the undertaking and obligations of this Bid, we submit herewith a bid security in the shape of call deposit No. \_\_\_\_\_\_\_\_\_\_\_\_\_\_ dated: \_\_\_\_\_\_\_\_\_\_\_ Bank \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ in the amount of Rs. \_\_\_\_\_\_\_\_\_\_\_\_\_\_ drawn in your favour or made payable to your and valid for a period of twenty eight (242) days beyond the period of validity of Bid.
4. We undertake, if our Bid is accepted to commence the work and to deliver and complete the work comprised in the contract within the time9s) stated in contract data.
5. We agreed to abide by this Bid for the period of **12 Months** from the date fixed for receiving the same and it shall remain binding upon and may be acceptable at any time before the expiration of that period.
6. Unless and until a formal agreement is prepared and executed this bid together with your written acceptance thereof, shall constitute a binding contract between us.
7. We undertake if our Bid is accepted to execute the performance security referred to in conditions of contract for the due performance of the contract.

**Contd: P/2**

1. We understand that you are not bound to accept the lowest or any bid your may receive.
2. We do hereby declare that the Bid is made without any collusion comparison of figures or arrangement with any other person or persons making a bid for the works.

Date this \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Day of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ 2017.

Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_.

In the capacity of \_\_\_\_\_\_\_\_\_\_\_\_\_ duly authorized to sign bid for and on behalf of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_.

(Name of Bidder in Block Capitals).

**(S E A L)**

Address:

WITNESS:

Signature:- \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name :-

Address :-

**EXECUTIVE ENGINEER**

PUBLIC HEALTH ENGINEERING

DIVISION-II KHAIRPUR @ RANIPUR

**BIDDING DATA**

(This section should be filled in by the Executive Engineer Public Health Engineering Division-II Khairpur @ Ranipur before issuance of the Bidding Documents).

|  |  |
| --- | --- |
| **a)** Name of Procuring Agency | **Executive Engineer Public Health Engineering Division-II Khairpur @ Ranipur** |
| **b)** Brief Description of Work | **Construction of C/W & Civil Structure for graveyard of Tehran Shaheed Village Shah Abdul Rasheed UC Bala Setharja Taluka Sobhodero** |
| **c)** Procuring Agency’s address | **Office of the Executive Engineer Public Health Engineering Division-II Khairpur @ Ranipur** |
| **d)** Estimated Cost | **Million: 2.000** |
| **e)** Amount of Bid Security | **2%** |
| **f)** Period of Bid Validity (Days) | **60 Days** |
| **g)** Security Deposit (Including Bid Security) | **10%** |
| **h)** Percentage if any, to be deducted from bills (Income . Tax + Security Deposit) | **Income Tax Rs: 7.5%**  **Security Deposit Rs: 10%** |
| **i)** Deadline for submission of Bids along with time. |  |
| **j)** Venue, Time and Date of Bid opening | **Office of the Executive Engineer Public Health Engineering Division-II Khairpur @ Ranipur** |
| **k)** Time for completion from written order of commence. | **12 Months** |
| **l)** Liquidity Damages | **0.5%** |
| **m)** Deposit Receipt \_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Amount \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | |
| **n)** D.R No:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date and Amount \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Rs: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | |
| **o)** Tender issued to \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | |

**(Authority Issuing Bidding Documents)**

**EXECUTIVE ENGINEER**

PUBLIC HEALTH ENGINEERING

DIVISION-II KHAIRPUR @ RANIPUR

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **SCHEDULE B** | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  | **NAME OF SCHEME** | | | | | | | |  | | | **CONSTRUCTION OF C / WALL & CIVIL STRUCTURE FOR GRAVEYARD OF TERHAAN SHAHEED VILLAGE SHAH ABDUL RASHEED U/C BALA SETHARJA TALUKA SOBHODERO DISTRICT KHAIRPUR** | | | | | | | | | | | | | | | | |
|  |  | | |
|  | **PART - 1** | | | | | |  | |  | | | **COMPOUND WALL** | | | | | | | | |  | |  | |  | |  | |
| **1** | Excavation in foundation of building bridges and other structures | | | | | | | | | | | | | | | | | | | |  | |  | |  | |  | |
|  | i/c dag belling dressing refilling around the structures with excavated | | | | | | | | | | | | | | | | | | | |  | |  | |  | |  | |
|  | Earth watering ramming up to 5ft (b) in ordinary soil (G.S.I-18/ P/4) | | | | | | | | | | | | | | | | | | | |  | |  | |  | |  | |
|  | **2136.00** | | | **cft** | |  |  | |  | | | **@Rs** | **3176.25** | | | |  | |  | | **P%0Cft** | |  | | **Rs:** | | **6784** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **2** | Cement concerte brick stone blast 1/2" to 2" guage 1:4:8 (CSO NO:4 (b) P NO: 17) | | | | | | | | | | | | | | | | | | | | | | | | | |  | |
|  | **534.00** | | |  | | **Cft** |  | |  | | | **@Rs** | **9416.28** | | | |  | |  | | **P%Cft** | |  | | **Rs:** | | **50283** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **3** | Paacca brick work in foundation 1: 6 (CSO NO: 4 9C) P NO: 21) | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | **2035.62** | | |  | | | **Rft** | |  | | | **@Rs** | **11948.36** | | | |  | |  | | **P-Rft** | |  | | **Rs:** | | **243223** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **6** | **RCC work in roof slab , beams columns rafts, lintels, and other structre** | | | | | | | | | | | | | | | | | | | | | | | |  | |  | |
|  | **member laid in situ of pre cost position complete in all respect 1:2:4** | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | **(CSI NO:7 P NO: 17)** | | | | | | | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  | **89.50** | | | **cft** | | |  | |  | | | **@Rs** | **337.00** | | | |  | |  | | **PCft** | |  | | **Rs:** | | **30162** | |
| **7** | Fabrication of mild steel reinforcement for cement concrete i/c | | | | | | | | | | | | | | | | | | | |  | |  | |  | |  | |
| cutting bending laying in position making joints and fastening i/c | | | | | | | | | | | | | | | | | | | |  | |  | |  | |  | |
| cost of binding wire also includes removal of rust from bars. | | | | | | | | | | | | | | | | | | | |  | |  | |  | |  | |
| (G.S.I-7 (ii) (a) P/19) | | | | | | | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  | **3.590** | | | **Cwt** | | |  | |  | | | **@Rs** | **5001.70** | | | |  | |  | | **P-Cwt** | |  | | **Rs:** | | **17956** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **4** | **Dpc with cement sand & shingle concerte 1 :2:4 i/c coated asphaltic mixture** | | | | | | | | | | | | | | | | | | | | | | | | | |  | |
|  | **(CSO NO: 27 P NO: 23)** | | | | | | | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  | **583.08** | | | **cft** | | |  | |  | | | **@Rs** | **4919.82** | | | |  | |  | | **P%Cft** | |  | | **Rs:** | | **28686** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **5** | **Pacca brick work other than building i/c stricking of joints up to 50 ft** | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | **height in cement sand mortar 1:4 (CSI NO:7 P NO: 25)** | | | | | | | | | | | | | | | | | | | |  | |  | |  | |  | |
|  | **889.70** | | | **cft** | | |  | |  | | | **@Rs** | **12346.65** | | | |  | |  | | **P%Cft** | |  | | **Rs:** | | **109848** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **6** | Cement plaster (ASTER) (1:2) THICK 1/6" COPLETE . (C.S.I-5/ P/18) | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | **3413.00** | | | **Sft** | |  |  | |  | | | **@Rs** | **2206.52** | | | |  | |  | | **P%Sft** | |  | | **Rs:** | | **75309** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **6** | Cement plaster (1:4) up to 20" height 3 /8 " thick (C.S.I-11 (b) / P/57) | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | **3413.00** | | | **Sft** | |  |  | |  | | | **@Rs** | **2197.52** | | | |  | |  | | **P%Sft** | |  | | **Rs:** | | **75001** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **8** | chalk distempering (C.S.I-26/ P/54) | | | | | | | | | | | |  | |  | |  | |  | |  | |  | |  | |  | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  | **3413.00** | | | **Sft** | |  |  | |  | | | **@Rs** | **442.75** | | | |  | |  | | **P%Sft** | |  | | **Rs:** | | **15111** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **9** | Desteempring (b) two coats. (C.S.I-25/ P/54) | | | | | | | | | | | | | | | |  | |  | |  | |  | |  | |  | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  | **3413.00** | | | **Sft** | |  |  | |  | | | **@Rs** | **1043.9** | | | |  | |  | | **P%Sft** | |  | | **Rs:** | | **35628** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **10** | **Febrication of heavy steel work with angles tess flat iron and sheet iron trusses,** | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | **griders, tands etc i/c cutting, tanks i/c cutting, drilling riverting,** | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | **handling assembling and fixing but excluding errection in postion** | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | **(csi no: 2 p no: 91 )** | | | | | | | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  | **9.00** | | | **Cwt** | | |  | |  | | | **@Rs** | **4928.49** | | | |  | |  | | **P. Sft** | |  | | **Rs:** | | **44356** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
| **11** | **Painting of door & window as i/c standards braces etc and similar open** | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | **work three coasts. (CSI NO: 24 P NO: 92 )** | | | | | | | | | | | | | | | |  | |  | |  | |  | |  | |  | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  | **168.00** | | | **Sft** | |  |  | |  | | | **@Rs** | **2116.41** | | | |  | |  | | **P%Sft** | |  | | **Rs:** | | **3556** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | | **G TOTAL** | | | | **Rs:** | | **748618** | |
|  |  | | |  | |  |  | |  | | |  |  | |  | |  | |  | |  | |  | |  | |  | |
|  | | | PART - 3 |  | |  | | | **CC BLOCKS** | | | | | |  | |  | |  | |  | |  | |  | |  | |  | |
| 1 | | | Barrow pit excavation undressed lead upto 100ft ordinary soil | | | | | | | | | | | | | | | | | | | |  | |  | |  | |  | |
|  | | | (G.S.I. No. 3 p/ 1) | | | | | |  | |  |  | | |  | |  | |  | |  | |  | |  | |  | |  | |
|  | | | **4911.40** | **Cft** | |  | | |  | |  | **@Rs** | | | **2117.50** | | | |  | |  | | **P%0Cft** | |  | | **Rs:** | | **10400** | |
| 2 | | | Earth work compaction (soft, ordinary or hard soil) laying arth in 6"thick layers levelling and dressing etc completed (GSI No:3, P-4) | | | | | | | | | | | | | | | | | | | | | | | |  | |  | |
|  | | | **4911.40** | **Cft** | |  | | |  | |  | **@Rs** | | | **354.00** | | | |  | |  | | **P%0Cft** | |  | | **Rs:** | | **1739** | |
| 3 | | | Extra lead for every 50' Ft: additional lead or part thereof. (GSI No: P- ) | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | | | **4911.40** | **Cft** | |  | | |  | |  | **@Rs** | | | **5039.00** | | | |  | |  | | **P%0Cft** | |  | | **Rs:** | | **24749** | |
| 4 | | | Cement concrete bricks or stone ballest ½” to 2” gauge Ratio 1:4:8 (GSI No: P- ) | | | | | | | | | | | | | | | | | | | | | | | | | |  | |
|  | | | (G.SI. No. 4 p/ 17) | | | | | |  | |  |  | | |  | |  | |  | |  | |  | |  | |  | |  | |
|  | | | **594.00** | **Cft** | |  | | |  | |  | **@Rs** | | | **9416.28** | | | |  | |  | | **P%cft** | |  | | **Rs:** | | **55933** | |
|  | | |  |  | |  | | |  | |  |  | | |  | |  | |  | |  | |  | |  | |  | |  | |
| 6 | | | C.C plain i/c placing, compecting finishing and curing complete i/c screening and washing of stone aggregate without shuttering (GSI No: 5, P-17) **Ratio:1:2:4** | | | | | | | | | | | | | | | | | | | | | | | |  | |  | |
| a) | | | **934.00** | **cft** | |  | | |  | |  | **@Rs** | | | **11288.75** | | | |  | |  | | **P% cft** | |  | | **Rs:** | | **105437** | |
| b) | | | **450.00** | **cft** | |  | | |  | |  | **@Rs** | | | **14429.00** | | | |  | |  | | **P% cft** | |  | | **Rs:** | | **64931** | |
|  | | |  |  | |  | | |  | |  |  | | |  | |  | |  | |  | |  | |  | |  | |  | |
| 7 | | | Errection and removal of centering for RCC or plain C.C work or partial wood Iind calss | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | | | **37.50** | **sft** | |  | | |  | |  | **@Rs** | | | **3127.41** | | | |  | |  | | **P%sft** | |  | | **Rs:** | | **1173** | |
| 7 | | | **PROVIDING AND FIXING 3/8" THICK MARBLE TILES OF APPROVED QUILITY** | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | | | **COLOUR AND SHADE SIZE 8X4 AND 6X4 IN DADO SKERTING AND FACING** | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | | | **REMOVAL TRUKING EXCITTING PLASTER ( SURFACE ETC OVER 1/2'** | | | | | | | | | | | | | | | | | | | |  | |  | |  | |  | |
|  | | | **THICK BASE OF CEMENT OVER MORATAR BASE I/C** | | | | | | | | | | | | | | | |  | |  | |  | |  | |  | |  | |
|  | | | **FILLING THE JOINTS & WASHING THE TILES WHITH CEMENT SLURRY .** | | | | | | | | | | | | | | | | | | | | | |  | |  | |  | |
|  | | | **CORRECT FINSHING CORRECT FINSHING CLEAMING & POLSHING ETC COMPLETE.** | | | | | | | | | | | | | | | | | | | | | | | |  | |  | |
|  | | | **1656.00** | **sft** | |  | | |  | |  | **@Rs** | | | **27747.06** | | | |  | |  | | **Psft** | |  | | **Rs:** | | **736962** | |
|  | | |  |  | |  | | |  | |  |  | | |  | |  | |  | |  | | **Total:** | |  | | **Rs:** | | **988327** | |
|  | | |  |  | |  | | |  | |  |  | | |  | |  | |  | |  | |  | |  | |  | |  | |
|  | | | **GENERAL ABSTRACT OF COST** | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | | |
|  | | |  |  | |  | | |  | |  |  | | |  | |  | |  | |  | |  | |  | |  | | | |
|  | | |  | PART- 1 | | | | |  | |  | C/ WALL | | | | |  | |  | |  | | RS. | |  | | 748618 | | | |
|  | | |  |  | |  | | |  | |  |  | | |  | |  | |  | |  | |  | |  | |  | |  | |
|  | | |  | PART- 2 | | | | |  | |  | C.C BLOCK | | | | | | |  | |  | | RS. | |  | | 988327 | | | |
|  | | |  |  | |  | | |  | |  |  | | |  | |  | |  | |  | | G TOTAL | | | | **1736945** | | | |
|  | | | C O N D I T I O N S 01. Any error / omission in the description of items of work rate original schedule   will correct accordingly under executive engineer Public Health Engineering   division II khairpur @ Ranipur . 02. premium will be allowed as non , schedule items. 03. The work will be carried out as per P.W.D. specification and approval details   working estimate . | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | | |
|  | | |
|  | | |
|  | | |
|  | | |
|  | | | Contractor Executive Engineer  Public Health Engineering  Division II Khairpur @ Ranipur | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  | | |
|  | | |
|  | | |
|  | | |