SCHEDULE – B

CONSTRUCTION OF COMPOUND WALL & PROVIDING, LAYING, JOINTING & TESTING PVC PIPE 3” & 4” DIA FOR RURAL WATER SUPPLY SCHEME SHADI RING DISTRICT THARPARKAR.

ABSTRACT OF COST

PART-A		COMPOUND WALL					Rs. 5,45,573/=

PART-B		PVC PIPE 3" & 4" DIA: 				Rs. 3,12,718/=

Total 		Rs. 8,58,291/=

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |

SCHEDULE - B

PART-A	 COMPOUND WALL

| 1. | Jungle clearance and removing with 100 ft. (G.I.S.No. 4 P-95). |
| --- | --- |

10000.0 Sft	@ Rs. 75/63					P‰ Sft	Rs. 756/=

(Rupees Seventy Five and Paisa Sixty Three Only)

| 2. | Excavation in foundation of buildings bridges and other structures including dag belling, dressing refilling around structures with excavated earth watering and ramming lead upto 5’ ft: (In loose Soil) (G.I.S.No.18 (a) P-4). |
| --- | --- |

1270.0 Cft	@ Rs. 2722/50				P‰ Cft	Rs. 3,458/=

(Rupees Two Thousand Seven Hundred Twenty Two

and Paisa Fifty Only)

| 3. | Cement concrete plain including placing compacting finishing and curing complete (Including screening and washing of stone aggregate without shuttering (G.S.I. No. 5 P-16). |
| --- | --- |

(Ratio (1:4:8)

254.0 Cft	@ Rs. 11288/75				P% Cft	Rs. 28,673/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisa Seventy Five Only)

| 4. | Pucca brick work in foundation and plinth in cement sand mortar (1:6) (G.S.I. No. 4 P-21). |
| --- | --- |

783.0 Cft	@ Rs. 11948/36 				P% Cft	Rs. 93,556/=

(Rupees Eleven Thousand Nine Hundred Forty Eight and Paisa Thirty Six Only)

| 5. | Damp proof course with cement sand and shingle concrete (1:2:4) i/c 2 coats of asphaltic mixture (G.S.I. No. 28 b P.-19). 2” thick |
| --- | --- |

183.75 Sft	@ Rs. 3912/85 				P% Sft		Rs. 7,190/=

(Rupees Three Thousand Nine Hundred Twelve and Paisa Eighty Five Only)

| 6. | Pucca brick work other than building including strucking of joint upto 20’ cement sand mortar (1:6) (G.S.I. No. 7 P.-22). |
| --- | --- |

503.0 Cft	@ Rs. 12346/65				P% Cft	Rs. 62,104/=

(Rupees Twelve Thousand Three Hundred Forty Six and Paisa Sixty Five Only)

| 7. | Making & Fixing steel grated doors complete with 1/16” thick sheeting including angle Iron frame 2” x 2” x 3/8” and 3/4” square bars 4” center to center with locking arrangement (G.S.I.No. 24 P-91). |
| --- | --- |

72.0 Sft	@ Rs. 726/72 				P.Sft		Rs. 52,324/=

(Rupees Seven Hundred Twenty Six and Paisa

Seventy Two Only)

| 8. | Cement Plaster (1:6) upto 12’ height 1/2" thick (G.S.I.NO 13 (a) P-52). |
| --- | --- |

3337.0 Sft	@ Rs. 2206/60 				P% Sft		Rs. 73,634/=

(Rupees Two Thousand Two Hundred Six

and Paisa Sixty Only)

| 9. | Cement Plaster (1:4) upto 12’ height 3/8" thick (G.S.I.NO 11 (a) P-52). |
| --- | --- |

3337.0 Sft	@ Rs. 2197/52 				P% Sft		Rs. 73,331/=

(Rupees Two Thousand One Hundred Ninety Seven and Paisa Fifty Tow Only)

| 10. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) 1/8” to ¼” gauge. (Ratio 1:2:4) (G.S.I.No. 6 (a) P-17). |
| --- | --- |

72.0 Cft	@ Rs. 337/= 		         			P.Cft		Rs. 24,264/=

(Rupees Three Hundred Thirty Seven Only)  (P.Cft)

| 11. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (GSI.No.8 P-17) |
| --- | --- |

2.89 Cwt	@ Rs. 5001/70 				P.Cwt		Rs. 14,455/=

(Rupees Five Thousand One and Paisa Seventy Only)

| 12. | Providing and laying HALA pattern or gattewrn tiles glazed 8” x 8” x ¼” on floor or wall facing in required pattern of STILE specification jointed in which cement and pigment over a base of 1:2 grey cement mortar ¾” thick ic/ washing and filling joints with slurry of which cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (G.S.I. No. 62 P-47). |
| --- | --- |

84.0 Sft	@ Rs. 34520/31				P% Sft		Rs. 28,997/=

(Rupees Thirty Four Thousand Five Hundred Twenty and Paisa Thirty One Only)  (P.Hundred Sft)

| 13. | Priming coat of chalk distemper. (G.S.I No: 23 P-54) |
| --- | --- |

3337.0 Sft	@ Rs. 442/75 				P% Sft		Rs. 14,775/=

(Rupees Four Hundred Forty Two and Paisa Seventy Five Only)  (P.Hundred Sft)

| 14. | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick/ sand paper, filling the voids with chalk/ plaster of Pairs and the painting with weather coat of approved make. (G.S.I. No: 38 (a,b) P-56). |
| --- | --- |

3337.00 Sft	@ Rs. 1948/10 				P% Sft		Rs. 65,008/=

(Rupees One Thousand Nine Hundred Forty Eight and Paisa Ten Only)(P. Hundred Sft)

| 15. | Painting New Surface preparing surface and painting of door and windows any type (including edges) (2 Coats) (GSI. No. 4 © P/ 69). |
| --- | --- |

144.0 Sft	@ Rs. 2116/41 				P% Sft		Rs. 3,048/=

(Rupees Two Thousand One Hundred Sixteen

and Paisa Forty One Only)(P. Hundred Sft)

Total	Rs. 5,45,573/-

SCHEDULE - B

PART-B	PVC PIPE 4" & 3" DIA

| 1. | Providing PVC pipe of class “B” equivalent make fixing in trench i/c cutting, fitting and jointing with “Z” Joint with one rubber ring i/c testing with water to head of 61 meter or 200 ft. (P.H.S.I. No. 1 P-22). |
| --- | --- |

4" Dia

1000.0 Rft	@ Rs. 137/=					P.Rft		Rs.1,37,000/=

(Rupees One Hundred Thirty Seven)

3" Dia

1000.0 Rft	@ Rs. 90/=					P.Rft		Rs. 90,000/=

(Rupees Ninety)

| 2. | PVC “Z” Joint fitting (P.H.S.O.M.Item No. 16 P-28). |
| --- | --- |

(i)	PVC Tee  4" dia

1 No:		@ Rs. 1181/=    				Each		Rs. 1,181/=

(Rupees One Thousand One Hundred Eighty One Only)

(ii)	PVC Tee  3" dia

2 Nos:		@ Rs. 900/=    				Each		Rs. 1,800/=

(Rupees Nine Hundred)

(iii)	End Plug 3" dia

2 Nos:		@ Rs. 175/=    				Each		Rs. 350/=

(Rupees One Hundred Seventy Five)

(iv)	Valve Socket  3" dia

4 Nos:		@ Rs. 350/=   		 		Each		Rs. 1,400/=

(Rupees Three Hundred Fifty) only

(v)	Valve Socket 4" dia

4 Nos:		@ Rs. 500/=    				Each		Rs. 2,000/=

(Rupees Five Hundred)

(vi)	PVC Bend 4" dia:

1 No: 		@ Rs. 956/-      				Each       	Rs. 956/=

(Rupees Nine Hundred Fifty six) Only

(vii)	PVC Bend 3" dia:

1 No: 		@ Rs. 731/-      				Each       	Rs. 731/=

(Rupees Seven Hundred Thirty One)

| 3. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other tools required for jointing and testing be same to be specified presser etc complete. (P.H.S.I No: 1 P-40). |
| --- | --- |

4" dia

2 Joints	@ Rs. 513/=					P.Joint	Rs. 1,026/=

(Rupees Five Hundred Thirteen)

3" dia

2 Joints	@ Rs. 499/=  				P.Joint	Rs. 998/=

(Rupees Four Hundred Ninety Nine)

| 4. | Making joints to PVC specials fitting including laying of specials and cost of solvent cement of required diameter and testing the joints with along with PVC pipe “B, “C” & “D” class to the specied pressure and making good o all leaky joints etc complete.. (P.H.S.I.No. 1 P-41). |
| --- | --- |

4" dia

5 Joints	@ Rs. 70/=  					P.Joint	Rs. 350/=

(Rupees Seventy)

3" dia

2 Joints	@ Rs. 59/= 	 				P.Joint	Rs. 118/=

(Rupees Fifty Nine)

| 5. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift up to 5 ft (1.52 m) and lead up to one chain (30.5 m). (P.H.S.I. No. 2 P-60). |
| --- | --- |

12000.0 Cft	@ Rs. 3750/=				P%o Cft	Rs. 45,000/=

(Rupees Three Thousand Seven Hundred Fifty)

| 6. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No.24 P-53). |
| --- | --- |

10800.0 Cft	@ Rs. 2760/=				P‰ Cft	Rs. 29,808/=

(Rupees Two Thousand Seven Hundred Sixty)

Total	Rs. 3,12,718/-

CONDITIONS

- The rates should be inclusive of all Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery/ pipe will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/ items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |