Issued to M/s ____________________________

Date:  __________________________________

Issued by: ______________________________

GOVERNMENT OF SINDH

DISTRICT MUNICIPAL CORPORATION (SOUTH)

NAME OF WORK

IMPROVEMENT OF HANFIA MASJID ROAD, SULEMAN AZAD ROAD, DARUL-ULOOM MADRESAH ROAD, MAURIPUR SERVICE ROAD IN LYARI, DISTRICT SOUTH, KARACHI.

BIDDING DOCUMENT

TENDER No. 04

Executive Engineer (B&R) DMC (South) at 3rd Floor, TMA Office, Chakiwara No.01, Shareh-e-Abdul Raheem Lyari, Karachi.

BIDDING DATA

Instructions to Bidders

Clause Reference

1.1       Name of Procuring Agency

Executive Engineer (B&R), DMC South, Karachi.

Brief Description of Works

5.1	(a) Procuring Agency‘s address:

3rd Floor, TMA Office, Chakiwara No. 01, Shareh-e-Abdul Raheem,

Lyari, Karachi.

Telephone: 021-32511251, 32528003

E-mail: xendmcsouth@gmail.com Fax No. 021-32542926

(b) Engineer‘s address:

3rd Floor, TMA Office, Chakiwara No. 01, Shareh-e-Abdul Raheem,

Lyari, Karachi.

Telephone: 021-32511251, 32528003

E-mail: xendmcsouth@gmail.com Fax No. 021-32542926

10.3	Bid shall be quoted entirely in Pak. Rupees. The payment shall be made in Pak. Rupees.

11.2	The bidder has the financial, technical and constructional capability necessary to perform the Contract as follows:

i. Financial capacity: 	(must have turnover of Rs 50.000 Million);

ii. Technical capacity:	(registration with PEC in C-5 category and at least One 				Resident Engineer);

iii. Construction Capacity:	(mention the names and number of equipments required for the work).

| 12.1 | (a) | A detailed description of the Works, essential technical and performance characteristics. |
| --- | --- | --- |
|  | (b) | Complete set of technical information, description data, literature and drawings as required in accordance with Schedule B to Bid, Specific Works Data. This will include but not be limited to a sufficient number of drawings, photographs, catalogues, illustrations and such other information as is necessary to illustrate clearly the significant characteristics such as general construction dimensions and other relevant information about the works to be performed. |

13.1	Amount of Bid Security

7,80,000/-

14.1	Period of Bid Validity

90 days

14.4	Number of Copies of the Bid to be submitted:

One Original

14.6	(a)	Procuring Agency's Address for the Purpose of Bid Submission

3rd Floor, TMA Office, Chakiwara No. 01, Shareh-e-Abdul Raheem,

Lyari, Karachi.

15.1	Deadline for Submission of Bids

Time: 2:00 pm on 16-02-2017

16.1	Venue, Time, and Date of Bid Opening

Venue:  3rd Floor, TMA Office, Chakiwara No. 01, Shareh-e-Abdul Raheem,

Lyari, Karachi.

Time:  3:00 pm	Date: 16-02-2017

SCHEDULE - A TO BID

SCHEDULE OF PRICES

(BILL OF Q UANTITIES)

(A) Description and rate of Items based on Composite Schedule of Rates.

| S# | Description of Work | Unit | Quantity | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | Dismantling and removing of road metalling carpeting etc. (vol-III, Part-II, Chap-2, Pg-13,,Sr, 51) | % Cft | 103593 | 605.00 | 626,735 |
| 2 | Dismentalling cement concrete plain ratio 1:2:4 etc. complete. (vol-III, Part-II, Chap-2, Pg-10,,Sr, 19-c) | % Cft | 1310.00 | 3,327.50 | 43,590 |
| 3 | Excavation of pipe line in trenches and pits & kind of soil of murum i/c trimming and dressing sides to true alignment and shape & levelling of beds of trenches to correct level & grade cutting, jointing holes and disposal of surplus earth within a one chain etc. (Vol-IV, Part-VI, Chap-2, Pg-60,Sr,1) | %0Cft | 7000.00 | 4,650.00 | 32,550 |
| 4 | Providing RCC pipe of ASTM C-76-62 TIC 7670 Class-II wall-B and fixing in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure. 12" Dia (Vol-IV, Part-VI, Chap-2, Pg-17,Sr,1-b) | P.Rft | 500 | 367.00 | 183,500 |
| 5 | Refilling the excavated stuff in trench 6" thick layer including watering ramming to full compaction etc.complete. (Vol-IV, Part-VI, Chap-2, Pg-77,Sr,24) | %0Cft | 4900.00 | 2,760.00 | 13,524 |
| 6 | Preparing Sub-Base by supplying and spreading well graded pit or bed run gravel having a liquit limit not greater than 25 and plasticity index not greater than 6 in proper camber and grade in/c watering rolling and compacting in layers, thickness of each compacted layerr not exceeding 6" compacted upto 98-100% density as per modified AASHO density (Rate i/c all cost of materials T&P and carriage upto 3 chanins). (Vol-III,Highway,Chap-2, Pg-4,Sr,11-c) | % Cft | 2625.00 | 3,341.71 | 87,720 |
| 7 | Contruction of Manhole 4' dia inside complete with 21"dia (inside) C.I frame 21" dia of 3" x 3/8" flat iron frame with RCC 1:2:4 pre-cast cover i/c the cost of M.S Bars reinforced both way & Two handles of 5' deep in CC 1:2:4 situ walls 50% screened graded bajri i/c benching & channels 1/2" thick cement plaster 1:3 on all inside wall surface complete with C.I foot rest i/c cutting Asphalt road, excavation in all kinds of soil backfilling & disposal of stuff etc complete as per standard specification and drawing. (VOl-Iv, Part-VI, Chap-2, Pg-77,Sr,24) | Each | 20.00 | 14,748.00 | 294,960 |
| 8 | Manufacturing and supplying of RCC Ring Slab of 21" dia (inside) and 36" dia outside 7.5" width and 6" thick i/c steelbars two concrete ring with 3/8" 8 Nos cross linked bars welded and two sunk tube hooks, castled in 1:1.5:3 concrete with embedded 15 kg C.i frame in perfect position i/c transportation charges for an average lead of 20 km per trip from casting yard to town offices a min. 25 slabs per trip will be transported. (Vol-III,Part-V-B,Chap-16,Pg-31,Sr,2) | Each | 20.00 | 1,906.60 | 38,132 |
| 9 | Manufacturing and supplying of RCC 21" dia (inside) and 36" dia outside 7.5" width and 6" thick i/c steelbars two concrete ring with 3/8" 8 Nos cross linked bars welded and two sunk tube hooks, castled in 1:1.5:3 concrete with embedded 15 kg C.i frame in perfect position i/c transportation charges for an average lead of 20 km per trip from casting yard to town offices a min. 25 slabs per trip will be transported. (Vol-III, Part-V-B, Chap-16, Pg-31,Sr,1-a) | Each | 20.00 | 913.63 | 18,273 |
| 10 | Add or Deduct Extra Depth | Each | 15.00 | 1,437.80 | 21,567 |
| 11 | Earth Excavation Undressed lead upto a single throw Kassi Phwara or Shovel in ordinary soil. (vol-I, Part-III, Chap-1, Pg-1,Sr, 1-a) | %0Cft | 163558 | 1,361.25 | 222,644 |
| 12 | P/F Precast Edge Block 3750 PSI industrial made size 6 inches thick x 12 inches long x 12 inches high including the cost of Cartage, excavation, form work for hanching, 1450 PSI lean concert 2250 PSI concrete for haunchin, 1:4 cement sand mortor. (Vol-III, Highway,Chap-39, Pg-15,Sr,14) | P/Rft | 200.00 | 297.01 | 59,402 |
| 13 | Cartage of 100 Cft / 5 tons of all materials like one aggregatespawl, coal, lime, surkhi, etc G.G. Rait fastenings points & crossing Bridges Girders, Pipes, Sheets Raits, M.S Bars etc. or 1000 nos brinks, 10' x 5' x 3' or 1000 manuds of fuel wood by trucks or any otherr means owned by the constractors (Lead upto 05 miles etc) (Vol-I, Part-I, Chap-I, Pg-1,Sr,1) | %Cft | 270561 | 714.29 | 1,932,590 |
| 14 | P/L Aggregate base course material over prepared sub grade and chamber having CBR 80% in conformity with lines, grades, thickness and typical cross section as shown in drawings for new pavement at grade / widening of existing using well graded gravel of crush stone with sand and silt having a smooth gradation within the envelope limits for grading A OR B as per AASHTO M-14765 (1985) and compacting to 100% of the maximum dry density according to AASHTO T-180 Method C using approved mechanical means i/c watering with all leads and liftscomplete as per drawing conditions of contracts specification and as per directed by the Engineer Incharge.(Vol-III, Part-VI, Chap-1, Pg-5,Sr,12-b) | %Cft | 161314 | 5,542.24 | 8,940,428 |
| 15 | laying to proper line & grade plant mixed Asphalt concrete pavers finished (hydraulic / electronic) prepared to specified formula according to job mix formula approved by Engineer Incharge i/c rolling & fixed using to proper line grade level and camber etc (Machinery with POLs cost of material carriage) 2" thick Asphalt Concrete Wearing Course Plant mix. (Vol-III, Highway, Chap-5, Pg-9,Sr.24-b) | %Sft | 313917.00 | 8,274.73 | 25,975,784 |
| 16 | P/L 2" thick toppong cement concrete 1:2:4 ratio i/c surface finishing and dividing into panel etc. (Vol-III, Part-II, Chap-8, Pg-42,Sr,16-c) | %Sft | 13200.00 | 3,275.50 | 432,366 |
| 17 | Painting with enamel paint on Masonry walls. (Vol-III, Part-II, Chap-11, Pg-72,Sr.30-a+b) | %Sft | 250.00 | 1,421.75 | 3,554 |
|  | Total Amount (a) Rs. |  |  |  | 38,927,318 |

(b) --------------------- % above / below on the rates of CSR.		TOTAL (b) Rs.

(Amount to be added/deducted on the basis

Of premium quoted)

Total (A) = a+b in words & figures: Rs. 				 (Rupees in words

Contractor	Executive Engineer/Procuring Agency

(B) Description and rate of Items based on Market (Offered Rates)

| S# | Description of Work | Unit | Quantity | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | Construction of CC catch pits.size. 2' x 2' inside dimension & 305' deep for rain waterr i/c the cost of excavation,4"thick 1:2:4 CC floor, 1/2" thick 1:4:8 Cement plaster inside the chamber, 1:2:4 CC wallas 6: thick etc complete.(O.R) | Each | 10.00 |  |  |
|  | Total Amount Rs. |  |  |  |  |

Total (B) in words & figures: Rs. 				 (Rupees in words

Contractor	Executive Engineer/Procuring Agency

SUMMARY OF BILL OF QUANTITIES

Cost of Bid	Amount

1. (A) Cost based on Composite Schedule of Rates.			Rs.

2. (B) Cost based on Non/Offered Schedule of Rates.		Rs.

TOTAL COST OF BID (C) = Total (A) + Total (B)	Rs.

Contractor					Executive Engineer/Procuring Agency