## AC
DETAILED WORKING ESTIMATE FOR CONSTRUCTION OF SOOREH BADSHAH PUBLIC PARK CHOONDIKO TOWN, TALUKA NARA, DISTRICT KHAIRPUR
ABSTRACT OF COST
| Part-I: | Canteen & Lavatory Block: |  | = | Rs: | #REF!
| Part-II: | Compound wall |  | = | Rs: | #REF!
|  |  | Total = |  | Rs: | #REF!
|  |  | Say = |  | Rs: | 2000000
Assistant Executive Engineer
Town Committee, Nara
Town Officer
Town Committee, Nara
Chairman
Town Committee, Nara

## Sheet1
BILL OF QUANTITY (B.O.Q)
194
DETAILED WORKING ESTIMATE FOR CONSTRUCTION OF SOOREH BADSHAH PUBLIC PARK CHOONDIKO TOWN, TALUKA NARA, DISTRICT KHAIRPUR
S. NO. | DESCRIPTION | QUANTITY |  | RATE |  | UNIT | AMOUNT
PART-I: Canteen & Lavatory Block:
1 | Excavation in foundation of building bridges and other structure i/c dag belling, dressing refilling around structure with excavated earth lead upto one chain and lift up to 5 feet (In or soil) (CSI No:18-b, P-4)
|  | 550.33 | cft | Rs. | 3176.25 | %0Cft | Rs. | 1748 | /-
2 | C.C brick or stone ballast 1-½” to gauge ratio 1:4:8 (CSI No:4-b, P-15)
|  | 291.76 | cft | Rs. | 9416.28 | %Cft | Rs. | 27473 | /-
3 | Pacca brick work in foundation and plinth in cement sand mortar 1:6. (CSI No:4-I/e, P-20/21)
|  | 284.97 | cft | Rs. | 11948.36 | %Cft | Rs. | 34049 | /-
4 | Coursed Ruble masonry including hammer dressing in cement sand mortar Ratio 1:4. (CSI No:2-I/ii, P-27)
|  | 118.06 | cft | Rs. | 26475 | %Cft | Rs. | 31256 | /-
5 | R.C.C work i/c all labour and material except the cost of steel rein for cement and its labour for bending which will be paid separately. This rate also i/c all kinds forms moulds lifting shuttering curing rendering finishing the exposed surface (a) Rc work in roof slab beams Columns rafts lintels & other structural members laid in situ or per cost laid in position complete in all respects ration 1:2:4 (CSI No:6-a, P-16/17).
|  | 387.07 | Cft | Rs. | 337 | P.Cft | Rs. | 130443 | /-
6 | Fabrication of mild steel reinforcement for cement concrete work i/c cutting fitting and laying position making joints and fastenings i/c. cost of binding wire also i/c removal of rust from bars, (ii). Using tor bars. (CSI No:8-b, P-17)
|  | 19.008 | Cwt | Rs. | 5001.7 | P.Cwt | Rs. | 95072 | /-
7 | Filling watering and ramming earth under floor with new earth (excavated from outside) lead up to one chain and lift up to 5 feet.[CSI No:22, P-4].
|  | 430.22 | cft | Rs. | 3630 | %0Cft |  | 1562 | /-
8 | Extra for every 50 ft. additional lead or part thereof. for Earth work (soft, ordinary or hard soil). (CSI-No:8-a, P-No:2) Lead = 1/2 Mile 5280/2=2640-100=2540/50=50.80 Leads x Rs:100.78=5119.62 %ocft.
|  | 430.22 | Cft | Rs. | 5119.62 | %0Cft | Rs. | 2203 | /-
9 | Pacca brick work in ground floor i/c sticking or joints in cement sand mortar 1:6 Ratio (CSI No:5-I/e, P-21)
|  | 1048.04 | Cft | Rs. | 12674.36 | %Cft | Rs. | 132832 | /-
10 | Providing and fixing G.I. frames/ chowkhats of size 7"x2" or 4-1/2"x3" for door using 20 gauge G.I. sheet i/c. welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c. all carriage, tools and plants used in making and fixing. (CSI-29, P-93)
|  | 65.5 | Sft | Rs. | 228.9 | P.Sft | Rs. | 14993 | /-
11 | Providing and fixing G.I. frames/ chowkhats of size 7"x2" or 4-1/2"x3" for doors using 20 gauge G.I. sheet i/c. welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c. all carriage, tools and plants used in making and fixing. (CSI-28, P-93)
|  | 80.06 | Rft | Rs. | 240.5 | P.Sft | Rs. | 19254 | /-
12 | First class deodar wood wrought, joinery in doors and windows etc. fixed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks. etc. Deodar panelled or panelled and glazed, or fully glazed. (b). 1-3/4" thick. (CSI-7-b, P-58)
|  | 137.79 | Sft | Rs. | 621.05 | P.Sft | Rs. | 85574 | /-
13 | Supplying & fixing in position iron/ steel grill of 3/4"x1/4" size flat iron of approved design i/c. painting 3 coats etc. complete (weight not to be less than 3.7 Lbs. per Sq.ft. of finished grill. (CSI No:26, P-93)
|  | 53.43 | Sft | Rs. | 180.5 | P.Sft | Rs. | 9644 | /-
14 | Wiring for light or fan point with 3/0.29 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (ESI No:124, P-15)
|  |  |  | x | 1
|  | 16 | Point | Rs. | 1130 | P.Point | Rs. | 18080 | /-
15 | Cement plaster 1:6 up to 20’ height ½” thick. (CSI No:13-b, P-52)
|  | 1520.13 | Sft. | Rs. | 2206.6 | %Sft | Rs. | 33543 | /-
16 | Cement Plaster 1:4 up to 20’ height 3/8” thick. (CSI No:11-a, P-52)
|  | 1520.13 | Cwt. | Rs. | 2197.52 | %Sft | Rs. | 33405 | /-
17 | Providing & Laying 1" thick topping cement concrete (1:2:4) i/c. surface finishing and dividing into panels. 3" thick (CSI No:16-d, P-42)
x
|  | 434 | Sft. | Rs. | 4411.82 | %Sft | Rs. | 19147 | /-
18 | Cement pointing on walls 1:2 ratio (CSI No:19-a, P-53)
|  | 1324.12 | Sft. | Rs. | 1287.44 | %Sft |  | 17047 | /-
19 | Pointing flush on stone work in cement sand mortar 1:3 ratio (CSI No:20-3, P-53)
|  | 117.8 | Sft. | Rs. | 1062.33 | %Sft | Rs. | 1251 | /-
20 | White washing three coasts.
(CSI No:26-c, P-54)
|  | 479.57 | Sft. | Rs. | 829.95 | %Sft | Rs. | 3980 | /-
21 | Prime Coat of Chalk Distemper.
(CSI No:23, P-54)
|  | 1520.13 | Sft | Rs. | 442.75 | %Sft | Rs. | 6730 | /-
22 | Distempering 2 Coats.
(CSI No:24-b, P-54)
|  | 1520.13 | Sft. | Rs. | 1043.9 | %Sft | Rs. | 15869 | /-
23 | Colour washing two coats.
(CSI No:25-b, P-54)
|  | 1441.92 | Sft | Rs. | 103.79 | %Sft | Rs. | 1497 | /-
24 | Painting new surface:
(d) Preparing surface and painting of doors and windows any type, (including edges). 3 coats. (CSI No:5-c, P-69/70)
|  | 487.5 | Sft | Rs. | 2116.41 | %Sft | Rs. | 10317 | /-
25 | Providing & fixing brass ceiling fan 56" size. (ESI No:234, P-34)
|  | 3 | Nos | Rs. | 3185 | Each | Rs. | 9555 | /-
26 | Providing & fixing squating type white glazed earthen were W.C. Pan with i/c. the cost of flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concrete 1:2:4. (A) W.C. pan of not less than 23" clean opening between flushing rims and 3 gallons flushing tank with 4" dia C.I. trape. (WSSI No:1-A, P-1)
1
|  | 2 | Nos | Rs. | 5044.6 | P.Each | Rs. | 10089 | /-
27 | Providing & fixing 4"x4"x4" dia. Plain C.I. branch of the required degree i/c. extra painting to match the colour of the building. (WSSI No:7, P-9)
1
|  | 2 | Nos | Rs. | 704.2 | P.Each | Rs. | 1408 | /-
28 | Providing & fixing 4" dia. C.I. soil and went pipe i/c. cutting and fitting and extra painting to match the colour of the building. (WSSI No:1, P-9)
1
|  | 14 | ft. | Rs. | 333.29 | P.ft. | Rs. | 4666 | /-
29 | Providing and fixing 4" dia. C.I. terminal guard i/c. extra painting to match the colour of the building. (WSSI-11, P10)
1
|  | 2 | Nos. | Rs. | 389.7 | P.Each |  | 779 | /-
30 | Providing & fixing M.S. Clamps of the approved design to 4" dia C.I. Pipe sockets i/c. the cost of cutting and making good to wall or M.S. bolts and nuts 4" into wall i/c. Pipe distance Pieces extra painting to match the colour of the building. (WSSI No:2, P-9)
1
|  | 2 | Nos. | Rs. | 72.16 | P.Each | Rs. | 144 | /-
31 | Providing & fixing 24"x18" lavatory basin white glazed earthen ware complete with and i/c. the cost of WI or CI cantileve brackets 6" built into wall painted white in two coats after a primary coat of red lead paint, a pair of 1/2" dia. rubber plug and chrome plate brass chain 1-1/4" dia. malloable iron or CP brass traps malloable iron or brass unions and making required number holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4, (Standard pattern) . (WSSI No:8, P-9)
1
|  | 2 | Nos. | Rs. | 4253.7 | P.Each | Rs. | 8507 | /-
32 | C.P. Brass Bib cock & stop cocks (a). 3/4" dia. Bass bib cock, Light pattern. (WSSI No:1-a, P-16)
|  | 6 | Nos | Rs. | 348.92 | P.Each | Rs. | 2094 | /-
33 | Providing & fixing handle valves (China) 3/4" dia. (WSSI No:5-I, P-17)
3/4" dia.
|  | 3 | Nos | Rs. | 271.92 | P.Each |  | 816 | /-
35 | Providing G.I Pipes, specials, and clamps etc, i/c. fixing cutting & fitting complete with and i/c. the cost of breaking through walls and roof, making good etc. painting two coats after cleaning the pipe etc. with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling. (WSSI No:1-I/II/III, P-12)
i. | 1-1/4" dia. |  |  | x | 1
|  | 4 | Rft. | Rs. | 153.19 | P.Rft. | Rs. | 613 | /-
ii. | 1" dia. |  |  | x | 1
|  | 30 | Rft. | Rs. | 128.55 | P.Rft. | Rs. | 3857 | /-
|  |  |  | x | 1
|  | 190 | Rft | Rs. | 95.79 | P.Rft. | Rs. | 18200 | /-
[6 empty] | Total |  | 807697 | /-
Contractor
Chairman
Town committee, Nara
Town Officer
Town committee, Nara
Assistant Executive Engineer
Town committee, Nara

## Sheet2
MATERIAL STATEMENT
S. No. | Item | Qty | Cement | Bholari | Stone Crash | Steel | Brick | Barrow Pit
1 | C.C. b/s (1:4:8) | 291.76 | 22.76 | 142.96 | 285.92 | --- | --- | ---
2 | Pacca Brick Work (1:6) | 284.97 | 9.8 | 73.24 | --- | --- | 3847 | ---
3 | Course Rubble 1:4 | 118.06 | 7.56 | 37.78 | 159.38 | --- |  | ---
4 | Pacca Brick Ground | 1048.04 | 36.05 | 269.35 | --- | --- | 14149 | ---
5 | RCC work | 387.07 | 68.12 | 170.31 | 340.62 |  | --- | ---
6 | Fabrication | 19.008 | --- | --- | --- | 0.95 | --- | ---
7 | Filling Sand | 430.22 | --- | --- | --- | --- | --- | 430.22
11 | Cement Plaster (1:6) 1/2 | 1520.13 | 8.06 | 60.81 | --- | --- | --- | ---
12 | Cement Plaster (1:4) 3/8" | 1520.13 | 8.66 | 45.6 | --- | --- | --- | ---
12 | Cement Topping 3" thick | 434 | 19.1 | 47.74 | 95.48 | --- | --- | ---
13 | Cement Pointing 1:2 | 1324.12 | 9.53 | 23.83 | --- | --- | --- | ---
14 | Pointing flush 1:3 | 117.8 | 0.64 | 2.36 | --- | --- | --- | ---
|  | Total | 190.28 | 873.98 | 881.4 | 0.95 | 17996 | 430.22
|  | Say | 190 | 874 | 881 | 0.95 | 17996 | 430
| Lead to site of work in miles |  | 162 | 166 | 15 | 39 | 10 | 2
| Rates in Rupess |  | 103.53 | 5981.56 | 1065 | 18.46 | 721.74 | 502.52
|  |  | 19699.6884 | 52277.6381 | 9386.91 | 17.537 | 12988.433 | 2161.9415
|  | Total | 96532.1481
Sub-Engineer
Town committee, Nara
Assistant Executive Engineer
Town committee, Nara

## Sheet3
BILL OF QUANTITY (B.O.Q)
194
PART-II: COMPOUND WALL:
S.# | Description | Quantity |  | Rate |  | Unit |  |  | Amount
1 | Excavation in foundation of building bridges & other structure i/c dug belling dressing refilling around the structure with excavated earth watering ramming lead, up to one chain & lift up to 5”ft Ordinary soil.(CSI-No:18-b, P-No:4) | [10 empty] | Item | Qty | Cement (Bags) | Bholari (Cft.) | Crush (Cft.) | Bricks (Nos.)
[12 empty] | CC Brick or Stone Blast 1:5:10 | 699 | 54.522 | 342.51 | 685.02 | ---
[12 empty] | Pacca Brick Work in foundation (1:6) | 1971.18 | 67.8086 | 506.5933 | --- | 26610.93
|  | 2097 | cft | Rs. | 3176.25 |  | %ocft |  | Rs: | 6660.5962 | /= | D.P.C 1:2:4 | 789.87 | 33.9644 | 86.8857 | 173.7714 | ---
2 | Cement concrete for Stone Ballast 1 ½ to 2” guage Ratio1:5:10 (CSI-No:4-c, P-No:15) | [10 empty] | Pacca Brick Work other than building (1:6) | 1217.88 | 41.8951 | 312.9952 | --- | 16441.38
[12 empty] | Cement plaster 1/2" 1:6 | 4014.74 | 21.2781 | 160.5896 | --- | ---
|  | 699 | cft | Rs. | 8694.95 |  | %cft |  | Rs: | 60778 | /= | Cement plaster 3/8" 1:4 | 4014.74 | 22.884 | 120.4422 | --- | ---
3 | Pacca brick work in foundation plinth in cement sand mortar (1:6)(CSI-No:4/I-e, P-No:20/21) | [10 empty] | Cement pointing 1:2 | 2966.24 | 21.3569 | 53.3923 | --- | ---
[13 empty] | Total | 263.7091 | 1583.4082 | 858.7914 | 43052.31
|  | 1971.18 | cft | Rs. | 11948.36 |  | % cft |  | Rs: | 235524 | /= |  | Say | 264 | 1583 | 859 | 43052
4 | D.P.C with cement sand shingle concrete (1:2:4) i/c two coats of max phalt mixture.(CSI-No:28-c, P-No:19) | [10 empty] | Lead to site of work in miles |  | 57 | 206 | 8 | 50
[12 empty] | Rates in Rupess |  | 40.53 | 7283.96 | 837.08 | 1763.74
[14 empty] | 10699.92 | 115305.0868 | 7190.5172 | 75932.5345
|  | 789.87 | sft | Rs. | 4982.18 |  | %sft |  | Rs: | 39353 | /=
[13 empty] | Total | 209128.0585
5 | Pacca Brick work other than building i/c stricly of joint 20' heght in cement sand motor motor 1:6 (CSI-No:7-e, P-No:22)
|  | 1217.88 | cft | Rs. | 12346.65 |  | %cft |  | Rs: | 150367 | /=
6 | Cement plaster 1:6 on walls 1/2" thick (CSI-No:13-b, P-No:52)
|  | 4014.74 | sft | Rs. | 2206.6 |  | %sft |  | Rs: | 88589 | /=
7 | Cement plaster 1:4 upto 20” hite 3/8 (CSI-No:11-a, P-No:52)
|  | 4014.74 | sft | Rs. | 2197.52 |  | %sft |  | Rs: | 88225 | /=
8 | Cement pointing struck joints on walls 1:2 ratio (CSI-No:19-b, P-No:53)
|  | 2966.24 | sft | Rs. | 1287.44 |  | %sft |  | Rs: | 38189 | /=
9 | White washing one coats (CSI-No:26-c, P-No:54)
|  | 4014.74 | sft | Rs. | 829.95 |  | %sft |  | Rs: | 33320 | /=
10 | Colour washing two coats (CSI-No:25-b, P-No:54)
|  | 6980.98 | sft | Rs. | 859.9 |  | %sft |  | Rs: | 60029 | /=
11 | Making & fixing steel grated doors complete with locking arrangement i/c angle iron frame 2"x2"x3/8" and 3/4" square bars 4" center to center (CSI-No:23, P-No:92)
|  | 50 | sft | Rs. | 594.57 |  | P.sft |  | Rs: | 29729 | /=
12 | Painting new surfaces (c) Preparing surface & Painting of gaurds bars, gates of iron bars gratings, railings and similar open work 3 coats.(CSI-No:5-d, P-No:69/70)
|  | 100 | sft | Rs. | 1270.83 |  | %sft |  | Rs: | 1271 | /=
[8 empty] | TOTAL | Rs: | 832034.5962 | /=
[5 empty] | Added 30.13% Above |  |  |  | Rs: | 250692 | /=
[9 empty] | Rs: | 1082763.5962 | /=
CHAIRMAN
Town committee, Nara
Sub-Engineer
Town committee, Nara
Assistant Executive Engineer
Town committee, Nara