## Schedule B
" Schedule B ."
Name of Work :- IMPROVEMENT/ REHABILITATION (RENOVATION OF CITY COURT BUILDING KARACHI CAMPUS-I&II (CONSTRUCTION OF BALLIF OFFICE AND 2 NOS COURTS GROUND+2 ELECTRIFICATION WORK
Drive D
S.No. | Item of Work | Quantity. |  | Rate | Unit | Amount. | 0
PART "A" SCHEDULE ITEMS.
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required.(S.I.No. 124, Page No. 15). | 302 | Pts. | 1130 | P.Pt. | 341260
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No. 126, Page No. 15). | 46 | Pts. | 985 | P.Pt. | 45310
3 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 10 Page No. 2). | 611 | Mtrs. | 222 | P.Mtr. | 135642
4 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.036 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 11 Page No. 2). | 544.21 | Mtrs. | 252 | P.Mtr. | 137140.92
5 | Providing and laying (Main or sub Main)PVC insulated with size 2-7/.044 (6mm2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No. 12 Page No. 2). | 170.43 | Mtrs. | 341 | P.Mtr. | 58116.63
6 | Providing and fixing Circuit Breaker 6,10,15,20,30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required.(S.I.No. 203, Page No. 31). | 90 | Nos | 916 | P.No | 82440
7 | P/F Circuit breaker 15,20,30,40,50, & 60 Amps: T.P. (XE-100CS)(CB) on prepared board as required.(S.I.No. 206, Page No. 31) | 3 | No | 5521 | P.No | 16563
8 | P/F Circuit breaker 15,20,30,40,50,60,75 & 100 Amps: T.P. (XS-100NS) on prepared board as required.(S.I.No. 207, Page No. 31) | 3 | No | 9261 | P.No | 27783
9 | P/F Circuit breaker 125,150,200 & 225 Amps: T.P. (XS-225NS) on prepared board as required.(S.I.No. 208, Page No. 31) | 1 | Nos | 25541 | P.No | 25541
10 | Providing & Fixing DP L/C Change over switch 500 volts 400 amps on a prepared board (S.I. No 222-P30) | 1 | Nos | 40126 | P.No | 40126
11 | Providing & fixing Bakelite ceiling rose with two terminals. (S.I.No. 228, Page No. 33) | 39 | Nos | 72 | P.No | 2808
12 | Providing and Fixing Brass Battern Holder. (S.I.No. 232, Page No. 33) | 48 | Nos | 70 | P.No | 3360
13 | P/F of street light 400 watts (SON-T) having 1p66 classification with 400 watts lamp,chock capacitor & internal wiring complete in all respect at the height with the help of Hydraulic crane as per site requirement and instruction of E.I (S.I No 168 P.26 | 2 | Nos | 26330 | P.No | 52660
|  |  |  | Total |  | 968750.55
Add: At Par % Above/Below
|  |  |  | Total | "A"
PART "B" NON SCHEDULE ITEMS.
1 | P/F Switch 5 Amps: approved Make i/c plastic board with necessary electric connection etc complete. | 302 | Nos. |  | Each
2 | P/F 2 Pin 5 Amps:plug socket approved Make i/c plastic board with necessary electric connection etc complete. | 46 | Nos. |  | Each
3 | P/F fancy type 3 pin 15 Amps: S.P. plug socket switch & shoe unit approved Make with board i/c necessary connection and cessed in the wall etc, complete. | 12 | Nos. |  | Each.
4 | P/F fancy type 3 pin 5 Amps: S.P. plug socket switch & shoe unit mporated Make with board i/c necessary connection and recessed in the wall etc, complete. | 42 | Nos. |  | Each
5 | P/F Mild steel bar fan clamp 5/8" dia suitable for R.C.C roof complete with hook box. | 39 | Nos. |  | Each.
6 | P/F Fan dimmer fancy type Imported make with necessary connection. | 39 | Nos. |  | Each.
7 | P/F false ceiling spot light fancy type round shape with reflector glass and 2 holders and energy saver of approved make & quality in/c fixing in false ceiling by cutting hole ad directed by the E.I | 180 | Nos. |  | Each.
8 | Providing & fixing Earthing set with 1x1x1/4 copper plate buried in ground at a depth of 12 or less if water comes out from the ground level with salt charcoal etc including making the pit 12 deep by excavation of all types of soil earth plate to be connected etc complete. | 1 | Nos. |  | Each
9 | P/F Main Circuit breaker 400 amps heavy duty imported make i/c fixing on incoming and outgoing lines, connection with copper luggs, fixing with nuts and bolts on prepered pannel board, as directed by the Engineer Incharge | 1 | Nos |  | Each
10 | Providing & fixing Bus Bar T.P for 400 ampsheavy duty with copper 4 strips insulator brass nuts & bolt complete i/c fitting on board with all respect labour meterial as directed by Engineer Incharge | 1 | No |  | Each
11 | P/L 1.5,mm 1 core pvc insulated proper conductor for ECC in pvc conduct on wall floor i/c excavation cutting & refilling the same as reequired etc complete | 4348 | Rft |  | P.Rft
12 | Providing & fixing Distribution Board double sheet to accommodate heavy duty circuit breader Bus Bar in/c painting with enemmeled paint & for other similar jobs on surface with following accessories.with fine finishing | 20 | Sft |  | P.Sft
13 | P/L 25 mm 2 pvc/pvc 4 core unurmoured cable 660/1200 volt AEG / Pionear make i/c excavation of earth for lying the cable in UPVC pipe & after lying refiling the surface earth, i/c connection with copper luggs, etc as required. | 145 | Rft |  | P.Rft
14 | P/L 70 mm 2 pvc/pvc 4 core unurmoured cable 660/1200 volt AEG / Pionear make i/c excavation of earth for lying the cable in UPVC pipe & after lying refiling the surface earth, i/c connection with copper luggs, etc as required. | 110 | Rft |  | P.Rft
15 | P/F Energy saver 18 to 24 watts approved quality etc, complete. | 180 | Nos. |  | Each
16 | P/F LED Tube light 36 watt Imported make with Metal Base with LED chip EPI star 214 i/c necessary connection etc, complete. | 105 | Nos. |  | Each
17 | P/F Ceiling Fan 56" sweep (Pak/Royal /Millat make or equivalent with necessary electric connection/ cartage etc, complete. | 48 | Nos. |  | Each
18 | P/F Wall Bracket 18" sweep Imported make or equalent quality i/c necessary electric connection etc, complete. | 12 | No |  | Each
19 | P/F Exhaust Fan 10" to 12" sweep Metal Body/Plastic Body i/c necessary electric connection etc, complete. | 6 | No |  | Each
20 | P/F Electric Water Cooler matalic body 30 to 40 gellons National Make or approved quality i/c filtre etc complete. | 1 | No |  | Each.
|  |  |  | Total | "B"
|  |  |  | Total | "A"
|  | Grand |  | Total
TERMS AND CONDITIONS:-
1. Arbitration clause stands deleted from the Agreement.
2. Any typographical error in the Schedule "B" are subject to the correction with the reference to the Schedule of Rates for Electrical works 2012 in force from 12 July 2012 publication No 52/54 as approved by standing rates committee, Sindh Karachi.
3. No. premium shall be paid on Non-Schedule Items.
4. The Contractors quoting exorbitant will be required to submit Rate Analysis to justify their rates within specified time other wise the concerned contractor shall be treated as a quilty of misconduct and he shall be liable to face punitive action under
5. Valid Electrical License from Electerical Inspector Karachi is verified.
| CONTRACTOR. Assistant Engineer |  |  | Executive Engineer
| Provincial Electrical Sub-Divn-IV, |  | Provincial Building Division-III,
| Karachi. |  | Karachi.