## Drains
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
Name of Work |  | CONSTRUCTION OF SURFACE DRAINS TYPE-I & II I/C C.C TOPPING, REPAIR OF EXISTING DRAINS, CIVIL STRUCTURE, SUPPLYING & INSTALLING PUMPING MACHINERY & REPAIR OF OXIDATION PONDS FOR RURAL RDRAINAGE SCHEME UMER BODLEJO TALUKA SAKRAND DISTRICT SHAHEED BENAZIR ABAD
PART-A |  | SURFACE DRAINS TYPE-I & II
Item No. | Description of item to be executed at site |  |  | Unit | Quantity | Rate | Amount in Rupees
1 | Excavation in foundation of building bridges and other structures I/c dag belling dressing refilling around the structures with excavated Earth watering ramming lead up to one chain and lift up to 5’ (GSI No. 18 P-04) |  |  | P: %0 Cft: | 11030 | 3176.25 | 35034.0375
2 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (GSI No. 5 (i) P-16) |  |  | P: % Cft: | 2645 | 11288.75 | 298587.4375
3 | Pacca brick work in foundation and plinth in cement, sand, mortar (1:6) (GSI No 5 (e) P-21) |  |  | P: % Cft: | 6675 | 11948.36 | 797553.03
4 | Construction of Standard open drains bundle block of cement concret (1:2:4) in situ to the design profile i/c cost of module as per drawing i/c applying floating cost of cement 1/2" thick to the exposed face finished smooth curing etc complete as per detailed drawing (PHSI No. 1 (ii) P-58)
|  |  | Type-I | P: Rft: | 4000 | 94 | 376000
|  |  | Type-II | P: Rft: | 300 | 174 | 52200
5 | Cement Plaster (1:4) 1/2” thick up to 12’ height (GSI No.11 (b) P-52) |  |  | P: % Sft: | 3786 | 2283.93 | 86469.5898
6 | R.C.C work in roof slab beams columns rafts lintels and other structural members laid in situ or prrecast laid in position complete in all respect. (i) Ratio 1:2:4 Lbs cement2 Cft, sand 4 cft shingle1/8” to ¼” gauge (GSI No. 6 P-49) |  |  | P: Cft: | 2645 | 337 | 891365
7 | Fabrication of mild steel reinforcement for C.C i/c cutting, bending, laying in position making joints and fastening i/c cost of binding wire (also i/c removal of rust from bars) (Using Tor Bars) (GSI No. 8 (b) P-17) |  |  | P: Cwt: | 94.46 | 5001.7 | 472460.582
[6 empty] | TOTAL | 3009669
|  | CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## C.C Top..
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-B |  | C.C TOPPING
Item No. | Description of item to be executed at site |  |  | Unit | Quantity | Rate | Amount in Rupees
1 | Barrow pit excavation undressed lead upto 100 ft: (ordinary soil) (CSI No. 3 P-1) |  |  | P: %0 Cft: | 54190 | 2117.5 | 114747.325
2 | Earth work compaction (Soft, ordinary and hard soil) (b) Laying earth in 6" layers levelling and dressing etc completed (CSI No. 13 (b) P-3) |  |  | P: %0 Cft: | 65220 | 263 | 17152.86
3 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge Ratio 1:4:8 (GSI No. 5 P-15) |  |  | P: % Cft: | 14348.4 | 9416.28 | 1351085.5195
4 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering Ratio 1:2:4 (CSI No. 5 P-16) |  |  | P: % Cft: | 10870 | 14429.25 | 1568459.475
5 | Earth from outside (Lead 1 Mile) |  |  | P: %0 Cft: | 54190 | 407 | 220553.3
6 | Erection and removal of centering for RCC or plain C.C Work of Partal Wood 1st class(vertical) (GSI No. 18 (b) P-19) |  |  | P: % Sft: | 1358.8 | 3127.41 | 42495.2471
[6 empty] | TOTAL | 3314493
|  |  | CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## R.Drains
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-C |  | REPAIR OF EXISTING DRAINS
Item No. | Description of item to be executed at site |  |  | Unit | Quantity | Rate | Amount in Rupees
1 | Earth work excavation in ASHES and soft soil or silt clearance undressed lead upto 50' ft: (GSI No. 2 P-1) |  |  | P: %0 Cft: | 26943 | 1663.75 | 44826.4163
2 | Extra for wet earth work (GSI No. 15 P-03) |  |  | P: %0 Cft: | 26943 | 1058.75 | 28525.9012
3 | Extra for every 50 ft: additional lead or part thereof for earth work (soft ordinary hard and very hard) (CSI No. 8 P-3) |  |  | P: %0 Cft: | 26943 | 2922.62 | 78744.1507
4 | Pacca brick work in foundation and plinth in cement, sand, mortar (1:6) (GSI No 5 (e) P-21) |  |  | P: % Cft: | 5850 | 11948.36 | 698980
5 | Cement, Plaster (1:4) 1/2" thick up to 12’ height (GSI No.11 P-51) |  |  | P:% Sft: | 15600 | 2283.93 | 356293.08
6 | R.C.C work in roof slab beams columns rafts lintels and other structural members laid in situ or prrecast laid in position complete in all respect. (i) Ratio 1:2:4 Lbs cement2 Cft, sand 4 cft shingle1/8” to ¼” gauge (GSI No. 6 P-49) |  |  | P: Cft: | 218.75 | 337 | 73718.75
7 | Fabrication of mild steel reinforcement for C.C i/c cutting, bending, laying in position making joints and fastening i/c cost of binding wire (also i/c removal of rust from bars) (Using Tor Bars) (GSI No. 8 (b) P-17) |  |  | P: Cwt: | 7.81 | 5001.7 | 39063.277
[6 empty] | TOTAL | 1320151
|  |  | CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## Civil Struc...
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-D |  | REPAIR OF CIVIL STRUCTURE
Item No. | Description of item to be executed at site |  |  | Unit | Quantity | Rate | Amount
1 | Dismentling cement concrete plain (1:2:4) (GSI No. 19 P-10) |  |  | P:% Cft: | 73.12 | 3327.5 | 2433.068
2 | Cleaning of Collecting Tank/ sump below ground level i/c dewatering of sullage water & disposal of garbage, solid waste outside the tank etc complete (PHSI No. 1 P-59) |  |  | P:%0 Cft: | 1593 | 11900 | 18956.7
3 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering Ratio 1:2:4 (GSI No. 5 P-15) |  |  | P:% Cft: | 118.86 | 14429.25 | 17150.6066
4 | Erection and removal of centering for RCC or plain C.C Work of deodar Wood 2nd class (Vertical) (GSI No. 19 (ii) P-18) |  |  | P:% Sft: | 240.72 | 3127.41 | 7528.3014
5 | Providing and laying 3” thick topping Cement Concrete (1:2:4) I/c surface, finishing and dividing in to panel (GSI No. 16 P-42) |  |  | P:% Sft: | 312 | 4411.82 | 13764.8784
6 | R.C.C work in roof slab beams columns rafts lintels and other structural members laid in situ or prrecast laid in position complete in all respect. (I) Ratio 2:2:4 Lbs cement2 Cft, sand 4 cft shingle1/8” to ¼” gauge (GSI No. 6 P-16) |  |  | P: Cft: | 133.13 | 337 | 44864.81
7 | Fabrication of mild steel reinforcement for C.C i/c cutting, bending, laying in position making joints and fastening i/c cost of binding wire (also i/c removal of rust from bars) (GSI No. 8 P-16) |  |  | P: Cwt: | 5.34 | 5001.7 | 26709.078
8 | Damp proof course with (cement sand and shingle concrete 1:2:4) i/c 2 coats of asphaltic mixture (GSI No. 28 P-19) 3" thick |  |  | P: % Cft: | 441 | 4982.18 | 21971.4138
9 | Pacca brick work (1:6) in other than building in cement, sand, mortar (GSI No. 7 P-21) |  |  | P:% Cft: | 734.58 | 12346.65 | 90696.0216
10 | Cement, Plaster (1:6) 1/2" thick up to 12’ height (GSI No.13 P-51) |  |  | P:% Sft: | 4462 | 2206.6 | 98458.492
11 | Cement, Plaster (1:4) 3/8" thick up to 12’ height (GSI No.11 P-51) |  |  | P:% Sft: | 4462 | 2197.52 | 98053.3424
12 | Cement, Pointing struck joint on walls (1:3) (GSI No.19 P-52) |  |  | P:% Sft: | 1584 | 1213.58 | 19223.1072
13 | Fabrication of heavy steel work with angle tee flats iron round iron and sheet iron for making tr uses griders tanks etc i/c cutting bending drilling reviting handing assesmling and fixing etc complete (CSI No. 2 P-90) |  |  | P: Cwt: | 12.94 | 4928.49 | 63774.6606
14 | Supplying & fixing in position iron/ steel grill of 3/4" x 1/4" size flat iron of approved design i/c painting 3 coats etc complete (weight not to be less than 3.7 Lbs/Sq ft: of finished grill) (GSI No. 26 P-93) |  |  | P: Sft: | 72 | 180.5 | 12996
Item No. | Description of item to be executed at site |  |  | Unit | Quantity | Rate | Amount
15 | Preparing surface and painting doors and windows any type i/c edges 3 coats (GSI No. 5 P-69) |  |  | P:% Sft: | 251.5 | 2116.41 | 5322.7711
16 | Primary coat of chalk disptembring (GSI No. 26 P-53) |  |  | P:% Sft: | 3663.53 | 442.75 | 16220.2791
17 | Distembring Tow coats (GSI No. 26 P-53) |  |  | P:% Sft: | 3663.53 | 1043.9 | 38243.5897
18 | Barrow pit excavation undressed lead upto 100 ft: (ordinary soil) (CSI No. 3 P-1) |  |  | P:%0 Cft: | 8311.13 | 2117.5 | 17598.8178
19 | Earth work compaction (Soft, ordinary and hard soil) (b) Laying earth in 6" layers levelling and dressing watering for compaction etc completed (CSI No. 3 P-4) |  |  | P:%0 Cft: | 8311.13 | 263 | 2185.8272
20 | Earth from outside (Lead 1 Mile) |  |  | P: %0 Cft: | 8311.13 | 407 | 33826.2991
[6 empty] | TOTAL | 649978.0638
|  |  | CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## P.Mach
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-E |  | PUMPING MACHINERY
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
1 | Supplying & installing in position i/c transportation to site of work @ Village Umer Bodlejo electric pumping set consisting of A.C electric motor 7.5 BHP Siemens made 3 Phase 50 cycle 400/420 volts of 1450 RPM made type (ILA7-130-4AA-60) coupled with KSB non-clogging pump type KWPZ (65-315) size 3“ x 2 1/2” mounted on common steel frame or base plate capable of discharge 190 gpm against the head of 30 ft: i/c installing of pumping set on cement concrete foundation Ratio (1:2:4) and C.C Ratio (1:4:8) with ballast with M.S nuts and bolts of 5/8” dia to be embedded in C.C foundation i/c Supplying & fixing Automatic Motor Control Unit (MCU) consist oil starter (MEECO Pakistan) MCCB Breaker 10-A to 50-A (Shihlin Taiwan) cutout 60-A (China) amp meter (60-A) (SELCO China) volt meter (600-V) (SELCO China) phase indication light (China) include transformer oil (2 liters) panel board 18" x 26" x 9" and internal wiring etc complete i/c providing internal electric wiring for main switch with 3-7/0.52 (10mm) PVC insulated wire 660 volts grade in 25 mm (1”) PVC conduit on surface as required i/c providing and fixing earthing with set with 0.6m x 0.6m x 6.3 mm (2 x 2 x ½ “) G.I plate buried in ground at a depth of 3.7 m (12 ft:) for base plate & testing of the pumping set against the required head of 72 hours etc complete (R.A attached). | [5 empty] | P:Set | 1 | 688000 | 688000
2 | Supplying & installing in position i/c transportation to site of work @ Village Umer Bodlejo Diesel Engine 16 BHP (Golden) type (GD-1110L2200) coupled with KSB non-clogging pump type (65-315) size 3“ x 2 1/2” mounted on common steel frame or base plate V-belt capable of discharge 190 gpm against the head of 30 ft: i/c installing of pumping set on cement concrete foundation Ratio (1:2:4) and C.C Ratio (1:4:8) with ballast with M.S nuts and bolts of 5/8” dia to be embedded in C.C foundation & testing of the pumping set against the required head of 72 hours etc complete (R.A attached). | [5 empty] | P:Set | 1 | 203000 | 203000
3 | Manufacturing installing M.S Pipe made out M.S sheet 3/16” (4.8 mm thick) i/c cutting folding proper curvature shape i/c welding etc complete (R.A approved Based on Schedule rates)
|  |  | For suction |  |  | 4" dia | P: Rft: | 16 | 500.89 | 8014.24
4 | Providing, Laying & Fixing in trench i/c fitting, jointing & testing etc complete in all respect the high Density Polyethylene P.E pipes (HDPE-100) for W/S confirming ISO 4427/DIN8074 /8075 B.S 3580 & PSI 3051 (PHSI No. F (i) P-25)
|  | For suction & delivery |  |  |  | 4" dia | P: Rft: | 48 | 268 | 12864
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
5 | Manufacturing installing M.S Flanged 3/8” (12 mm thick) M.S sheet of required size drilling holes i/c cutting bending to correct shape welding etc complete (R.A approved Based on Schedule rates)
[6 empty] | 4" dia | Each | 18 | 1148 | 20664
6 | C.I Bend with flanged and with holes i/c turning and facing of flanges for all sizes (PHSI No. 8 P-12)
[5 empty] | 4" dia |  | P: Cwt: | 0.89 | 6096 | 5443
7 | C.I Tappers flat bottomed or central tapper flanged ends with hole i/c turning & fixing for all sizes (SMI No. 9 P-12)
|  |  |  | Reducer 4" x 2 1/2" |  |  | P: Cwt: | 0.36 | 6096 | 2177
8 | C.I Tee flanged and with holes i/c turning and facing of flanges for all size (PHSI No. 12 P-13)
[6 empty] | 4" dia | P: Cwt: | 0.18 | 6096 | 1089
9 | C.I Sluice valve heavy pattern (Test pressure) 21 kg per sq: or 300 Lbs:/ Sq: inch (SMI No. 2 (b) P-12)
[6 empty] | 4" dia | Each | 2 | 5460 | 10920
10 | C.I Reflex valve heavy pattern (Test pressure) 21 kg per sq: or 300 Lbs:/ Sq: inch (SMI No. 6 (b) P-12)
[6 empty] | 4" dia | Each | 2 | 1706.25 | 3412.5
11 | C.I Foot valve heavy pattern with cone type gate (Imported) (SMI No. 4 P-12)
[6 empty] | 4" dia | Each | 2 | 893.75 | 1787.5
12 | But fusion Joint (PHS Mat: No. 1 P-21)
[6 empty] | 4" dia | Each | 18 | 1000 | 18000
14 | Flange Adopter (M.R)
[6 empty] | 4" dia | Each | 18 | 1215 | 21870
15 | Jointing C.I.M.S Flanged pipe and specials flanged and inside a trenches nuts and bolts with washer etc and other is required for joining and testing joints to the specified pressure etc complete (PHSI No.1 P-40)
[6 empty] | 4" dia | P: Joint | 26 | 513 | 13338
[9 empty] | TOTAL | 1010580
|  |  | CONTRACTOR |  |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## Repair O.P
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-F |  | REPAIR OF OXIDATION PONDS
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount
1 | Excavation for tanks & reservoir in wet soil clay or mud i/c trimming and dressing to true alignment design section profile & shape leveling of tanks to correct level & grade cutting joints holes i/c laying earth in 6” layers for construction of banks & banks dressing disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 14 P-74) | [5 empty] | P: %0 Cft: | 3264 | 4800 | 15667.2
2 | Earth work compaction (Soft, ordinary and hard soil) (b) Laying earth in 6" layers levelling and dressing watering for compaction etc completed (CSI No. 13 (b) P-3) | [5 empty] | P: %0 Cft: | 4080 | 354 | 1444.32
3 | Excavation for pipe line in trenches and pits in soft soil i/c trimming and dressing sides to true alignment shape leveling of beds of trenches to correct level & grade cutting joints holes i/c laying earth in 6” layers for construction of banks & banks dressing disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 1 P-60) | [5 empty] | P: %0 Cft: | 576 | 3600 | 2073.6
4 | Providing RCC pipe of ASTM C-76-62 T/C 76 – 70 Class – II wall – B and fixing in trenches i/c cutting bending and jointing with rubber rings i/c testing with water to specified pressure (PHSI No. b (i) P-17)
[6 empty] | 12" dia | P: Rft: | 48 | 412 | 19776
5 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (GSI No. 5 (i) P-16) | [5 empty] | P: % Cft: | 28.26 | 11288.75 | 3190.2007
6 | Excavation in foundation of building bridges and other structures I/c dag belling dressing refilling around the structures with excavated Earth watering ramming lead up to one chain and lift up to 5’ (GSI No. 18 P-04) | [5 empty] | P: %0 Cft: | 141.3 | 3176.25 | 448.8041
7 | R.C.C work in roof slab beams columns rafts lintels and other structural members laid in situ or prrecast laid in position complete in all respect. (i) Ratio 1:2:4 Lbs cement2 Cft, sand 4 cft shingle1/8” to ¼” gauge (GSI No. 6 (b) P-17) | [5 empty] | P: Cft: | 63.58 | 337 | 21426.46
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
8 | Fabrication of mild steel reinforcement for C.C i/c cutting, bending, laying in position making joints and fastening i/c cost of binding wire(also i/c removal of rust from bars) (GSI No. 8 (b) P-17) | [5 empty] | P: Cwt: | 2.55 | 5001.7 | 12754.335
9 | Refilling the excavated stuff in 6” thick layers watering ramming to full compaction etc complete (PHSI No: 24 P-53) | [5 empty] | P: %0 Cft: | 510 | 2760 | 1407.6
[9 empty] | TOTAL | 78188
| PART-A |  | Rs. | 3009669
| PART-B |  | Rs. | 3314493
| PART-C |  | Rs. | 1320151
| PART-D |  | Rs. | 649978
| PART-E |  | Rs. | 1010580
| PART-F |  | Rs. | 78188
| TOTAL (a) |  | Rs. | 9383059
--------- | % above/ below on the rates of CSR. |  |  |  | Amount to be added/ deducted on the basis of
[5 empty] | of premium quoted |  |  | Total (b) | __________________
Total (A) = a + b in words & figures
|  |  |  | CONTRACTOR |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD