## C.W.T
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
Name of Work |  | REHABILITATION OF RURAL WATERS SUPPLY SCHEME VILLAGE GUPCHANI U.C GUPCHANI TALUKA DAUR DISTRICT SHAHEED BENAZIR ABAD
Item No. | Description of item to be executed at site |  |  |  |  | Unit | Quantity | Rate | Amount in Rupees
1 | Excavation for tanks & reservoir in soft soil i/c trimming and dressing to true alignment & shape leveling of beds of trenches to correct level & grade cutting joints holes disposal surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 1 P-67)
[5 empty] | 0'-5' depth | P: %0 Cft: | 12854.25 | 3000 | 38562.75
2 | Excavation for tanks & reservoir in Wet soil clay or mud i/c trimming and dressing to true alignment & shape leveling of beds of trenches to correct level & grade cutting joints holes disposal surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 1 P-74)
[5 empty] | 5'-8' depth | P: %0 Cft: | 7662.12 | 5350 | 40992.342
3 | Earth work compaction (Soft, ordinary and hard soil) (b) Laying earth in 6" layers levelling and dressing etc completed (CSI No. 13 (b) P-3) |  |  |  |  | P: %0 Cft: | 19404 | 354 | 6869.016
4 | Excavation in foundation of building bridges and other structures I/c dag belling dressing refilling around the structures with excavated Earth watering ramming lead up to one chain and lift up to 5’ (GSI No. 18 P-04) |  |  |  |  | P: %0 Cft: | 387 | 3176.25 | 1229.2088
5 | Cement concrete plain i/c placing compacting finishing and curing completed i/c screening and washing of stone aggregate without shuttering (CSI No: 5 P-15)
[5 empty] | Ratio 1:4:8 | P: % Cft: | 2313.84 | 11288.75 | 261203.613
6 | Pacca brick work in foundation and plinth in cement, sand, mortar (1:6) (GSI No 5 (e) P-21) |  |  |  |  | P: % Cft: | 683.76 | 11948.36 | 81698.1063
7 | Cement, Plaster (1:4) 1/2" thick up to 12’ height (CSI No.11 P-52) |  |  |  |  | P: % Sft: | 908.25 | 2283.93 | 20743.7942
8 | Brick lining (9" x 4 1/2" x 3") in (1:3) cement sand mortar (GSI No. 9 P-75)
|  |  |  | (a) | In Bed | P: % Cft: | 651.75 | 13765.81 | 89718.6667
|  |  |  | (b) | On Slop | P: % Cft: | 1555.85 | 14204.44 | 220999
9 | Cement, Pointing struck joint on walls Ratio (1:3) (GSI No.19 P-53) |  |  |  |  | P: % Sft: | 4205 | 1213.58 | 51031.039
Item No. | Description of item to be executed at site |  |  |  |  | Unit | Quantity | Rate | Amount in Rupees
10 | Excavation for pipe line in trenches and pits in soft soil i/c clay or mud trimming and dressing sides to true alignment shape leveling of beds of trenches to correct level & grade cutting joints holes i/c laying earth in 6” layers for construction of banks & banks dressing disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 1 P-60) |  |  |  |  | P: %0 Cft: | 108 | 3600 | 388.8
11 | Providing RCC pipe of ASTM C-76-62 T/C 76 – 70 Class – II wall – B and fixing in trenches i/c cutting bending and jointing with rubber rings i/c testing with water to specified pressure (PHSI No. b (i) P-17)
[5 empty] | 12" dia | P: Rft: | 36 | 412 | 14832
12 | Refilling the excavated stuff in 6” thick layers watering ramming to full compaction etc complete (PHSI No: 24 P-53) |  |  |  |  | P: %0 Cft: | 1663 | 2760 | 4589.88
[8 empty] | TOTAL | 813051
|  |  | CONTRACTOR |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## P.House
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-B |  | PUMP HOUSE (10' x 12')
Item No. | Description of item to be executed at site |  |  |  | Unit | Quantity | Rate | Amount in Rupees
1 | Excavation in foundation of building bridges and other structures I/c dag belling dressing refilling around the structures with excavated Earth watering ramming lead up to one chain and lift up to 5’ (GSI No. 18 (b) P-04) |  |  |  | P: %0 Cft: | 188 | 3176.25 | 597.135
2 | Cement concrete brick or stone ballast 1 ½” to 2” gauge Ratio 1:4:8 (GSI No. 4 (b) P-15) |  |  |  | P: % Cft: | 90.97 | 9416.28 | 8565.9899
3 | Pacca brick work in foundation and plinth in cement sand mortar (CSI No. 4 (e) P-21) |  |  |  | P: % Cft: | 212.34 | 11948.36 | 25371.1476
4 | Damp proof course with (cement sand and shingle concrete 1:2:4) i/c 2 coats of asphaltic mixture (GSI No. 28 P-19) 3" thick |  |  |  | P: % Cft: | 53.08 | 4982.18 | 2644.5411
5 | Pacca brick work (1:6) in ground floor cement, sand, mortar (GSI No. 5 P-21) |  |  |  | P: % Cft: | 305.06 | 12674.36 | 38664.4026
6 | R.C.C work in roof slab beams columns rafts lintels and other structural members laid in situ or prrecast laid in position complete in all respect. (I) Ratio 1:2:4 Lbs cement2 Cft, sand 4 cft shingle1/8” to ¼” gauge (GSI No. 6 (b) P-17) |  |  |  | P: Cft: | 92.76 | 337 | 31260.12
7 | Fabrication of mild steel reinforcement for C.C i/c cutting, bending, laying in position making joints and fastening i/c cost of binding wire(also i/c removal of rust from bars) (GSI No. 8 (b) P-17) |  |  |  | P: Cwt: | 3.73 | 5001.7 | 18641
8 | Cement, Plaster (1:6) 1/2" thick up to 12’ height (GSI No.13 P-52) |  |  |  | P: % Sft: | 525.56 | 2206.6 | 11597.007
9 | Cement, Plaster (1:4) 3/8" thick up to 12’ height (GSI No.13 P-52) |  |  |  | P: % Sft: | 525.56 | 2197.52 | 11549.2861
10 | Providing and laying 3” thick to toping Cement Concrete (1:2:4) I/c surface, finishing and dividing in to panel (GSI No. 16 P-42) |  |  |  | P: % Sft: | 120 | 4411.82 | 5294.184
11 | Fabrication of heavy steel work with angle tee flats iron round iron and sheet iron for making tr uses griders tanks etc i/c cutting bending drilling reviting handing assesmling and fixing etc complete (CSI No. 2 P-91) |  |  |  | P: Cwt: | 4.41 | 4928.49 | 21734.6409
12 | Cement, Pointing struck joint on walls (1:3) (GSI No.19 P-53) |  |  |  | P: % Sft: | 443.25 | 1213.58 | 5379.1933
13 | Earth filling water and ramming earth under floor with surplus earth excavated from trenches lead upto one chain and lift upto 5 ft: (CSI No.22 P-4) |  |  |  | P: %0 Cft: | 273.12 | 1512.5 | 413.094
Item No. | Description of item to be executed at site |  |  |  | Unit | Quantity | Rate | Amount in Rupees
14 | Painting new surface preparing surface and painting doors and windows any type i/c edges (GSI No.5 (c) P-70) |  |  |  | P: % Sft: | 100 | 1489.68 | 1489.68
15 | White washing of one coat (GSI No.26 P-54) |  |  |  | P: % Sft: | 968.81 | 416.63 | 4036.3531
16 | White washing of Three coats (GSI No. 26 P-54) |  |  |  | P: % Sft: | 120 | 829.95 | 995.94
17 | Colour Washing Two Coats (GSI No. 26 (b) P-54). |  |  |  | P: % Sft: | 968.81 | 859.9 | 8330.7972
[7 empty] | TOTAL | 196564.5119
|  |  | CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## Repair of S.T
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-C |  | REPAIR OF STORAGE TANKS
Item No. | Description of item to be executed at site |  |  | Unit | Quantity | Rate | Amount
1 | Earth work excavation in ASHES and soft soil or silt clearance undressed lead upto 50' ft: (GSI No. 2 P-1) |  |  | P: %0 Cft: | 6115.2 | 1663.75 | 10174.164
2 | Extra for every 50 ft: additional lead or part thereof for earth work (soft ordinary hard and very hard) (CSI No. 8 P-3) |  |  | P: %0 Cft: | 6115.2 | 604.68 | 3697.7391
3 | Cement concrete linining Ratio (1:2:4) (GSI No. 11 P-75) |  |  | P: % Cft: | 3027.6 | 14227.95 | 430765.4142
4 | Cement concrete brick or stone ballast 1 ½” to 2” gauge Ratio 1:4:8 (GSI No. 4 (b) P-15) |  |  | P: % Cft: | 1190 | 9416.28 | 112053.732
5 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering Ratio 1:2:4 (CSI No. 5 P-16) |  |  | P: % Cft: | 1190 | 14429.25 | 171708.075
6 | Pacca brick work in foundation and plinth in cement, sand, mortar (1:6) (GSI No 5 (e) P-21) |  |  | P: % Cft: | 523.43 | 11948.36 | 62541.3007
7 | Cement, Plaster (1:4) 1/2" thick up to 12’ height (GSI No.13 P-52) |  |  | P:% Sft: | 2363.06 | 2283.93 | 53970
[6 empty] | TOTAL | 844910.4251
|  |  | CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## Repair of C.Wall
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-D |  | REPAIR OF COMPOUND WALL
Item No. | Description of item to be executed at site |  |  | Unit | Quantity | Rate | Amount
1 | Dismantling of C.C plain Ratio (1:3:6) (GSI No. 19 P-11) |  |  | P: %0 Cft: | 393.75 | 3176.25 | 1250.6484
2 | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering Ratio 1:2:4 (CSI No. 5 P-16) |  |  | P: % Cft: | 787.5 | 14429.25 | 113630.3438
3 | Erection and removal of centering for RCC or plain C.C Work of deodar Wood 2nd class (Vertical) (GSI No. 19 (ii) P-18) |  |  | P:% Sft: | 1575 | 3127.41 | 49256.7075
4 | Pacca brick work (1:6) in other than building in cement, sand, mortar (GSI No. 7 P-21) |  |  | P:% Cft: | 1714.5 | 12346.65 | 211683.3142
5 | Cement Plaster (1:4) 1/2” thick up to 12’ height (GSI No.11 (b) P-52) |  |  | P: % Sft: | 5973 | 2283.93 | 136419.1389
6 | R.C.C work in roof slab beams columns rafts lintels and other structural members laid in situ or prrecast laid in position complete in all respect. (i) Ratio 1:2:4 Lbs cement2 Cft, sand 4 cft shingle1/8” to ¼” gauge (GSI No. 6 P-49) |  |  | P: Cft: | 43.5 | 337 | 14659.5
7 | Fabrication of mild steel reinforcement for C.C i/c cutting, bending, laying in position making joints and fastening i/c cost of binding wire (also i/c removal of rust from bars) (Using Tor Bars) (GSI No. 8 (b) P-17) |  |  | P: Cwt: | 1.74 | 5001.7 | 8702.958
8 | Cement, Pointing struck joint on walls (1:3) (GSI No.19 P-52) |  |  | P:% Sft: | 3600 | 1213.58 | 43688.88
9 | Fabrication of heavy steel work with angle tee flats iron round iron and sheet iron for making tr uses griders tanks etc i/c cutting bending drilling reviting handing assesmling and fixing etc complete (CSI No. 2 P-91) |  |  | P: Cwt: | 6.42 | 4928.49 | 31640
10 | Painting new surface preparing surface and painting doors and windows any type i/c edges (GSI No.5 (c) P-70) |  |  | P: % Sft: | 120 | 2116.41 | 2539.692
11 | Providing and laying 2” thick to toping Cement Concrete (1:2:4) I/c surface, finishing and dividing in to panel (GSI No. 16 P-42) |  |  | P: % Sft: | 120 | 3275.5 | 3275
12 | White washing of one coat (GSI No.26 P-54) |  |  | P: % Sft: | 5973 | 416.63 | 23033
13 | Colour Washing Two Coats (GSI No. 26 (b) P-54). |  |  | P: % Sft: | 5973 | 859.9 | 51361.827
[6 empty] | TOTAL | 691141
|  |  | CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## P. Mach
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-E |  | PUMPING MACHINERY
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
1 | Supplying & installing in position i/c transportation to site of work @ Village Gupchani @ Water Works electric pumping set consisting of A.C electric motor 20 BHP 3 Phase 50 cycle 400/420 volts of 2900 RPM Siemens made type (ILA7-165-4AA-60) coupled with KSB pump type ETA (65-200) size 3" x 2 1/2“ mounted on common steel frame or base plate capable of discharge 2750 gpm against the head of 105 ft: i/c installing of pumping set on cement concrete foundation Ratio (1:2:4) and C.C Ratio (1:4:8) with ballast with M.S nuts and bolts of 5/8” dia to be embedded in C.C foundation i/c providing and fixing automatic start delta starter (KSB) i/c providing & fixing prepared circuit breaker and neutral switch fuse with requireable type fuse link carrier 500 volts and 0-50 ampars installed on metaled board i/c providing internal electric wiring for main switch with 3-7/0.58 (10mm) PVC insulated wire 660 volts grade in 25 mm (1”) PVC conduit on surface as required i/c providing and fixing earthing with set with 0.6m x 0.6m x 6.3 mm (2 x 2 x ½ “) copper plate buried in ground at a depth 12" or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12" deep by excavation of all type of soil, earth plate to be connceted with No. S.S.W.G bare copper wire run in 1/2" G.I Pipe straight from the earth plate & testing of the pumping set against the required head of 72 hours etc complete (Market Rate). | [5 empty] | Set | 2 | 366000 | 732000
2 | Supplying & installing in position i/c transportation to site of work @ Village Gupchani @ Intake Works electric pumping set consisting of A.C electric motor 15 BHP 3 Phase 50 cycle 400/420 volts of 2900 RPM Siemens made type (ILA7-164-2AA-60) coupled with KSB pump type ETA (65-200) size 3" x 2 1/2“mounted on common steel frame or base plate capable of discharge 190 gpm against the head of 100 ft: i/c installing of pumping set on cement concrete foundation Ratio (1:2:4) and C.C Ratio (1:4:8) with ballast with M.S nuts and bolts of 5/8” dia to be embedded in C.C foundation i/c providing and fixing automatic start delta starter (KSB) i/c providing & fixing prepared circuit breaker and neutral switch fuse with requireable type fuse link carrier 500 volts and 0-50 ampars installed on metaled board i/c providing internal electric wiring for main switch with 3-7/0.58 (10mm) PVC insulated wire 660 volts grade in 25 mm (1”) PVC conduit on surface as required i/c providing and fixing earthing with set with 0.6m x 0.6m x 6.3 mm (2 x 2 x ½ “) copper plate buried in ground at a depth 12" or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12" deep by excavation of all type of soil, earth plate to be connceted with No. S.S.W.G bare copper wire run in 1/2" G.I Pipe straight from the earth plate & testing of the pumping set against the required head of 72 hours etc complete (R.A attached). | [5 empty] | Set | 2 | 287000 | 574000
3 | C.I Reflex valve heavy pattern (Test pressure) 21 kg per sq: or 300 Lbs:/ Sq: inch (SMI No. 6 (b) P-12)
[6 empty] | 3" dia | Each | 4 | 1543.75 | 6175
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
4 | C.I Sluice valve heavy pattern (Test pressure) 21 kg per sq: or 300 Lbs:/ Sq: inch (SMI No. 2 (b) P-12)
[6 empty] | 3" dia | Each | 4 | 4290 | 17160
5 | Providing, Laying & Fixing in trench i/c fitting, jointing & testing etc complete in all respect the high Density Polyethylene P.E pipes (HDPE-100) for W/S confirming ISO 4427/DIN8074 /8075 B.S 3580 & PSI 3051 (PHSI No. F (i) P-25)
| (90 mm) | For suction |  |  |  | 3" dia | P: Rft: | 40 | 178 | 7120
| (110 mm) | For delivery |  |  |  | 4" dia | P: Rft: | 36 | 268 | 9648
6 | C.I Foot valve heavy pattern with cone type gate (Imported) (SMI No. 4 P-12)
[6 empty] | 3" dia | Each | 4 | 731.25 | 2925
7 | C.I Bend with flanged and with holes i/c turning and facing of flanges for all sizes (PHSI No. 8 P-12)
[5 empty] | Bend 90 |  | P: Kg | 138.38 | 120 | 16605.6
8 | C.I Tee flanged and with holes i/c turning and facing of flanges for all size (PHSI No. 12 P-13)
[6 empty] | 3" dia | P: Kg | 50 | 120 | 6000
9 | G.I Pipe……………...
|  |  | For suction |  |  | 3" dia | P: Rft: | 32 | 304.02 | 9728
10 | Manufacturing installing M.S Flanged 3/8” (12 mm thick) M.S sheet of required size drilling holes i/c cutting bending to correct shape welding etc complete (R.A approved Based on Schedule rates)
[6 empty] | 3" dia | Each | 16 | 500.89 | 8014.24
[6 empty] | 4" dia | Each | 20 | 596.75 | 11935
11 | C.I Tappers flat bottomed or central tapper flanged ends with hole i/c turning & fixing for all sizes (SMI No. 9 P-12)
|  |  |  | Reducer 2 1/2" x 3" |  |  | P: Kg | 100 | 120 | 12000
12 | But fusion Joint (PHS Mat: No. 1 P-21)
[6 empty] | 3" dia | Each | 16 | 600 | 9600
[6 empty] | 4" dia | Each | 20 | 1000 | 20000
13 | Flange Adopter (M.R)
[6 empty] | 3" dia | Each | 16 | 675 | 10800
[6 empty] | 4" dia | Each | 20 | 1215 | 24300
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
14 | Jointing C.I.M.S Flanged pipe and specials flanged and inside a trenches nuts and bolts with washer etc and other is required for joining and testing joints to the specified pressure etc complete (PHSI No.1 P-40)
[6 empty] | 3" dia | P: Joint | 16 | 499 | 7984
[6 empty] | 4" dia | Each | 20 | 513 | 10260
[9 empty] | TOTAL | 1496254.84
|  |  | CONTRACTOR |  |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## R.Man
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-F |  | P.E PIPE RISING MAIN 6" DIA
Item No. | Description of item to be executed at site |  |  |  | Unit | Quantity | Rate | Amount in Rupees
1 | Excavation for pipe line in trenches and pits in soft soil i/c clay or mud trimming and dressing sides to true alignment shape leveling of beds of trenches to correct level & grade cutting joints holes i/c laying earth in 6” layers for construction of banks & banks dressing disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 1 P-60) |  |  |  | P: %0 Cft: | 57500 | 3600 | 207000
2 | Excavation for pipe line in trenches and pits in wet soil i/c clay or mud trimming and dressing sides to true alignment shape leveling of beds of trenches to correct level & grade cutting joints holes i/c laying earth in 6” layers for construction of banks & banks dressing disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 14 P-66) |  |  |  | P: %0 Cft: | 23000 | 5400 | 124200
3 | Providing, Laying & fixing in trench i/c fitting, jointing & testing etc complete in all respect the high Density Polythylene PE Pipes (HDPE-100) for W/S confirming ISO 4427/DIN8074/8075 B.S 3580 & PSI 3051 (PHSI No. F (i) P-25).
| PN-8 |  |  | 6" dia (160 mm) | P: Rft: | 11500 | 440 | 5060000
4 | Supplying of High Density Polyethlene Fitting (PE-100) (Per Each) Equivalent make (SMI No. ix P-104)
(i) | Tee Equal 6" dia
| (160 x 160 x 160) |  |  |  | Each | 2 | 4175 | 8350
(ii) | Tee Un-Equal 6" dia
| (160 x 90 x 160) |  |  |  | Each | 1 | 3003 | 3003
(iii) | Elbow 90°
| 6" dia (160 mm) |  |  |  | Each | 3 | 3480 | 10440
(iv) | Elbow 45°
| 6" dia (160 mm) |  |  |  | Each | 3 | 2784 | 8352
(v) | S/ End Piece
| 6" dia (160 mm) |  |  |  | Each | 1 | 3386 | 3386
(vi) | Butt Fusion Joint
| 4" - 6" (110-160 mm) |  |  |  | Each | 10 | 1000 | 10000
Item No. | Description of item to be executed at site |  |  |  | Unit | Quantity | Rate | Amount in Rupees
5 | Refilling the excavated stuff in 6” thick layers watering ramming to full compaction etc complete (PHSI No: 24 P-77) |  |  |  | P: %0 Cft: | 72450 | 2760 | 199962
[7 empty] | TOTAL | 5634693
|  |  | CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## Distrib...
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-G |  | P.E PIPE DISTRIBUTION 6", 4" & 3" DIA
Item No. | Description of item to be executed at site |  |  |  |  | Unit | Quantity | Rate | Amount in Rupees
1 | Excavation for pipe line in trenches and pits in soft soil i/c clay or mud trimming and dressing sides to true alignment shape leveling of beds of trenches to correct level & grade cutting joints holes i/c laying earth in 6” layers for construction of banks & banks dressing disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 1 P-60) |  |  |  |  | P: %0 Cft: | 43400 | 3600 | 156240
2 | Excavation for pipe line in trenches and pits in wet soil i/c clay or mud trimming and dressing sides to true alignment shape leveling of beds of trenches to correct level & grade cutting joints holes i/c laying earth in 6” layers for construction of banks & banks dressing disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards lights flags temporary crossing for non vehicular traffic where ever required lift upto 5’ft: and lead upto one chain (PHSI No: 14 P-66) |  |  |  |  | P: %0 Cft: | 10400 | 5400 | 56160
3 | Providing, Laying & fixing in trench i/c fitting, jointing & testing etc complete in all respect the high Density Polythylene PE Pipes (HDPE-100) for W/S confirming ISO 4427/DIN8074/8075 B.S 3580 & PSI 3051 (PHSI No. F (i) P-25).
| PN-8 |  |  | (i) | 6" dia (160 mm) | P: Rft: | 1800 | 440 | 792000
|  |  |  | (ii) | 4" dia (110 mm) | P: Rft: | 1600 | 224 | 358400
|  |  |  | (iii) | 3" dia (90 mm) | P: Rft: | 5280 | 148 | 781440
4 | Supplying of High Density Polyethlene Fitting (PE-100) (Per Each) Equivalent make (SMI No. ix P-104)
|  |  |  | (i) | Tee Equal 6" dia
[5 empty] | (160 x 160 x 160) | Each | 3 | 4175 | 12525
|  |  |  | (ii) | Tee Equal 4" dia
[5 empty] | (110 x 110 x 110) | Each | 3 | 1986 | 5958
|  |  |  | (iii) | Tee Equal 3" dia
[5 empty] | (90 x 90 x 90) | Each | 4 | 1341 | 5364
|  |  |  | (iv) | Elbow 45°
[5 empty] | 6" dia (160 mm) | Each | 1 | 2784 | 2784
|  |  |  | (v) | Elbow 90°
[5 empty] | 6" dia (160 mm) | Each | 3 | 3480 | 10440
|  |  |  | (vi) | Elbow 90°
[5 empty] | 4" dia (110 mm) | Each | 3 | 1655 | 4965
Item No. | Description of item to be executed at site |  |  |  |  | Unit | Quantity | Rate | Amount in Rupees
|  |  |  | (viii) | S/ End Piece
[5 empty] | 6" dia (160 mm) | Each | 2 | 3386 | 6772
|  |  |  | (ix) | S/ End Piece
[5 empty] | 4" dia (110 mm) | Each | 4 | 1616 | 6464
|  |  |  | (x) | Butt Fusion Joint
[5 empty] | 4"-6" (110-160 mm) | Each | 19 | 1000 | 19000
|  |  |  | (ix) | Butt Fusion Joint
[5 empty] | 1 1/2-3" (50-90 mm) | Each | 10 | 600 | 6000
5 | Refilling the excavated stuff in 6” thick layers watering ramming to full compaction etc complete (PHSI No: 24 P-77) |  |  |  |  | P: %0 Cft: | 48420 | 2760 | 133639.2
[8 empty] | TOTAL | 2364843
|  |  | CONTRACTOR |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD

## Hypo
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
PART-H |  | P.E PIPE DISTRIBUTION 6", 4" & 3" DIA
Item No. | Description of item to be executed at site |  |  |  |  | Unit | Quantity | Rate | Amount in Rupees
1 | Supplying & fixing Hypo Chlorinator 30 gallons/ hour (M.R) |  |  |  |  | Each | 1 | 60600 | 60600
[8 empty] | TOTAL | 60600
| PART-A |  | Rs. | 813051
| PART-B |  | Rs. | 196565
| PART-C |  | Rs. | 844910
| PART-D |  | Rs. | 691142
| PART-E |  | Rs. | 1496255
| PART-F |  | Rs. | 5634693
| PART-G |  | Rs. | 2364843
| PART-H |  | Rs. | 60600
| TOTAL (a) |  | Rs. | 12102059
--------- | % above/ below on the rates of CSR. |  |  |  | Amount to be added/ deducted on the basis of
[5 empty] | of premium quoted |  | Total (b) | __________________
Total (A) = a + b in words & figures
|  |  |  | CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD