## Summary
STRENGTHENING OF ACADEMIC FACILITIES AT SHAH ABDUL LATIF UNIVERSITY, KHAIRPUR.
SUMMARY OF MAIN ENTRANCE GATE
S. No. | Particular | Total Amount
A- BUILDING WORKS
1.1 | Amount of Civil Works
1.2 | Amount of Water Supply, Sanitary Fixtures
1.3 | Amount of Internal Electrification Works |  | #DIV/0!
1.4 | Amount of External Development Works
| Amount of Building Works | 0
B- ANCILLARY WORKS
1.4 | Amount of Ancillary Works | 1513480
Total Amount of Works |  | * * *
Note : | * * * This amount shall be caried over to Main Summary

## Sum Aca Civil
STRENGTHENING OF ACADEMIC FACILITIES AT SHAH ABDUL LATIF UNIVERSITY, KHAIRPUR.
MAIN ENTRANCE GATE, RECEPTION OFFICE & GUARD ROOM
SUMMARY OF CIVIL WORKS
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
1.1.1 | Foundation Plinth | 1305294.1387 |  |  | ----
1.1.2 | Ground Floor | 2503188.7816 |  |  | ----
1.1.3 | First Floor | 1798364.1904 |  |  | ----
1.1.4 | Second Floor | 1265421.4205 |  |  | ----
1.1.5 | Third Floor | 192217.3407 |  |  | ----
| Amount of Schedule & Non Schedule Items | 7064485.8719 | ---- |  | ----
| …………….% Above / Below / At Par |  | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items |  |  |  | ----
Total Amount of Civil Works |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of Main Entrance Gate

## Aca FP - Civil
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.1: Main Entrance Gate - Civil Works - Foundation Plinth
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Excavation
| Excavation in foundation of building bridges and other structures including dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5'-0"ft. in ordinary soil. (Page No.4, Item No.18-b) | %0Cft | 3176.25 | 12294 | 39048.8175
2 | Dewatering
| Bailing or pumping out sub soil water during excavation concreting, cost in situ concrete or masonry work in foundation etc. (i) Only three operation to be allowed trench volume under water to be measured first time for excavation, second time for concreting and third time for cost in situ concrete or masonry work in foundation etc. (Page No. 75, Item No. 18-i) | %Cft | 543 | 6147 | 33378.21
3 | Dry rammed brick or stone ballast 1-1/2" to 2" gauge under foundation. (Page No. 15, Item No. 02) | %Cft | 3327.5 | 686 | 22826.65
4 | Plain Cement Concrete
| Cement concrete brick or stone ballast 1-1/2" to 2" guage. Ratio 1:4:8 (Page No. 15, Item No. 4-b) | %Cft | 9416.28 | 338 | 31827.0264
Note: Use S.R cement for work upto plinth level. Difference in cost for using S.R cement will be paid separately.
5 | Plain Cement Concrete
Cement concrete plain including placing compacting, finishing and curing,complete (including screening and washing of stone aggregate) without shuttering Ratio 1:3:6. (Page No.16 Item No.5-h)
| a) Situ for Wall | %Cft | 12595 | 740 | 93203
Note: Use S.R cement for work upto plinth level. Difference in cost for using S.R cement will be paid separately.
6 | Vertical Centering for Situ Wall
| Erection and removal of centering for RCC or plain cement concrete works of (PARTAL WOOD) (Page No.18 Item No.19-b-ii) | % Sft | 3127.41 | 2208 | 69053.2128
Name of Client: Project Coordinator, Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 5.1.1: Main Entrance Gate - Civil Works - Foundation Plinth
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
7 | REINFORCED CEMENT CONCRETE
Reinforced Cement Concrete work including all labour and material except the cost of reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kind of forms moulds; lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)
a) | R.C. Work in Roof Slab, beams columns raft, lintels and other structural members laid in situ or precast laid in position complete in all respects.
Note: Use S.R cement for work upto plinth level. Difference in cost for using S.R cement will be paid separately.
7.1 | (I) Ratio (1:2:4) 90 Lbs. cement 2 Cft. Sand 4 Cft. .Shingle 1/8" to 1/4" gauge [Page No. 16, Item No. 6(a)I]
| a) Foundations | Per Cft | 337 | 1488 | 501456
| b) Plinth beams | Per Cft | 337 | 375 | 126375
7.2 | (II) Ratio (1:1-1/2:3) in Foundation & Sub-Structure [Page No. 16, Item No. 6(a)II]
| a) Columns | Per Cft | 349 | 357 | 124593
8 | Termite Proofing
| Providing Anti-termmite by Neptachlar 0.5% Emulsion as an overall per construction treatment in slab type construction under the slab and along attached perches or entrance etc,complete as per directions of Enginner Incharge. (Page No.109 Item No.92) | Per Sft | 9.74 | 4122 | 40148.28
9 | Filling Under Floor
9.1 | Supply of clean screened (River or pit) sand within 5 chains including removal of Top crust of earth or over burden and royalty to the Government or cost to the Private Owner. (Page No. 6, Item No. 36) | %0Cft | 420 | 37098 | 15581.16
Name of Client: Project Coordinator, Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 5.1.1: Main Entrance Gate - Civil Works - Foundation Plinth
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
9.2 | Earth work compaction (soft, ordinary or hard soil) b) laying earth in 6" layers levelling and dressing complete. (Page No. 3, Item No. 13(a)) | %0Cft | 263 | 37098 | 9756.774
10 | SUB-FLOORING
10.1 | Dry rammed brick or stone ballast 1-1/2" to 2" gauge under flooring (4" thick). (Page No. 15, Item No. 02) | %Cft | 3327.5 | 1360 | 45254
10.2 | CC 1:4:8 (Sub Floor)
| Cement concrete brick or stone ballast 1-1/2" to 2" guage. Ratio 1:4:8 (4" thick) (Page No. 15, Item No. 4-b) | %Cft | 9416.28 | 1360 | 128061.408
Note: Use S.R cement for work upto plinth level. Difference in cost for using S.R cement will be paid separately.
11 | Polythene Sheet
| Providing and laying single per layer of polythene sheet 0.13 mm thick for water proofing as per specification and instruction of Engineer incharge (over plinth beam). (Page No 38, Item # 38) | P.Sft | 10.7 | 188 | 2011.6
12 | S.R. CEMENT
12.1 | Difference in cost for using SR Cement (Sulphate resistant cement) instead of OP Cement (Ordinary portland cement) in concrete upto Plinth level. (Volume-III, Part-III Schedule of Rates (Materials) General, Item No. 45-b) | P. Bag | 40 | 568 | 22720
TOTAL COST OF CIVIL WORKS - SCHEDULE ITEM |  |  |  | * | 1305294.1387
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)
Name of Client: Project Coordinator, Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 5.1.1: Main Entrance Gate - Civil Works - Foundation Plinth
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Providing and laying Cold worked deformed steel bars conforming to ASTM A-615 grade 60 reinforcement bars with and including the cost of straightening, cutting, bending, binding, wastage and such overlaps as are not shown in the drawings, hoisting and placing in position on cement concrete 1:2:4 precast or m. s. chairs, tying with binding wire, (cost of chairs and wires included) etc. in all kinds of RCC work in foundation, plinth and upper floors at any height and in projections for future extention (also includes removal of rust from bars) etc complete in all respect as per drawings, specification and instructions/approval of Engineer (Contractor shall submit bar bending schedule to the Engineer for his approval prior to start of work). | Tonne |  | 11
2 | Ground Stabilization
| Supply and filling of 3 feet deep granular material under foundations as per the recommendation of geotechnical investigation report with and including the cost of cartage to site, filling and compaction in layers not exceeding 9" depth watering, testing to 95% modified dry density etc. complete in all respect as per drawing, specification and as directed & approved by the Engineer. | Per Cft |  | 3074
TOTAL COST OF CIVIL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)

## Aca GF - Civil
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.2: Main Entrance Gate - Civil Works - Ground Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Reinforced Cement Concrete
Reinforced Cement Concrete work including all labour and material except the cost of reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kind of forms moulds; lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)
(a). R.C. Work in Roof Slab, beams columns raft, lintels and other structural members laid in situ or precast laid in position complete in all respects.
1.1 | (I) Ratio (1:2:4) Ground Floor to First Floor [Page No. 16, Item No. 6(a)I]
| a) Beams / Lintels | Per Cft | 337 | 363 | 122331
| b) Slab / Projections | Per Cft | 337 | 519 | 174903
1.2 | (II) Ratio (1:1-1/2:3) Ground Floor to First Floor [Page No. 16, Item No. 6(a)II]
| a) Columns for ground floor | Per Cft | 349 | 427 | 149023
2 | BLOCK MASONRY
2.1 | Hollow Block Masonry (External Walls)
| Precast cement concrete hollow blocks (1:2:4) in ground floor including cost of templates and constructing walls thereof (6" thick outer wall) (Page No. 17, Item No. 10) | Per Cft | 126.81 | 744 | 94346.64
2.2 | Solid Block Masonry (Internal Walls)
| Providing and laying 1:3:6 cement concrete solid block masonry wall 6" and below in thickness set in 1:6 cement mortar in ground floor super structure including racking out joints & curing etc. complete. (Page No. 19, Item No. 24) | %Cft | 15771.01 | 405 | 63872.5905
2.3 | Providing and fixing ornamental cement jali 2" thick (1:2:4) without steel. (Page No. 18, Item No. 11) | Per Sft | 226.02 | 159 | 35937.18
3 | PLASTERING
3.1 | Cement Sand Plaster 1:4 upto 12' height (GF) (b). 3/4" thick (internal walls) (Page No. 52, Item No. 11-c) | %Sft | 3015.76 | 4633 | 139720.1608
3.2 | Cement Sand Plaster 1:4 upto 12' height (GF) (c). 3/4" thick (external face) (Page No. 52, Item No. 11-c) | %Sft | 3015.76 | 146 | 4403.0096
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.2: Main Entrance Gate - Civil Works - Ground Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
4 | FLOORING
4.1 | Glazed Tile Floor / Dado
Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete including cutting tiles to proper profile. (Page No.47, Item No.60)
a) | Flooring (using approved matt finish tiles) | %Sft | 30509.77 | 73 | 22272.1321
b) | Dado (using approved glazed tiles) | %Sft | 30509.77 | 220 | 67121.494
4.2 | Paver
| Providing & fixing cement paving blocks flooring having size of 197 x 97 x 80 (mm) of city / quddra / cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi including filling the joints with hill sand and laying in specified manner / pattern and design etc. complete. (Page No. 50, Item No. 73) | Per Sft | 223.97 | 3414 | 764633.58
4.3 | Providing & fixing Precast Edge Block 3750 psi industrial made size 6" thick x 12" long x 12" high including the cost of cartage, excavation, form work for haunching, 1450 psi lean concrete, 2250 psi concrete for haunching, 1:4 cement sand mortar. (Page No. 16, Item No. 14) | Per Rft | 297.01 | 763 | 226618.63
4.4 | Hala Tiles
| Providing & laying HALA or pattern tiles glazed 8" x 8" x 1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washig and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete including cutting tiles to proper profile. (Page No. 48, Item No. 62) | %Sft | 34520.31 | 784 | 270639.2304
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.2: Main Entrance Gate - Civil Works - Ground Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5 | DOORS / WINDOWS
5.1 | Alumiunium Sliding Windows
| Supplying and fixing in position Aluminium channels framing for sliding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen including handles stoppers & locking arrangement etc.complete. Deluxe model (White) (Page No. 108, Item No. 84-a) | Per Sft | 1592.69 | 120 | 191122.8
5.2 | Alumiunium Sliding Ventilator
| Supplying and fixing in position Aluminium channels framing for sliding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) etc.complete (Animal House) Deluxe model (White) (Page No. 108, Item No. 85-a) | Per Sft | 1394.69 | 8 | 11157.52
5.3 | G.I Door Frame
| Providing & fixing G.I frames / choukhat of size 7" x 2" or 4-1/2" x 3" for door using 20 gauge G.I.sheet I/c welded hinges and fixing at site with necessary hold fasts,filling with cement sand slurry of 1:6 ratio and repairing the jambs.The cost also i/c all carriage,tools and plants used in making and fixing. (Page No. 93, Item No. 29) | Per Rft | 228.9 | 104 | 23805.6
5.4 | Wooden Beading to Door
| Providingand fixing with sunk iron screws wooden Architrave of approved design/shape having width not less than 2-1/2" inches as directed by Engineer incharge. (Page No.66 Item No. 60) | Per Rft | 49.97 | 208 | 10393.76
5.5 | Door Lock
| Providing and fixing approved quality rim lock adjustable, over the style surface. (Page No.60 Item No. 20) | Each | 408.14 | 4 | 1632.56
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.2: Main Entrance Gate - Civil Works - Ground Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5.6 | Iron Grill to Windows
| Supplying and fixing in position iron / steel grill of 3/4" x 1/4" size flat iron of approved design including painting 3 coats etc. complete (weight not to be less than 3.7 Lbs / Sq. Foot of finished grill). (Page No. 93, Item No. 26) | Per Sft | 180.5 | 128 | 23104
5.7 | Aluminium Sheet (On Doors in Toilets)
| Providing and fixing Aluminum sheet on door pasted with glue as per requirement. (Page No. 66, Item No. 61) | Per Sft | 63.77 | 30 | 1913.1
6 | PAINTING WORKS
6.1 | Distemper
| Preparing surface and painting with distemper paint three coats. (Page No.54,item No 24-c). | %Sft | 1079.65 | 708 | 7643.922
6.2 | Matt Finish Paint
| Preparing the surface and painting with Matt finish paint I/c rubbing the surface with Bathy (silicon carbide rubbing brick ) filling the voids with zink/chalk/plaster of paris mixture,applying First coat premix, making the surface smooth and than painting 3 coats with matt finish of approved make etc.complete on New surface (including 2nd & subsequent coat). (Page No.55, item No 36-A + B + B). | %Sft | 3444.38 | 2510 | 86453.938
6.3 | Weather Coat
| Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick/sand paper, filling the voids with chalk/plaster of paris and then painting with weather coat of approved make (including 2nd & subsequent coat) (Page No.56 Item No.38-A + B + B) | %Sft | 2567.95 | 146 | 3749.207
6.4 | Painting New Surfaces (Doors & Windows)
| Preparing surface and painting of doors and windows any type (including edges) (Page No. 69-70, Item No. 5-c-i + ii) | %Sft | 1489.68 | 429 | 6390.7272
TOTAL COST OF CIVIL WORKS - SCHEDULE ITEM |  |  |  | * | 2503188.7816
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.2: Main Entrance Gate - Civil Works - Ground Floor
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Providing and laying Cold worked deformed steel bars conforming to ASTM A-615 grade 60 reinforcement bars with and including the cost of straightening, cutting, bending, binding, wastage and such overlaps as are not shown in the drawings, hoisting and placing in position on cement concrete 1:2:4 precast or m. s. chairs, tying with binding wire, (cost of chairs and wires included) etc. in all kinds of RCC work in foundation, plinth and upper floors at any height and in projections for future extention (also includes removal of rust from bars) etc complete in all respect as per drawings, specification and instructions/approval of Engineer (Contractor shall submit bar bending schedule to the Engineer for his approval prior to start of work). | Tonne |  | 12
2 | Providing and laying first class Gutka Brick (9"x2-1/4"x2-1/4") in cladding set and jointed in 1:4 cement sand mortar and laid over a base of 3/4" thick cement sand plaster 1:3 including pointing of gutka bricks with pigmented cement in 1:4 cement sand mortar also including fastening arrangements galvanised tie bars, curing etc; complete in all respect as per drawings and instructions of the Engineer Incharge (cost of base plaster, fasterners and pointing included), on External Elevations at any level and any height. | P. Sft |  | 2218 |  | 318580
3 | Providing and fixing 1-1/2 inches thick solid core deodar wood flushed veneered door shutters, with and including the cost of commercial plywood facing 3 mm thick (3 ply) on both faces, fixed over best quality deodar wood frame 2 inches wide alround 6 inches wide lock rail and 2nd class deodar wood solid core, including 1/4 inch thick best quality deodar wood lipping on all sides as per approved drawing, manufactured under power driven hydraulic press, including the cost of applying solignum coating (Timberton or equivalent), and approved tower bolts, etc. complete in all respect as per drawings, specifications and as per directed by Engineer Incharge in any floor. | P. Sft |  | 119
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.2: Main Entrance Gate - Civil Works - Ground Floor
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
4 | Providing and laying polished porcelain tiles (full body) 16"x16" or 20"x20" on floor or on wall in required colour and pattern of approved make (MASTER or equivalent as approved) laid and jointed in grey cement over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joint with slurry of white cement and pigment with finishing, cleaning etc. complete including cutting tiles to proper profile in any floor.
| a) size 16" x 16" on floor | P.Sft |  | 635
| b) 4" high skirting | P.Sft |  | 71
5 | Providing and fixing quality Tower Bolt (6" long) for lavatory door. | Each |  | 2
6 | Providing and fixing 1" thick prepolished grey marble slab of approved quality and size 2' x 4' in dado / facing over 3/4" thick base of cement mortar 1:3 setting of marble in slurry of white cement over mortar base including filling the joints and washing the tiles with pigmented cement slurry, curring, finishing, cleaning in any floor at any height etc. complete in all respect as per drawings, specifications and as approved and directed by the Engineer. | Per Sft |  | 1268
7 | Providing and making cement concrete gola / cornice in ratio 1:3 fine finished with cement neru moulded in required shape & design at locations shown in drawings at any height in any floor of following sizes including curing etc. complete as approved and directed by the Engineer. (Note: Contractor shall submit the shop drawings and get its approval from the Engineer / Consultant prior to start of work).
| a) 2" thick | P. Rft |  | 76
| b) 5" thick | P. Rft |  | 317
| c) 6" thick | P. Rft |  | 97
| d) 9" thick | P. Rft |  | 314
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.2: Main Entrance Gate - Civil Works - Ground Floor
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
8 | Providing, fabricating and fixing in position single or double leaf steel gate comprising M.S. solid square bar 1-1/2" x 1-1/2" x 3/4" x 3/4", 1/2" x 1/2" welded as per design requirements with and including the cost of roller & wheel track, all accessories, locking arrangements, al-drops, hold fasts, welding / grinding, finishing, painting 2 coats of approved enamel paint over a coat of anti-corrosive paint etc. complete in all respect as per drawings, specifications and / or as directed by the Engineer. (Note: Contractor shall submit the shop drawings and get its approval from the Engineer / Consultant prior to start of work).
| a) Double leaf gate with roller and wheel track | P. Sft |  | 418
9 | Providing, laying / erection in position of RCC 1:2:4 precast spiral staircase with railing 5 feet dia with central post, nosing rendering with cement slurry on all exposed surfaces, with and including the cost of reinforcement, formwork and its removal, compacting and curing, cartage to site, handling, erection / installation in position etc. complete in all respect as per requirements and as approved and directed by the Engineer; (but excluding the cost of construction of foundation).
| a) For height of 12 feet | Nos. |  | 2
10 | Providing and fixing in position the road barrier (at entrance gate) using M.S. pipe / angle iron / beam / sheet as per requirements etc. with and including the cost of necessary suppoers, counter-weights, foundations, movement arrangements, all the required accessories, fasteners, welding, grinding & finishing, painting 2 coats of approved enamel paint (reflective type) over a coat of anti-corrosive paint etc. complete in all respect as per design / drawings, specifications and / or as approved and directed by the Engineer. (Note: Contractor shall submit the shop drawings and get its approval from the Engineer / Consultant prior to start of work). | Nos. |  | 2
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.2: Main Entrance Gate - Civil Works - Ground Floor
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
11 | Providing and installing on face wall over entrance gate the brass moulded letters size 12" high for the wording "SHAH ABDUL LATIF UNIVERSITY KHAIRPUR" including fastening accessories etc. complete in all respect as per drawings, and / or as directed by the Engineer. (Note: Contractor shall submit the shop drawings and get its approval from the Engineer / Consultant prior to start of work). | Word |  | 64
TOTAL COST OF CIVIL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)

## Aca FF - Civil
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.3: Main Entrance Gate - Civil Works - First Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Reinforced Cement Concrete
Reinforced Cement Concrete work including all labour and material except the cost of reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kind of forms moulds; lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)
(a). R.C. Work in Roof Slab, beams columns raft, lintels and other structural members laid in situ or precast laid in position complete in all respects.
1.1 | (I) Ratio (1:2:4) First Floor to Second Floor [Page No. 16, Item No. 6(a)I]
| a) Beams / Lintels | Per Cft | 337 | 187 | 63019
| b) Slab / Projections | Per Cft | 337 | 256 | 86272
1.2 | (II) Ratio (1:1-1/2:3) First Floor to Second Floor [Page No. 16, Item No. 6(a)II]
| a) Columns for first floor | Per Cft | 349 | 455 | 158795
2 | BLOCK MASONRY
2.1 | Hollow Block Masonry (External Walls)
| Precast cement concrete hollow blocks (1:2:4) including cost of templates and constructing walls thereof (Page No. 17, Item No. 10) (6" thick outer wall) | Cft | 126.81 | 960 | 121737.6
2.2 | Hollow Block Masonry (External Walls)
| Add extra labour for Block Masonry in First Floor (Page No. 19, Item No. 30-a) | %Sft | 328.97 | 1920 | 6316.224
2.3 | Solid Block Masonry (Internal Walls)
| Providing and laying 1:3:6 cement concrete solid block masonry wall 6" and below in thickness set in 1:6 cement mortar in ground floor super structure including racking out joints & curing etc. complete. (Page No. 19, Item No. 24) | %Cft | 15771.01 | 374 | 58983.5774
2.4 | Solid Block Masonry (Internal Walls)
| Add extra labour for Block Masonry in First Floor (Page No. 19, Item No. 30-a) | %Sft | 328.97 | 748 | 2460.6956
2.5 | Providing and fixing ornamental cement jali 2" thick (1:2:4) without steel. (Page No. 18, Item No. 11) | Per Sft | 226.02 | 8 | 1808.16
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.3: Main Entrance Gate - Civil Works - First Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
3 | PLASTERING
3.1 | Cement Sand Plaster 1:4 upto 12' height (b). 3/4" thick (Page No. 52, Item No. 11-c) (internal walls) | %Sft | 3015.76 | 6756 | 203744.7456
3.2 | Cement Sand Plaster 1:4 upto 12' height (c). 3/4" thick (Page No. 52, Item No. 11-c) (external face) | %Sft | 3015.76 | 6756 | 203744.7456
3.3 | Extra for lime mud or cement plaster abd pointing from 12' and above (for each additional 10' height) (c). 3/4" thick (Page No. 54, Item No. 29) (external face, from 12' to 22' height) | %Sft | 140.97 | 270 | 380.619
3.4 | Cement Sand Plaster 1:4 upto 12' height (c). 3/4" thick (Page No. 52, Item No. 11-c) (external face) | %Sft | 3015.76 | 270 | 8142.552
4 | FLOORING
4.1 | Glazed Tile Floor / Dado
Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete including cutting tiles to proper profile. (Page No.47, Item No.60)
a) | Flooring (using approved matt finish tiles) | %Sft | 30509.77 | 73 | 22272.1321
b) | Dado (using approved glazed tiles) | %Sft | 30509.77 | 220 | 67121.494
4.2 | Hala Tiles
| Providing & laying HALA or pattern tiles glazed 8" x 8" x 1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washig and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete including cutting tiles to proper profile. (Page No. 48, Item No. 62) | %Sft | 34520.31 | 1527 | 527125.1337
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.3: Main Entrance Gate - Civil Works - First Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5 | DOORS / WINDOWS
5.1 | Alumiunium Sliding Windows
| Supplying and fixing in position Aluminium channels framing for sliding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen including handles stoppers & locking arrangement etc.complete in any floor. Deluxe model (White) (Page No. 108, Item No. 84-a) | Per Sft | 1592.69 | 56 | 89190.64
5.2 | Alumiunium Sliding Ventilator
| Supplying and fixing in position Aluminium channels framing for sliding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) etc.complete (Animal House) Deluxe model (White) (Page No. 108, Item No. 85-a) | Per Sft | 1394.69 | 8 | 11157.52
5.3 | Aluminium Sheet
| Providing and fixing Aluminum sheet on door pasted with glue as per requirement. (Page No. 66, Item No. 61) | Per Sft | 63.77 | 30 | 1913.1
5.4 | G.I Door Frame
| Providing & fixing G.I frames / choukhat of size 7" x 2" or 4-1/2" x 3" for door using 20 gauge G.I.sheet I/c welded hinges and fixing at site with necessary hold fasts,filling with cement sand slurry of 1:6 ratio and repairing the jambs.The cost also i/c all carriage,tools and plants used in making and fixing. (Page No. 93, Item No. 29) | Per Rft | 228.9 | 104 | 23805.6
5.5 | Wooden Beading to Door
| Providingand fixing with sunk iron screws wooden Architrave of approved design/shape having width not less than 2-1/2" inches as directed by Engineer incharge. (Page No.66 Item No. 60) | Per Rft | 49.97 | 208 | 10393.76
5.6 | Door Lock
| Providing and fixing approved quality rim lock adjustable, over the style surface. (Page No.60 Item No. 20) | Each | 408.14 | 4 | 1632.56
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.3: Main Entrance Gate - Civil Works - First Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5.7 | Iron Grill to Windows
| Supplying and fixing in position iron / steel grill of 3/4" x 1/4" size flat iron of approved design including painting 3 coats etc. complete (weight not to be less than 3.7 Lbs / Sq. Foot of finished grill). (Page No. 93, Item No. 26) | Per Sft | 180.5 | 64 | 11552
6 | PAINTING WORKS
6.1 | Distemper
| Preparing surface and painting with distemper paint three coats. (Page No.54,item No 24-c). | %Sft | 1079.65 | 1372 | 14812.798
6.2 | Matt Finish
| Preparing the surface and painting with Matt finish paint I/c rubbing the surface with Bathy (silicon carbide rubbing brick ) filling the voids with zink/chalk/plaster of paris mixture,applying First coat premix, making the surface smooth and than painting 3 coats with matt finish of approved make etc.complete on New surface (including 2nd & subsequent coat). (Page No.55, item No 36-A + B + B). | %Sft | 3444.38 | 2574 | 88658.3412
6.3 | Weather Coat
| Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick/sand paper, filling the voids with chalk/plaster of paris and then painting with weather coat of approved make (including 2nd & subsequent coat) (Page No.56 Item No.38-A + B + B) | %Sft | 2567.95 | 270 | 6933.465
6.4 | Painting New Surfaces (Doors & Windows)
| Preparing surface and painting of doors and windows any type (including edges) (Page No. 69-70, Item No. 5-c-i + ii) | %Sft | 1489.68 | 429 | 6390.7272
TOTAL COST OF CIVIL WORKS - SCHEDULE ITEM |  |  |  | * | 1798364.1904
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.3: Main Entrance Gate - Civil Works - First Floor
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Providing and laying Cold worked deformed steel bars conforming to ASTM A-615 grade 60 reinforcement bars with and including the cost of straightening, cutting, bending, binding, wastage and such overlaps as are not shown in the drawings, hoisting and placing in position on cement concrete 1:2:4 precast or m. s. chairs, tying with binding wire, (cost of chairs and wires included) etc. in all kinds of RCC work in foundation, plinth and upper floors at any height and in projections for future extention (also includes removal of rust from bars) etc complete in all respect as per drawings, specification and instructions/approval of Engineer (Contractor shall submit bar bending schedule to the Engineer for his approval prior to start of work). | Tonne |  | 10
2 | Providing and laying first class Gutka Brick (9"x2-1/4"x2-1/4") in cladding set and jointed in 1:4 cement sand mortar and laid over a base of 3/4" thick cement sand plaster 1:3 including pointing of gutka bricks with pigmented cement in 1:4 cement sand mortar also including fastening arrangements galvanised tie bars, curing etc; complete in all respect as per drawings and instructions of the Engineer Incharge (cost of base plaster, fasterners and pointing included), on External Elevations at any level and any height. | P. Sft |  | 2228 |  | 318580
3 | Providing and fixing 1-1/2 inches thick solid core deodar wood flushed veneered door shutters, with and including the cost of commercial plywood facing 3 mm thick (3 ply) on both faces, fixed over best quality deodar wood frame 2 inches wide alround 6 inches wide lock rail and 2nd class deodar wood solid core, including 1/4 inch thick best quality deodar wood lipping on all sides as per approved drawing, manufactured under power driven hydraulic press, including the cost of applying solignum coating (Timberton or equivalent), and approved tower bolts, etc. complete in all respect as per drawings, specifications and as per directed by Engineer Incharge in any floor. | P. Sft |  | 119
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.3: Main Entrance Gate - Civil Works - First Floor
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
4 | Providing and laying polished porcelain tiles (full body) 16"x16" or 20"x20" on floor or on wall in required colour and pattern of approved make (MASTER or equivalent as approved) laid and jointed in grey cement over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joint with slurry of white cement and pigment with finishing, cleaning etc. complete including cutting tiles to proper profile in any floor.
| a) size 16" x 16" on floor | P.Sft |  | 635
| b) 4" high skirting | P.Sft |  | 71
5 | Providing and fixing quality Tower Bolt (6" long) for lavatory door. | Each |  | 2
TOTAL COST OF CIVIL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)

## Aca SF - Civil
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.4: Main Entrance Gate - Civil Works - Second Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Reinforced Cement Concrete
Reinforced Cement Concrete work including all labour and material except the cost of reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kind of forms moulds; lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)
(a). R.C. Work in Roof Slab, beams columns raft, lintels and other structural members laid in situ or precast laid in position complete in all respects.
1.1 | (I) Ratio (1:2:4) Second Floor to Roof [Page No. 16, Item No. 6(a)I+d]
| a) Beams / Lintels | Per Cft | 349.1 | 370 | 129167
| b) Slab / Projections | Per Cft | 349.1 | 660 | 230406
1.2 | (II) Ratio (1:1-1/2:3) Second Floor to Roof [Page No. 16, Item No. 6(a)II]
| a) Columns for first floor | Per Cft | 361.1 | 748 | 270102.8
2 | BLOCK MASONRY
2.1 | Hollow Block Masonry (External Walls)
| Precast cement concrete hollow blocks (1:2:4) including cost of templates and constructing walls thereof (Page No. 17, Item No. 10) (6" thick outer wall) | Cft | 126.81 | 1432 | 181591.92
2.2 | Hollow Block Masonry (External Walls)
| Add extra labour for Block Masonry in 2nd Floor (Page No. 19, Item No. 30-b) | %Sft | 760.03 | 2864 | 21767.2592
3 | PLASTERING
3.1 | Cement Sand Plaster 1:4 upto 12' height (c). 3/4" thick (Page No. 52, Item No. 11-c) + (13% above the labour rate of GF) (internal walls) | %Sft | 3184.85 | 1845 | 58760.4825
Name of Client: Project Coordinator, Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 5.1.4: Main Entrance Gate - Civil Works - Second Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
3.2 | Cement Sand Plaster 1:4 upto 12' height (c). 3/4" thick (Page No. 52, Item No. 11-c) (external face) | %Sft | 3015.76 | 178 | 5368.0528
3.3 | Extra for lime mud or cement plaster abd pointing from 12' and above (for each additional 10' height) (c). 3/4" thick (Page No. 54, Item No. 29 + 29) (external face, from 22' to 32' height) | %Sft | 281.94 | 178 | 501.8532
4 | FLOORING
4.1 | Hala Tiles
| Providing & laying HALA or pattern tiles glazed 8" x 8" x 1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washig and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete including cutting tiles to proper profile. (Page No. 48, Item No. 62) | %Sft | 34520.31 | 868 | 299636.2908
5 | PAINTING WORKS
5.1 | Matt Finish Paint
| Preparing the surface and painting with Matt finish paint I/c rubbing the surface with Bathy (silicon carbide rubbing brick ) filling the voids with zink/chalk/plaster of paris mixture,applying First coat premix, making the surface smooth and than painting 3 coats with matt finish of approved make etc.complete on New surface (including 2nd & subsequent coat). (Page No.55, item No 36-A + B + B). | %Sft | 3444.38 | 1845 | 63548.811
Name of Client: Project Coordinator, Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 5.1.4: Main Entrance Gate - Civil Works - Second Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5.2 | Weather Coat
| Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick/sand paper, filling the voids with chalk/plaster of paris and then painting with weather coat of approved make (including 2nd & subsequent coat) (Page No.56 Item No.38-A + B + B) | %Sft | 2567.95 | 178 | 4570.951
TOTAL COST OF CIVIL WORKS - SCHEDULE ITEM |  |  |  | * | 1265421.4205
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)
Name of Client: Project Coordinator, Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 5.1.4: Main Entrance Gate - Civil Works - Second Floor
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Providing and laying Cold worked deformed steel bars conforming to ASTM A-615 grade 60 reinforcement bars with and including the cost of straightening, cutting, bending, binding, wastage and such overlaps as are not shown in the drawings, hoisting and placing in position on cement concrete 1:2:4 precast or m. s. chairs, tying with binding wire, (cost of chairs and wires included) etc. in all kinds of RCC work in foundation, plinth and upper floors at any height and in projections for future extention (also includes removal of rust from bars) etc complete in all respect as per drawings, specification and instructions/approval of Engineer (Contractor shall submit bar bending schedule to the Engineer for his approval prior to start of work). | Tonne |  | 10
2 | Providing and laying first class Gutka Brick (9"x2-1/4"x2-1/4") in cladding set and jointed in 1:4 cement sand mortar and laid over a base of 3/4" thick cement sand plaster 1:3 including pointing of gutka bricks with pigmented cement in 1:4 cement sand mortar also including fastening arrangements galvanised tie bars, curing etc; complete in all respect as per drawings and instructions of the Engineer Incharge (cost of base plaster, fasterners and pointing included), on External Elevations at any level and any height. | P. Sft |  | 1966 |  | 318580
TOTAL COST OF CIVIL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)

## Aca TF - Civil
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.1.5: Main Entrance Gate - Civil Works - Third Floor
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
2 | FLOORING
2.1 | Hala Tiles
| Providing & laying HALA or pattern tiles glazed 8" x 8" x 1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washig and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete including cutting tiles to proper profile. (Page No. 48, Item No. 62) + (Page No. 42, Item No. 18+18) | %Sft | 34974.07 | 166 | 58056.9562
3 | PAINTING WORKS
3.1 | Distemper
| Preparing surface and painting with distemper paint three coats. (Page No.54,item No 24-c). | %Sft | 1079.65 | 198 | 2137.707
4 | Miscelaneous
4.1 | Reinforced cement concrete spout including fixing in position with top and bottom khuras. (Page No. 19 Item No.27) | Each | 524.98 | 6 | 3149.88
4.2 | Khurras on roof 2' x 2' x 6". (Page No. 36 Item No. 18) | Each | 358.68 | 6 | 2152.08
4.3 | Bottom khurras of brick masonry in cement mortar (1:6) 4' x 2' x 4-1/2" over 3" cement concrete (1:4:8). (Page No. 36 Item No. 19) | Each | 649.83 | 6 | 3898.98
4.4 | Single layer of tiles 9" x 4-1/2" x 2" laid over 4" earth 1" mud plaster without Bhoosa grouted with cement sand 1:3 on top of RCC slab provide with 34 Lbs. Bitumen coating sand blinded. (Page No. 34 Item No. 5) | %Sft | 5310.35 | 1925 | 102224.2375
4.5 | Polythene Sheet
| Providing and laying single per layer of polythene sheet 0.13 mm thick for water proofing as per specification and instruction of Engineer incharge (over roof). (Page No 38, Item # 38) | P.Sft | 10.7 | 1925 | 20597.5
TOTAL COST OF CIVIL WORKS - SCHEDULE ITEM |  |  |  | * | 192217.3407
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)
Name of Client: Project Coordinator, Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 5.1.5: Main Entrance Gate - Civil Works - Third Floor
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Providing and laying first class Gutka Brick (9"x2-1/4"x2-1/4") in cladding set and jointed in 1:4 cement sand mortar and laid over a base of 3/4" thick cement sand plaster 1:3 including pointing of gutka bricks with pigmented cement in 1:4 cement sand mortar also including fastening arrangements galvanised tie bars, curing etc; complete in all respect as per drawings and instructions of the Engineer Incharge (cost of base plaster, fasterners and pointing included), on External Elevations at any level and any height. | P. Sft |  | 489 |  | 318580
TOTAL COST OF CIVIL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of Civil Work (Main Entrance Gate)

## Sum GH Plumbing
STRENGTHENING OF ACADEMIC FACILITIES AT SHAH ABDUL LATIF UNIVERSITY, KHAIRPUR.
MAIN ENTRANCE GATE, RECEPTION OFFICE & GUARD ROOM
SUMMARY OF INTERNAL WATER SUPPLY & SANITARY FIXTURES
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
1.2.1 | Ground Floor | 200769.28 |  |  | ----
1.2.2 | First Floor | 151066.64 |  |  | ----
| Amount of Schedule & Non Schedule Items | 351835.92 | ---- |  | ----
| …………….% Above / Below / At Par |  | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items |  |  |  | ----
Total Amount of W/S & S/F |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of Main Entrance Gate

## GH GF - Plumbing
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.2.1: Main Entrance Gate - Internal Water Supply & Sanitary Fixtures - Ground Floor
WATER SUPPLY & SANITARY WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | SQUATING W.C
| Providing and fixing squating type white glazed earthen ware w.c pan with including cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in wall, plainth & floors for pipe connection and making good in cement concrete 1:2:4.(II) With 4" dia white glazed earthern ware trap and plastic thumble. (Page # 1, Item # 1-A-ii) | Each | 5088.2 | 2 | 10176.4
2 | WASH BASIN & PEDESTAL
| Providing and fixing 24" x 18" lavatory basin with pedestal white glazed earthen ware complete with & i/c the cost W.I or C.I cantilever brackets 6 inches built into wall, painted white in two coast after a primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or C.P brass traps malloable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection and making good in cement concrete 1:2:4 (Standard pattern). (Page No. 3 Item No. 8 + 9) | Each | 5192.17 | 2 | 10384.34
3 | FLOOR TRAP
| Providing and fixing C.I trap with 4" dia inlet and 4" dia outlet of the approved self cleaning design with a C.I grating with or without a vent arm including cast of making requisite number of holes in walls, plinth and floor for pipe connection and making good cement concrete 1:2:4. (Page # 6, Item # 21) | Each | 1671.58 | 4 | 6686.32
4 | TEE STOP COCK
| Supply/Fixing cancealed tee-stop cock of superior quality with c.p head 1/2" dia. (Page # 18, Item # 12-A) | Each | 843.92 | 6 | 5063.52
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.2.1: Main Entrance Gate - Internal Water Supply & Sanitary Fixtures - Ground Floor
WATER SUPPLY & SANITARY WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5 | UPVC PIPES
Providing and laying UPVC pipe of class 'D' fixing in trench including cutting fitting and jointing with solvent cement including testing with water to a head of 122 meter or 400 ft.
a) | 1-½ inch dia (Page # 24, Item # 6-e) | Rft | 43 | 48 | 2064
b) | 2 inch dia (Page # 24, Item # 6-f) | Rft | 65 | 25 | 1625
c) | 3 inch dia (Page # 24, Item # 6-h) | Rft | 136 | 204 | 27744
d) | 4 inch dia (Page # 24, Item # 6-i) | Rft | 226 | 257 | 58082
d) | 6 inch dia (Page # 24, Item # 6-k) | Rft | 483 | 115 | 55545
6 | GATE VALVE
Providing & fixing ball valve (with unsoldered copper ball ) made to BBS 1212
a) | 1 inch dia (Page # 18,Item # 6-iii) | Each | 318.34 | 4 | 1273.36
b) | 1-½ inch dia (Page # 18,Item # 6-v) | Each | 573.7 | 6 | 3442.2
c) | 2" inch dia (Page # 18,Item # 6-vi) | Each | 738.78 | 4 | 2955.12
7 | BIB COCK
| Supplying and fixing in position C.P Bib cock ½" dia C.P bib cock, Standard pattern. (Page 16, Item # 2-i-b) | Each | 150.92 | 4 | 603.68
8 | TOWEL RAIL
| Providing and fixing chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long c.p brass screws.III) Towel rail 24" long(a) ¾" dia round or square (Standard Pattern) Page # 7, Item # 1-III(A) | Each | 972.95 | 2 | 1945.9
9 | SOAP TRAY
| Supplying and fixing soap tray of made plastic of superior quality and design with finishing with c.p screws etc. complete. (Page # 8, Item # 6) | Each | 169.4 | 2 | 338.8
10 | MIRROR GLASS
| Providing and fixing 24" x 18" bavalled edge mirror of belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat. a) Standard Pattern (Page # 7, Item # 3-A) | Each | 1711.6 | 2 | 3423.2
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.2.1: Main Entrance Gate - Internal Water Supply & Sanitary Fixtures - Ground Floor
WATER SUPPLY & SANITARY WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
11 | CONCEALED STOP COCK
| Supplying / Fixing cancealed stop cock of superior quality with c.p head ½" dia. C.P fittings of Superior quality for tiles Bath Rooms. (Page # 18, Item # 11-B) | Each | 509.74 | 6 | 3058.44
12 | BASIN MIXTURE
| Supply / fixing wash basin mixture of superior qualty with c.p head ½" dia. (Page No.19 Item No.14-b) | Each | 3179 | 2 | 6358
TOTAL COST OF W/S & S/F - SCHEDULE ITEM |  |  |  | * | 200769.28
* | This Amount is carried over to summary of Internal W/S & S/F (Main Entrance Gate)
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.2.1: Main Entrance Gate - Internal Water Supply & Sanitary Fixtures - Ground Floor
WATER SUPPLY & SANITARY WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | PPRC PIPES
Providing and fixing PPRC Pipes and specials, etc.; including fixing, cutting and fitting, complete with and including the cost of cutting trench upto 2'-6" feet deep, refilling watering, ramming and disposal of surplus earth within one chain and painting 2 coats of bitumen paint to pipes and specials after cleaning and hessian cloth soaked in maxphalt composition wrapped tightly round the pipes and testing to a pressure head of 200 feet and cartage within 10 miles (16.09 km).
a) | ¾ inch (20 mm) Dia Pipe. | Rft |  | 100
b) | 1 inch (25 mm) Dia Pipe. | Rft |  | 110
c) | 1-1/4 inch 40 mm) Dia Pipe. | Rft |  | 50
d) | 1-1/2 inch 40 mm) Dia Pipe. | Rft |  | 180
e) | 2 inch (50 mm) Dia Pipe. | Rft |  | 150
2 | MANHOLES
Providing & making Manholes as shown on drawings, upto 5'-0" depth, including the cost of excavation, backfilling compacting, heavy duty cast iron manhole cover and frame of 24" x 24" fixed in 6" thick RCC slab, 6" thick cc 1:3:6 situ in wall, 6" thick cc 1:3:6 in foundation, cc 1:2:4 in benching, 1/2" thick 1:4 cement sand pudlo plaster to all internal surfaces, channels and benching etc. and to top, iron steps, complete in all respect as shown on drawings, and directed by the Engineer incharge.
a) | Size : 3’ – 0” x 3’ – 0” (900 x 900 mm) | Each |  | 2
3(i) | AIRVENT COWEL 3" | Each |  | 2
3(ii) | AIRVENT COWEL 4" | Each |  | 2
4 | BATHROOM SHOWER
| Shower Set, Local make 'MASTER' brand code No 029A YC Complete with all accessories, Common Bath Mixer wall type with Noble over head shower and 4 feet Rod as approved by Engineer. | Each |  | 2
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.2.1: Main Entrance Gate - Internal Water Supply & Sanitary Fixtures - Ground Floor
WATER SUPPLY & SANITARY WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5 | GULLY TRAP
| Providing & fixing uPVC Gully Trap in concrete chamber as shown on drawing, complete with 12" x 12" C.I. cover & frame including the cost of cutting & jointing fitting, hardware, complete in all respects as specified and directed by the Consultant. | Each |  | 2
6 | GAS WORK
Providing & fixing low pressure gas M.S pipe (medium) with special such as bend, tee, union and socket etc as required i/c cleaning, applying primer coating with BBES compound and warping with fibre glass,welding complete.
a) | 1 inch dia | Rft |  | 30
7 | GAS COCK
| Providing and fixing brass gas cock 13 mm (1/2") dia as required | Each |  | 2
TOTAL COST OF W/S & S/F - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of Internal W/S & S/F (Main Entrance Gate)

## GH FF - Plumbing
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.2.2: Main Entrance Gate - Internal Water Supply & Sanitary Fixtures - First Floor
WATER SUPPLY & SANITARY WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | SQUATING W.C
| Providing and fixing squating type white glazed earthen ware w.c pan with including cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in wall, plainth & floors for pipe connection and making good in cement concrete 1:2:4.(II) With 4" dia white glazed earthern ware trap and plastic thumble. (Page # 1, Item # 1-A-ii) | Each | 5088.2 | 2 | 10176.4
2 | WASH BASIN & PEDESTAL
| Providing and fixing 24" x 18" lavatory basin with pedestal white glazed earthen ware complete with & i/c the cost W.I or C.I cantilever brackets 6 inches built into wall, painted white in two coast after a primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or C.P brass traps malloable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection and making good in cement concrete 1:2:4 (Standard pattern). (Page No. 3 Item No. 8 + 9) | Each | 5192.17 | 2 | 10384.34
3 | PVC CONNECTION
| Providing and fixing in position nyloon connections complete with 1/2" dia, brass stop cock with pair of brass nuts and lining joints to nyloon connection. (Page # 6, Item # 23) | Each | 447.15 | 6 | 2682.9
4 | FLOOR TRAP
| Providing and fixing C.I trap with 4" dia inlet and 4" dia outlet of the approved self cleaning design with a C.I grating with or without a vent arm including cast of making requisite number of holes in walls, plinth and floor for pipe connection and making good cement concrete 1:2:4. (Page # 6, Item # 21) | Each | 1671.58 | 4 | 6686.32
5 | TEE STOP COCK
| Supply/Fixing cancealed tee-stop cock of superior quality with c.p head 1/2" dia. (Page # 18, Item # 12-A) | Each | 843.92 | 6 | 5063.52
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.2.2: Main Entrance Gate - Internal Water Supply & Sanitary Fixtures - First Floor
WATER SUPPLY & SANITARY WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
6 | UPVC PIPES
Providing and laying UPVC pipe of class 'D' fixing in trench including cutting fitting and jointing with solvent cement including testing with water to a head of 122 meter or 400 ft.
a) | 1-½ inch dia (Page # 24, Item # 6-e) | Rft | 43 | 48 | 2064
b) | 2 inch dia (Page # 24, Item # 6-f) | Rft | 65 | 148 | 9620
c) | 3 inch dia (Page # 24, Item # 6-h) | Rft | 136 | 200 | 27200
d) | 4 inch dia (Page # 24, Item # 6-i) | Rft | 226 | 267 | 60342
7 | GATE VALVE
Providing & fixing ball valve (with unsoldered copper ball ) made to BBS 1212
a) | 1-1/4 inch dia (Page # 18,Item # 6-iv) | Each | 510.84 | 6 | 3065.04
8 | BIB COCK
| Supplying and fixing in position C.P Bib cock ½" dia C.P bib cock, Standard pattern. (Page 16, Item # 2-i-b) | Each | 150.92 | 4 | 603.68
9 | SOAP TRAY
| Supplying and fixing soap tray of made plastic of superior quality and design with finishing with c.p screws etc. complete. (Page # 8, Item # 6) | Each | 169.4 | 2 | 338.8
10 | MIRROR GLASS
| Providing and fixing 24" x 18" bavalled edge mirror of belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat. a) Standard Pattern (Page # 7, Item # 3-A) | Each | 1711.6 | 2 | 3423.2
11 | CONCEALED STOP COCK
| Supplying / Fixing cancealed stop cock of superior quality with c.p head ½" dia. C.P fittings of Superior quality for tiles Bath Rooms. (Page # 18, Item # 11-B) | Each | 509.74 | 6 | 3058.44
12 | BASIN MIXTURE
| Supply / fixing wash basin mixture of superior qualty with c.p head ½" dia. (Page No.19 Item No.14-b) | Each | 3179 | 2 | 6358
TOTAL COST OF W/S & S/F - SCHEDULE ITEM |  |  |  | * | 151066.64
* | This Amount is carried over to summary of Internal W/S & S/F (Main Entrance Gate)
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.2.2: Main Entrance Gate - Internal Water Supply & Sanitary Fixtures - First Floor
WATER SUPPLY & SANITARY WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | PPRC PIPES
Providing and fixing PPRC Pipes and specials, etc.; including fixing, cutting and fitting, complete with and including the cost of cutting trench upto 2'-6" feet deep, refilling watering, ramming and disposal of surplus earth within one chain and painting 2 coats of bitumen paint to pipes and specials after cleaning and hessian cloth soaked in maxphalt composition wrapped tightly round the pipes and testing to a pressure head of 200 feet and cartage within 10 miles (16.09 km).
a) | ¾ inch (20 mm) Dia Pipe. | Rft |  | 150
b) | 1 inch (25 mm) Dia Pipe. | Rft |  | 162
c) | 1-1/4 inch 40 mm) Dia Pipe. | Rft |  | 60
2(i) | AIRVENT COWEL 3" | Each |  | 2
2(ii) | AIRVENT COWEL 4" | Each |  | 2
3 | BATHROOM SHOWER
| Shower Set, Local make 'MASTER' brand code No 029A YC Complete with all accessories, Common Bath Mixer wall type with Noble over head shower and 4 feet Rod as approved by Engineer. | Each |  | 2
4 | ELECTRIC WATER COOLER
| Providing and fixing of Electric Water Cooler totally rust proof, pressure type with stainless steel body as manufactured by MECO including 3 stage water filter (mabzi or equivalent) as approved by the Consultant / Engineer. Capacity 10 US gallons (Model ME-30SS) | Each |  | 2
5 | GYESER
| Supplying and Fixing Gas water gyeser, complete with burner pilot, thermostate and safety valve (Singer - American thermostat - 35 Gallons) | Each |  | 1
TOTAL COST OF W/S & S/F - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of Internal W/S & S/F (Main Entrance Gate)

## Sum Gate Electric
STRENGTHENING OF ACADEMIC FACILITIES AT SHAH ABDUL LATIF UNIVERSITY, KHAIRPUR.
MAIN ENTRANCE GATE, RECEPTION OFFICE & GUARD ROOM
SUMMARY OF INTERNAL ELECTRIFICATION WORKS
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
1.3.1 | Main Entrance Gate | 394269 |  |  | ----
| Amount of Schedule & Non Schedule Items | 394269 | ---- |  | ----
| …………….% Above / Below / At Par |  | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items |  |  |  | ----
Total Amount of Internal Electrical Works |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of Main Entrance Gate

## Gate House- Electric
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.3.1: Main Entrance Gate - Internal Electrification Works
ELECTRICAL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Providing & Laying (Main or Sub Main) PVC insulated & PVC insulated with size 2-7/.052 (2x10mmsq.) copper conductor in 3/4" dia PVC conduit recessed in the wall or coloumn as required ( for Earthing, Green wire as ECC) | Per Mter. | 493 | 40 | 19720
Schedule item no.13 page 2
2 | Providing & Laying (Main or Sub Main) PVC Insulated & PVC Sheeted with 4 core copper conducotr 300/500 volts size 6 mm2 | Per Mter. | 500 | 30 | 15000
Schedule item no.100 page 12
3 | Providing & Laying (Main or Sub Main) PVC Insulated & PVC Sheeted with 4 core copper conducotr 300/500 volts size 10 mm2 | Per Mter. | 742 | 30 | 22260
Schedule item no.101 page 12
4 | Providing & Laying (Main or Sub Main) PVC insulated & PVC insulated with size 3-7/.029 (3x2.5mmsq.) copper conductor in 3/4" dia PVC conduit recessed in the wall or coloumn as required.
(For circuit wiring from DB to switch board & board to boards.)
| Schedule item no.24 page 4 | Per Meter | 294 | 80 | 23520
5 | Providing & Laying (Main or Sub Main) PVC insulated & PVC insulated with size 3-7/.036 (3x4mmsq.) copper conductor in 1" dia PVC conduit recessed in the wall or coloumn as required.
(For power plug wiring from DB to outlet & outlet to outlet.)
| Schedule item no.25 page 4 | Per Meter | 338 | 150 | 50700
6 | Providing & Laying (Main or Sub Main) PVC insulated & PVC insulated with size 3-7/.044 (3x6mmsq.) copper conductor in 1" dia PVC conduit recessed in the wall or coloumn as required.
(For Air-conditioning outlet outlet.)
| Schedule item no.26 page 4 | Per Meter | 468 | 150 | 70200
7 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required for (point to switch & point to point wiring.) | Per Point | 1130 | 45 | 50850
Schedule item 124 page no.15
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.3.1: Main Entrance Gate - Internal Electrification Works
ELECTRICAL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
8 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. | Per Point | 985 | 14 | 13790
Schedule item 126 page no.15
9 | Providing and fixing three pin 5Amps plug and socket flush type. | Per No | 151 | 14 | 2114
Schedule item 226 page no.33
10 | Providing and fixing three pin 10/15 Amps plug and socket flush type. | Per No | 162 | 5 | 810
Schedule item 227 page no.33
11 | Providing and fixing bakelite ceiling rose with two terminals | Per No | 72 | 10 | 720
Schedule item 228 page no.33
12 | Providing and fixing brass Ceiling fan 48" (good quality) | Per No | 3020 | 6 | 18120
Schedule item 234 page no.34
13 | Providing and fixing brass Bracket fan 18" (good quality) | Per No | 2791 | 2 | 5582
Schedule item 236 page no.34
14 | Providing & fixing MS Tubular pole 40 ft. long buried in the ground as per following specification 20ft. (6" dia)x 10ft (5" dai)x 10ft. (4" dia) = 40 ft.
wall thickness 8SWG Base plate 16"x16"x1/4"
Two coats red oxide as rust preventive
Two coats oil paint
Excavation of hard/ soft soil 2'x2'x6'
Lean size 2'x2'x6" with 1:4:8 ratio
| Cc work 1:3:6 cast in situ in one mould of (1-1/2" dia), including form work, rodding, curring etc., complete with CC collar about 2ft. High from ground level duly plastered as per site requirement & instruction of EI. | Per No | 30311 | 1 | 30311
Schedule item no.138 page 18
15 | Manufacturing providing and fixting GI double Arm double arch as per site requirement with the help of hydraulic cran and manual labor as per site requirement, instruction of EI with following specification
GI pipe 2" dia 10SWA 5' long
MS canopy 5" dia 1" long with nuts and bolts
| Schedule item no.147 page 21 | Per No | 3086 | 2 | 6172
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.3.1: Main Entrance Gate - Internal Electrification Works
ELECTRICAL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
16 | Providing and fixing of street light 250 watts (SON-T) having IP-65 classification with 250W lamp, ckock, capacitor and internal wiring complete in all respects at the height with the help of hydraulic crane as per site requirements and instruction of EI.
| Schedule item no.162 page 25 | Per No | 16100 | 4 | 64400
TOTAL COST OF INTERNAL ELECTRIFICATION WORKS - SCHEDULE ITEM |  |  |  | * | 394269
* | This Amount is carried over to summary of Internal Electrification Work (Main Entrance Gate)
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.3.1: Main Entrance Gate - Internal Electrification Works
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
I- Wiring Accessories, Fixture & Fans:
1 | Supply, installation, connecting, testing & commissioning of following 10Amps polycarbonate flame retardant S.P. switch with fancy required gang plate fixed on die fabricated powder coated metal board recessed in wall or column "Clipsal make" or approved equivalent, complete as per specification and drawing.
| a) I Gang switch | No. |  | 2
| b) 2 Gang switch | No. |  | 6
| c) 3 Gang switch | No. |  | 6
| d) 4 Gang switch | No. |  | 4
| e) Ceiling Fan Dimmer 400W | No. |  | 6
2 | Supply, installation, connecting, testing & commissioning of flush type following lighting and power plug with 3-pin switch and socket combine unit with neon bulb "Clipsal make" fixed on plastic or fiber top covered, including 14 SWG metal board with earth terminal recessed in wall or column, complete as per specification and drawing.
| a) 10 Amps 3-pin switch & socket outlet | No. |  | 2
| b) 16 Amps International switch & socket | No. |  | 12
| c) 25 Amps disconnect isolator switch for AC unit | No. |  | 8
3 | Supply, installation, connecting, testing & commissioning of 30 Cm (12") sweep metallic body Exhaust Fan complete with blades, motor, etc., fitted in existing hole including connecting with 14/.0076" flexible wire. The fan should be Millat make or approved equivalent, complete as per specification and drawing. | No. |  | 4
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.3.1: Main Entrance Gate - Internal Electrification Works
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
4 | Supply, installation, connecting, testing and commissioning of following surface / recessed mounting LED light fixture. The Fixture should be Pierlite or approved equivalent .
a) | Surface mounting Down light fixture cylindrical shape with 20W LED lamp (2300lm) with high polished reflector, Pierlite or approved equivalent | No. |  | 20
b) | Wall / surface mounting Fluorescent LED light fixture 30W lamp (2550 lm) with hight polished reflector, Pierlite or approved equivalent. | No. |  | 8
c) | Wall mounting Mirror light fixture LED fluorecent 10W (1000lm), Pierlite or approved equivalent. | No. |  | 4
d) | Wall mounting weather proof Bulk Head light Fixture with 11W LED lamp (1050 lm) , Pierlite or approved equivalent. | No. |  | 8
e) | Flood light fixture to be mounted on floor pad reclangular shape with 50W LED lamp (5500lm), Pierlite or approved equivalent. | No. |  | 5
II- Distribution board, power cable, Pipes & Earthing
5 | Supply, installation, connecting, testing and commissioning of following Floor/wall mounting distribution board sub-main and DBs for lighting and power that should be factory assembled ready wired and complete as per detail drawing. The short circuit rating should be 15 KA for T.P. MCCB and 10KA for S.P. mcb and Breaker should be Terasaki make Japan or approved equivalent., complete as per specifications and drawing.
| a) LPDB-Gate-1 | Set |  | 1
| b) LPDB-Gate-2 | Set |  | 1
6 | Supply and installation of following sizes PVC conduit surface/ recessed in wall, beam etc., including all installation accessories as required for power cabling, complete as per specification and drawing.
| a) 1-1/2" dia PVC conduit | Meter |  | 60
| b) 1" dia PVC conduit | Meter |  | 40
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.3.1: Main Entrance Gate - Internal Electrification Works
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
7 | Providing and fixing Copper Rod having conical end to be buried after providing 3" dia hole in ground at a depth of 12' -0' or less if water comes out from the ground level, including provoding earth powder fixing copper rod, including earth clamp, eath leads 2x 4SWG in 2" dia G.I. pipe, complete as per drawing with all respects.(To be provided at Ground Level) | Set |  | 1
III- Voice & Data System:
8 | Supply and installation of 1" or 3/4" dia PVC conduit, including all conduit accessories that to be installed recessed in wall and partially under floor as shown on drawing, complete with all respects. | Meter |  | 45
9 | Supply and installation of structure cable as required for High-Speed Data network station CAT-6 PVC shielded cable in already installed Trunking/ conduit/ Channel. The CAT- 6 cable should be 3M or Clipsal make Australian, complete in all respect with satisfaction of the Client/ Consultant. | Meter |  | 45
10 | Supply, installation, connecting, testing and commissioning of Simplex outlet for Data / Voice RJ45 suitable for Cat-6 with fancy gang plate, Clipsal C-Vivace series make or 3M, including sheet steel back box, complete in all respects. | No. |  | 4
V- Electrical connection / NOC:
11 | Obtaining NOC, getting approval from Electrical Inspector for the installation of electrification work of the subjected work, the contractor responsible to inspect site to the electrical inspector if required. | Job |  | 1
TOTAL COST OF INTERNAL ELECTRIFICATION WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of Internal Electrification Work (Main Entrance Gate)

## Sum Ext. Dev.
STRENGTHENING OF ACADEMIC FACILITIES AT SHAH ABDUL LATIF UNIVERSITY, KHAIRPUR.
MAIN ENTRANCE GATE, RECEPTION OFFICE & GUARD ROOM
SUMMARY OF EXTERNAL DEVELOPMENT WORKS
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
1.4.1 | Septic / Soakage Pit | ---- |  |  | ----
1.4.2 | Road / Walkway / Lawn | 1883066.056 | ---- |  | ----
1.4.3 | Green Area | 12979.6236 |  |  | ----
1.4.4 | Fiber Glass Tank | 80764.94 | ---- |  | ----
| Amount of Schedule & Non Schedule Items | 1976810.6196 | ---- |  | ----
| …………….% Above / Below / At Par |  | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items |  |  |  | ----
Total Amount of External Development Works |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of Main Entrance Gate

## Septic Tank
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.4.1: Main Entrance Gate - External Development - Septic Tank and 02 Nos. Soak Pits
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
SOAK PIT
1 | Construction of 8'-0" dia & 15 ft. deep soak pit as per drawing and specification etc. complete in all respect as approved and instructed by the Engineer. | Each |  | 2
TOTAL COST OF CIVIL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of External Dev. Works (Main Entrance Gate)

## Road Works
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.4.2: Main Entrance Gate - External Development - Internal Road Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Compaction of Natural Ground upto a depth of 20cm (8" inch) below the natural ground level compacted upto 90% density modified AASHTO. (Page No.1, Item No.2) | %Sft | 177.56 | 3600 | 6392.16
2 | Preparation of sub-grade including earth ecavation or filling to an average depth of 9" dressing to camber and consolidation with power roller. (Page No. 2, Item No.9) | %Sft | 526.28 | 3600 | 18946.08
3 | Preparing sub-base course by supplying and spreading stone metal 1-1/2" to 2" guage of approved quality from approved quarry in required thickenss to proper camber and grade including hand packing filling voide with 20 cft of pit/canal sand having plasticity index not more than 6% of suitable quslity watering and compacting to achieve 98-100% denaity as per modified AASHO specifiecation (Rate includes all cost of materials T&P and carriage upto 3 chains) (Page No.3 Item No.11-a) | %Cft | 4381.76 | 2700 | 118307.52
4 | Preparing base course i/c supplying and spreading stone metal of approved quality properly graded to maximum size of 1-1/2" in required thickness to proper camber and grade including supplying and spreading 15 Cft: screenings and non plastic quarry fines, filling depressions with stone metal after initial rolling including watering and compaction the same so as to achieve 100% density as per modified AASHTO specifications. (Rate includes providing and using templates, camber plates, screens, forms as directed. (Rate includes all cost of materials T&P and carriage upto 3 chins). (Page No.5, Item No.13-a) | %Cft | 5252.41 | 1800 | 94543.38
5 | Applying priming coat or tact coat with approved binder at the required rate including cleaning the road surface throughly, heating to the required temperature and spraying the binder with pressure as directred etc. complete. (Page No.12 Item No.31) | %Sft | 64.96 | 3600 | 2338.56
Name of Client: Project Coordinator, Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 5.4.2: Gate House- Internal Road Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
6 | Providing Bitumen for prime coat i/c cartage upto site of work. (Page No. 7, Item No. 123-I sch. of cartage 2011 V-III Part-III) | Ton | 86363.75 | 1.2 | 103636.5
7 | 2" thick Aspahlt Concrete Wearing Course Plant Mix: Laying to proper line and grade plant mixed Asphalt concrete paver finished (Hydraulic/Electronic control) Prepared to specified fomula according to job mix formula approved by Engineer incharge including rolling and finishing to properline, grade level and camber etc,(Machinery with POLs cost of material carriage). (Page No.10 Item No.24-B) | %Sft | 8274.73 | 3600 | 297890.28
8 | Providing and fixing precast Edge Block 3750 PSI industrial Made size 6 inches thick x 12 inches long x 12 inches high including the cost of cartage, excavation form work for haunching 1450 PSI lean concrete, 2250 PSI concrete for hauching 1:4 cement sand mortor. (Page No.16 Item No.14) | P.Rft | 297.01 | 2400 | 712824
9 | Earth work embankment from borrow pits including laying in 6" layers, clod breaking ramming dressing complete led upto 100 ft. lift upto 5 ft. (Inordinary soil) (Page No.1 Item No.5) | %0Cft | 2208.37 | 1800 | 3975.066
10 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge. (b) Ratio 1:4:8 [Page No.15, Item No.4(B)] | %Cft | 9416 | 1386 | 130505.76
11 | Providing and fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with pigmented having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc. complete. (Page No.49, Item No.72) | P.Sft | 223.97 | 450 | 100786.5
Name of Client: Project Coordinator, Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 5.4.2: Gate House- Internal Road Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
12 | Pavement Marking in reflective Tharmo plastic paint for Lines of 6" width. (Page No.15 Item No.13) | P.Rft | 41.24 | 200 | 8248
13 | Providing and fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc. complete. (Page No.49, Item No.71) | P.Sft | 199.77 | 1425 | 284672.25
TOTAL COST OF CIVIL WORKS - SCHEDULE ITEM |  |  |  | * | 1883066.056
* | This Amount is carried over to summary of External Dev. Works (Main Entrance Gate)

## Green Area
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.4.3: Main Entrance Gate - External Development - Green Area
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Lavelling, dressing and making lawns. (Page No.103, Item No.42) | %Sft | 181.5 | 900 | 1633.5
2 | P/L Cow dung manure (Page No.104, Item No.44) | %Cft | 298.12 | 153 | 456.1236
3 | Turfing slops of banks or lawns with grass sods including ploughing laying, setting and watering (Turf got from within a distance of 5 miles and maintenance for 15 days) (Page No.5, Item No.27) | %Sft | 1210 | 900 | 10890
TOTAL COST OF CIVIL WORKS - SCHEDULE ITEM |  |  |  | * | 12979.6236
* | This Amount is carried over to summary of External Dev. Works (Main Entrance Gate)
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.4.3: Main Entrance Gate - External Development - Green Area
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Providing and spreading sweet earth 9" thick i/c leveling & dressing etc. complete. | Cft |  | 675
Plant
2 | Supplying and planting the specified plants as per requirements with and including excavating the pits duly filled with sweet earth mixed with cow dung manure, placing the plant in secured position, watering and maintenance for 6 months etc. complete in all respect as approved and directed by the each architect. Note: Cost of supply sweet earth and manure will be paid separately. |  |  | 20
TOTAL COST OF CIVIL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to summary of External Dev. Works (Main Entrance Gate)

## OHT
Name of Client: Project Coordinator (SAF), Shah Abdul Latif University Khairpur
Name of Project: Strengthening of Academic Facilities at Shah Abdul Latif University, Khairpur
Sub Head # 1.4.4: Main Entrance Gate - External Development - Fiber Glass Tank
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | FIBER GLASS TANK
| Supplying & fixing fibre glass tank of approved quality and design and wall thickness as specified i/c cost of of nutes, bolts and fixing in plateform of cement concrete 1:3:6 and making connections for in-let, out-let & over flow pipes etc. complete. (e) 1500 gallons wall thickness 5.5 mm (Page No. 21, Item No.III-3-e) | Each | 80764.94 | 1 | 80764.94
TOTAL COST OF WORKS - SCHEDULE ITEM |  |  |  | * | 80764.94
* | This Amount is carried over to summary of External Dev. Works (Main Entrance Gate)