GENERAL ABSTRACT COST OF SCHEDULE-B TO BID

NAME OF WORK:	Extension Of Trunk Main upvc 6” DIA & Internal Development Of Water WorkS Water Supply Scheme Imam Bux Lashari AT UC, JHULORI.

Schedule ITem	N-Schedule

(a) INTERNAL DEVELOPMENT			rS: 504443/-	--Nill--

(b) uPVC PIPE						rS: 378081/-	--Nill--

---------------------------------

TOTAL :-		RS: 882524/-	--Nill--

| ___________ CONTRACTOR | EXECUTIVE ENGINEER PUB LIC HEALTH ENGG: DIVISION MIRPURKHAS |
| --- | --- |

TERMS AND CONDITIONS:-

- The work will be carried out as per PWD/PHE specification

- No premium will be allowed on non-schedule items.

- The contractor shall have to bring the material to be used in the work from quarries mentioned in the Technically Sanctioned Estimate.

- The rate should inclusive of all the taxes ie Sales Tax, Octroi, Royalties etc complete if applicable.

- Any error and omission in the description of item of work then rate shall be governed with the relevant schedule of rates and Technically Sanctioned Estimate.

- The under sign has right to reject all work or part of it if it is found below PWD / PHE Specification.

| ___________ CONTRACTOR | EXECUTIVE ENGINEER PUB LIC HEALTH ENGG: DIVISION MIRPURKHAS |
| --- | --- |

SCHEDULE-B TO BID

NAME OF WORK:	Extension Of Trunk Main upvc 6” DIA & Internal Development Of Water WorkS Water Supply Scheme Imam Bux Lashari AT UC, JHULORI.

| S.# | DESCRIPTION | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(a) INTERNAL DEVELOPMENT

1.	Barrow Pit Excavation undress Lead up to 100 Ft. (GSI No.03 P-01)

58408.75 Cft 		@Rs: 2117/50-		P%Cft			Rs: 123681/-

2.	Earth work Excavation in ashes sand soft soil or silt clearance undressed lead up to 50’ ft (GSI No. P-1)

=Qty same as item No.01=58868.00 Cft

58408.75 Cft 		@Rs: 354/-			P%Cft			Rs: 123681/-

3.	Extra for every 50’ ft lead or part thereof (a) for earth work 	(Soft, ordinary, hard and very hard (PHSI No.8 P-16)

Qty same as item No.01=58408.75 Cft

58408.75 Cft		@Rs:3527/30			P%0Cft		Rs: 206025

3.	Cement concrete Brick or stone Blast (1 ½ to 2”) gauze (1:4:8) (GSI No. 4, P-15)

831.60 Cft		@Rs:941628			P%Cft			Rs:78306/-

4.	Cement concrete Plain (1:2:4) i/c placing compacting (GSI No. 4, P-15)

525.0 Cft		@Rs:14428/25		P%Cft			Rs:75754/-

---------------------

TOTAL	 (A)	Rs: 504443/-

| ABSTRACT |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | SCHEDULE ITEM |  | NON-SCHEDULE ITEM |  |
| (A) Internal Development | RS: | 504443/- | RS: | --Nill-- |
| TOTAL:- | RS: | 504443/- | RS: | --Nill-- |

(b) upvC PIPE

1.	Providing PVC pipes of Class B (equivalent make) fixing in trench i/c cutting fitting and jointing Z joint with one rubber ring i/c testing with water to head of 61 meter or 200 ft (P.H.S.I.No:01, P-22)

6” dia

1200.0 Rft      		@Rs:262/--		P.Rft			Rs: 314400/-

2.	Excavation for pipe line trenches pits tanks/reservoir  in soft soil i/c trimming dressing side to true alignment and shape levelling of trenches to correct level and 	grade cutting joints holes providing fence guards light flanges and temporary crossing for non-vehicular traffic wherever required lift upto 5’ft 	and lead upto one 	chain (PHSI No.1 P-46).

6” Dia

9450.0 Cft.		@Rs:3600/--		P%oCft.		 Rs: 34020/-

3.	Refilling the excavated stuff intrench 6” thick layer i/c watering ramming to full 	compaction etc complete (PHSI No.24 P-53).

Qty same as 	2

8505.0 Cft		@Rs:2760/-		P%oCft			Rs:23474/-

4.	Cartage of  PVC pipe of any class by Mechanical, transport i/c loading, unloading and stacking At side(P.H.S.I No 4 P-6).

Lead 166 Miles from Karachi.

6” dia

1200.0 Rft		@Rs: 515/56		P.%Rft			Rs: 6187/-

----------------------

TOTAL: (B)	RS: 378081/-

| ABSTRACT |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | SCHEDULE ITEM |  | NON-SCHEDULE ITEM |  |
| (B) upvC PIPE | RS: | 378081/- | RS: | --Nill-- |
| TOTAL:- | RS: | 378081/- | RS: | --Nill-- |

EXECUTIVE ENGINEER

PUB LIC HEALTH ENGG: DIVISION

MIRPURKHAS