SCHEDULE-B TO BID

SUPPLYING INSTALLING & TESTING PUMPING MACHINERY  15-BHP (02) SETS FOR WATER SUPPLY SCHEME GULLOO BUGHIO

| S.# | DESCRIPTION | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(I) Pumping Machinery

1.	Supplying and installing in position i/c transportation to site of water supply scheme Gulloo Bughio electric pumping set of 2900 RPM (Siemens) made 15 BHP Electric motor 3 phase 50 Cycle 400/420 volts with centrifugal pump type ETA-50-160,     size 2 ½ x 2 mounted on commons steel frame on base plate (capable of discharge 270 GPM against the required head of 100 ft, i/c installed on cement concrete ratio 1:2:4 Ms nuts bolts of 5/8” dia to be embedded in cement concrete foundation providing fixing MCU star delta starter (Siemens  made) made and providing internal electric wiring for main switch 3-7/0441” dia PVC insulated wire 660 volts grade (i) buried on the ground at depth of 3.7 m (12 ft) as per Pak PWD specifications and testing pumping set against the required head for 72 hours etc complete (R.A attached).

2.00 Set		@ Rs.				P  Set			Rs.

2.	Manufacturing and installing 6” dia  M.S pipe made out of M/S sheet (3/16”) thick M.S sheet i/c cutting bending folding to correct curvature as shape (R.A attached).

(i) Suction 3” Dia

42.00 Rft		@ Rs.				P Rft			Rs.

(ii) Delivery 6” Dia

20.00 Rft		@ Rs.				P Rft			Rs.

4.	Manufacturing and installing M.S flanges 3”&4” made out M.S sheet 3/8” thick etc complete.

3” Dia

12.00 Nos		@ Rs.				Each			Rs.

6” Dia

6.00 Nos		@ Rs.				Each			Rs.

5.	C. I sulice valve heavy pattern (test pressure 300 lbs/sq: inch) SOMI No. 2 P-11).

3” Dia

2.00 Nos		@ Rs.				Each			Rs.

6.	C.I reflex valve heavy pattern (test pressure 300 lbs/square inch (SMOI No. P-11).

3” Dia

2.00 Nos		@ Rs.				Each			Rs.

7.	C.I foot valve heavy pattern with cone type gate (imported) (SOMI No. 4 P-10).

3” Dia

2.00 Nos		@ Rs.				Each			Rs.

8.	C. I bend with flanged ends with holes i/c turning and facing of flanges for all size (SOMI No. 8 P-11).

- 3” Dia 900

- 6” Dia 900

85.23 Kg		@ Rs.				P. Kg			Rs.

9.	C. I tappers flat bottomed or central tapered flanged ends with holes i/c turning and facing of flanges for all sizes (SOMI No. 9 P-11).

34.36 KG		@ Rs.				P. Kg			Rs.

10.	C.I tee with flanged ends with holes i/c turning and facing of flanges for all sizes (SOMI No. 7 P-11).

Tee 6”x6”x3”

21.00 Kg		@ Rs.				P. Kg			Rs.

11.	C.I Short piece (SOMI No. 9 P-15).

6” Dia

1.00 No		@ Rs.				Each			Rs.

12.	Jointing C.I/M.S flanged pipes and specials flange and inside a trench i/c supplying rubber packing of the required thickness nuts bolts with washers etc and other tools required for jointing and testing the joint to the specified pressure etc complete (PHSI No. 1 P-40).

(i) 3” Dia

21.00 Joint		@ Rs.				P. Joint		Rs.

(ii) 6” Dia

9.00 Joint		@ Rs.				P. Joint		Rs.

13.	Painting New surface

Preparing surface and painting of filled framing skirting pipes gutters similar lincar work not exceeding 4” inch (GSI No. 4 P-69).

62.00 Rft		@ Rs.				P % Rft		Rs.

----------------

Total	(I)		Rs.

| GENERAL ABSTRACT |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | SCHEDULE ITEM |  | NON-SCHEDULE ITEM |  |
| (I) Pumping Machinery | RS: | 56983/- | RS: | 684354/- |
| TOTAL:- | RS: | 56983/- | RS: | 684354/- |

| _______ Contractor | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION MIRPURKHAS |
| --- | --- |

TERMS & CONDITIONS:-

- The work will be carried out as per PWD/PHE specification.

- No premium will be allowed on non-schedule items.

- The contractor shall have to bring the material to be used in the work from quarries mentioned in the Technically Sanctioned Estimate.

- The rate should inclusive of all the taxes ie Sales Tax, Octroi, and Royalties etc complete if applicable.

- Any error and omission in the description of item of work then rate shall be governed with the relevant schedule of rates and Technically Sanctioned Estimate.

- The under sign has right to reject all work or part of it if it is found below PWD / PHE Specification.

| _______ Contractor | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION MIRPURKHAS |
| --- | --- |