BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF E.I IN COMMISSIONER OFFICE SUKKUR. (GROUND & FIRST FLOOR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 200 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.124 P.15). | 1130 | Per point | 226000 |
| 2. | 60 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 985 | Per point | 59100 |
| 3. | 15 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 1764 | Per point | 26460 |
| 4. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 222 | Per Mtr. | 77700 |
| 5. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.11 P-No.2) | 252 | Per Mtr. | 88200 |
| 6. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 341 | Per Mtr. | 51150 |
| 7. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.064 (10mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.14 P-No.2) | 641 | Per Mtr. | 96150 |
| 8. | 40 | Providing & fixing circuit breaker 6,1015,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No.202 P-No.30) | 916 | Each | 36640 |
| 9. | 10 | Providing & fixing circuit breaker 3,5,10,15,20 & 30amp TP (XS-30NS{NB} on prepared board as required (S.I.No.202 P-No.30) | 5301 | Each | 53010 |
| 10. | 6 | P/F volt meter size 96/96mm 500volts as required as per instruction of E.I (S.I.No.285 P-No.41) | 999 | Each | 5994 |
| 11. | 1 | Providing & fixing DP I/C change over switch 500 volts 200amp on prepared board. | 8767 | Each | 8767 |
| 12. | 2 | Providing & fixing circuit breaker 15,20,30,40,50,60 & 100amp TP (XS-100NS) on prepared board as required (S.I.No.202 P-No.30) | 9261 | Each | 18522 |
| 13. | 34 | P/L Main or Sub Main PVC insulated & PVC sheeted with 4 core copper conductor 6000/1000 volts size 35mm2 (S.I.No.104 P-12) | 2529 | P.M | 85986 |
| 14. | 40 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 2880 |
| 15. | 40 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 2800 |
| 16. | 50 | Providing & fixing (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core conductor 6000/1000 volts size 25mm2 (S.I.No.103 P-12) | 1909 | P.M | 54450 _______ |
|  |  |  | TOTAL RS. |  | 893809 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13) | 1426.33 | P.Sft: | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 4230 |
| 3. | 60 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 29820 |
| 4. | 2 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 7220 |
| 5. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 3729 |
| 6. | 15 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 2261 |
| 7. | 15 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 630 _______ |
|  |  |  | TOTAL RS. |  | 56448 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 6 | S/F wall bracket fan with regulator capacitor with ON/OFF switch (PAK,GFC,SK). |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F Ceiling of copper conductor 56” sweep (Pak fan, GFC,SK) complete. |  | Each |  |
| 3. | 1 | S/F Air Conditioner split type 2.0 ton capacity i/c fitting & wiring connection charges (Kenwood company) approved by officer Incharge. |  | Each |  |
| 4. | 1 | S/F Air Conditioner split type 1.50 ton capacity (Kenwood company) approved by officer Incharge. |  | Each |  |
| 5. | 6 | S/F Exhaust fan 12” size complete with holes iron body i/c control switch. |  | Each |  |
| 6. | 10 | S/F water proof wall type bracket complete with wiring & connector etc. |  | Each |  |
| 7. | 30 | S/F LED light squire / round shape with wiring & connection 22watt etc. |  | Each |  |
| 8. | 300 | S/F Delto cable size K.T-6 for internet 3mm fitted in PVC duct etc. |  | P.M |  |
| 9. | 1 | S/F Air Condition stand type 2.0 ton capacity (approved by office incharge) i/c fixing charging & wiring connected. |  | Each |  |
| 10. | 10 | S/F Telephone sheet double T.P socket i/c board & frame with connection. |  | Each |  |
| 11. | 10 | S/F Internet sheet single i/c board & frame with connection etc. |  | Each |  |
| 12. | 250 | S/F Main service telephone cable of (20 pairs) in PVC pipe under ground internet etc. |  | P.M |  |
| 13. | 200 | S/F Cable wires of (2 pairs) for intercom connection in PVC duct on surface. |  | P.M |  |
| 14. | 10 | S/F search light of superior quality LED type squire sheet with stand & holes for fixing complete with connection etc 50watts. |  | Each |  |
| 15. | 1 | S/F Electric stabilizer 12000watts copper conductor (approved by office incharge). |  | Each |  |
| 16. | 2 | Gas charging of split AC 2.0 ton capacity i/c capacitor & service charging. |  | Each |  |
| 17. | 280 | S/F Fancy type switch 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 18. | 130 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 19. | 25 | S/F Power plug 30amp i/c fancy plastic sheet & board & shoe 30amp etc. |  | Each |  |
| 20. | 40 | S/F Universal plug fancy type i/c fancy plastic sheet & board etc. . |  | Each |  |
| 21. | 10 | S/F Round type globe for lawn light i/c energy saver etc. |  | Each |  |
| 22. | 2 | S/F False ceiling fan of approved design standard quality (Pak Fan Company) |  | Each |  |
| 23. | 10 | Rewinding of ceiling fans 56” size i/c replacement of ball bearing & capacitor. |  | Each |  |
| 24. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 25. | 1 | S/F Refrigerator / Deep freezer of standard quality of standard size (approved by officer Incharge) |  | Each |  |
| 26. | 1 | S/F DVR-2 terbite devices for internet set complete. |  | Job |  |
| 27. | 150 | S/F Copper pipe for split Air Condition out door i/c cloth topping etc. |  | P.sft |  |
| 28. | 5 | S/F Iron stand for stabilizer of required size i/c oil painting etc heavy type. |  | Each |  |
| 29. | 1 | Supplying & fixing Telephone exchange for 8 Nos. Telephone set i/c Telephone cabinet set etc. |  | Each |  |
| 30. | 30 | S/F R.G clip |  | Each |  |
| 31. | 150 | S/F cable 4 core 110/0.076 copper conductor |  | P.M |  |
| 32. | 1 | S/F Net work switch board 16 port (imported) |  | Job |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR