BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO HIGH COURT LODGE AT SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 30 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 27300 |
| 2. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 14840 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 12000 |
| 6. | 40 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 12200 |
| 7. | 30 | Providing & fixing one way SP 5amp switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 1620 |
| 8. | 20 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 1660 |
| 9. | 10 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 9160 |
| 10. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 700 |
| 11. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 12. | 40 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 17120 |
| 13. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 10amp TP (XS100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 14. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 5301 |
| 15. | 1 | P/F DP I/C change over switch 500 volts 200amp on a prepare board. | 8767 | P.No. | 8767 _________ |
|  |  |  | Total Rs. |  | 132019 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar fan clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 2 | P/F wall bracket light fancy type superior quality including necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 30 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 14910 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 7. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-No.11) | 150.70 | Each | 151 |
| 8. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | Total Rs. |  | 32474 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 2 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light round / square shape i/c wiring connection 50 watts (search light). |  | Each |  |
| 3. | 4 | S/F LED light round / square shape i/c wiring connection 22 watts. |  | Each |  |
| 4. | 4 | S/F Wall bracket fan standard size (Pak fan company). |  | Each |  |
| 5. | 6 | S/F Fancy light globe. |  | Each |  |
| 6. | 2 | S/F Air Conditioner split type 2.0 ton capacity (approved by officer Incharge) (Kenwood company or Gree company) |  | Each |  |
| 7. | 2 | S/F Stablizer 12000 watts copper conductor (approved by officer Incharge). |  | Each |  |
| 8. | 20 | S/F Fancy type switch 10amp i/c fancy plastic sheet & board etc. |  | Each |  |
| 9. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet & board etc. |  | Each |  |
| 10. | 4 | S/F Power plug 30amp i/c board & sheet and 3-pin shoe 30amp etc. |  | Each |  |
| 11. | 4 | S/F Fancy Universal plug i/c fancy sheet & board etc. |  | Each |  |
| 12. | 3 | S/F Round type globe for lawn light i/c energy saver. |  | Each |  |
| 13. | 50 | S/F Delto size cat -6 for internet 3mm size fitted in PVC duct etc. |  | Each |  |
| 14. | 10 | S/F Energy saver 45 watts of approved quality. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	CONSTRUCTION OF DARGAH SADARDIN SHAH BADSHAH (RIZVI) AT TALUKA ROHRI DISTRICT SUKKUR (PROVIDING INTERNAL E.I) (LANGAR KHAN).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 30 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.124 P.15). | 1130 | Per point | 33900 |
| 2. | 7 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.126 P-No.15) | 985 | Per point | 6895 |
| 3. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.8 P-No.2) | 173 | Per Mtr. | 34600 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.10 P-No.2) | 222 | Per Mtr. | 33300 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 463 | Per Mtr. | 46300 |
| 6. | 4 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 3664 |
| 7. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.202 P-No.30) | 5301 | P.No. | 5301 |
| 8. | 3 | Providing & fixing of flood light 400 watts (HPIT) having IP65 classification with 400w lamp, choke, capacitor, igniter & internal wiring complete in all respect at the height upto 40ft with the help hydraulic crane and manual labour as per site requirement and instruction of E.I (S.I.No.164 P-No.26) | 16980 | P.No. | 50940 |
| 9. | 7 | Providing & fixing two pin 5amp plug & flush type (S.I.No.225 P-No.33) | 83 | P.No. | 581 |
| 10. | 30 | Providing & fixing one way SP 5amp switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 1620 |
| 11. | 9 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 648 |
| 12. | 21 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 1470 |
|  |  |  | TOTAL RS. |  | 219219 |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 2 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13) | 1426.33 | P.Sft | 2853 |
| --- | --- | --- | --- | --- | --- |
| 2. | 8 | P/F mild steel bar fan clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1128 |
| 3. | 21 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 10437 |
| 4. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 5. | 8 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 994 |
| 6. | 20 | Providing (20mm) ¾” G.I pipe with 1.13 3/.029 PVC wire for down of ceiling fan. | 25.19 | Each | 504 |
|  |  |  | TOTAL RS. |  | 23431 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 1 | S/F exhaust fan 12” size fan |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 8 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK, Royal) |  | Each |  |
| 3. | 9 | S/F water proof wall type bracket i/c glass shade. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL AT SUKKUR (LADIES WARD AND CELLS). (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 160 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 145600 |
| 2. | 65 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 48230 |
| 3. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 76950 |
| 4. | 650 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 130000 |
| 5. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 76250 |
| 6. | 160 | Providing & fixing one way SP switch flush type (S.I.No.219 P-.33) | 54 | P.No. | 8640 |
| 7. | 65 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 5395 |
| 8. | 20 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 18320 |
| 9. | 2 | Providing & fixing circuit breaker 30amp TP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 5301 | P.No. | 10602 |
| 10. | 48 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 3360 |
| 11. | 30 | Providing & fixing Backlite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 2160 |
| 12. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 64200 _______ |
|  |  |  | TOTAL RS. |  | 589707 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 4230 |
| 3. | 300 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 149100 |
| 4. | 2 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 7220 |
| 5. | 30 | P/F A.C ceiling fan regulator on mental board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14). | 124.30 | Each | 3729 |
|  |  |  | TOTAL RS. |  | 172837 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 20 | S/F A.C ceiling fan 56” size i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | S/F Bulk light fitting (water proof) i/c water proof glass. |  | Each |  |
| 3. | 1 | Rewinding of 10HP electric motor with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 4. | 2 | S/F Electric starter for 10HP electric motor i/c fixing on electric panel board etc. |  | Each |  |
| 5. | 10 | Rewinding of A.C ceiling fan 56” size i/c replacement of ball bearing capacitor. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “A” TYPE QUARTERS 4 NOS. @ ADC COLONY SUKKUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 90 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 81900 |
| 2. | 30 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 22260 |
| 3. | 4 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 6360 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 25650 |
| 5. | 220 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 44000 |
| 6. | 190 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 57950 |
| 7. | 90 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 4860 |
| 8. | 30 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2490 |
| 9. | 4 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 604 |
| 10. | 28 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 25648 |
| 11. | 4 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 22084 |
| 12. | 12 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 864 |
| 13. | 58 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 4060 |
| 14. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 21400 _______ |
|  |  |  | TOTAL RS. |  | 320130 |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 8 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 11411 |
| --- | --- | --- | --- | --- | --- |
| 2. | 8 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1128 |
| 3. | 72 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 35784 |
| 4. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.01 | Each | 14440 |
| 5. | 8 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 994 |
| 6. | 4 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-.11) | 150.70 | Each | 603 |
| 7. | 4 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 101 |
|  |  |  | TOTAL RS. |  | 64431 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 12 | S/F AC ceiling fan 56” size (PAK, GFC, SK) i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 16 | S/F LED light 50 watts square / round shape i/c wiring connection |  | Each |  |
| 3. | 4 | S/F Exhaust fan 12” size iron body i/c wiring connection. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “B” TYPE QUARTERS 9 NOS. @ ADC COLONY SUKKUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 110 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 100100 |
| 2. | 60 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 44520 |
| 3. | 9 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 14310 |
| 4. | 400 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 68400 |
| 5. | 400 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 80000 |
| 6. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 61000 |
| 7. | 110 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 5940 |
| 8. | 60 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 4980 |
| 9. | 27 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 4077 |
| 10. | 18 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 16488 |
| 11. | 54 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 3888 |
| 12. | 60 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 4200 |
| 13. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 38520 |
| 14. | 4 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 22084 _______ |
|  |  |  | TOTAL RS. |  | 468507 |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 18 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 25674 |
| --- | --- | --- | --- | --- | --- |
| 2. | 27 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 3807 |
| 3. | 108 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 53676 |
| 4. | 9 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 32490 |
| 5. | 27 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3356 |
| 6. | 9 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 1356 |
| 7. | 9 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 227 |
|  |  |  | TOTAL RS. |  | 120586 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | S/F exhaust fan 12” size iron body i/c fixing charges |  | Each |  |
| 3. | 12 | S/F LED light 50 watts square / round shape i/c wiring connection |  | Each |  |
| 4. | 60 | S/F fancy type switch 10amp i/c fixing with fancy plastic sheet & wiring connection |  | Each |  |
| 5. | 30 | S/F fancy type switch 10amp i/c 2-pin plug fixing with fancy plastic sheet |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “D” TYPE QUARTERS 5 NOS. @ ADC COLONY SUKKUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 40 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 36400 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 1590 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 10000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 15250 |
| 7. | 40 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 2160 |
| 8. | 10 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 830 |
| 9. | 10 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 1510 |
| 10. | 10 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 9160 |
| 11. | 1 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp DP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 2456 | P.No. | 2456 |
| 12. | 10 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 720 |
| 13. | 30 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2100 |
| 14. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 8560 _______ |
|  |  |  | TOTAL RS. |  | 106706 |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 5 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 7132 |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1410 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 60 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 29820 |
| 5. | 5 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.01 | Each | 18050 |
| 6. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 1243 |
| 7. | 5 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 754 |
| 8. | 5 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 126 |
|  |  |  | TOTAL RS. |  | 59529 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 13 | S/F AC ceiling fan 56” size (PAK, GFC, SK) i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light 50 watts square / round shape i/c wiring connection |  | Each |  |
| 3. | 5 | S/F Exhaust fan 12” size iron body i/c wiring connection. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “C” TYPE BUNGALOWS AT ADC COLONY SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 60 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.124 P.15). | 1130 | Per point | 67800 |
| 2. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 985 | Per point | 19700 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 1764 | Per point | 1764 |
| 4. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 222 | Per Mtr. | 19980 |
| 5. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.11 P-No.2) | 252 | Per Mtr. | 15120 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 341 | Per Mtr. | 17050 |
| 7. | 30 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.064 (10mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.14 P-No.2) | 641 | Per Mtr. | 19230 |
| 8. | 10 | Providing & fixing circuit breaker 6,1015,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No.202 P-No.30) | 916 | Each | 9160 |
| 9. | 1 | Providing & fixing circuit breaker 3,5,10,15,20 & 30amp TP (XS-30NS{NB} on prepared board as required (S.I.No.202 P-No.30) | 5301 | Each | 5301 |
| 10. | 3 | P/F volt meter size 96/96mm 500volts as required as per instruction of E.I (S.I.No.285 P-No.41) | 999 | Each | 2997 |
| 11. | 1 | Providing & fixing DP I/C change over switch 500 volts 200amp on prepared board. | 8767 | Each | 8767 |
| 12. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60 & 100amp TP (XS-100NS) on prepared board as required (S.I.No.202 P-No.30) | 9261 | Each | 9261 |
| 13. | 20 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 1440 |
| 14. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 700 |
| 15. | 10 | Providing & fixing (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core conductor 6000/1000 volts size 25mm2 (S.I.No.103 P-12) | 1909 | P.M | 19090 _______ |
|  |  |  | TOTAL RS. |  | 217360 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13) | 1426.33 | P.Sft: | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 4230 |
| 3. | 60 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 29820 |
| 4. | 2 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 7220 |
| 5. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 3729 |
| 6. | 15 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-No.11) | 150.70 | Each | 2261 |
| 7. | 15 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 630 _______ |
|  |  |  | TOTAL RS. |  | 62153 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 6 | S/F wall bracket fan with regulator capacitor with ON/OFF switch (PAK,GFC,SK). |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 1 | S/F Ceiling of copper conductor 56” sweep (Pak fan, GFC,SK) complete with dimmer switch & fan wiring with 2-3/.029 etc recessed. |  | Each |  |
| 3. | 4 | S/F Exhaust fan 12” size complete with holes plastic body i/c control switch. |  | Each |  |
| 4. | 2 | S/F water proof bulk light i/c water proof glass shade with wiring & connector etc. |  | Each |  |
| 5. | 4 | S/F LED light squire / round shape with wiring & connection 22watt etc. |  | Each |  |
| 6. | 20 | S/F Delto cable size K.T-6 for internet 3mm fitted in PVC duct etc. |  | Each |  |
| 7. | 1 | S/F Air Conditioner split type 1.50 ton capacity (approved by officer Incharge) i/c fixing charging & wiring connection etc. |  | Each |  |
| 8. | 10 | S/F Telephone sheet double T.P socket i/c board & frame with connection. |  | Each |  |
| 9. | 10 | S/F Internet sheet single i/c board & frame with connection etc. |  | Each |  |
| 10. | 50 | S/F Main service telephone cable of (20 pairs) in PVC pipe under ground internet etc. |  | P.M |  |
| 11. | 60 | S/F Cable wires of (2 pairs) for intercom connection in PVC duct on surface. |  | P.M |  |
| 12. | 2 | S/F search light of superior quality LED type squire sheet with stand & holes for fixing complete with connection etc 50watts. |  | Each |  |
| 13. | 2 | Gas charging of split AC 2.0 ton capacity i/c capacitor & service charging. |  | Each |  |
| 14. | 20 | S/F Fancy type switch 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 15. | 20 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 16. | 4 | S/F Power plug 30amp i/c fancy plastic sheet & board & shoe 30amp etc. |  | Each |  |
| 17. | 4 | S/F Universal plug fancy type i/c fancy plastic sheet & board etc. . |  | Each |  |
| 18. | 4 | Rewinding of ceiling fans 56” size i/c replacement of ball bearing & capacitor. |  | Each |  |
| 19. | 15 | S/F LED light squire / round shape with wiring & connection 12watt etc. |  | Each |  |
| 20. | 2 | S/F Gate light of approved shape & design i/c fixing on site existing brass holder & energy saver etc. |  | Each |  |
| 21. | 2 | S/F Lawn light with G.I pipe approximate 2” dia 1 ½ or 2’ ft long fixing with c.c type i/c fluorescent glass and energy saver etc. |  | Each |  |
| 22. | 2 | S/F Fancy wall light double fluorescent glass shade i/c double fluorescent light i/c fixing & wiring connection. |  | Each |  |
| 23. | 1 | S/F Brass check valve 2” dia i/c flexible rubber 2” dia 10’ ft long etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “D” TYPE BUNGALOWS AT ADC COLONY SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 50 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I No.129 P.15). | 910 | Per point | 45500 |
| 2. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.130 P.15). | 742 | Per point | 14840 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.131 P.15). | 1590 | Per point | 1590 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per point | 8550 |
| 5. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.4 P-No.1) | 200 | Per point | 18000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.5 P-No.1) | 305 | Per point | 15250 |
| 7. | 5 | Providing & Fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 4580 |
| 8. | 1 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE-100CS{CB}) on prepare board as required | 5521 | Each | 5521 |
| 9. | 20 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 1400 |
| 10. | 10 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 720 |
| 11. | 1 | P/F circuit breaker 100amp TP on prepare board. | 9261 | Each | 9261 |
| 12. | 30 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1). | 428 | P.M | 12840 |
| 13. | 1 | P/F DP I/P change over switch 500 volts 200amp on prepare board. | 8767 | Each | 8767 |
| 14. | 10 | P/F (MAIN or SUB MAIN) PVC insulated with 4 core copper conductor 600-1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | Each | 25290 |
| 15. | 3 | P/F volt meter 96/96mm 500 volts on a prepared board (S.I.No.285 P-No.41) | 999 | Each | 2997 _______ |
|  |  |  | TOTAL RS. |  | 175106 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 4230 |
| 3. | 10 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall or ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 4970 |
| 4. | 120 | S/F energy sever of superior quality i/c fixing & existing holder etc complete (S.I No.6 P-33) | 497 | Each | 59640 |
| 5. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 14440 |
| 6. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3729 |
| 7. | 4 | P/F A.C or D.C electric bell 200/250 volt 70mm (S.I No.23 P-No.11) | 150.70 | Each | 603 |
| 8. | 4 | P/F flush type electric bell push button (S.I No.P- No. 12). | 25.91 | Each | 104 _______ |
|  |  |  | TOTAL RS. |  | 101979 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size (PAK, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F exhaust fan 12” size iron / plastic body i/c fixing charges. |  | Each |  |
| 3. | 20 | S/F water proof bulk light i/c water proof glass shade etc. |  | Each |  |
| 4. | 30 | S/F LED light 22 watts square / round type i/c wiring connection. |  | Each |  |
| 5. | 4 | S/F LED light 50 watts square type (search light). |  | Each |  |
| 6. | 4 | S/F Gate light of approved design and shape and existing holder i/c fluorescent bulb etc. |  | Each |  |
| 7. | 6 | S/F Bracket fan standard size (Pak fan company) i/c wiring connection. |  | Each |  |
| 8. | 50 | S/F fancy type switch 10amp i/c fancy board & sheet etc. |  | Each |  |
| 9. | 20 | S/F 2-pin plug 10amp i/c fancy board & sheet etc complete. |  | Each |  |
| 10. | 10 | S/F 3-pin power plug 30amp i/c fancy board & sheet i/c 3-pin shoe 30amp etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “C” TYPE QUARTERS 5 NOS. @ ADC COLONY SUKKUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 80 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 72800 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 1590 |
| 4. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 17100 |
| 5. | 120 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 20000 |
| 6. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 18300 |
| 7. | 80 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 4320 |
| 8. | 10 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 830 |
| 9. | 25 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 755 |
| 10. | 10 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 9160 |
| 11. | 1 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 5521 |
| 12. | 10 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 720 |
| 13. | 60 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 4200 |
| 14. | 30 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 12840 _______ |
|  |  |  | TOTAL RS. |  | 175556 |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1410 |
| 3. | 60 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 29820 |
| 4. | 5 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.01 | Each | 18050 |
| 5. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 6. | 5 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 753 |
| 7. | 5 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 126 |
|  |  |  | TOTAL RS. |  | 59960 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 15 | S/F AC ceiling fan 56” size (PAK, GFC, SK) i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | S/F Exhaust fan 12” size complete hole etc complete |  | Each |  |
| 3. | 10 | S/F water proof bulk light i/c wiring connection |  | Each |  |
| 4. | 22 | S/F LED light 22 watts square / round shape i/c fixing & wiring connection |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO (E.I) IN CENTRAL PRISON -1 SUKKUR (REPLACEMENT OF L.T LINE & REPAIR MAIN PANAL BOARD) AND 4 CORE CABLE ( MAIN SERVICE LINE).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 8 | Construction of RCC foundation as per following specification & instruction of EI for 31ft /40ft long tubular pole Excavation of soft/hard soil 3’x3’x5.5’ stone soiling 3’x3’6 making lean in the ratio of 1:4:8 length of MS bolts 6 ½ ( ¾ “ dia ) 4 Nos.& making thread on MS rod template 16”x16” x ¼” rings ¼ “ dia round bar 4 Nos. to the welded with MS rod RCC foundation ration 1:2:4 with appropriate size 2’x2x6.5’ (S.No.132 P.16). | 15168 | P.No. | 121344 |
| 2. | 10 | 160. Providing & Fixing of street light 250 watts (HPMV) having IP54 classification with 250w lamp, choke, capacitor & internal wiring complete in all respect at the height upto 31ft as per site requirement and instruction of EI make of the above light is as follow. | 8455 | P.No. | 84550 |
| 3. | 2 | Providing & fixing circuit breaker 15,20,30,40,50,60.75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 18522 |
| 4. | 500 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 341 | Per Mtr. | 170500 |
| 5. | 1 | Providing & fixing circuit breaker 225amp TP on a prepare board as required (S.I.No.208 P-No.31) | 25541 | P.No. | 25541 |
| 6. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 185mm2 (S.I.No.110 P-No.13) | 12478 | P.Mtr: | 249560 |
| 7. | 40 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 150mm2 (S.I.No.109 P-No.13) | 10028 | P.Mtr: | 401120 |
| 8. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 120mm2. (S.I.No.108 P-No.13) | 8175 | P.Mtr: | 408750 |
| 9. | 4 | P/F M.S Tubular pole as following specification to be fixed on precast foundation with the help of hydraulic crane and manual labor 20ft (6”dia) x5’.5” (5”dia)x5’.5”(4dia)=31ft wall thickness 8 S.W.G base plate 18”x18”x3/4” hole 4 Nos. & two coats red oxide (2-coats) & Instruction of E.I (S.I.No.132 P-16) | 36697 | Each | 146788 |
| 11. | 1 | P/F light 400 watts (HPIT) having IP 65 classification with 400 watts lamp, chock, capacitor, igniter & internal wiring complete in all respects at the height upto 40ft as per site requirement and instruction of E.I (S.I.No.167 P-26). | 16980 | Each | 16980 _______ |
|  |  |  | TOTAL RS. |  | 1541355 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F shackle “D” iron belts make of galvanized mild steel flat 1.1/4 x 3/816” size having a bolt with nut 3” x 3/8” size clamp 1.3/4” w 21/2” (CSI No.G 1P-No.27) | 118.25 | Each | 3548 |
| 3. | 30 | P/F galvanized iron bolts for pressure pin insulator (S.I.No.B 1 P-27) | 286 | Each | 8580 |
| 4. | 30 | P/F 21” channel shackle insulator medium pressure | 47.30 | Each | 1419 |
| 5. | 200 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 99400 |
| 6. | 10 | P/F stay with 7/10 G.I wire complete stay rod galvanized thimble sky insulator stay swirel and clamps etc required (S.I No.2(g) P-28) | 2295 | P.Point | 22950 |
| 7. | 8 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 28880 |
| 8. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 _______ |
|  |  |  | TOTAL RS. |  | 180283 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 600 | Supply & erection of aluminum conductor waist all size of poles 120x5 = 600rft |  | P.rft |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 2 | P/F L.T structure angle iron frame size 1 ½” x ¾” x 1/3” thick with cross of angle iron size ¾” x ¾” x 1/8” thick iron poles with nuts 3/16” thick with making of holes for holding the welded length of pole size 30’ft i/c silver painting 3 coast etc. |  | Each |  |
| 3. | 10 | S/F AC ceiling fan 56” size (PAK, GFC, SK) i/c fixing & wiring connection etc complete. |  | Each |  |
| 4. | 20 | Rewinding of AC ceiling fan 56” size i/c replacement of ball bearing capacitor etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT & SESSION JUDGE RESIDENCE & ADDITIONAL SESSION JUDGE RESIDENCE @ SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 10 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 9100 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Each | 1590 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 20000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | P.Mtr: | 15250 |
| 7. | 10 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | Each | 540 |
| 8. | 5 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | Each | 415 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | Each | 151 |
| 10. | 30 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 27480 |
| 11. | 1 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | Each | 5521 |
| 12. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 700 |
| 13. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 360 |
| 14. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | P.M | 21400 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | Each | 9261 |
| 16. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | Each | 5301 ________ |
|  |  |  | TOTAL RS. |  | 133039 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 7. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 151 |
| 8. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 _______ |
|  |  |  | TOTAL RS. |  | 76761 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 60 | S/F Fancy type switch 10amp i/c fancy plastic. |  | Each |  |
| 4. | 30 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic. |  | Each |  |
| 5. | 10 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 30 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 10 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 10 | S/F LED light 18 watts complete with fixing charges square or round type. |  | Each |  |
| 11. | 4 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT COURT BUILDING @ SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 48 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 43680 |
| 2. | 25 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 18550 |
| 3. | 4 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Each | 6360 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 25650 |
| 5. | 240 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 48000 |
| 6. | 110 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | P.Mtr: | 33550 |
| 7. | 48 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | Each | 2592 |
| 8. | 25 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | Each | 2075 |
| 9. | 6 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | Each | 906 |
| 10. | 6 | Providing & fixing circuit breaker 6,10, 15,20,30,40,50,& 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 7328 |
| 11. | 6 | Providing & fixing circuit breaker 15,20,30,40,50,& 60amp TP (XS-100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | Each | 33126 |
| 12. | 30 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 2100 |
| 13. | 8 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 576 |
| 14. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | P.M | 64200 ________ |
|  |  |  | TOTAL RS. |  | 288693 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 150 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 74550 |
| --- | --- | --- | --- | --- | --- |
| 2. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 3. | 15 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1864 ________ |
|  |  |  | TOTAL RS. |  | 80025 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 20 | S/F Fancy type switch 10amp i/c fancy plastic sheet. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet. |  | Each |  |
| 3. | 20 | S/F ceiling fan 56” size i/c fixing & wiring connection etc complete. |  | Each |  |
| 4. | 25 | S/F LED light 18 watts complete with fixing of holes, condition (approved by Engineer incharge) |  | Each |  |
| 5. | 8 | S/F Bracket fan full size (lever type) with connection etc complete. |  | Each |  |
| 6. | 10 | S/F exhaust fan 12” size complete with holes iron body i/c control switch. |  | Each |  |
| 7. | 10 | S/F LED light 50/80 watts i/c fixing wiring charges. |  | Each |  |
| 8. | 48 | S/F capacitor 3.5 uf Fuji company. |  | Each |  |
| 9. | 36 | S/F sever 45 watts of superior quality. |  | Each |  |
| 10. | 2 | S/F change over switch 60amp Triple pole 3-phase i/c fixing & wiring connection. |  | Each |  |
| 11. | 6 | S/F power plug 30amp i/c shoe fixing on fancy board etc complete. |  | Each |  |
| 12. | 2 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |
| 13. | 1 | S/F H.P electric motor 2850 R.P.M i/c water pump set (rotary pump) |  | Each |  |
| 14. | 6 | S/F UPS (Inverter) 1200 watt of approved quality i/c wiring connection. |  | Each |  |
| 15. | 6 | S/F Battery 200/210amps of approved quality (Volta, Oska, Exide, A.G.S) company i/c charging etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

9(viii).

NAME OF WORK  :-	REHABILITATION / RENOVATION OF EXTERNAL E.I IN ADC COLONY SUKKUR (FIXING CABLE AND L.T LINE).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 5 | Construction of RCC foundation as per following specification & instruction of EI for 31ft /40ft long tubular pole Excavation of soft/hard soil 3’x3’x5.5’ stone soiling 3’x3’6 making lean in the ratio of 1:4:8 length of MS bolts 6 ½ ( ¾ “ dia ) 4 Nos.& making thread on MS rod template 16”x16” x ¼” rings ¼ “ dia round bar 4 Nos. to the welded with MS rod RCC foundation ration 1:2:4 with appropriate size 2’x2x6.5’ (S.No.132 P.16). | 15168 | P.No. | 75840 |
| 2. | 4 | 160. Providing & Fixing of street light 250 watts (HPMV) having IP54 classification with 250w lamp, choke, capacitor & internal wiring complete in all respect at the height upto 31ft as per site requirement and instruction of EI make of the above light is as follow | 8455 | P.No. | 33820 |
| 3. | 2 | Providing & fixing circuit breaker 15,20,30,40,50,60.75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 18522 |
| 4. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 341 | Per Mtr. | 68200 |
| 5. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm2. (S.I.No.104 P-No.30) | 2529 | P.Mtr: | 227610 |
| 6. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC insulated with 2-7/.064 (16mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.7 P-No.1) | 605 | P.Mtr: | 90750 |
| 7. | 1 | P/F light 400 watts (HPIT) having IP 65 classification with 400 watts lamp, chock, capacitor, igniter & internal wiring complete in all respects at the height upto 40ft as per site requirement and instruction of E.I (S.I.No.167 P-26). | 16980 | Each | 16980 _______ |
|  |  |  | TOTAL RS. |  | 531722 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 70 | P/F shackle “D” iron belts make of galvanized mild steel flat 1.1/4 x 3/816” size having a bolt with nut 3” x 3/8” size clamp 1.3/4” w 21/2” (CSI No.G 1P-No.27) | 118.25 | Each | 8178 |
| 3. | 70 | P/F galvanized iron bolts for pressure pin insulator (S.I.No.B 1 P-27) | 286 | Each | 20020 |
| 4. | 70 | P/F 21” channel shackle insulator medium pressure | 47.30 | Each | 3311 |
| 5. | 20 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 9940 |

Page No:2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
| 6. | 10 | P/F stay with 7/10 G.I wire complete stay rod galvanized thimble sky insulator stay swirel and clamps etc required (S.I No.2(g) P-No.28) | 2295 | P.Point | 22950 |
| 7. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 10440 _______ |
|  |  |  | TOTAL RS. |  | 93202 |

NON SCHEDULE ITEMS

| 1. | 2500 | Supply & erection of aluminum conductor waist all size of poles 500x5 = 2500rft |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 7 | P/F L.T structure angle iron frame size 1 ½” x ¾” x 1/3” thick with cross of angle iron size ¾” x ¾” x 1/8” thick iron poles with nuts 3/16” thick with making of holes for holding the welded length of pole size 30’ft i/c silver painting 3 coast etc. |  | Each |  |
| 3. | 1 | Rewinding of 10 H.P Electric motor with copper conductor i/c replacement of ball bearing & capacitor etc. |  | Each |  |
| 4. | 2 | S/F Electric starter fan 10 H.P or 15 H.P electric motor standard quality i/c fixing with metal board. |  | Each |  |
| 5. | 2 | S/F A.C ceiling fan 56” size i/c wiring connection. |  | Each |  |
| 6. | 25 | S/F Energy saver 45 watts standard quality existing with holder etc complete. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

| PART "A" |  | ________________%Above/Below New Electric Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below Old Electric Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | ________________ Non Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  |  | G. Total Rs:- |  |

| CONTRACTOR |  | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION SUKKUR |
| --- | --- | --- |

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO JAIL SUPERINTENDENT & HIS STAFF RESIDENCE & DISTRICT JAIL SUKKUR.  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 90 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 81900 |
| 2. | 40 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 29680 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 42750 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 90000 |
| 6. | 290 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 88450 |
| 7. | 90 | Providing & fixing one way SP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 4860 |
| 8. | 40 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 3320 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 30 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 40 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2800 |
| 13. | 35 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 2520 |
| 14. | 160 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 68480 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 16. | 4 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 21204 _________ |
|  |  |  | TOTAL RS. |  | 487078 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 5. | 8 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 28880 |
| 6. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3729 |
| 7. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 301 |
| 8. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | TOTAL RS. |  | 115647 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 20 | S/F Fancy type switch 10amp i/c fancy plastic. |  | Each |  |
| 4. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic. |  | Each |  |
| 5. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 20 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 1 | S/F ½ H.P electric motor i/c water pump set i/c fixing charges with c.c foundation & wiring connection etc. |  | Each |  |
| 11. | 20 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
| 12. | 1 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO D.I.G JAIL, JAIL SUPERINTENDENT & HIS STAFF RESIDENCE @ CENTRAL PRISON-1SUKKUR.  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 90 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 81900 |
| 2. | 40 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 29680 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 42750 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 90000 |
| 6. | 290 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 88450 |
| 7. | 90 | Providing & fixing one way SP switch flush type (S.I.No.219 P-.33) | 54 | P.No. | 4860 |
| 8. | 40 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-33) | 83 | P.No. | 3320 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 30 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 40 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2800 |
| 13. | 35 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 2520 |
| 14. | 160 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 68480 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 16. | 4 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 21204 _________ |
|  |  |  | TOTAL RS. |  | 487078 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 5. | 8 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 28880 |
| 6. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3729 |
| 7. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 301 |
| 8. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | TOTAL RS. |  | 115647 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 20 | S/F Fancy type switch 10amp i/c fancy plastic. |  | Each |  |
| 4. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic. |  | Each |  |
| 5. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 20 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 1 | S/F ½ H.P electric motor i/c water pump set i/c fixing charges with c.c foundation & wiring connection etc. |  | Each |  |
| 11. | 20 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
| 12. | 1 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |
| 13. | 2 | S/F Electric / Gas water geezer 45 gallon water capacity i/c connection etc complete. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT & SESSION JUDGE RESIDENCE & ADDITIONAL SESSION JUDGE RESIDENCE @ KHAIRPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 20 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 18200 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 10000 |
| 6. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 27450 |
| 7. | 10 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 540 |
| 8. | 5 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-33) | 83 | P.No. | 415 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 20 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 18320 |
| 11. | 1 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 5521 |
| 12. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 700 |
| 13. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 14. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 21400 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 16. |  | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 5301 _________ |
|  |  |  | TOTAL RS. |  | 136769 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 20 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 9940 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 7. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 151 |
| 8. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | TOTAL RS. |  | 22091 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 2 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 60 | S/F Fancy type switch 10amp i/c fancy plastic. |  | Each |  |
| 4. | 30 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic. |  | Each |  |
| 5. | 1 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 4 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 10 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
| 11. | 1 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO E.I IN DISTRICT SESSION COURT AND  ADDITIONAL SESSION JUDGE COURT @ KHAIRPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 20 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 18200 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 15390 |
| 5. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 10000 |
| 6. | 70 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 21350 |
| 7. | 20 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 1080 |
| 8. | 10 | Providing & fixing two pin 5amp plug & socket (S.I.No.225 P-33) | 83 | P.No. | 830 |
| 9. | 6 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 906 |
| 10. | 6 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 5496 |
| 11. | 1 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 5521 |
| 12. | 2 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 144 |
| 13. | 18 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 1260 |
| 14. | 2 | Providing & fixing circuit breaker 100amp T.P on a prepared board (S.I.No.207 P—31) | 9261 | Each | 18522 |
| 15. | 1 | Providing & fixing circuit breaker 225amp T.P on a prepared board (S.I.No.208 P—31) | 25541 | Each | 25541 |
| 16. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 25680 |
| 17. | 35 | Providing & laying (MAIN or SUB MAIN) PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm (S.I.No.104 P-No.12) | 2529 | Per ft: | 88515 _______ |
|  |  |  | TOTAL RS. |  | 249035 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 705 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 90 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 44730 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 5 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 621 |
| 7. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 301 |
| 8. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | TOTAL RS. |  | 56717 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 20 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED light 50 watts square shape i/c fixing & wiring connection (search light) |  | Each |  |
| 3. | 2 | Repair of electric water cooler i/c replacement of compressor & condenser |  | Each |  |
| 4. | 2 | Gas charging of electric water cooler |  | Each |  |
| 5. | 12 | Rewinding of ceiling fan with copper conductor i/c replacement of ball bearing |  | Each |  |
| 6. | 3 | Repair of water pump i/c replacement of bockey replacement of oil etc |  | Each |  |
| 7. | 2 | Rewinding of electric motor ½ H.P i/c replacement of ball bearing etc |  | Each |  |
| 8. | 2 | S/F type Air Condition of approved model 1.50 ton capacity i/c fitting and wiring connection charges (Kenwood company) |  | Each |  |
| 9. | 4 | S/F Stabilizer 10000 watts copper conductor heavy of approved quality. |  | Each |  |
| 10. | 4 | Making & fixing iron stand for A.C stabilizer i/c oil painting etc |  | Each |  |
| 11. | 60 | S/F copper pipe for Air Condition fitting i/c cloth tapping etc. |  | Each |  |
| 12. | 30 | S/F fancy type switch 10amp i/c fancy sheet & board etc. |  | Each |  |
| 13. | 25 | S/F fancy type 2-pin plug 10amp i/c fancy sheet & board etc. |  | Each |  |
| 14 | 4 | S/F power plug 40amp of superior quality i/c sheet & board and 3-pin shoe 40amp etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL GHOTKI.  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 90 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 81900 |
| 2. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 70000 |
| 3. | 90 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 4860 |
| 4. | 40 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 3320 |
| 5. | 30 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 36640 |
| 6. | 2 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp TP (TB-5S) on prepare board as required (S.I.No.232 P-No.33) | 5521 | P.No. | 11042 |
| 7. | 54 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 3888 |
| 8. | 50 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 3500 |
| 9. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 305 | Per Mtr. | 137250 |
| 10. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 149800 |
| 11. | 40 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 29680 |
| 12. | 1 | P/F DP I/C change over switch 500 volts 500amp on a prepare board (C.S.I No.198 P-30) | 40126 | Each | 40126 |
| 13. | 4 | Providing & fixing circuit breaker 100amp TP on prepare board as required (S.I.No.207 P-No.31) | 9261 | Each | 37044 |
| 14. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | P.Mtr: | 151740 _______ |
|  |  |  | TOTAL RS. |  | 760790 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 20 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 28527 |
| --- | --- | --- | --- | --- | --- |
| 2. | 40 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 5640 |
| 3. | 300 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 149100 _______ |
|  |  |  | TOTAL RS. |  | 183267 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 50 | S/F AC ceiling fan 56” size i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F exhaust fan 12” size iron body i/c connection |  | Each |  |
| 3. | 10 | S/F Search light LED light 50 watts square shape |  | Each |  |
| 4. | 20 | S/F LED light square / round shape with wiring & connection etc 22 watts |  | Each |  |
| 5. | 60 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing etc |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL KHAIRPUR.  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 150 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 136500 |
| 2. | 50 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 37100 |
| 3. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 70000 |
| 4. | 150 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 8100 |
| 5. | 50 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 4150 |
| 6. | 30 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 27480 |
| 7. | 4 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp TP (TB-5S) on prepare board as required (S.I.No.232 P-No.30) | 5521 | P.No. | 22084 |
| 8. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 305 | Per Mtr. | 76250 |
| 9. | 60 | Providing & fixing Brass Battern holder c(S.I.No.232 P-.33) | 70 | P.No. | 4200 |
| 10. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 64200 |
| 11. | 1 | P/F D.P/I.C change over switch 500 volts 500amp on a prepare board. | 40126 | Each | 40126 |
| 12. | 1 | Providing & fixing circuit breaker 225amp TP (XS-225NS) on prepare board (S.I.No.208 P-No.31) | 2551 | Each | 25541 |
| 13. | 20 | Providing & laying Main or Sub main PVC insulated & PVC sheathed with 4 core copper conductor 600/1000 volt size 35mm2 (S.I.No.104 P-No.12) | 2529 | P.M | 50580 |
| 14. | 2 | Providing & fixing circuit breaker 100amp TP on prepare board (S.I.No.207 P-No.31) | 9261 | Each | 18522 ________ |
|  |  |  | TOTAL RS. |  | 584833 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 150 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 74550 _______ |
|  |  |  | TOTAL RS. |  | 85928 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F Search light LED light 50 watts square type |  | Each |  |
| 3. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 4. | 20 | S/F LED light square / round shape with wiring & connection etc. |  | Each |  |
| 5. | 30 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL SUPERINTENDENT & HIS STAFF RESIDENCE @ GHOTKI (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 60 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 54600 |
| 2. | 30 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 22260 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 25650 |
| 5. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 30000 |
| 6. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 30500 |
| 7. | 60 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 3240 |
| 8. | 30 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2490 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 30 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 700 |
| 13. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 14. | 140 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 59920 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | Each | 9261 |
| 16. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | Per Mtr. | 5301 ________ |
|  |  |  | TOTAL RS. |  | 286635 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 4. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 5. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 6. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 151 |
| 7. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | TOTAL RS. |  | 75767 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 2 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 4. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 5. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 6. | 25 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 7. | 1 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 8. | 1 | S/F ½ H.P electric motor i/c water pump set i/c fixing charges with c.c foundation & wiring connection etc. |  | Each |  |
| 9. | 10 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT LOWER COURT AT GHOTKI (AFFIDAVIT ROOM) (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 65 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 59150 |
| 2. | 25 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 18550 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 1590 |
| 4. | 300 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 51300 |
| 5. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 50000 |
| 6. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 61000 |
| 7. | 65 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 3510 |
| 8. | 25 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2075 |
| 9. | 23 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 3473 |
| 9B. | 20 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 162 | P.No. | 3240 |
| 10 | 15 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 13740 |
| 11. | 6 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE-100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 33126 |
| 12. | 17 | Providing & fixing circuit breaker 6,10, 15,20,30,40,50 & 63amp DP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 2456 | P.No. | 41752 |
| 13. | 1 | Providing & fixing voltmeter size 96/96mm 500volt as required & as per instruction of E.I (S.I.No.285 P-No.41) | 999 | P.No | 999 ________ |
|  |  |  | TOTAL RS. |  | 286635 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 90 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 44730 |
| --- | --- | --- | --- | --- | --- |
| 2. | 6 | Distribution metal board double shutter to accommodate circuit breakers i/c painting with enemal paint etc (S.I.No.5 P-13) | 1426.33 | Each | 8558 _________ |
|  |  |  | TOTAL RS. |  | 53288 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 16 | S/F LED light round or square shape 22 watts |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | S/F Telephone cable 2-pair of superior quality |  | P.M |  |
| 3. | 11 | S/F Chaina sheet with frame with board of superior quality |  | Each |  |
| 4. | 25 | S/F Clip R.G-7 |  | Each |  |
| 5. | 130 | S/F Net work cable cat – 6 of superior quality. |  | P.M |  |
| 6. | 6 | S/F Pilot lamp with indicating bulb. |  | Each |  |
| 7. | 1 | S/F Net work switch 16 port. |  | Each |  |
| 8. | 1 | S/F DVR-2 terbite device. |  | Each |  |
| 9. | 4 | S/F Camera 650 or 700 (2 lines). |  | Each |  |
| 10. | 1 | S/F Rank board 9-U |  | Each |  |
| 11. | 8 | S/F Delto cable point with sheet of superior quality |  | Each |  |
| 12. | 80 | S/F Camera cable RG-7 power wire 2-3/.076 twin core in channel patti. |  | P.M |  |
| 13. | 20 | S/F copper pipe with tapping etc for Gas pipe Air condition. |  | P.rft |  |
| 14. | 75 | S/F cable 4-core 110/.076 |  | P.M |  |
| 15. | 1 | S/F stabilizer 10000 watts copper conductor for Air Conditioner i/c necessary connection. |  | Each |  |
| 16. | 1 | S/F change over switch 3-phase 4 pole 60amp. |  | Each |  |
| 17. | 2 | S/F stand for stabilizer i/c oil painting. |  | Each |  |
| 18. | 4 | S/F Wall bracket fan (Pak fan) i/c fixing & wiring charges etc. |  | Each |  |
| 19. | 10 | S/F A.C ceiling fan 56” size i/c fixing & wiring connection. |  | Each |  |
| 20. | 2 | S/F Stabilizer for computer copper conductor. |  | Each |  |
| 21. | 20 | S/F Energy saver 45 watts i/c existing holder. |  | Each |  |
| 22. | 1 | S/F Split type Air Conditioner (Kenwood) company 1.50 Ton capacity i/c fixing charges, clamps & wiring connection. |  | Each |  |
| 23. | 30 | Rewinding of ceiling fan with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 24. | 2 | S/F Exhaust fan 12” size iron body i/c fixing charges & wiring connection. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	RENOVATION OF 2ND TYPE BUNGALOWS 2 NOS. AT ADC COLONY SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 300 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall as required (S.No.129 P.15). | 1130 | Per point | 339000 |
| 2. | 70 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.126 P.15). | 985 | Per point | 68950 |
| 3. | 4 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.126 P.15). | 1764 | Per point | 7056 |
| 4. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.8 P-No.21) | 173 | Per point | 34600 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.11 P-No.2) | 252 | Per point | 113400 |
| 6. | 300 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.8 P-No.21) | 341 | Per point | 102300 |
| 7. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.064 (6mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.14 P-No.2) | 641 | Per point | 128200 |
| 8. | 40 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 36640 |
| 9. | 8 | Providing & fixing circuit breaker 3,5,10,20,30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.202 P-No.30) | 5301 | P.No. | 42408 |
| 10. | 2 | P/F circuit breaker 225amp TP on prepare board as required (S.I.No.208 P-No.31) | 25541 | P.No. | 51082 |
| 11. | 2 | P/F DP I/C change over switch 500 volts 200amp on a prepare board (C.S.I No.198 P-30) | 8767 | Each | 17534 |
| 12. | 2 | Providing & fixing circuit breaker 15,20,30,40, 50,60,,75 & 100amp TP (XS-30NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 18522 |
| 13. | 40 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 2880 |
| 14. | 30 | Providing & fixing Brass Battern holders (S.I.No.232 P-No.33) | 70 | Each | 2100 |
| 15. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | P.Mtr: | 126450 _______ |
|  |  |  | TOTAL RS. |  | 1091122 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 20 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13) | 1426.33 | Each | 28527 |
| --- | --- | --- | --- | --- | --- |
| 2. | 52 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 7333 |
| 3. | 10 | P/F 2-40 watts tube light complete with 40watts 4.0” long rod choke starter and putty with Philips components i/c necessary electric connection and fixing on wall or ceiling etc complete (S.I No.1 P-No.33) | 1677 | Each | 16770 |
| 4. | 60 | S/F energy sever of superior quality i/c fixing & existing holder etc complete (S.I No.6 P-33) | 497 | Each | 29820 |
| 5. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 14440 |
| 6. | 24 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 2983 |
| 7. | 24 | Providing (20mm) ¾” G.pipe with 1.13 3/029 PVC wire for down of ceiling fan | 25.91 | P.Rft: | 622 _______ |
|  |  |  | TOTAL RS. |  | 100495 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 4 | S/F wall bracket fan with regulator capacitor with ON/OFF switch (PAK, GFC, SK) |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 24 | S/F ceiling fan of copper 56” sweep (PAK, GFC, SK) complete |  | Each |  |
| 3. | 4 | S/F exhaust fan 12” size complete with holes iron body i/c control switch |  | Each |  |
| 4. | 40 | S/F LED light square / round shape with wiring & connection etc 18 watt |  | Each |  |
| 5. | 200 | S/F Delto cable size K.T -6 for internet 3mm fitted in PVC duct etc |  | Each |  |
| 6. | 4 | S/F Telephone sheet double T.P socket i/c board & frame with connection |  | Each |  |
| 7. | 4 | S/F internet sheet single i/c board & frame with connection etc |  | Each |  |
| 8. | 100 | S/F main service telephone cable of (20 pairs) in PVC pipe under ground in trench etc |  | Each |  |
| 9. | 4 | S/F search light of LED type squire shape with stand & holes for fixing complete with connection etc 50 watts |  | Each |  |
| 10. | 60 | S/F cable wire for T.V point connection recessed the wall as required |  | Each |  |
| 11. | 4 | T.V point connection with sheet complete |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO HIGH COURT BUILDING @ SUKKUR (REPAIR OF MAIN PANEL BOARD & SERVICE LINE)  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 48 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 43680 |
| 2. | 25 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 18550 |
| 3. | 4 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 6360 |
| 4. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 59850 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 90000 |
| 6. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 76250 |
| 7. | 48 | Providing & fixing one way SP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 2592 |
| 8. | 25 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2075 |
| 9. | 6 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 906 |
| 10. | 30 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 11. | 6 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 33126 |
| 12. | 8 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 576 |
| 13. | 30 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2100 |
| 14. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 107000 |
| 15. | 4 | Providing & fixing circuit breaker 100amp TP (XS-100NS) on prepare board as required (S.I.No.207 P-No.31) | 9261 | Each | 37044 |
| 16. | 1 | Providing & fixing circuit breaker 400amp TP seething 250-400amp (XS-400C.I) on prepare board as required (S.I.No.210 P-No.31) | 39401 | Each | 39401 |
| 17. | 1 | P/F DP I/C change over switch 500 volts 600amp on a prepare board (C.S.I No.202 P-30) | 69014 | Each | 69014 |
| 18. | 120 | P/L main or sub main PVC insulated & PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm2 (.S.I.No.104 P-12) | 2529 | P.M | 303480 |
| 19. | 30 | P/L main or sub main PVC insulated & PVC sheathed with 4 core copper conductor 600-1000 volts size 120mm2 (.S.I.No.108 P-13) | 8175 | P.M | 245250 |
| 20. | 9 | P/F of flood light 400 watt (HPIT) having IP 65 classification with 400 watts choke, capacitor, ignator and internal wiring complete in all respects (.S.I.No.167 P-26) | 16980 | Each | 152820 _______ |
|  |  |  | TOTAL RS. |  | 1317554 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 654 |
| --- | --- | --- | --- | --- | --- |
| 2. | 150 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 74550 |
| 3. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 4. | 15 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 1865 |
| 5. | 4 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 603 |
| 6. | 4 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 101 |
|  |  |  | TOTAL RS. |  | 81383 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 18 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | S/F LED light 22 watts complete with fixing of holes connection (approved by Engineer Incharge) |  | Each |  |
| 3. | 2 | S/F Bracket fan with connection etc complete |  | Each |  |
| 4. | 10 | S/F exhaust fan 12” size complete with holes iron body i/c connection |  | Each |  |
| 5. | 20 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing etc |  | Each |  |
| 6. | 15 | S/F Search light LED type square shape 50 watts i/c wiring connection. |  | Each |  |
| 7. | 6 | S/F main gate light Globe of approved design i/c energy sever 45 watts etc |  | Each |  |
| 8. | 1 | Making & fixing Affidinel Box (wooden) 2’x 6’ size square shape fixing on walls i/c French polishing etc |  | Job |  |
| 9. | 36 | S/F copper lugs and thimbles. |  | Each |  |
| 10. | 1 | S/F Television cable booster of standard quality i/c connection |  | Each |  |
| 11. | 1 | Making & fixing main panel box iron 12” x 14” size i/c oil painting |  | Job |  |
| 12. | 150 | S/F Delto cable kat – 6 for internet 3mm fitted in PVC duct etc |  | P.M |  |
| 13. | 6 | Internet sheet single i/c board & frame. |  | Each |  |
| 14. | 2 | S/F Electric Bus bar 200amp 4 pole with copper grips & fiber patties i/c iron box etc complete with connection etc. |  | Each |  |
| 15. | 30 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 16. | 6 | S/F Lawn light shade or globe i/c fluorescent bulb or energy saver etc complete |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF E.I IN COMMISSIONER OFFICE SUKKUR. (GROUND & FIRST FLOOR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 200 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.124 P.15). | 1130 | Per point | 226000 |
| 2. | 60 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 985 | Per point | 59100 |
| 3. | 15 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 1764 | Per point | 26460 |
| 4. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 222 | Per Mtr. | 77700 |
| 5. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.11 P-No.2) | 252 | Per Mtr. | 88200 |
| 6. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 341 | Per Mtr. | 51150 |
| 7. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.064 (10mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.14 P-No.2) | 641 | Per Mtr. | 96150 |
| 8. | 40 | Providing & fixing circuit breaker 6,1015,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No.202 P-No.30) | 916 | Each | 36640 |
| 9. | 10 | Providing & fixing circuit breaker 3,5,10,15,20 & 30amp TP (XS-30NS{NB} on prepared board as required (S.I.No.202 P-No.30) | 5301 | Each | 53010 |
| 10. | 6 | P/F volt meter size 96/96mm 500volts as required as per instruction of E.I (S.I.No.285 P-No.41) | 999 | Each | 5994 |
| 11. | 1 | Providing & fixing DP I/C change over switch 500 volts 200amp on prepared board. | 8767 | Each | 8767 |
| 12. | 2 | Providing & fixing circuit breaker 15,20,30,40,50,60 & 100amp TP (XS-100NS) on prepared board as required (S.I.No.202 P-No.30) | 9261 | Each | 18522 |
| 13. | 34 | P/L Main or Sub Main PVC insulated & PVC sheeted with 4 core copper conductor 6000/1000 volts size 35mm2 (S.I.No.104 P-12) | 2529 | P.M | 85986 |
| 14. | 40 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 2880 |
| 15. | 40 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 2800 |
| 16. | 50 | Providing & fixing (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core conductor 6000/1000 volts size 25mm2 (S.I.No.103 P-12) | 1909 | P.M | 54450 _______ |
|  |  |  | TOTAL RS. |  | 893809 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13) | 1426.33 | P.Sft: | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 4230 |
| 3. | 60 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 29820 |
| 4. | 2 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 7220 |
| 5. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 3729 |
| 6. | 15 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 2261 |
| 7. | 15 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 630 _______ |
|  |  |  | TOTAL RS. |  | 56448 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 6 | S/F wall bracket fan with regulator capacitor with ON/OFF switch (PAK,GFC,SK). |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F Ceiling of copper conductor 56” sweep (Pak fan, GFC,SK) complete. |  | Each |  |
| 3. | 1 | S/F Air Conditioner split type 2.0 ton capacity i/c fitting & wiring connection charges (Kenwood company) approved by officer Incharge. |  | Each |  |
| 4. | 1 | S/F Air Conditioner split type 1.50 ton capacity (Kenwood company) approved by officer Incharge. |  | Each |  |
| 5. | 6 | S/F Exhaust fan 12” size complete with holes iron body i/c control switch. |  | Each |  |
| 6. | 10 | S/F water proof wall type bracket complete with wiring & connector etc. |  | Each |  |
| 7. | 30 | S/F LED light squire / round shape with wiring & connection 22watt etc. |  | Each |  |
| 8. | 300 | S/F Delto cable size K.T-6 for internet 3mm fitted in PVC duct etc. |  | P.M |  |
| 9. | 1 | S/F Air Condition stand type 2.0 ton capacity (approved by office incharge) i/c fixing charging & wiring connected. |  | Each |  |
| 10. | 10 | S/F Telephone sheet double T.P socket i/c board & frame with connection. |  | Each |  |
| 11. | 10 | S/F Internet sheet single i/c board & frame with connection etc. |  | Each |  |
| 12. | 250 | S/F Main service telephone cable of (20 pairs) in PVC pipe under ground internet etc. |  | P.M |  |
| 13. | 200 | S/F Cable wires of (2 pairs) for intercom connection in PVC duct on surface. |  | P.M |  |
| 14. | 10 | S/F search light of superior quality LED type squire sheet with stand & holes for fixing complete with connection etc 50watts. |  | Each |  |
| 15. | 1 | S/F Electric stabilizer 12000watts copper conductor (approved by office incharge). |  | Each |  |
| 16. | 2 | Gas charging of split AC 2.0 ton capacity i/c capacitor & service charging. |  | Each |  |
| 17. | 280 | S/F Fancy type switch 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 18. | 130 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 19. | 25 | S/F Power plug 30amp i/c fancy plastic sheet & board & shoe 30amp etc. |  | Each |  |
| 20. | 40 | S/F Universal plug fancy type i/c fancy plastic sheet & board etc. . |  | Each |  |
| 21. | 10 | S/F Round type globe for lawn light i/c energy saver etc. |  | Each |  |
| 22. | 2 | S/F False ceiling fan of approved design standard quality (Pak Fan Company) |  | Each |  |
| 23. | 10 | Rewinding of ceiling fans 56” size i/c replacement of ball bearing & capacitor. |  | Each |  |
| 24. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 25. | 1 | S/F Refrigerator / Deep freezer of standard quality of standard size (approved by officer Incharge) |  | Each |  |
| 26. | 1 | S/F DVR-2 terbite devices for internet set complete. |  | Job |  |
| 27. | 150 | S/F Copper pipe for split Air Condition out door i/c cloth topping etc. |  | P.sft |  |
| 28. | 5 | S/F Iron stand for stabilizer of required size i/c oil painting etc heavy type. |  | Each |  |
| 29. | 1 | Supplying & fixing Telephone exchange for 8 Nos. Telephone set i/c Telephone cabinet set etc. |  | Each |  |
| 30. | 30 | S/F R.G clip |  | Each |  |
| 31. | 150 | S/F cable 4 core 110/0.076 copper conductor |  | P.M |  |
| 32. | 1 | S/F Net work switch board 16 port (imported) |  | Job |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT & SESSION JUDGE RESIDENCE & ADDITIONAL JUDGES RESIDENCE AT GHOTKI. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 108 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 98280 |
| 2. | 48 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 35616 |
| 3. | 3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 4770 |
| 4. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 17100 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 20000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 15250 |
| 7. | 108 | Providing & fixing one way SP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 5832 |
| 8. | 48 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 3984 |
| 9. | 20 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 18320 |
| 10. | 3 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 16563 |
| 11. | 66 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 4620 |
| 12. | 15 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 1050 |
| 13. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 42800 |
| 14. | 10 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 53010 _________ |
|  |  |  | Total Rs. |  | 337192 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 9 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 12837 |
| --- | --- | --- | --- | --- | --- |
| 2. | 9 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1269 |
| 3. | 40 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 19880 |
| 4. | 15 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1865 |
| 5. | 3 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 452 |
| 6. | 3 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 76 |
|  |  |  | Total Rs. |  | 36379 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 4 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | S/F Power plug 40amp i/c board & sheet with frame i/c 3-pin shoe 40amp etc. |  | Each |  |
| 3. | 10 | S/F Bulk light fitting i/c water proof glass shade i/c wiring connection. |  | Each |  |
| 4. | 2 | S/F Gate light complete i/c brass holder and wiring connection. |  | Each |  |
| 5. | 1 | S/F change over switch 60amp i/c fixing on mental board and wiring connection. |  | Each |  |
| 6. | 3 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 7. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 8. | 10 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	CONSTRUCTION OF 2 NOS. BUNGALOWS @ CIVIL COURT ROHRI (PROVIDING INTERNAL & EXTRANAL)  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 160 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 145600 |
| 2. | 40 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 29680 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 500 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 85500 |
| 5. | 280 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 56000 |
| 6. | 300 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 91500 |
| 7. | 160 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 8640 |
| 8. | 48 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 3320 |
| 9. | 10 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 1510 |
| 10. | 20 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 18320 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 120 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 8400 |
| 13. | 60 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 4320 |
| 14. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 128400 _________ |
|  |  |  | Total Rs. |  | 595412 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 12 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 17116 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 9940 |
| 3. | 100 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 49700 |
| 4. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3729 |
| 5. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 301 |
| 6. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | Total Rs. |  | 80836 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 12 | S/F LED light 80 watts square / round type i/c wiring connection. |  | Each |  |
| 3. | 10 | S/F Bracket fan (Pak fan, Royal, SK) company. |  | Each |  |
| 4. | 14 | S/F Double tube light 2-40 watts i/c chocks, tube rods etc. |  | Each |  |
| 5. | 10 | S/F exhaust fan 12” size i/c fixing and wiring connection. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO HIGH COURT BUILDING CIRCUIT BENCH AT SUKKUR (REPAIR OF E.I RESIDENCE QUARTERS (STAFF QUARTERS).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 150 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 136500 |
| 2. | 72 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 53424 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 190 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 32490 |
| 5. | 180 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 36000 |
| 6. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 6100 |
| 7. | 150 | Providing & fixing one way SP 5amp switch flush type (S.I.No.219 P-33) | 54 | P.No. | 8100 |
| 8. | 72 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 5976 |
| 9. | 10 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 1510 |
| 10. | 5 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 162 | P.No. | 810 |
| 11. | 25 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 22900 |
| 12. | 8 | Providing & fixing circuit breaker 3,5,10,15,20,& 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 42408 |
| 13. | 4 | Providing & fixing circuit breaker 15,20,30, 40, 50 & 60amp TP (XE-100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 22084 |
| 14. | 128 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 8960 |
| 15. | 22 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 1584 |
| 16. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 42800 _________ |
|  |  |  | Total Rs. |  | 424826 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 907.96 | Each | 5448 |
| --- | --- | --- | --- | --- | --- |
| 2. | 16 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2256 |
| 3. | 10 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 4970 |
| 4. | 120 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 59640 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 16 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1989 |
| 7. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 151 |
| 8. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | Total Rs. |  | 78089 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO JAIL SUPERINTENDENT & HIS STAFF RESIDENCE @ SHIKARPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 60 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 54600 |
| 2. | 30 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 22260 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 25650 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 90000 |
| 6. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 61000 |
| 7. | 60 | Providing & fixing one way SP switch flush type (S.I.No.219 P-.33) | 54 | P.No. | 3240 |
| 8. | 30 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2490 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 60 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 54960 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 50 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 3500 |
| 13. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 14. | 140 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 59920 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 16. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No | 5301 |
|  |  |  | Total Rs. |  | 407415 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 4. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 14440 |
| 5. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 6. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-No.11) | 150.70 | Each | 151 |
| 7. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | TOTAL RS. |  | 86507 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 1 | S/F U.P.S (Inverter) 1200 watts of approved standard quality i/c wiring connection etc. |  | Each |  |
| 4. | 2 | S/F Battery 200/210amp of approved quality (Volta, Osaka, Exide & A.G.S) company i/c charging. |  | Each |  |
| 5. | 2 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 20 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 30 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 2 | S/F ½ H.P electric motor i/c water pump set i/c fixing charges with c.c foundation & wiring connection etc. |  | Each |  |
| 11. | 10 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL SHIKARPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 150 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 136500 |
| 2. | 50 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 37100 |
| 3. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 76250 |
| 4. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in 1” dia PVC conduit on surface (S.I.No.3 P-No.1) | 200 | Per Mtr. | 70000 |
| 5. | 150 | Providing & fixing one way SP 5amp switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 2100 |
| 6. | 50 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 4150 |
| 7. | 30 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 8. | 4 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp TP (TB-5S) on prepare board as required (S.I.No.232 P-No.30) | 5521 | P.No. | 22084 |
| 9. | 60 | Providing & fixing Brass Battern holder c(S.I.No.232 P-33) | 70 | P.No. | 4200 |
| 10. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 64200 |
| 11. | 1 | Providing & fixing change over switch 500 volts 500amp on prepare board. | 40126 | P.No. | 40126 |
| 12. | 1 | Providing & fixing circuit breaker 225amp TP (XS-225NS) on a prepared board (S.I.No.208 P-31) | 25541 | P.No. | 25541 |
| 13. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheathed with 4 core copper conductor 600/1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | Per Mtr. | 50580 |
| 14. | 2 | Providing & fixing circuit breaker 100amp TP on a prepared board as required (S.I.No.207 P-31) | 9261 | P.No. | 18522 |
| 15. | 6 | Providing & fixing street light 250 watts (H.P.M.V) having IP 54 classification with 250 watts lamp, chock, capacitor & internet wiring complete in all respects at the height of 31ft per site requirement etc. | 8455 | P.No. | 50730 _________ |
|  |  |  | TOTAL RS. |  | 635563 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 150 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 74550 _______ |
|  |  |  | TOTAL RS. |  | 85928 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 20 | S/F AC ceiling fan 56” size i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED search light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 4. | 10 | S/F LED light square / round shoe with wiring connection etc 22 watts. |  | Each |  |
| 5. | 20 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing etc. |  | Each |  |
| 6. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing and capacitor. |  | Each |  |
| 7. | 1 | Rewinding of electric motor 1 H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 8. | 1 | Rewinding of electric motor 10 H.P three phase copper conductor etc. |  | Each |  |
| 9. | 1 | Rewinding of electric motor 20 H.P three phase copper conductor etc. |  | Each |  |
| 10. | 2 | S/F Ball bearing for 10 H.P electric motor N.T.N (Japan) |  | Each |  |
| 11. | 2 | S/F Ball bearing for 20 H.P electric motor N.T.N (Japan) |  | Each |  |
| 12. | 2 | S/F Capacitor for 10 H.P electric motor (Japan) |  | Each |  |
| 13. | 2 | S/F Capacitor for 20 H.P electric motor (Japan) |  | Each |  |
| 14. | 1 | S/F U.P.S (Inverter) 1200 watts of approved standard quality i/c wiring connection etc. |  | Each |  |
| 15. | 2 | S/F Battery 200/210amp of approved quality (Volta, Osaka, Exide & A.G.S) company i/c charging. |  | Each |  |
| 16. | 1 | S/F iron frame of approved size for Battery and U.P.S i/c fitting charges etc. |  | Each |  |
| 17. | 1 | S/F 1 H.P electric motor i/c water pump set of approved quality with c.c foundation etc. |  | Each |  |
| 18. | 2 | Repair of coupling water pump i/c repair of pump rod & replacement of ball bearing size etc. |  | Each |  |
| 19. | 1 | Supply stabilizer for computer copper conductor |  | Each |  |
| 20. | 6 | S/F Helogen rod for search light 500 watts (Philips) |  | Each |  |
| 21. | 6 | S/F Chock for search light 500 watts (Philips) |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT HEALTH OFFICE SUKKUR.   (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 225 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.124 P.15). | 1130 | Per point | 254250 |
| 2. | 80 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 985 | Per point | 78800 |
| 3. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 1764 | Per point | 35280 |
| 4. | 30 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2100 |
| 5. | 25 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 1800 |
| 6. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 463 | Per Mtr. | 162050 |
| 7. | 650 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 252 | Per Mtr. | 163800 |
| 8. | 850 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 341 | Per Mtr. | 289850 |
| 9. | 48 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 2592 |
| 10. | 25 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2075 |
| 11. | 1 | Providing & fixing DP I/C change over switch 500 volts 100amp on prepared board (S.I.No.197 P-No.30) | 7612 | P.No. | 7612 |
| 12. | 360 | P/L main or sub main 2-7/.064 copper recessed in the wall | 641 | P.Mtr. | 230760 |
| 13. | 30 | P/F Circuit breaker 63amp (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 14. | 4 | P/F Circuit breaker 30amp (S.I.No.203 P-No.30) | 5301 | Each | 21204 |
| 15. | 2 | P/F Circuit breaker 100amp (S.I.No.204 P-No.30) | 9261 | Each | 18522 ________ |
|  |  |  | TOTAL RS. |  | 1293508 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 20 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 2486 |
| --- | --- | --- | --- | --- | --- |
| 2. | 120 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 59640 |
| 3. | 10 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 1507 |
| 4. | 10 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 252 |
| 5. | 20 | Distribution board (S.No.18 P-No.14) | 1426 | Each | 28520 |
| 6. | 24 | P/F miled steel clamp 5/8” (S.I No.1 (c) P-14) | 141.01 | Each | 3384 |
| 7. | 10 | P/F 2-40 watt tube light (S.I No.1 P-No.33) | 1677 | Each | 16770 |
| 8. | 6 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level etc. | 3610.04 | Each | 21660 |
|  |  |  | TOTAL RS. |  | 134219 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 12 | Providing & Fixing bracket fan i/c remote type regulator. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 24 | S/F AC ceiling fan 56” size (Pak fan, GFC, Royal) company |  | Each |  |
| 3. | 20 | S/F Energy saver 45 watts. |  | Each |  |
| 4. | 4 | S/F exhaust fan 12” size Pak |  | Each |  |
| 5. | 65 | S/F LED light square / round shape 22 watts i/c wiring connection. |  | Each |  |
| 6. | 30 | S/F search light LED type 50 watts square type (search light). |  | Each |  |
| 7. | 225 | S/F fancy switch 10amp i/c fancy plastic sheet and board. |  | Each |  |
| 8. | 80 | S/F fancy switch 10amp i/c 2-pin plug socket with fancy plastic sheet and board. |  | Each |  |
| 9. | 40 | S/F power plug 30amp i/c fancy plastic sheet and board i/c show 30amp. |  | Each |  |
| 10. | 40 | S/F fancy type universal plug i/c fancy plastic sheet and board etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	ESTIMATE FOR RENOVATION OF A.T.C COURT @ SUKKUR (INTERNAL & EXTERNAL ELECTRIFICATION). (REMAINING WORK).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 650 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit recessed in the wall or column as required (S.I.No.12 P-No.2) | 341 | Per Mtr. | 221650 |
| 2. | 5 | Providing & fixing circuit breaker3,5,10,15,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-31) | 5301 | P.No. | 26505 |
| 3. | 120 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | Per Mtr. | 303480 |
| 4. | 2 | Providing & fixing DP I/C change over switch 500 volts 100amp on prepare board | 7612 | P.No. | 15224 _______ |
|  |  |  | TOTAL RS. |  | 136769 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 85 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 42245 |
| --- | --- | --- | --- | --- | --- |
| 2. | 16 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 1989 |
|  |  |  | TOTAL RS. |  | 44234 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 11 | S/F AC ceiling fan 56” size i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 90 | S/F Flush type switch i/c fancy plastic sheet & board approved by officer incharge. |  | Each |  |
| 3. | 30 | S/F 2-pin plug 10amp plug & socket flush type fancy type i/c fancy plastic sheet & board approved by officer incharge. |  | Each |  |
| 4. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 5. | 22 | S/F 3-pin power plug 30amp i/c board & sheet i/c 3 pin shoe. |  | Each |  |
| 6. | 26 | S/F Fancy type universal plug 20amps i/c fancy plastic sheet. |  | Each |  |
| 7. | 4 | S/F Fancy false ceiling fan i/c remote control switch (Pak Fan) company. |  | Each |  |
| 8. | 2 | S/F Stabilizer 10000 watts for Air Condition copper conductor heavy approved quality. |  | Each |  |
| 9. | 2 | S/F Stabilizer 12000 watts for Air Condition copper conductor heavy (Universal Company). |  | Each |  |
| 10. | 300 | S/F Delto cable size K.T -6 for internet 3mm fitted in PVC duct etc. |  | P.M |  |
| 11. | 250 | S/F Main service telephone cable of (20 pairs) in PVC pipe under ground internet etc. |  | P.M |  |
| 12. | 20 | S/F Internet sheet single i/c board & frame with connection etc. |  | Each |  |
| 13. | 250 | S/F Cable wire for T.V / Telephone point connection recessed the wall as required. |  | P.M |  |
| 14. | 70 | S/F gas pipe line copper conductor fitting for Air Condition |  | P.rft |  |
| 15. | 4 | Making & fixing iron stand for A.C stabilizer of approved size heavy quality i/c oil painting etc complete. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	ESTIMATE FOR ESTABILISHMENT OF CATTLE COLONY KHAIRPUR (PROVIDING EXTERNAL E.I IN MAIN GATE TO UPTO WAPDA TRANSFORMER).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 10 | Providing & fixing of flood light 400 watt (HPIT) having IP 65 classification with 400 watt lamp, choke, capacitor, igniter & internal wiring complete in all respects as per site requirements etc. (S.I.No.167 P-No.26). | 16980 | Each | 169800 |
| 2. | 7 | Providing & fixing of M.S tubular pole as following specification to be fixed on precast foundation with the help manual labor 20ft (6” dia) 5’.5” (5” dia) 5’.5”ft (4” dia) 8 SWG base plate 18” x 18” x ¾” hole 4 Nos. etc complete (S.I.No.132 P-16) | 36697 | Each | 256879 |
| 3. | 7 | Construction of R.C.C foundation as per following specification & instruction of E.I for 31ft /40ft long tubular pole excavation of soft / hard soil 3’x3’x5’.5” stone soiling 3’x3’x6” making leans in the ratio of 1:4::8 etc.(S.I No.139 P-19) | 15168 | Each | 106176 |
| 4. | 430 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 16mm2 (S.I.No.102 P-No.12) | 1300 | Per Mtr. | 559000 |
| 5. | 7 | Providing & fixing circuit breaker 30amp TP on a prepare board (S.I.No.205 P-31) | 5301 | Each | 37107 _______ |
|  |  |  | TOTAL RS. |  | 1128962 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 6 | P/F stay with 7/10 G.I wire complete stay rod galvanized thimble SK4 insulator stay rod & clamps etc as required. (S.I No.2 P-No.28) | 3610.04 | Each | 21660 |
| --- | --- | --- | --- | --- | --- |
| 2. | 7 | P/F earthing set with 2x2x1/2” thick cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level etc complete. (S.I.No.1 P-26). | 3610.04 | Each | 25270 |
| 3. | 8 | P/F Panel board double shutter accommodate circuit breaker etc i/c oil painting etc (S.I No.6 P-13) | 1426.33 | Each | 11411 _______ |
|  |  |  | TOTAL RS. |  | 58341 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	CONSTRUCTION OF WOMEN DEVELOPMENT COMPLEX @ SUKKUR (PROVIDING EXTERNAL ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 400 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 341 | Per Mtr. | 136400 |
| 2. | 20 | Construction of R.C.C foundation as per following specification & instruction of E.I for 31ft /40ft long tubular pole excavation of soft / hard soil 3’x3’x5’.5” stone soiling 3’x3’x6” making leans in the ratio of 1:4::8 etc.(S.I No.139 P-19) | 15168 | Each | 303360 |
| 3. | 20 | Providing & fixing of flood light 400 watt (HPIT) having IP 65 classification with 400 watt lamp, choke, capacitor, igniter & internal wiring complete in all respects as per site requirements etc. (S.I.No.167 P-No.26). | 16980 | Each | 339600 |
| 4. | 10 | Providing & fixing circuit breaker 30amp TP on a prepare board (S.I.No.205 P-31) | 5301 | Each | 53010 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with 2-7/.052 copper conductor in 1” dia PCC pipe conduit on surface as required (S.I.No.6 P-No.1) | 428 | P.M | 42800 ______ |
|  |  |  | TOTAL RS. |  | 875170 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 8 | P/F Panel board double shutter accommodate circuit breaker i/c oil painting with enamel paint and for other similar job on surface (S.I No.5 P-13) | 1426.33 | P.sft | 11411 |
| --- | --- | --- | --- | --- | --- |
| 2. | 80 | P/F Shakle ‘D’ iron bolt make of galvanized mild steel flat 1 ¼” x 3/16” size having a bolt with nuts 3” x 3/8” size ‘D’ clamps 1 ¾” x 2 ½” (S.I No.1 P-27) | 118.25 | Each | 9460 |
| 3. | 80 | Galvanized iron bolt for pressure pin insulator (S.I No.2 P-27) | 286 | Each | 22880 |
| 4. | 80 | P/F 2/1” channel schackle insulator medium pressure (S.I No.3 P-27) | 47.30 | Each | 3784 |
| 5. | 10 | P/F stay with 7/10 G.I wire complete stay rod galvanized thimble sky insulator stay rod, clamps as required (S.I No.2 P-28) | 3610.04 | Each | 36100 |
| 6 | 20 | P/F earthing set with 2x2x1/2” thick copper plate buried in ground at a depth of 12” or less if water comes out from the ground level with pit 12” etc complete (S.I.No.1 P-26). | 3610.01 | Each | 72201 ________ |
|  |  |  | TOTAL RS. |  | 155836 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 7200 | Supply and excavation of aluminum conductor of waist of all size poles i/c binding wire as required. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | S/F L.T structure angle iron frame size 1 ½” x ¾” x 1/3” thick with cross of angle iron ¼” x ¼” x 1/8” thick iron poles with nuts 3/16” thick with making the holes of welded length of pole 30ft i/c silver paint. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK :-M&R TO JAIL SUPERINTENDENT & HIS STAFF      RESIDENCE @ DISTRICT JAIL SHIKARPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW ELECTRIC SCHEDULE 2012 |  |  |  |
| 1. | 20 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 18200 |
| 2. | 5 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 3710 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 1590 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 10000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 15250 |
| 7. | 20 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 1080 |
| 8. | 5 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 415 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 4 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 3664 |
| 11. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-33) | 70 | P.No. | 700 |
| 12. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 13. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 8560 |
| 14. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 5301 _________ |
|  |  |  | TOTAL RS. |  | 635563 |

Page No.2

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 30 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 14910 |
| 4. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 5. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 6. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 151 |
| 7. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | TOTAL RS. |  | 26067 |

NON SCHEDULE ITEMS

| 1. | 2 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 1 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 1 | S/F U.P.S (Inverter) 1200 watts of approved standard quality i/c wiring connection etc. |  | Each |  |
| 4. | 1 | S/F Battery 2008210amp of approved quality (Volta, Osaka, Excide & A.G.S) company i/c charging. |  | Each |  |
| 5. | 1 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 4 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 4 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |

Page No.3

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

| 9. | 1 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | TOTAL RS. |  |  |

PART “A”	___________	% Above / Below New Electric Schedule Items 	Total Rs:-

PART “B”	___________	% Above / Below Old Electric Schedule Items 	Total Rs:-

PART “C”	___________	Non Schedule Items 					Total Rs:-

____________________

G. Total Rs:-

_____________________

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK :-M&R TO CENTRAL JAIL SUPERINTENDENT & HIS STAFF RESIDENCE @ KHAIRPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW ELECTRIC SCHEDULE 2012 |  |  |  |
| 1. | 30 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 27300 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 1590 |
| 4. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 17100 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 20000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 15250 |
| 7. | 30 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 1620 |
| 8. | 10 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 830 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 20 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 18320 |
| 11. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-33) | 70 | P.No. | 700 |
| 12. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 13. | 40 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 17120 |
| 14. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |

Page No.2

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
| 15. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 5301 |
|  |  |  | TOTAL RS. |  | 142323 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 30 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 14910 |
| 4. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 5. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 6. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-No.11) | 150.70 | Each | 151 |
| 7. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | TOTAL RS. |  | 26067 |

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 2 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 4. | 4 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 5. | 2 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 6. | 7 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 7. | 1 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |

Page No.3

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

| 8. | 4 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | TOTAL RS. |  |  |

PART “A”	___________	% Above / Below New Electric Schedule Items 	Total Rs:-

PART “B”	___________	% Above / Below Old Electric Schedule Items 	Total Rs:-

PART “C”	___________	Non Schedule Items 					Total Rs:-

____________________

G. Total Rs:-

_____________________

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK :-M&R TO CENTRAL JAIL KHAIRPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW ELECTRIC SCHEDULE 2012 |  |  |  |
| 1. | 150 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 136500 |
| 2. | 50 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 37100 |
| 3. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 70000 |
| 4. | 150 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 8100 |
| 5. | 50 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 4150 |
| 6. | 30 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 27480 |
| 7. | 4 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp TP (TB-5S) on prepare board as required (S.I.No.232 P-No.30) | 5521 | P.No. | 22084 |
| 8. | 80 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 305 | Per Mtr. | 24400 |
| 9. | 60 | Providing & fixing Brass Battern holder c(S.I.No.232 P-.33) | 70 | P.No. | 4200 |
| 10. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 21400 |
| 11. | 1 | P/F D.P/I.C change over switch 500 volts 500amp on a prepare board. | 40126 | Each | 40126 |
| 12. | 1 | Providing & fixing circuit breaker 225amp TP (XS-225NS) on prepare board (S.I.No.208 P-No.31) | 2551 | Each | 25541 |
| 13. | 20 | Providing & laying Main or Sub main PVC insulated & PVC sheathed with 4 core copper conductor 600/1000 volt size 35mm2 (S.I.No.104 P-No.12) | 2529 | P.M | 50580 |
| 14. | 1 | Providing & fixing circuit breaker 100amp TP on prepare board (S.I.No.207 P-No.31) | 9261 | Each | 9261 _______ |
|  |  |  | TOTAL RS. |  | 480922 |

Page No.2

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 50 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 24850 _______ |
|  |  |  | TOTAL RS. |  | 36228 |

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F Search light LED light 50 watts square type |  | Each |  |
| 3. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 4. | 10 | S/F LED light square / round shape with wiring & connection etc. |  | Each |  |
| 5. | 10 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing etc. |  | Each |  |

PART “A”	___________	% Above / Below New Electric Schedule Items 	Total Rs:-

PART “B”	___________	% Above / Below Old Electric Schedule Items 	Total Rs:-

PART “C”	___________	Non Schedule Items 					Total Rs:-

____________________

G. Total Rs:-

_____________________

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK :-M&R TO JAIL SUPERINTENDENT & HIS STAFF RESIDENCE @ CENTRAL PRISON-1 SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW ELECTRIC SCHEDULE 2012 |  |  |  |
| 1. | 60 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 54600 |
| 2. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 14840 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 1590 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 25650 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 20000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 15250 |
| 7. | 60 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 3240 |
| 8. | 20 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 1660 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 10 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 9160 |
| 11. | 1 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 5521 |
| 12. | 20 | Providing & fixing Brass Battern holder c(S.I.No.232 P-33) | 70 | P.No. | 1400 |
| 13. | 10 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 720 |
| 14. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 25680 |

Page No.2

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 16. | 4 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 21204 _________ |
|  |  |  | TOTAL RS. |  | 209927 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 2 | P/F Wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 30 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 14910 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3729 |
| 7. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 301 |
| 8. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | TOTAL RS. |  | 40677 |

NON SCHEDULE ITEMS

| 1. | 16 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 6 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 20 | S/F Fancy type switch 10amp i/c fancy plastic. |  | Each |  |
| 4. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic. |  | Each |  |

Page No.3

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

| 5. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 6. | 12 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 6 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 10 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 1 | S/F ½ H.P electric motor i/c water pump set i/c fixing charges with c.c foundation & wiring connection etc. |  | Each |  |
| 11. | 2 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
| 12. | 1 | Replacement of thermostat for gas geezer i/c pilot lamp etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

PART “A”	___________	% Above / Below New Electric Schedule Items 	Total Rs:-

PART “B”	___________	% Above / Below Old Electric Schedule Items 	Total Rs:-

PART “C”	___________	Non Schedule Items 					Total Rs:-

____________________

G. Total Rs:-

_____________________

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK :-M&R TO E.I IN DISTRICT SESSION AND ADDITIONAL SESSION JUDGES RESIDENCE @ KHAIRPUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW ELECTRIC SCHEDULE 2012 |  |  |  |
| 1. | 20 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 18200 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 15390 |
| 5. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 10000 |
| 6. | 70 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 21350 |
| 7. | 20 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 1080 |
| 8. | 10 | Providing & fixing two pin 5amp plug & socket (S.I.No.225 P-No.33) | 83 | P.No. | 830 |
| 9. | 6 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 906 |
| 10. | 6 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 5496 |
| 11. | 1 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 5521 |
| 12. | 2 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 144 |
| 13. | 18 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 1260 |
| 14. | 2 | Providing & fixing circuit breaker 100amp T.P on a prepared board (S.I.No.207 P—31) | 9261 | Each | 18522 |
| 15. | 1 | Providing & fixing circuit breaker 225amp T.P on a prepared board (S.I.No.208 P—31) | 25541 | Each | 25541 |

Page No.2

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
| 16. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | P.M | 25680 |
| 17. | 35 | Providing & laying (MAIN or SUB MAIN) PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm (S.I.No.104 P-No.12) | 2529 | P.ft | 88515 _________ |
|  |  |  | TOTAL RS. |  | 249035 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 705 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 20 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 9940 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 5 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 621 |
| 7. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21P-11) | 150.70 | Each | 301 |
| 8. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | TOTAL RS. |  | 21926 |

NON SCHEDULE ITEMS

| 1. | 11 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light 50 watts square shape i/c fixing & wiring connection (search light) |  | Each |  |
| 3. | 10 | S/F LED light 22 watts round or square shape i/c fixing & wiring connection etc. |  | Each |  |

Page No.3

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

| 4. | 14 | Rewinding of ceiling fan with copper conductor i/c replacement of ball bearing |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 5. | 3 | Repair of water pump i/c replacement of bockey replacement of oil etc |  | Each |  |
| 6. | 2 | Rewinding of electric motor ½ H.P i/c replacement of ball bearing etc. |  | Each |  |
| 7. | 1 | S/F type Air Condition of approved model 1.50 ton capacity i/c fitting and wiring connection charges (Kenwood company). |  | Each |  |
| 8. | 1 | S/F Stabilizer 10000 watts copper conductor heavy of approved quality. |  | Each |  |
| 9. | 1 | Making & fixing iron stand for A.C stabilizer i/c oil painting etc |  | Each |  |
| 10. | 20 | S/F copper pipe for Air Condition fitting i/c cloth tapping etc. |  | Each |  |
| 11. | 30 | S/F Fancy type switch 10amp i/c fancy sheet & board etc. |  | Each |  |
| 12. | 25 | S/F Fancy type 2-pin plug 10amp i/c fancy sheet & board etc. |  | Each |  |
| 13 | 4 | S/F Power plug 40amp of superior quality i/c sheet & board and 3-pin shoe 40amp etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

PART “A”	___________	% Above / Below New Electric Schedule Items 	Total Rs:-

PART “B”	___________	% Above / Below Old Electric Schedule Items 	Total Rs:-

PART “C”	___________	Non Schedule Items 					Total Rs:-

____________________

G. Total Rs:-

_____________________

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK :-M&R TO DISTRICT JAIL SHIKARPUR.  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW ELECTRIC SCHEDULE 2012 |  |  |  |
| 1. | 30 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.No.124 P.15). | 910 | Per point | 27300 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 742 | Per point | 7420 |
| 3. | 30 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 305 | Per Mtr. | 9150 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.11 P-No.2) | 200 | Per Mtr. | 10000 |
| 5. | 30 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 1620 |
| 6. | 10 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 830 |
| 7. | 4 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 3664 |
| 8. | 1 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp TP (TB-5S) on prepare board as required (S.I.No.232 P-No.30) | 5521 | Each | 5521 |
| 9. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-33) | 70 | Each | 700 |
| 10. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | P.M | 8560 |
| 11. | 1 | Providing & fixing circuit breaker 100amp TP on prepare board as required (S.I.No.207 P-No.31) | 9261 | Each | 9261 |
| 12. | 1 | Providing & fixing street light 250 watts (H.P.M.V) having IP 54 classification with 250 watts lamp, choke, capacitor & internet wiring complete in all respects at the height of 31ft per site requirement etc. | 8455 | Each | 8455 ______ |
|  |  |  | TOTAL RS. |  | 92481 |

Page No.2

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13). | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 10 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 4970 ________ |
|  |  |  | TOTAL RS. |  | 16348 |

NON SCHEDULE ITEMS

| 1. | 4 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 2 | S/F LED light square / round type i/c wiring connection 50 watts. |  | Each |  |
| 3. | 1 | S/F Exhaust fan 12” size complete with holes plastic body i/c control switch. |  | Each |  |
| 4. | 4 | S/F LED light square / round shoe with wiring connection 22 watts etc. |  | Each |  |
| 5. | 4 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing |  | Each |  |
| 6. | 1 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing and capacitor etc. |  | Each |  |
| 7. | 1 | Rewinding of electric motor 1 H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 8. | 1 | Rewinding of electric motor 10 H.P three phase copper conductor etc. |  | Each |  |
| 9. | 1 | Rewinding of electric motor 20 H.P three phase copper conductor etc. |  | Each |  |
| 10. | 2 | S/F Ball bearing 10 H.P electric motor N.T.N Japan |  | Each |  |
| 11. | 2 | S/F Ball bearing 20 H.P electric motor N.T.N Japan |  | Each |  |
| 12. | 2 | S/F Capacitor for 10 H.P electric motor Japan |  | Each |  |
| 13. | 2 | S/F Capacitor for 20 H.P electric motor Japan |  | Each |  |
| 14. | 1 | S/F U.P.S (Inverter) 1200 watts of approved standard quality i/c wiring connection etc. |  | Each |  |

Page No.3

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

| 15. | 1 | S/F Battery 200/210amp of approved quality (Volta, Osaka, Exide & A.G.S) company i/c charging. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 16. | 1 | S/F Iron frame of approved size for battery and U.P.S i/c fitting charges etc. |  | Each |  |
| 17. | 2 | Repair of coupling water pump i/c repair pump rod & replacement of ball bearing size etc. |  | Each |  |
| 18. | 1 | Supply stabilizer for computer copper conductor. |  | Each |  |
| 19. | 6 | S/F Helogen rod for search light 500 watts (Philips). |  | Each |  |
| 20. | 6 | S/F Chock for search light 500 watts (Philips). |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

PART “A”	___________	% Above / Below New Electric Schedule Items 	Total Rs:-

PART “B”	___________	% Above / Below Old Electric Schedule Items 	Total Rs:-

PART “C”	___________	Non Schedule Items 					Total Rs:-

____________________

G. Total Rs:-

_____________________

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

FACE SHEET

| Fund Head : | Provincial |
| --- | --- |
| Major Head : | 314 B&S Development |
| Minor Head : | Repair Work |
| Deptt: Head : | - |
| Subject Head : | M&R TO DISTRICT JAIL SHIKARPUR. (ELECTRIFICATION). |

This estimate has been framed in the office of the Executive Engineer Provincial Building Division Sukkur, for the probable expenditure that will be incurred of above said work.

Amounting To Rs.416000/=

FACE SHEET

| Fund Head : | Provincial |
| --- | --- |
| Major Head : | 314 B&S Development |
| Minor Head : | Repair Work |
| Deptt: Head : | - |
| Subject Head : | CONSTRUCTION OF WOMEN DEVELOPMENT COMPLEX @ SUKKUR (PROVIDING EXTERNAL ELECTRIFICATION). |

This estimate has been framed in the office of the Executive Engineer Provincial Building Division Sukkur, for the probable expenditure that will be incurred of above said work.

Amounting To Rs.2910000

FACE SHEET

| Fund Head : | Provincial |
| --- | --- |
| Major Head : | 314 B&S Development |
| Minor Head : | Repair Work |
| Deptt: Head : | - |
| Subject Head : | PROVIDING SOLAR SYSTEM (10 KVA LOAD WITH 8 NOS. BATTERIES ALONGWTIH 36 NOS. SOLAR PANALS AND OVER LOADING VOLTAGE SHARING CARD) @ A.T.C COURT KHAIRPUR. (ELECTRIFICATION). |

This estimate has been framed in the office of the Executive Engineer Provincial Building Division Sukkur, for the probable expenditure that will be incurred of above said work.

Amounting To Rs.2662500