BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	33-  M&R TO HIGH COURT LODGE AT SUKKUR.

(ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 30 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 27300 |
| 2. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 14840 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 12000 |
| 6. | 40 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 12200 |
| 7. | 30 | Providing & fixing one way SP 5amp switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 1620 |
| 8. | 20 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 1660 |
| 9. | 10 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 9160 |
| 10. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 700 |
| 11. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 12. | 40 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 17120 |
| 13. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 10amp TP (XS100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 14. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 5301 |
| 15. | 1 | P/F DP I/C change over switch 500 volts 200amp on a prepare board. | 8767 | P.No. | 8767 _________ |
|  |  |  | Total Rs. |  | 132019 |

Page No:2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| .1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar fan clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 2 | P/F wall bracket light fancy type superior quality including necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 30 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 14910 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 7. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-No.11) | 150.70 | Each | 151 |
| 8. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | Total Rs. |  | 32474 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

Page No.3.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 2 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light round / square shape i/c wiring connection 50 watts (search light). |  | Each |  |
| 3. | 4 | S/F LED light round / square shape i/c wiring connection 22 watts. |  | Each |  |
| 4. | 4 | S/F Wall bracket fan standard size (Pak fan company). |  | Each |  |
| 5. | 6 | S/F Fancy light globe. |  | Each |  |
| 6. | 2 | S/F Air Conditioner split type 2.0 ton capacity (approved by officer Incharge) (Kenwood company or Gree company) |  | Each |  |
| 7. | 2 | S/F Stablizer 12000 watts copper conductor (approved by officer Incharge). |  | Each |  |
| 8. | 20 | S/F Fancy type switch 10amp i/c fancy plastic sheet & board etc. |  | Each |  |
| 9. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet & board etc. |  | Each |  |
| 10. | 4 | S/F Power plug 30amp i/c board & sheet and 3-pin shoe 30amp etc. |  | Each |  |
| 11. | 4 | S/F Fancy Universal plug i/c fancy sheet & board etc. |  | Each |  |
| 12. | 3 | S/F Round type globe for lawn light i/c energy saver. |  | Each |  |
| 13. | 50 | S/F Delto size cat -6 for internet 3mm size fitted in PVC duct etc. |  | Each |  |
| 14. | 10 | S/F Energy saver 45 watts of approved quality. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	CONSTRUCTION OF DARGAH SADARDIN SHAH BADSHAH (RIZVI) AT TALUKA ROHRI DISTRICT SUKKUR (PROVIDING INTERNAL E.I) (LANGAR KHAN).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 30 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.124 P.15). | 1130 | Per point | 33900 |
| 2. | 7 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.126 P-No.15) | 985 | Per point | 6895 |
| 3. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.8 P-No.2) | 173 | Per Mtr. | 34600 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.10 P-No.2) | 222 | Per Mtr. | 33300 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 463 | Per Mtr. | 46300 |
| 6. | 4 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 3664 |
| 7. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.202 P-No.30) | 5301 | P.No. | 5301 |
| 8. | 3 | Providing & fixing of flood light 400 watts (HPIT) having IP65 classification with 400w lamp, choke, capacitor, igniter & internal wiring complete in all respect at the height upto 40ft with the help hydraulic crane and manual labour as per site requirement and instruction of E.I (S.I.No.164 P-No.26) | 16980 | P.No. | 50940 |
| 9. | 7 | Providing & fixing two pin 5amp plug & flush type (S.I.No.225 P-No.33) | 83 | P.No. | 581 |
| 10. | 30 | Providing & fixing one way SP 5amp switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 1620 |
| 11. | 9 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 648 |
| 12. | 21 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 1470 |
|  |  |  | TOTAL RS. |  | 219219 |

Page No.2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 2 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13) | 1426.33 | P.Sft | 2853 |
| --- | --- | --- | --- | --- | --- |
| 2. | 8 | P/F mild steel bar fan clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1128 |
| 3. | 21 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 10437 |
| 4. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 5. | 8 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 994 |
| 6. | 20 | Providing (20mm) ¾” G.I pipe with 1.13 3/.029 PVC wire for down of ceiling fan. | 25.19 | Each | 504 |
|  |  |  | TOTAL RS. |  | 23431 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 1 | S/F exhaust fan 12” size fan |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 8 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK, Royal) |  | Each |  |
| 3. | 9 | S/F water proof wall type bracket i/c glass shade. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL AT SUKKUR (LADIES WARD AND CELLS). (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 160 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 145600 |
| 2. | 65 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 48230 |
| 3. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 76950 |
| 4. | 650 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 130000 |
| 5. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 76250 |
| 6. | 160 | Providing & fixing one way SP switch flush type (S.I.No.219 P-.33) | 54 | P.No. | 8640 |
| 7. | 65 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 5395 |
| 8. | 20 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 18320 |
| 9. | 2 | Providing & fixing circuit breaker 30amp TP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 5301 | P.No. | 10602 |
| 10. | 48 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 3360 |
| 11. | 30 | Providing & fixing Backlite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 2160 |
| 12. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 64200 _______ |
|  |  |  | TOTAL RS. |  | 589707 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 4230 |
| 3. | 300 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 149100 |
| 4. | 2 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 7220 |
| 5. | 30 | P/F A.C ceiling fan regulator on mental board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14). | 124.30 | Each | 3729 |
|  |  |  | TOTAL RS. |  | 172837 |

Page No.2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 20 | S/F A.C ceiling fan 56” size i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | S/F Bulk light fitting (water proof) i/c water proof glass. |  | Each |  |
| 3. | 1 | Rewinding of 10HP electric motor with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 4. | 2 | S/F Electric starter for 10HP electric motor i/c fixing on electric panel board etc. |  | Each |  |
| 5. | 10 | Rewinding of A.C ceiling fan 56” size i/c replacement of ball bearing capacitor. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

| PART "A" |  | ________________%Above/Below New Electric Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below Old Electric Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | ________________ Non Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  |  | G. Total Rs:- |  |

| CONTRACTOR |  | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION SUKKUR |
| --- | --- | --- |

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “A” TYPE QUARTERS 4 NOS. @ ADC COLONY SUKKUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 90 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 81900 |
| 2. | 30 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 22260 |
| 3. | 4 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 6360 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 25650 |
| 5. | 220 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 44000 |
| 6. | 190 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 57950 |
| 7. | 90 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 4860 |
| 8. | 30 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2490 |
| 9. | 4 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 604 |
| 10. | 28 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 25648 |
| 11. | 4 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 22084 |
| 12. | 12 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 864 |
| 13. | 58 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 4060 |
| 14. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 21400 _______ |
|  |  |  | TOTAL RS. |  | 320130 |

Page No.2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 8 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 11411 |
| --- | --- | --- | --- | --- | --- |
| 2. | 8 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1128 |
| 3. | 72 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 35784 |
| 4. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.01 | Each | 14440 |
| 5. | 8 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 994 |
| 6. | 4 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-.11) | 150.70 | Each | 603 |
| 7. | 4 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 101 |
|  |  |  | TOTAL RS. |  | 64431 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

NON SCHEDULE ITEMS

| 1. | 12 | S/F AC ceiling fan 56” size (PAK, GFC, SK) i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 16 | S/F LED light 50 watts square / round shape i/c wiring connection |  | Each |  |
| 3. | 4 | S/F Exhaust fan 12” size iron body i/c wiring connection. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “B” TYPE QUARTERS 9 NOS. @ ADC COLONY SUKKUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 110 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 100100 |
| 2. | 60 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 44520 |
| 3. | 9 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 14310 |
| 4. | 400 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 68400 |
| 5. | 400 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 80000 |
| 6. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 61000 |
| 7. | 110 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 5940 |
| 8. | 60 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 4980 |
| 9. | 27 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 4077 |
| 10. | 18 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 16488 |
| 11. | 54 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 3888 |
| 12. | 60 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 4200 |
| 13. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 38520 |
| 14. | 4 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 22084 _______ |
|  |  |  | TOTAL RS. |  | 468507 |

Page No.2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 18 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 25674 |
| --- | --- | --- | --- | --- | --- |
| 2. | 27 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 3807 |
| 3. | 108 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 53676 |
| 4. | 9 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 32490 |
| 5. | 27 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3356 |
| 6. | 9 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 1356 |
| 7. | 9 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 227 |
|  |  |  | TOTAL RS. |  | 120586 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | S/F exhaust fan 12” size iron body i/c fixing charges |  | Each |  |
| 3. | 12 | S/F LED light 50 watts square / round shape i/c wiring connection |  | Each |  |
| 4. | 60 | S/F fancy type switch 10amp i/c fixing with fancy plastic sheet & wiring connection |  | Each |  |
| 5. | 30 | S/F fancy type switch 10amp i/c 2-pin plug fixing with fancy plastic sheet |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “D” TYPE QUARTERS 5 NOS. @ ADC COLONY SUKKUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 40 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 36400 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 1590 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 10000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 15250 |
| 7. | 40 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 2160 |
| 8. | 10 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 830 |
| 9. | 10 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 1510 |
| 10. | 10 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 9160 |
| 11. | 1 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp DP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 2456 | P.No. | 2456 |
| 12. | 10 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 720 |
| 13. | 30 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2100 |
| 14. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 8560 _______ |
|  |  |  | TOTAL RS. |  | 106706 |

Page No.2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 5 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 7132 |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1410 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 60 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 29820 |
| 5. | 5 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.01 | Each | 18050 |
| 6. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 1243 |
| 7. | 5 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 754 |
| 8. | 5 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 126 |
|  |  |  | TOTAL RS. |  | 59529 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 13 | S/F AC ceiling fan 56” size (PAK, GFC, SK) i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light 50 watts square / round shape i/c wiring connection |  | Each |  |
| 3. | 5 | S/F Exhaust fan 12” size iron body i/c wiring connection. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “C” TYPE BUNGALOWS AT ADC COLONY SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 60 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.124 P.15). | 1130 | Per point | 67800 |
| 2. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 985 | Per point | 19700 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 1764 | Per point | 1764 |
| 4. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 222 | Per Mtr. | 19980 |
| 5. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.11 P-No.2) | 252 | Per Mtr. | 15120 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 341 | Per Mtr. | 17050 |
| 7. | 30 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.064 (10mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.14 P-No.2) | 641 | Per Mtr. | 19230 |
| 8. | 10 | Providing & fixing circuit breaker 6,1015,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No.202 P-No.30) | 916 | Each | 9160 |
| 9. | 1 | Providing & fixing circuit breaker 3,5,10,15,20 & 30amp TP (XS-30NS{NB} on prepared board as required (S.I.No.202 P-No.30) | 5301 | Each | 5301 |
| 10. | 3 | P/F volt meter size 96/96mm 500volts as required as per instruction of E.I (S.I.No.285 P-No.41) | 999 | Each | 2997 |
| 11. | 1 | Providing & fixing DP I/C change over switch 500 volts 200amp on prepared board. | 8767 | Each | 8767 |
| 12. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60 & 100amp TP (XS-100NS) on prepared board as required (S.I.No.202 P-No.30) | 9261 | Each | 9261 |
| 13. | 20 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 1440 |
| 14. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 700 |
| 15. | 10 | Providing & fixing (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core conductor 6000/1000 volts size 25mm2 (S.I.No.103 P-12) | 1909 | P.M | 19090 _______ |
|  |  |  | TOTAL RS. |  | 217360 |

Page No.2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13) | 1426.33 | P.Sft: | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 4230 |
| 3. | 60 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 29820 |
| 4. | 2 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 7220 |
| 5. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 3729 |
| 6. | 15 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-No.11) | 150.70 | Each | 2261 |
| 7. | 15 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 630 _______ |
|  |  |  | TOTAL RS. |  | 62153 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

NON SCHEDULE ITEMS

| 1. | 6 | S/F wall bracket fan with regulator capacitor with ON/OFF switch (PAK,GFC,SK). |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 1 | S/F Ceiling of copper conductor 56” sweep (Pak fan, GFC,SK) complete with dimmer switch & fan wiring with 2-3/.029 etc recessed. |  | Each |  |
| 3. | 4 | S/F Exhaust fan 12” size complete with holes plastic body i/c control switch. |  | Each |  |
| 4. | 2 | S/F water proof bulk light i/c water proof glass shade with wiring & connector etc. |  | Each |  |
| 5. | 4 | S/F LED light squire / round shape with wiring & connection 22watt etc. |  | Each |  |
| 6. | 20 | S/F Delto cable size K.T-6 for internet 3mm fitted in PVC duct etc. |  | Each |  |
| 7. | 1 | S/F Air Conditioner split type 1.50 ton capacity (approved by officer Incharge) i/c fixing charging & wiring connection etc. |  | Each |  |
| 8. | 10 | S/F Telephone sheet double T.P socket i/c board & frame with connection. |  | Each |  |
| 9. | 10 | S/F Internet sheet single i/c board & frame with connection etc. |  | Each |  |

Page No.3.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
| 10. | 50 | S/F Main service telephone cable of (20 pairs) in PVC pipe under ground internet etc. |  | P.M |  |
| 11. | 60 | S/F Cable wires of (2 pairs) for intercom connection in PVC duct on surface. |  | P.M |  |
| 12. | 2 | S/F search light of superior quality LED type squire sheet with stand & holes for fixing complete with connection etc 50watts. |  | Each |  |
| 13. | 2 | Gas charging of split AC 2.0 ton capacity i/c capacitor & service charging. |  | Each |  |
| 14. | 20 | S/F Fancy type switch 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 15. | 20 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 16. | 4 | S/F Power plug 30amp i/c fancy plastic sheet & board & shoe 30amp etc. |  | Each |  |
| 17. | 4 | S/F Universal plug fancy type i/c fancy plastic sheet & board etc. . |  | Each |  |
| 18. | 4 | Rewinding of ceiling fans 56” size i/c replacement of ball bearing & capacitor. |  | Each |  |
| 19. | 15 | S/F LED light squire / round shape with wiring & connection 12watt etc. |  | Each |  |
| 20. | 2 | S/F Gate light of approved shape & design i/c fixing on site existing brass holder & energy saver etc. |  | Each |  |
| 21. | 2 | S/F Lawn light with G.I pipe approximate 2” dia 1 ½ or 2’ ft long fixing with c.c type i/c fluorescent glass and energy saver etc. |  | Each |  |
| 22. | 2 | S/F Fancy wall light double fluorescent glass shade i/c double fluorescent light i/c fixing & wiring connection. |  | Each |  |
| 23. | 1 | S/F Brass check valve 2” dia i/c flexible rubber 2” dia 10’ ft long etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “D” TYPE BUNGALOWS AT ADC COLONY SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 50 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I No.129 P.15). | 910 | Per point | 45500 |
| 2. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.130 P.15). | 742 | Per point | 14840 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.131 P.15). | 1590 | Per point | 1590 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per point | 8550 |
| 5. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.4 P-No.1) | 200 | Per point | 18000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.5 P-No.1) | 305 | Per point | 15250 |
| 7. | 5 | Providing & Fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 4580 |
| 8. | 1 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE-100CS{CB}) on prepare board as required | 5521 | Each | 5521 |
| 9. | 20 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 1400 |
| 10. | 10 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 720 |
| 11. | 1 | P/F circuit breaker 100amp TP on prepare board. | 9261 | Each | 9261 |
| 12. | 30 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1). | 428 | P.M | 12840 |
| 13. | 1 | P/F DP I/P change over switch 500 volts 200amp on prepare board. | 8767 | Each | 8767 |
| 14. | 10 | P/F (MAIN or SUB MAIN) PVC insulated with 4 core copper conductor 600-1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | Each | 25290 |
| 15. | 3 | P/F volt meter 96/96mm 500 volts on a prepared board (S.I.No.285 P-No.41) | 999 | Each | 2997 _______ |
|  |  |  | TOTAL RS. |  | 175106 |

Page No.2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 4230 |
| 3. | 10 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall or ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 4970 |
| 4. | 120 | S/F energy sever of superior quality i/c fixing & existing holder etc complete (S.I No.6 P-33) | 497 | Each | 59640 |
| 5. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 14440 |
| 6. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3729 |
| 7. | 4 | P/F A.C or D.C electric bell 200/250 volt 70mm (S.I No.23 P-No.11) | 150.70 | Each | 603 |
| 8. | 4 | P/F flush type electric bell push button (S.I No.P- No. 12). | 25.91 | Each | 104 _______ |
|  |  |  | TOTAL RS. |  | 101979 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size (PAK, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F exhaust fan 12” size iron / plastic body i/c fixing charges. |  | Each |  |
| 3. | 20 | S/F water proof bulk light i/c water proof glass shade etc. |  | Each |  |
| 4. | 30 | S/F LED light 22 watts square / round type i/c wiring connection. |  | Each |  |
| 5. | 4 | S/F LED light 50 watts square type (search light). |  | Each |  |
| 6. | 4 | S/F Gate light of approved design and shape and existing holder i/c fluorescent bulb etc. |  | Each |  |
| 7. | 6 | S/F Bracket fan standard size (Pak fan company) i/c wiring connection. |  | Each |  |
| 8. | 50 | S/F fancy type switch 10amp i/c fancy board & sheet etc. |  | Each |  |
| 9. | 20 | S/F 2-pin plug 10amp i/c fancy board & sheet etc complete. |  | Each |  |
| 10. | 10 | S/F 3-pin power plug 30amp i/c fancy board & sheet i/c 3-pin shoe 30amp etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF “C” TYPE QUARTERS 5 NOS. @ ADC COLONY SUKKUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE ITEMS 2012 |  |  |  |
| 1. | 80 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 72800 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 1590 |
| 4. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 17100 |
| 5. | 120 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 20000 |
| 6. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 18300 |
| 7. | 80 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 4320 |
| 8. | 10 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 830 |
| 9. | 25 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 755 |
| 10. | 10 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 9160 |
| 11. | 1 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 5521 |
| 12. | 10 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 720 |
| 13. | 60 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 4200 |
| 14. | 30 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 12840 _______ |
|  |  |  | TOTAL RS. |  | 175556 |

Page No:2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS 2004

| .1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1410 |
| 3. | 60 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 29820 |
| 4. | 5 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.01 | Each | 18050 |
| 5. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 6. | 5 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 753 |
| 7. | 5 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 126 |
|  |  |  | TOTAL RS. |  | 59960 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

NON SCHEDULE ITEMS

| 1. | 15 | S/F AC ceiling fan 56” size (PAK, GFC, SK) i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | S/F Exhaust fan 12” size complete hole etc complete |  | Each |  |
| 3. | 10 | S/F water proof bulk light i/c wiring connection |  | Each |  |
| 4. | 22 | S/F LED light 22 watts square / round shape i/c fixing & wiring connection |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO (E.I) IN CENTRAL PRISON -1 SUKKUR (REPLACEMENT OF L.T LINE & REPAIR MAIN PANAL BOARD) AND 4 CORE CABLE ( MAIN SERVICE LINE).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 8 | Construction of RCC foundation as per following specification & instruction of EI for 31ft /40ft long tubular pole Excavation of soft/hard soil 3’x3’x5.5’ stone soiling 3’x3’6 making lean in the ratio of 1:4:8 length of MS bolts 6 ½ ( ¾ “ dia ) 4 Nos.& making thread on MS rod template 16”x16” x ¼” rings ¼ “ dia round bar 4 Nos. to the welded with MS rod RCC foundation ration 1:2:4 with appropriate size 2’x2x6.5’ (S.No.132 P.16). | 15168 | P.No. | 121344 |
| 2. | 10 | 160. Providing & Fixing of street light 250 watts (HPMV) having IP54 classification with 250w lamp, choke, capacitor & internal wiring complete in all respect at the height upto 31ft as per site requirement and instruction of EI make of the above light is as follow. | 8455 | P.No. | 84550 |
| 3. | 2 | Providing & fixing circuit breaker 15,20,30,40,50,60.75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 18522 |
| 4. | 500 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 341 | Per Mtr. | 170500 |
| 5. | 1 | Providing & fixing circuit breaker 225amp TP on a prepare board as required (S.I.No.208 P-No.31) | 25541 | P.No. | 25541 |
| 6. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 185mm2 (S.I.No.110 P-No.13) | 12478 | P.Mtr: | 249560 |
| 7. | 40 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 150mm2 (S.I.No.109 P-No.13) | 10028 | P.Mtr: | 401120 |
| 8. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 120mm2. (S.I.No.108 P-No.13) | 8175 | P.Mtr: | 408750 |
| 9. | 4 | P/F M.S Tubular pole as following specification to be fixed on precast foundation with the help of hydraulic crane and manual labor 20ft (6”dia) x5’.5” (5”dia)x5’.5”(4dia)=31ft wall thickness 8 S.W.G base plate 18”x18”x3/4” hole 4 Nos. & two coats red oxide (2-coats) & Instruction of E.I (S.I.No.132 P-16) | 36697 | Each | 146788 |
| 11. | 1 | P/F light 400 watts (HPIT) having IP 65 classification with 400 watts lamp, chock, capacitor, igniter & internal wiring complete in all respects at the height upto 40ft as per site requirement and instruction of E.I (S.I.No.167 P-26). | 16980 | Each | 16980 _______ |
|  |  |  | TOTAL RS. |  | 1541355 |

Page No.3.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F shackle “D” iron belts make of galvanized mild steel flat 1.1/4 x 3/816” size having a bolt with nut 3” x 3/8” size clamp 1.3/4” w 21/2” (CSI No.G 1P-No.27) | 118.25 | Each | 3548 |
| 3. | 30 | P/F galvanized iron bolts for pressure pin insulator (S.I.No.B 1 P-27) | 286 | Each | 8580 |
| 4. | 30 | P/F 21” channel shackle insulator medium pressure | 47.30 | Each | 1419 |
| 5. | 200 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 99400 |
| 6. | 10 | P/F stay with 7/10 G.I wire complete stay rod galvanized thimble sky insulator stay swirel and clamps etc required (S.I No.2(g) P-28) | 2295 | P.Point | 22950 |
| 7. | 8 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 28880 |
| 8. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 _______ |
|  |  |  | TOTAL RS. |  | 180283 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 600 | Supply & erection of aluminum conductor waist all size of poles 120x5 = 600rft |  | P.rft |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 2 | P/F L.T structure angle iron frame size 1 ½” x ¾” x 1/3” thick with cross of angle iron size ¾” x ¾” x 1/8” thick iron poles with nuts 3/16” thick with making of holes for holding the welded length of pole size 30’ft i/c silver painting 3 coast etc. |  | Each |  |
| 3. | 10 | S/F AC ceiling fan 56” size (PAK, GFC, SK) i/c fixing & wiring connection etc complete. |  | Each |  |
| 4. | 20 | Rewinding of AC ceiling fan 56” size i/c replacement of ball bearing capacitor etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT & SESSION JUDGE RESIDENCE & ADDITIONAL SESSION JUDGE RESIDENCE @ SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 10 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 9100 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Each | 1590 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 20000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | P.Mtr: | 15250 |
| 7. | 10 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | Each | 540 |
| 8. | 5 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | Each | 415 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | Each | 151 |
| 10. | 30 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 27480 |
| 11. | 1 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | Each | 5521 |
| 12. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 700 |
| 13. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 360 |
| 14. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | P.M | 21400 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | Each | 9261 |
| 16. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | Each | 5301 ________ |
|  |  |  | TOTAL RS. |  | 133039 |

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 7. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 151 |
| 8. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 _______ |
|  |  |  | TOTAL RS. |  | 76761 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 60 | S/F Fancy type switch 10amp i/c fancy plastic. |  | Each |  |
| 4. | 30 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic. |  | Each |  |
| 5. | 10 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 30 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 10 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 10 | S/F LED light 18 watts complete with fixing charges square or round type. |  | Each |  |
| 11. | 4 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT COURT BUILDING @ SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 48 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 43680 |
| 2. | 25 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 18550 |
| 3. | 4 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Each | 6360 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 25650 |
| 5. | 240 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 48000 |
| 6. | 110 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | P.Mtr: | 33550 |
| 7. | 48 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | Each | 2592 |
| 8. | 25 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | Each | 2075 |
| 9. | 6 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | Each | 906 |
| 10. | 6 | Providing & fixing circuit breaker 6,10, 15,20,30,40,50,& 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 7328 |
| 11. | 6 | Providing & fixing circuit breaker 15,20,30,40,50,& 60amp TP (XS-100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | Each | 33126 |
| 12. | 30 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 2100 |
| 13. | 8 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 576 |
| 14. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | P.M | 64200 ________ |
|  |  |  | TOTAL RS. |  | 288693 |

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| 1. | 150 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 74550 |
| --- | --- | --- | --- | --- | --- |
| 2. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 3. | 15 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1864 ________ |
|  |  |  | TOTAL RS. |  | 80025 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

NON SCHEDULE ITEMS

| 1. | 20 | S/F Fancy type switch 10amp i/c fancy plastic sheet. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet. |  | Each |  |
| 3. | 20 | S/F ceiling fan 56” size i/c fixing & wiring connection etc complete. |  | Each |  |
| 4. | 25 | S/F LED light 18 watts complete with fixing of holes, condition (approved by Engineer incharge) |  | Each |  |
| 5. | 8 | S/F Bracket fan full size (lever type) with connection etc complete. |  | Each |  |
| 6. | 10 | S/F exhaust fan 12” size complete with holes iron body i/c control switch. |  | Each |  |
| 7. | 10 | S/F LED light 50/80 watts i/c fixing wiring charges. |  | Each |  |
| 8. | 48 | S/F capacitor 3.5 uf Fuji company. |  | Each |  |
| 9. | 36 | S/F sever 45 watts of superior quality. |  | Each |  |
| 10. | 2 | S/F change over switch 60amp Triple pole 3-phase i/c fixing & wiring connection. |  | Each |  |
| 11. | 6 | S/F power plug 30amp i/c shoe fixing on fancy board etc complete. |  | Each |  |
| 12. | 2 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
| 13. | 1 | S/F H.P electric motor 2850 R.P.M i/c water pump set (rotary pump) |  | Each |  |
| 14. | 6 | S/F UPS (Inverter) 1200 watt of approved quality i/c wiring connection. |  | Each |  |
| 15. | 6 | S/F Battery 200/210amps of approved quality (Volta, Oska, Exide, A.G.S) company i/c charging etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF EXTERNAL E.I IN ADC COLONY SUKKUR (FIXING CABLE AND L.T LINE).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 5 | Construction of RCC foundation as per following specification & instruction of EI for 31ft /40ft long tubular pole Excavation of soft/hard soil 3’x3’x5.5’ stone soiling 3’x3’6 making lean in the ratio of 1:4:8 length of MS bolts 6 ½ ( ¾ “ dia ) 4 Nos.& making thread on MS rod template 16”x16” x ¼” rings ¼ “ dia round bar 4 Nos. to the welded with MS rod RCC foundation ration 1:2:4 with appropriate size 2’x2x6.5’ (S.No.132 P.16). | 15168 | P.No. | 75840 |
| 2. | 4 | 160. Providing & Fixing of street light 250 watts (HPMV) having IP54 classification with 250w lamp, choke, capacitor & internal wiring complete in all respect at the height upto 31ft as per site requirement and instruction of EI make of the above light is as follow | 8455 | P.No. | 33820 |
| 3. | 2 | Providing & fixing circuit breaker 15,20,30,40,50,60.75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 18522 |
| 4. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 341 | Per Mtr. | 68200 |
| 5. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm2. (S.I.No.104 P-No.30) | 2529 | P.Mtr: | 227610 |
| 6. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC insulated with 2-7/.064 (16mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.7 P-No.1) | 605 | P.Mtr: | 90750 |
| 7. | 1 | P/F light 400 watts (HPIT) having IP 65 classification with 400 watts lamp, chock, capacitor, igniter & internal wiring complete in all respects at the height upto 40ft as per site requirement and instruction of E.I (S.I.No.167 P-26). | 16980 | Each | 16980 _______ |
|  |  |  | TOTAL RS. |  | 531722 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 70 | P/F shackle “D” iron belts make of galvanized mild steel flat 1.1/4 x 3/816” size having a bolt with nut 3” x 3/8” size clamp 1.3/4” w 21/2” (CSI No.G 1P-No.27) | 118.25 | Each | 8178 |
| 3. | 70 | P/F galvanized iron bolts for pressure pin insulator (S.I.No.B 1 P-27) | 286 | Each | 20020 |
| 4. | 70 | P/F 21” channel shackle insulator medium pressure | 47.30 | Each | 3311 |
| 5. | 20 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 9940 |

| 6. | 10 | P/F stay with 7/10 G.I wire complete stay rod galvanized thimble sky insulator stay swirel and clamps etc required (S.I No.2(g) P-No.28) | 2295 | P.Point | 22950 |
| --- | --- | --- | --- | --- | --- |
| 7. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 10440 _______ |
|  |  |  | TOTAL RS. |  | 93202 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

NON SCHEDULE ITEMS

| 1. | 2500 | Supply & erection of aluminum conductor waist all size of poles 500x5 = 2500rft |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 7 | P/F L.T structure angle iron frame size 1 ½” x ¾” x 1/3” thick with cross of angle iron size ¾” x ¾” x 1/8” thick iron poles with nuts 3/16” thick with making of holes for holding the welded length of pole size 30’ft i/c silver painting 3 coast etc. |  | Each |  |
| 3. | 1 | Rewinding of 10 H.P Electric motor with copper conductor i/c replacement of ball bearing & capacitor etc. |  | Each |  |
| 4. | 2 | S/F Electric starter fan 10 H.P or 15 H.P electric motor standard quality i/c fixing with metal board. |  | Each |  |
| 5. | 2 | S/F A.C ceiling fan 56” size i/c wiring connection. |  | Each |  |
| 6. | 25 | S/F Energy saver 45 watts standard quality existing with holder etc complete. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO JAIL SUPERINTENDENT & HIS STAFF RESIDENCE & DISTRICT JAIL SUKKUR.  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 90 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 81900 |
| 2. | 40 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 29680 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 42750 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 90000 |
| 6. | 290 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 88450 |
| 7. | 90 | Providing & fixing one way SP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 4860 |
| 8. | 40 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 3320 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 30 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 40 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2800 |
| 13. | 35 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 2520 |
| 14. | 160 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 68480 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 16. | 4 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 21204 _________ |
|  |  |  | TOTAL RS. |  | 487078 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 5. | 8 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 28880 |
| 6. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3729 |
| 7. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 301 |
| 8. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | TOTAL RS. |  | 115647 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 20 | S/F Fancy type switch 10amp i/c fancy plastic. |  | Each |  |
| 4. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic. |  | Each |  |
| 5. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 20 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 1 | S/F ½ H.P electric motor i/c water pump set i/c fixing charges with c.c foundation & wiring connection etc. |  | Each |  |
| 11. | 20 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
| 12. | 1 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO D.I.G JAIL, JAIL SUPERINTENDENT & HIS STAFF RESIDENCE @ CENTRAL PRISON-1SUKKUR.  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 90 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 81900 |
| 2. | 40 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 29680 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 42750 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 90000 |
| 6. | 290 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 88450 |
| 7. | 90 | Providing & fixing one way SP switch flush type (S.I.No.219 P-.33) | 54 | P.No. | 4860 |
| 8. | 40 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-33) | 83 | P.No. | 3320 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 30 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 40 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2800 |
| 13. | 35 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 2520 |
| 14. | 160 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 68480 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 16. | 4 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 21204 _________ |
|  |  |  | TOTAL RS. |  | 487078 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 10 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 14263 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 5. | 8 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 28880 |
| 6. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3729 |
| 7. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 301 |
| 8. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | TOTAL RS. |  | 115647 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 20 | S/F Fancy type switch 10amp i/c fancy plastic. |  | Each |  |
| 4. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic. |  | Each |  |
| 5. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 20 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 1 | S/F ½ H.P electric motor i/c water pump set i/c fixing charges with c.c foundation & wiring connection etc. |  | Each |  |
| 11. | 20 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
| 12. | 1 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |
| 13. | 2 | S/F Electric / Gas water geezer 45 gallon water capacity i/c connection etc complete. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT & SESSION JUDGE RESIDENCE & ADDITIONAL SESSION JUDGE RESIDENCE @ KHAIRPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 20 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 18200 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 10000 |
| 6. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 27450 |
| 7. | 10 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 540 |
| 8. | 5 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-33) | 83 | P.No. | 415 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 20 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 18320 |
| 11. | 1 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 5521 |
| 12. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 700 |
| 13. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 14. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 21400 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 16. |  | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 5301 _________ |
|  |  |  | TOTAL RS. |  | 136769 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 20 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 9940 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 7. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 151 |
| 8. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | TOTAL RS. |  | 22091 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 2 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 60 | S/F Fancy type switch 10amp i/c fancy plastic. |  | Each |  |
| 4. | 30 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic. |  | Each |  |
| 5. | 1 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 4 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 10 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
| 11. | 1 | Replacement of thermostat for gas geezer i/c pilot lamp etc |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO E.I IN DISTRICT SESSION COURT AND  ADDITIONAL SESSION JUDGE COURT @ KHAIRPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 20 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 18200 |
| 2. | 10 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 7420 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 90 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 15390 |
| 5. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 10000 |
| 6. | 70 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 21350 |
| 7. | 20 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 1080 |
| 8. | 10 | Providing & fixing two pin 5amp plug & socket (S.I.No.225 P-33) | 83 | P.No. | 830 |
| 9. | 6 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 906 |
| 10. | 6 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 5496 |
| 11. | 1 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 5521 |
| 12. | 2 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 144 |
| 13. | 18 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 1260 |
| 14. | 2 | Providing & fixing circuit breaker 100amp T.P on a prepared board (S.I.No.207 P—31) | 9261 | Each | 18522 |
| 15. | 1 | Providing & fixing circuit breaker 225amp T.P on a prepared board (S.I.No.208 P—31) | 25541 | Each | 25541 |
| 16. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 25680 |
| 17. | 35 | Providing & laying (MAIN or SUB MAIN) PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm (S.I.No.104 P-No.12) | 2529 | Per ft: | 88515 _______ |
|  |  |  | TOTAL RS. |  | 249035 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 705 |
| 3. | 2 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 90 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 44730 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 5 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 621 |
| 7. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 301 |
| 8. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | TOTAL RS. |  | 56717 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 20 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED light 50 watts square shape i/c fixing & wiring connection (search light) |  | Each |  |
| 3. | 2 | Repair of electric water cooler i/c replacement of compressor & condenser |  | Each |  |
| 4. | 2 | Gas charging of electric water cooler |  | Each |  |
| 5. | 12 | Rewinding of ceiling fan with copper conductor i/c replacement of ball bearing |  | Each |  |
| 6. | 3 | Repair of water pump i/c replacement of bockey replacement of oil etc |  | Each |  |
| 7. | 2 | Rewinding of electric motor ½ H.P i/c replacement of ball bearing etc |  | Each |  |
| 8. | 2 | S/F type Air Condition of approved model 1.50 ton capacity i/c fitting and wiring connection charges (Kenwood company) |  | Each |  |
| 9. | 4 | S/F Stabilizer 10000 watts copper conductor heavy of approved quality. |  | Each |  |
| 10. | 4 | Making & fixing iron stand for A.C stabilizer i/c oil painting etc |  | Each |  |
| 11. | 60 | S/F copper pipe for Air Condition fitting i/c cloth tapping etc. |  | Each |  |
| 12. | 30 | S/F fancy type switch 10amp i/c fancy sheet & board etc. |  | Each |  |
| 13. | 25 | S/F fancy type 2-pin plug 10amp i/c fancy sheet & board etc. |  | Each |  |
| 14 | 4 | S/F power plug 40amp of superior quality i/c sheet & board and 3-pin shoe 40amp etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL GHOTKI.  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 90 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 81900 |
| 2. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 70000 |
| 3. | 90 | Providing & fixing one way SP 5AMP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 4860 |
| 4. | 40 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 3320 |
| 5. | 30 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 36640 |
| 6. | 2 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp TP (TB-5S) on prepare board as required (S.I.No.232 P-No.33) | 5521 | P.No. | 11042 |
| 7. | 54 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 3888 |
| 8. | 50 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 3500 |
| 9. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 305 | Per Mtr. | 137250 |
| 10. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 149800 |
| 11. | 40 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 29680 |
| 12. | 1 | P/F DP I/C change over switch 500 volts 500amp on a prepare board (C.S.I No.198 P-30) | 40126 | Each | 40126 |
| 13. | 4 | Providing & fixing circuit breaker 100amp TP on prepare board as required (S.I.No.207 P-No.31) | 9261 | Each | 37044 |
| 14. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | P.Mtr: | 151740 _______ |
|  |  |  | TOTAL RS. |  | 760790 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 20 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 28527 |
| --- | --- | --- | --- | --- | --- |
| 2. | 40 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 5640 |
| 3. | 300 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 149100 _______ |
|  |  |  | TOTAL RS. |  | 183267 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 50 | S/F AC ceiling fan 56” size i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F exhaust fan 12” size iron body i/c connection |  | Each |  |
| 3. | 10 | S/F Search light LED light 50 watts square shape |  | Each |  |
| 4. | 20 | S/F LED light square / round shape with wiring & connection etc 22 watts |  | Each |  |
| 5. | 60 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing etc |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL KHAIRPUR.  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 150 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 136500 |
| 2. | 50 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 37100 |
| 3. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 70000 |
| 4. | 150 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 8100 |
| 5. | 50 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 4150 |
| 6. | 30 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | Each | 27480 |
| 7. | 4 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp TP (TB-5S) on prepare board as required (S.I.No.232 P-No.30) | 5521 | P.No. | 22084 |
| 8. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 305 | Per Mtr. | 76250 |
| 9. | 60 | Providing & fixing Brass Battern holder c(S.I.No.232 P-.33) | 70 | P.No. | 4200 |
| 10. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 64200 |
| 11. | 1 | P/F D.P/I.C change over switch 500 volts 500amp on a prepare board. | 40126 | Each | 40126 |
| 12. | 1 | Providing & fixing circuit breaker 225amp TP (XS-225NS) on prepare board (S.I.No.208 P-No.31) | 2551 | Each | 25541 |
| 13. | 20 | Providing & laying Main or Sub main PVC insulated & PVC sheathed with 4 core copper conductor 600/1000 volt size 35mm2 (S.I.No.104 P-No.12) | 2529 | P.M | 50580 |
| 14. | 2 | Providing & fixing circuit breaker 100amp TP on prepare board (S.I.No.207 P-No.31) | 9261 | Each | 18522 ________ |
|  |  |  | TOTAL RS. |  | 584833 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 150 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 74550 _______ |
|  |  |  | TOTAL RS. |  | 85928 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Aove / Below_________	       Toal Amount_________

Toal “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F Search light LED light 50 watts square type |  | Each |  |
| 3. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 4. | 20 | S/F LED light square / round shape with wiring & connection etc. |  | Each |  |
| 5. | 30 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL SUPERINTENDENT & HIS STAFF RESIDENCE @ GHOTKI (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 60 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.No.129 P.15). | 910 | Per point | 54600 |
| 2. | 30 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 22260 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 25650 |
| 5. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 30000 |
| 6. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 30500 |
| 7. | 60 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 3240 |
| 8. | 30 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2490 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 30 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 700 |
| 13. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 14. | 140 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 59920 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | Each | 9261 |
| 16. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | Per Mtr. | 5301 ________ |
|  |  |  | TOTAL RS. |  | 286635 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 4. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 5. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 6. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 151 |
| 7. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | TOTAL RS. |  | 75767 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 2 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 4. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 5. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 6. | 25 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 7. | 1 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 8. | 1 | S/F ½ H.P electric motor i/c water pump set i/c fixing charges with c.c foundation & wiring connection etc. |  | Each |  |
| 9. | 10 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT LOWER COURT AT GHOTKI (AFFIDAVIT ROOM) (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 65 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 59150 |
| 2. | 25 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 18550 |
| 3. | 1 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 1590 |
| 4. | 300 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 51300 |
| 5. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 50000 |
| 6. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 61000 |
| 7. | 65 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 3510 |
| 8. | 25 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2075 |
| 9. | 23 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 3473 |
| 9B. | 20 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 162 | P.No. | 3240 |
| 10 | 15 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 13740 |
| 11. | 6 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE-100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 33126 |
| 12. | 17 | Providing & fixing circuit breaker 6,10, 15,20,30,40,50 & 63amp DP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 2456 | P.No. | 41752 |
| 13. | 1 | Providing & fixing voltmeter size 96/96mm 500volt as required & as per instruction of E.I (S.I.No.285 P-No.41) | 999 | P.No | 999 ________ |
|  |  |  | TOTAL RS. |  | 286635 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 90 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 44730 |
| --- | --- | --- | --- | --- | --- |
| 2. | 6 | Distribution metal board double shutter to accommodate circuit breakers i/c painting with enemal paint etc (S.I.No.5 P-13) | 1426.33 | Each | 8558 _________ |
|  |  |  | TOTAL RS. |  | 53288 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 16 | S/F LED light round or square shape 22 watts |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | S/F Telephone cable 2-pair of superior quality |  | P.M |  |
| 3. | 11 | S/F Chaina sheet with frame with board of superior quality |  | Each |  |
| 4. | 25 | S/F Clip R.G-7 |  | Each |  |
| 5. | 130 | S/F Net work cable cat – 6 of superior quality. |  | P.M |  |
| 6. | 6 | S/F Pilot lamp with indicating bulb. |  | Each |  |
| 7. | 1 | S/F Net work switch 16 port. |  | Each |  |
| 8. | 1 | S/F DVR-2 terbite device. |  | Each |  |
| 9. | 4 | S/F Camera 650 or 700 (2 lines). |  | Each |  |
| 10. | 1 | S/F Rank board 9-U |  | Each |  |
| 11. | 8 | S/F Delto cable point with sheet of superior quality |  | Each |  |
| 12. | 80 | S/F Camera cable RG-7 power wire 2-3/.076 twin core in channel patti. |  | P.M |  |
| 13. | 20 | S/F copper pipe with tapping etc for Gas pipe Air condition. |  | P.rft |  |
| 14. | 75 | S/F cable 4-core 110/.076 |  | P.M |  |
| 15. | 1 | S/F stabilizer 10000 watts copper conductor for Air Conditioner i/c necessary connection. |  | Each |  |
| 16. | 1 | S/F change over switch 3-phase 4 pole 60amp. |  | Each |  |
| 17. | 2 | S/F stand for stabilizer i/c oil painting. |  | Each |  |
| 18. | 4 | S/F Wall bracket fan (Pak fan) i/c fixing & wiring charges etc. |  | Each |  |
| 19. | 10 | S/F A.C ceiling fan 56” size i/c fixing & wiring connection. |  | Each |  |
| 20. | 2 | S/F Stabilizer for computer copper conductor. |  | Each |  |
| 21. | 20 | S/F Energy saver 45 watts i/c existing holder. |  | Each |  |
| 22. | 1 | S/F Split type Air Conditioner (Kenwood) company 1.50 Ton capacity i/c fixing charges, clamps & wiring connection. |  | Each |  |
| 23. | 30 | Rewinding of ceiling fan with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 24. | 2 | S/F Exhaust fan 12” size iron body i/c fixing charges & wiring connection. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	RENOVATION OF 2ND TYPE BUNGALOWS 2 NOS. AT ADC COLONY SUKKUR. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 300 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall as required (S.No.129 P.15). | 1130 | Per point | 339000 |
| 2. | 70 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.126 P.15). | 985 | Per point | 68950 |
| 3. | 4 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.126 P.15). | 1764 | Per point | 7056 |
| 4. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.8 P-No.21) | 173 | Per point | 34600 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.11 P-No.2) | 252 | Per point | 113400 |
| 6. | 300 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.8 P-No.21) | 341 | Per point | 102300 |
| 7. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.064 (6mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.14 P-No.2) | 641 | Per point | 128200 |
| 8. | 40 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 36640 |
| 9. | 8 | Providing & fixing circuit breaker 3,5,10,20,30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.202 P-No.30) | 5301 | P.No. | 42408 |
| 10. | 2 | P/F circuit breaker 225amp TP on prepare board as required (S.I.No.208 P-No.31) | 25541 | P.No. | 51082 |
| 11. | 2 | P/F DP I/C change over switch 500 volts 200amp on a prepare board (C.S.I No.198 P-30) | 8767 | Each | 17534 |
| 12. | 2 | Providing & fixing circuit breaker 15,20,30,40, 50,60,,75 & 100amp TP (XS-30NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 18522 |
| 13. | 40 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 2880 |
| 14. | 30 | Providing & fixing Brass Battern holders (S.I.No.232 P-No.33) | 70 | Each | 2100 |
| 15. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | P.Mtr: | 126450 _______ |
|  |  |  | TOTAL RS. |  | 1091122 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 20 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13) | 1426.33 | Each | 28527 |
| --- | --- | --- | --- | --- | --- |
| 2. | 52 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 7333 |
| 3. | 10 | P/F 2-40 watts tube light complete with 40watts 4.0” long rod choke starter and putty with Philips components i/c necessary electric connection and fixing on wall or ceiling etc complete (S.I No.1 P-No.33) | 1677 | Each | 16770 |
| 4. | 60 | S/F energy sever of superior quality i/c fixing & existing holder etc complete (S.I No.6 P-33) | 497 | Each | 29820 |
| 5. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 14440 |
| 6. | 24 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 2983 |
| 7. | 24 | Providing (20mm) ¾” G.pipe with 1.13 3/029 PVC wire for down of ceiling fan | 25.91 | P.Rft: | 622 _______ |
|  |  |  | TOTAL RS. |  | 100495 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 4 | S/F wall bracket fan with regulator capacitor with ON/OFF switch (PAK, GFC, SK) |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 24 | S/F ceiling fan of copper 56” sweep (PAK, GFC, SK) complete |  | Each |  |
| 3. | 4 | S/F exhaust fan 12” size complete with holes iron body i/c control switch |  | Each |  |
| 4. | 40 | S/F LED light square / round shape with wiring & connection etc 18 watt |  | Each |  |
| 5. | 200 | S/F Delto cable size K.T -6 for internet 3mm fitted in PVC duct etc |  | Each |  |
| 6. | 4 | S/F Telephone sheet double T.P socket i/c board & frame with connection |  | Each |  |
| 7. | 4 | S/F internet sheet single i/c board & frame with connection etc |  | Each |  |
| 8. | 100 | S/F main service telephone cable of (20 pairs) in PVC pipe under ground in trench etc |  | Each |  |
| 9. | 4 | S/F search light of LED type squire shape with stand & holes for fixing complete with connection etc 50 watts |  | Each |  |
| 10. | 60 | S/F cable wire for T.V point connection recessed the wall as required |  | Each |  |
| 11. | 4 | T.V point connection with sheet complete |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO HIGH COURT BUILDING @ SUKKUR (REPAIR OF MAIN PANEL BOARD & SERVICE LINE)  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 48 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 43680 |
| 2. | 25 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 18550 |
| 3. | 4 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 6360 |
| 4. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 59850 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 90000 |
| 6. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 76250 |
| 7. | 48 | Providing & fixing one way SP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 2592 |
| 8. | 25 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2075 |
| 9. | 6 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 906 |
| 10. | 30 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 11. | 6 | 206 Providing & fixing circuit breaker 15,20,30,40,50 & 60amp TP (XE100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 33126 |
| 12. | 8 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 576 |
| 13. | 30 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2100 |
| 14. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 107000 |
| 15. | 4 | Providing & fixing circuit breaker 100amp TP (XS-100NS) on prepare board as required (S.I.No.207 P-No.31) | 9261 | Each | 37044 |
| 16. | 1 | Providing & fixing circuit breaker 400amp TP seething 250-400amp (XS-400C.I) on prepare board as required (S.I.No.210 P-No.31) | 39401 | Each | 39401 |
| 17. | 1 | P/F DP I/C change over switch 500 volts 600amp on a prepare board (C.S.I No.202 P-30) | 69014 | Each | 69014 |
| 18. | 120 | P/L main or sub main PVC insulated & PVC sheathed with 4 core copper conductor 600-1000 volts size 35mm2 (.S.I.No.104 P-12) | 2529 | P.M | 303480 |
| 19. | 30 | P/L main or sub main PVC insulated & PVC sheathed with 4 core copper conductor 600-1000 volts size 120mm2 (.S.I.No.108 P-13) | 8175 | P.M | 245250 |
| 20. | 9 | P/F of flood light 400 watt (HPIT) having IP 65 classification with 400 watts choke, capacitor, ignator and internal wiring complete in all respects (.S.I.No.167 P-26) | 16980 | Each | 152820 _______ |
|  |  |  | TOTAL RS. |  | 1317554 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 4 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 654 |
| --- | --- | --- | --- | --- | --- |
| 2. | 150 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 74550 |
| 3. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 4. | 15 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 1865 |
| 5. | 4 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 603 |
| 6. | 4 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 101 |
|  |  |  | TOTAL RS. |  | 81383 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 18 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | S/F LED light 22 watts complete with fixing of holes connection (approved by Engineer Incharge) |  | Each |  |
| 3. | 2 | S/F Bracket fan with connection etc complete |  | Each |  |
| 4. | 10 | S/F exhaust fan 12” size complete with holes iron body i/c connection |  | Each |  |
| 5. | 20 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing etc |  | Each |  |
| 6. | 15 | S/F Search light LED type square shape 50 watts i/c wiring connection. |  | Each |  |
| 7. | 6 | S/F main gate light Globe of approved design i/c energy sever 45 watts etc |  | Each |  |
| 8. | 1 | Making & fixing Affidinel Box (wooden) 2’x 6’ size square shape fixing on walls i/c French polishing etc |  | Job |  |
| 9. | 36 | S/F copper lugs and thimbles. |  | Each |  |
| 10. | 1 | S/F Television cable booster of standard quality i/c connection |  | Each |  |
| 11. | 1 | Making & fixing main panel box iron 12” x 14” size i/c oil painting |  | Job |  |
| 12. | 150 | S/F Delto cable kat – 6 for internet 3mm fitted in PVC duct etc |  | P.M |  |
| 13. | 6 | Internet sheet single i/c board & frame. |  | Each |  |
| 14. | 2 | S/F Electric Bus bar 200amp 4 pole with copper grips & fiber patties i/c iron box etc complete with connection etc. |  | Each |  |
| 15. | 30 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 16. | 6 | S/F Lawn light shade or globe i/c fluorescent bulb or energy saver etc complete |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	REHABILITATION / RENOVATION OF E.I IN COMMISSIONER OFFICE SUKKUR. (GROUND & FIRST FLOOR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 200 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.124 P.15). | 1130 | Per point | 226000 |
| 2. | 60 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 985 | Per point | 59100 |
| 3. | 15 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 1764 | Per point | 26460 |
| 4. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 222 | Per Mtr. | 77700 |
| 5. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.11 P-No.2) | 252 | Per Mtr. | 88200 |
| 6. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 341 | Per Mtr. | 51150 |
| 7. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.064 (10mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.14 P-No.2) | 641 | Per Mtr. | 96150 |
| 8. | 40 | Providing & fixing circuit breaker 6,1015,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No.202 P-No.30) | 916 | Each | 36640 |
| 9. | 10 | Providing & fixing circuit breaker 3,5,10,15,20 & 30amp TP (XS-30NS{NB} on prepared board as required (S.I.No.202 P-No.30) | 5301 | Each | 53010 |
| 10. | 6 | P/F volt meter size 96/96mm 500volts as required as per instruction of E.I (S.I.No.285 P-No.41) | 999 | Each | 5994 |
| 11. | 1 | Providing & fixing DP I/C change over switch 500 volts 200amp on prepared board. | 8767 | Each | 8767 |
| 12. | 2 | Providing & fixing circuit breaker 15,20,30,40,50,60 & 100amp TP (XS-100NS) on prepared board as required (S.I.No.202 P-No.30) | 9261 | Each | 18522 |
| 13. | 34 | P/L Main or Sub Main PVC insulated & PVC sheeted with 4 core copper conductor 6000/1000 volts size 35mm2 (S.I.No.104 P-12) | 2529 | P.M | 85986 |
| 14. | 40 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | Each | 2880 |
| 15. | 40 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | Each | 2800 |
| 16. | 50 | Providing & fixing (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core conductor 6000/1000 volts size 25mm2 (S.I.No.103 P-12) | 1909 | P.M | 54450 _______ |
|  |  |  | TOTAL RS. |  | 893809 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.18 P-No.13) | 1426.33 | P.Sft: | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 30 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 4230 |
| 3. | 60 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 29820 |
| 4. | 2 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 7220 |
| 5. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 3729 |
| 6. | 15 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 2261 |
| 7. | 15 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 630 _______ |
|  |  |  | TOTAL RS. |  | 56448 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 6 | S/F wall bracket fan with regulator capacitor with ON/OFF switch (PAK,GFC,SK). |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F Ceiling of copper conductor 56” sweep (Pak fan, GFC,SK) complete. |  | Each |  |
| 3. | 1 | S/F Air Conditioner split type 2.0 ton capacity i/c fitting & wiring connection charges (Kenwood company) approved by officer Incharge. |  | Each |  |
| 4. | 1 | S/F Air Conditioner split type 1.50 ton capacity (Kenwood company) approved by officer Incharge. |  | Each |  |
| 5. | 6 | S/F Exhaust fan 12” size complete with holes iron body i/c control switch. |  | Each |  |
| 6. | 10 | S/F water proof wall type bracket complete with wiring & connector etc. |  | Each |  |
| 7. | 30 | S/F LED light squire / round shape with wiring & connection 22watt etc. |  | Each |  |
| 8. | 300 | S/F Delto cable size K.T-6 for internet 3mm fitted in PVC duct etc. |  | P.M |  |
| 9. | 1 | S/F Air Condition stand type 2.0 ton capacity (approved by office incharge) i/c fixing charging & wiring connected. |  | Each |  |
| 10. | 10 | S/F Telephone sheet double T.P socket i/c board & frame with connection. |  | Each |  |
| 11. | 10 | S/F Internet sheet single i/c board & frame with connection etc. |  | Each |  |
| 12. | 250 | S/F Main service telephone cable of (20 pairs) in PVC pipe under ground internet etc. |  | P.M |  |
| 13. | 200 | S/F Cable wires of (2 pairs) for intercom connection in PVC duct on surface. |  | P.M |  |
| 14. | 10 | S/F search light of superior quality LED type squire sheet with stand & holes for fixing complete with connection etc 50watts. |  | Each |  |
| 15. | 1 | S/F Electric stabilizer 12000watts copper conductor (approved by office incharge). |  | Each |  |
| 16. | 2 | Gas charging of split AC 2.0 ton capacity i/c capacitor & service charging. |  | Each |  |
| 17. | 280 | S/F Fancy type switch 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 18. | 130 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet & board etc. . |  | Each |  |
| 19. | 25 | S/F Power plug 30amp i/c fancy plastic sheet & board & shoe 30amp etc. |  | Each |  |
| 20. | 40 | S/F Universal plug fancy type i/c fancy plastic sheet & board etc. . |  | Each |  |
| 21. | 10 | S/F Round type globe for lawn light i/c energy saver etc. |  | Each |  |
| 22. | 2 | S/F False ceiling fan of approved design standard quality (Pak Fan Company) |  | Each |  |
| 23. | 10 | Rewinding of ceiling fans 56” size i/c replacement of ball bearing & capacitor. |  | Each |  |
| 24. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 25. | 1 | S/F Refrigerator / Deep freezer of standard quality of standard size (approved by officer Incharge) |  | Each |  |
| 26. | 1 | S/F DVR-2 terbite devices for internet set complete. |  | Job |  |
| 27. | 150 | S/F Copper pipe for split Air Condition out door i/c cloth topping etc. |  | P.sft |  |
| 28. | 5 | S/F Iron stand for stabilizer of required size i/c oil painting etc heavy type. |  | Each |  |
| 29. | 1 | Supplying & fixing Telephone exchange for 8 Nos. Telephone set i/c Telephone cabinet set etc. |  | Each |  |
| 30. | 30 | S/F R.G clip |  | Each |  |
| 31. | 150 | S/F cable 4 core 110/0.076 copper conductor |  | P.M |  |
| 32. | 1 | S/F Net work switch board 16 port (imported) |  | Job |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					       EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT & SESSION JUDGE RESIDENCE & ADDITIONAL JUDGES RESIDENCE AT GHOTKI. (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 108 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 98280 |
| 2. | 48 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 35616 |
| 3. | 3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 4770 |
| 4. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 17100 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 20000 |
| 6. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 15250 |
| 7. | 108 | Providing & fixing one way SP switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 5832 |
| 8. | 48 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 3984 |
| 9. | 20 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 18320 |
| 10. | 3 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 16563 |
| 11. | 66 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 4620 |
| 12. | 15 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 1050 |
| 13. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 42800 |
| 14. | 10 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 53010 _________ |
|  |  |  | Total Rs. |  | 337192 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 9 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 12837 |
| --- | --- | --- | --- | --- | --- |
| 2. | 9 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 1269 |
| 3. | 40 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 19880 |
| 4. | 15 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1865 |
| 5. | 3 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 452 |
| 6. | 3 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 76 |
|  |  |  | Total Rs. |  | 36379 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 4 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 5 | S/F Power plug 40amp i/c board & sheet with frame i/c 3-pin shoe 40amp etc. |  | Each |  |
| 3. | 10 | S/F Bulk light fitting i/c water proof glass shade i/c wiring connection. |  | Each |  |
| 4. | 2 | S/F Gate light complete i/c brass holder and wiring connection. |  | Each |  |
| 5. | 1 | S/F change over switch 60amp i/c fixing on mental board and wiring connection. |  | Each |  |
| 6. | 3 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 7. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 8. | 10 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	CONSTRUCTION OF 2 NOS. BUNGALOWS @ CIVIL COURT ROHRI (PROVIDING INTERNAL & EXTRANAL)  (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 160 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 145600 |
| 2. | 40 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 29680 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 500 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 85500 |
| 5. | 280 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 56000 |
| 6. | 300 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 91500 |
| 7. | 160 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 8640 |
| 8. | 48 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 3320 |
| 9. | 10 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 1510 |
| 10. | 20 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 18320 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 120 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 8400 |
| 13. | 60 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 4320 |
| 14. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 128400 _________ |
|  |  |  | Total Rs. |  | 595412 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 12 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 17116 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 9940 |
| 3. | 100 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 49700 |
| 4. | 30 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 3729 |
| 5. | 2 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 301 |
| 6. | 2 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 50 |
|  |  |  | Total Rs. |  | 80836 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 12 | S/F LED light 80 watts square / round type i/c wiring connection. |  | Each |  |
| 3. | 10 | S/F Bracket fan (Pak fan, Royal, SK) company. |  | Each |  |
| 4. | 14 | S/F Double tube light 2-40 watts i/c chocks, tube rods etc. |  | Each |  |
| 5. | 10 | S/F exhaust fan 12” size i/c fixing and wiring connection. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO HIGH COURT BUILDING CIRCUIT BENCH AT SUKKUR (REPAIR OF E.I RESIDENCE QUARTERS (STAFF QUARTERS).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 150 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 136500 |
| 2. | 72 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 53424 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 190 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 32490 |
| 5. | 180 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 36000 |
| 6. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 6100 |
| 7. | 150 | Providing & fixing one way SP 5amp switch flush type (S.I.No.219 P-33) | 54 | P.No. | 8100 |
| 8. | 72 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 5976 |
| 9. | 10 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 1510 |
| 10. | 5 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 162 | P.No. | 810 |
| 11. | 25 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 22900 |
| 12. | 8 | Providing & fixing circuit breaker 3,5,10,15,20,& 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 42408 |
| 13. | 4 | Providing & fixing circuit breaker 15,20,30, 40, 50 & 60amp TP (XE-100CS{CB}) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 22084 |
| 14. | 128 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 8960 |
| 15. | 22 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 1584 |
| 16. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 42800 _________ |
|  |  |  | Total Rs. |  | 424826 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 907.96 | Each | 5448 |
| --- | --- | --- | --- | --- | --- |
| 2. | 16 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2256 |
| 3. | 10 | P/F wall bracket light fancy type superior quality i/c necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 4970 |
| 4. | 120 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 59640 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 16 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1989 |
| 7. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 151 |
| 8. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | Total Rs. |  | 78089 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 10 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO JAIL SUPERINTENDENT & HIS STAFF RESIDENCE @ SHIKARPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 60 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 54600 |
| 2. | 30 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 22260 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 25650 |
| 5. | 450 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 90000 |
| 6. | 200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 61000 |
| 7. | 60 | Providing & fixing one way SP switch flush type (S.I.No.219 P-.33) | 54 | P.No. | 3240 |
| 8. | 30 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2490 |
| 9. | 1 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No.226 P-No.33) | 151 | P.No. | 151 |
| 10. | 60 | Providing & fixing circuit breaker 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 54960 |
| 11. | 2 | Providing & fixing circuit breaker 60amp TP (TB-5S) on prepare board as required (S.I.No.206 P-No.31) | 5521 | P.No. | 11042 |
| 12. | 50 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 3500 |
| 13. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 14. | 140 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 59920 |
| 15. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 100amp TP (XS-100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 16. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No | 5301 |
|  |  |  | Total Rs. |  | 407415 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 130 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 64610 |
| 4. | 4 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 14440 |
| 5. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 6. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-No.11) | 150.70 | Each | 151 |
| 7. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | TOTAL RS. |  | 86507 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 30 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 1 | S/F U.P.S (Inverter) 1200 watts of approved standard quality i/c wiring connection etc. |  | Each |  |
| 4. | 2 | S/F Battery 200/210amp of approved quality (Volta, Osaka, Exide & A.G.S) company i/c charging. |  | Each |  |
| 5. | 2 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 6. | 20 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 7. | 4 | S/F Power plug 30amp i/c shoe fixing on board etc complete |  | Each |  |
| 8. | 30 | Rewinding of A.C ceiling fan 56” size with copper conductor i/c replacement of ball bearing etc complete. |  | Each |  |
| 9. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 10. | 2 | S/F ½ H.P electric motor i/c water pump set i/c fixing charges with c.c foundation & wiring connection etc. |  | Each |  |
| 11. | 10 | S/F LED light 22 watts complete with fixing charges square or round type. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT JAIL SHIKARPUR (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 150 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 136500 |
| 2. | 50 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 37100 |
| 3. | 250 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 76250 |
| 4. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in 1” dia PVC conduit on surface (S.I.No.3 P-No.1) | 200 | Per Mtr. | 70000 |
| 5. | 150 | Providing & fixing one way SP 5amp switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 2100 |
| 6. | 50 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 4150 |
| 7. | 30 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 8. | 4 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp TP (TB-5S) on prepare board as required (S.I.No.232 P-No.30) | 5521 | P.No. | 22084 |
| 9. | 60 | Providing & fixing Brass Battern holder c(S.I.No.232 P-33) | 70 | P.No. | 4200 |
| 10. | 150 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 64200 |
| 11. | 1 | Providing & fixing change over switch 500 volts 500amp on prepare board. | 40126 | P.No. | 40126 |
| 12. | 1 | Providing & fixing circuit breaker 225amp TP (XS-225NS) on a prepared board (S.I.No.208 P-31) | 25541 | P.No. | 25541 |
| 13. | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheathed with 4 core copper conductor 600/1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | Per Mtr. | 50580 |
| 14. | 2 | Providing & fixing circuit breaker 100amp TP on a prepared board as required (S.I.No.207 P-31) | 9261 | P.No. | 18522 |
| 15. | 6 | Providing & fixing street light 250 watts (H.P.M.V) having IP 54 classification with 250 watts lamp, chock, capacitor & internet wiring complete in all respects at the height of 31ft per site requirement etc. | 8455 | P.No. | 50730 _________ |
|  |  |  | TOTAL RS. |  | 635563 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 6 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 8558 |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | P/F mild steel bar clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 2820 |
| 3. | 150 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 74550 _______ |
|  |  |  | TOTAL RS. |  | 85928 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 20 | S/F AC ceiling fan 56” size i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 10 | S/F LED search light square / round type i/c wiring connection 50 watts |  | Each |  |
| 3. | 4 | S/F Exhaust fan 12” size complete with iron body i/c fixing charging. |  | Each |  |
| 4. | 10 | S/F LED light square / round shoe with wiring connection etc 22 watts. |  | Each |  |
| 5. | 20 | Rewinding of ceiling fan 56” size i/c replacement of ball bearing etc. |  | Each |  |
| 6. | 2 | Rewinding of electric motor ½ H.P with copper conductor i/c replacement of ball bearing and capacitor. |  | Each |  |
| 7. | 1 | Rewinding of electric motor 1 H.P with copper conductor i/c replacement of ball bearing. |  | Each |  |
| 8. | 1 | Rewinding of electric motor 10 H.P three phase copper conductor etc. |  | Each |  |
| 9. | 1 | Rewinding of electric motor 20 H.P three phase copper conductor etc. |  | Each |  |
| 10. | 2 | S/F Ball bearing for 10 H.P electric motor N.T.N (Japan) |  | Each |  |
| 11. | 2 | S/F Ball bearing for 20 H.P electric motor N.T.N (Japan) |  | Each |  |
| 12. | 2 | S/F Capacitor for 10 H.P electric motor (Japan) |  | Each |  |
| 13. | 2 | S/F Capacitor for 20 H.P electric motor (Japan) |  | Each |  |
| 14. | 1 | S/F U.P.S (Inverter) 1200 watts of approved standard quality i/c wiring connection etc. |  | Each |  |
| 15. | 2 | S/F Battery 200/210amp of approved quality (Volta, Osaka, Exide & A.G.S) company i/c charging. |  | Each |  |
| 16. | 1 | S/F iron frame of approved size for Battery and U.P.S i/c fitting charges etc. |  | Each |  |
| 17. | 1 | S/F 1 H.P electric motor i/c water pump set of approved quality with c.c foundation etc. |  | Each |  |
| 18. | 2 | Repair of coupling water pump i/c repair of pump rod & replacement of ball bearing size etc. |  | Each |  |
| 19. | 1 | Supply stabilizer for computer copper conductor |  | Each |  |
| 20. | 6 | S/F Helogen rod for search light 500 watts (Philips) |  | Each |  |
| 21. | 6 | S/F Chock for search light 500 watts (Philips) |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					      EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	M&R TO DISTRICT HEALTH OFFICE SUKKUR.   (ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 225 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.Mo.124 P.15). | 1130 | Per point | 254250 |
| 2. | 80 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 985 | Per point | 78800 |
| 3. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) PVC conduit recessed in the wall or column as required (S.I.No.126 P-No.15) | 1764 | Per point | 35280 |
| 4. | 30 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 2100 |
| 5. | 25 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 1800 |
| 6. | 350 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 463 | Per Mtr. | 162050 |
| 7. | 650 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 252 | Per Mtr. | 163800 |
| 8. | 850 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾” dia PVC conduit recessed in the wall or column as required (S.I.No.10 P-No.2) | 341 | Per Mtr. | 289850 |
| 9. | 48 | Providing & fixing one way SP switch flush type (S.I.No.219 P-33) | 54 | P.No. | 2592 |
| 10. | 25 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 2075 |
| 11. | 1 | Providing & fixing DP I/C change over switch 500 volts 100amp on prepared board (S.I.No.197 P-No.30) | 7612 | P.No. | 7612 |
| 12. | 360 | P/L main or sub main 2-7/.064 copper recessed in the wall | 641 | P.Mtr. | 230760 |
| 13. | 30 | P/F Circuit breaker 63amp (S.I.No.202 P-No.30) | 916 | P.No. | 27480 |
| 14. | 4 | P/F Circuit breaker 30amp (S.I.No.203 P-No.30) | 5301 | Each | 21204 |
| 15. | 2 | P/F Circuit breaker 100amp (S.I.No.204 P-No.30) | 9261 | Each | 18522 ________ |
|  |  |  | TOTAL RS. |  | 1293508 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 20 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 2486 |
| --- | --- | --- | --- | --- | --- |
| 2. | 120 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 59640 |
| 3. | 10 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-11) | 150.70 | Each | 1507 |
| 4. | 10 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 252 |
| 5. | 20 | Distribution board (S.No.18 P-No.14) | 1426 | Each | 28520 |
| 6. | 24 | P/F miled steel clamp 5/8” (S.I No.1 (c) P-14) | 141.01 | Each | 3384 |
| 7. | 10 | P/F 2-40 watt tube light (S.I No.1 P-No.33) | 1677 | Each | 16770 |
| 8. | 6 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level etc. | 3610.04 | Each | 21660 |
|  |  |  | TOTAL RS. |  | 134219 |

Amount Total (CSR)

Part “A”			% Above / Below________	       Total Amount_________

Part”B”			% Above / Below_________	       Total Amount_________

Total “A+B”__________

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 12 | Providing & Fixing bracket fan i/c remote type regulator. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 24 | S/F AC ceiling fan 56” size (Pak fan, GFC, Royal) company |  | Each |  |
| 3. | 20 | S/F Energy saver 45 watts. |  | Each |  |
| 4. | 4 | S/F exhaust fan 12” size Pak |  | Each |  |
| 5. | 65 | S/F LED light square / round shape 22 watts i/c wiring connection. |  | Each |  |
| 6. | 30 | S/F search light LED type 50 watts square type (search light). |  | Each |  |
| 7. | 225 | S/F fancy switch 10amp i/c fancy plastic sheet and board. |  | Each |  |
| 8. | 80 | S/F fancy switch 10amp i/c 2-pin plug socket with fancy plastic sheet and board. |  | Each |  |
| 9. | 40 | S/F power plug 30amp i/c fancy plastic sheet and board i/c show 30amp. |  | Each |  |
| 10. | 40 | S/F fancy type universal plug i/c fancy plastic sheet and board etc. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

Cost of Bid

1. (A) cost Based on composite Schedule of Rates

2. (B) cost Based on  None / Offered Schedule of Rates

TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)

CONTRACTOR 					     EXECUTIVE ENGINER

PROVINICAL BUILDINGS DIVISION

SUKKUR

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	RENOVATION OF A.T.C COURT @ SUKKUR (INTERNAL & EXTERNAL ELECTRIFICATION). (REMAINING WORK).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” NEW SCHEDULE 2012 |  |  |  |
| 1. | 650 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit recessed in the wall or column as required (S.I.No.12 P-No.2) | 341 | Per Mtr. | 221650 |
| 2. | 5 | Providing & fixing circuit breaker3,5,10,15,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-31) | 5301 | P.No. | 26505 |
| 3. | 120 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 35mm2 (S.I.No.104 P-No.12) | 2529 | Per Mtr. | 303480 |
| 4. | 2 | Providing & fixing DP I/C change over switch 500 volts 100amp on prepare board | 7612 | P.No. | 15224 _______ |
|  |  | PART “A” NEW ELECTRIC SCHEDULE OF RATES 2012 TOTAL RS. |  |  | 136769 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 85 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 42245 |
| --- | --- | --- | --- | --- | --- |
| 2. | 16 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-14) | 124.30 | Each | 1989 |
|  |  | PART “B” OLD ELECTRIC SCHEUDULE OF RATES 2004 TOTAL RS. |  |  | 44234 |

NON SCHEDULE ITEMS

| 1. | 11 | S/F AC ceiling fan 56” size i/c fixing & wiring connection etc complete. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 90 | S/F Flush type switch i/c fancy plastic sheet & board approved by officer incharge. |  | Each |  |
| 3. | 30 | S/F 2-pin plug 10amp plug & socket flush type fancy type i/c fancy plastic sheet & board approved by officer incharge. |  | Each |  |
| 4. | 10 | S/F Energy saver 45 watts of superior quality. |  | Each |  |
| 5. | 22 | S/F 3-pin power plug 30amp i/c board & sheet i/c 3 pin shoe. |  | Each |  |
| 6. | 26 | S/F Fancy type universal plug 20amps i/c fancy plastic sheet. |  | Each |  |
| 7. | 4 | S/F Fancy false ceiling fan i/c remote control switch (Pak Fan) company. |  | Each |  |
| 8. | 2 | S/F Stabilizer 10000 watts for Air Condition copper conductor heavy approved quality. |  | Each |  |

Page No:2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
| 9. | 2 | S/F Stabilizer 12000 watts for Air Condition copper conductor heavy (Universal Company). |  | Each |  |
| 10. | 300 | S/F Delto cable size K.T -6 for internet 3mm fitted in PVC duct etc. |  | P.M |  |
| 11. | 250 | S/F Main service telephone cable of (20 pairs) in PVC pipe under ground internet etc. |  | P.M |  |
| 12. | 20 | S/F Internet sheet single i/c board & frame with connection etc. |  | Each |  |
| 13. | 250 | S/F Cable wire for T.V / Telephone point connection recessed the wall as required. |  | P.M |  |
| 14. | 70 | S/F gas pipe line copper conductor fitting for Air Condition |  | P.rft |  |
| 15. | 4 | Making & fixing iron stand for A.C stabilizer of approved size heavy quality i/c oil painting etc complete. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

| PART "A" |  | ________________%Above/Below New Electric Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below Old Electric Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | ________________ Non Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  |  | G. Total Rs:- |  |

| CONTRACTOR |  | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION SUKKUR |
| --- | --- | --- |

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	ESTABILISHMENT OF CATTLE COLONY KHAIRPUR (PROVIDING EXTERNAL E.I IN MAIN GATE TO UPTO WAPDA TRANSFORMER).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 10 | Providing & fixing of flood light 400 watt (HPIT) having IP 65 classification with 400 watt lamp, choke, capacitor, igniter & internal wiring complete in all respects as per site requirements etc. (S.I.No.167 P-No.26). | 16980 | Each | 169800 |
| 2. | 7 | Providing & fixing of M.S tubular pole as following specification to be fixed on precast foundation with the help manual labor 20ft (6” dia) 5’.5” (5” dia) 5’.5”ft (4” dia) 8 SWG base plate 18” x 18” x ¾” hole 4 Nos. etc complete (S.I.No.132 P-16) | 36697 | Each | 256879 |
| 3. | 7 | Construction of R.C.C foundation as per following specification & instruction of E.I for 31ft /40ft long tubular pole excavation of soft / hard soil 3’x3’x5’.5” stone soiling 3’x3’x6” making leans in the ratio of 1:4::8 etc.(S.I No.139 P-19) | 15168 | Each | 106176 |
| 4. | 430 | Providing & laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 16mm2 (S.I.No.102 P-No.12) | 1300 | Per Mtr. | 559000 |
| 5. | 7 | Providing & fixing circuit breaker 30amp TP on a prepare board (S.I.No.205 P-31) | 5301 | Each | 37107 _______ |
|  |  | PART “A” NEW ELECTRIC SCHEDULE OF RATES 2012 TOTAL RS. |  |  | 1128962 |

PART “B” OLD SCHEDULE ITEMS

| .1. | 6 | P/F stay with 7/10 G.I wire complete stay rod galvanized thimble SK4 insulator stay rod & clamps etc as required. (S.I No.2 P-No.28) | 3610.04 | Each | 21660 |
| --- | --- | --- | --- | --- | --- |
| 2. | 7 | P/F earthing set with 2x2x1/2” thick cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level etc complete. (S.I.No.1 P-26). | 3610.04 | Each | 25270 |
| 3. | 8 | P/F Panel board double shutter accommodate circuit breaker etc i/c oil painting etc (S.I No.6 P-13) | 1426.33 | Each | 11411 _______ |
|  |  | PART “B” NEW ELECTRIC SCHEDULE OF RATES 2004 TOTAL RS. |  |  | 58341 |

| PART "A" |  | ________________%Above/Below New Electric Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below Old Electric Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | ________________ Non Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  |  | G. Total Rs:- |  |

| CONTRACTOR |  | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION SUKKUR |
| --- | --- | --- |

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	CONSTRUCTION OF WOMEN DEVELOPMENT COMPLEX @ SUKKUR (PROVIDING EXTERNAL ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 400 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 341 | Per Mtr. | 136400 |
| 2. | 20 | Construction of R.C.C foundation as per following specification & instruction of E.I for 31ft /40ft long tubular pole excavation of soft / hard soil 3’x3’x5’.5” stone soiling 3’x3’x6” making leans in the ratio of 1:4::8 etc.(S.I No.139 P-19) | 15168 | Each | 303360 |
| 3. | 20 | Providing & fixing of flood light 400 watt (HPIT) having IP 65 classification with 400 watt lamp, choke, capacitor, igniter & internal wiring complete in all respects as per site requirements etc. (S.I.No.167 P-No.26). | 16980 | Each | 339600 |
| 4. | 10 | Providing & fixing circuit breaker 30amp TP on a prepare board (S.I.No.205 P-31) | 5301 | Each | 53010 |
| 5. | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with 2-7/.052 copper conductor in 1” dia PCC pipe conduit on surface as required (S.I.No.6 P-No.1) | 428 | P.M | 42800 ______ |
|  |  |  | TOTAL RS. |  | 875170 |

PART “B” OLD SCHEDULE ITEMS

| 1. | 8 | P/F Panel board double shutter accommodate circuit breaker i/c oil painting with enamel paint and for other similar job on surface (S.I No.5 P-13) | 1426.33 | P.sft | 11411 |
| --- | --- | --- | --- | --- | --- |
| 2. | 80 | P/F Shakle ‘D’ iron bolt make of galvanized mild steel flat 1 ¼” x 3/16” size having a bolt with nuts 3” x 3/8” size ‘D’ clamps 1 ¾” x 2 ½” (S.I No.1 P-27) | 118.25 | Each | 9460 |
| 3. | 80 | Galvanized iron bolt for pressure pin insulator (S.I No.2 P-27) | 286 | Each | 22880 |
| 4. | 80 | P/F 2/1” channel schackle insulator medium pressure (S.I No.3 P-27) | 47.30 | Each | 3784 |
| 5. | 10 | P/F stay with 7/10 G.I wire complete stay rod galvanized thimble sky insulator stay rod, clamps as required (S.I No.2 P-28) | 3610.04 | Each | 36100 |
| 6 | 20 | P/F earthing set with 2x2x1/2” thick copper plate buried in ground at a depth of 12” or less if water comes out from the ground level with pit 12” etc complete (S.I.No.1 P-26). | 3610.01 | Each | 72201 ________ |
|  |  |  | TOTAL RS. |  | 155836 |

Page No:2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 1. | 7200 | Supply and excavation of aluminum conductor of waist of all size poles i/c binding wire as required. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 20 | S/F L.T structure angle iron frame size 1 ½” x ¾” x 1/3” thick with cross of angle iron ¼” x ¼” x 1/8” thick iron poles with nuts 3/16” thick with making the holes of welded length of pole 30ft i/c silver paint. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

| PART "A" |  | ________________%Above/Below New Electric Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below Old Electric Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | ________________ Non Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  |  | G. Total Rs:- |  |

| CONTRACTOR |  | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION SUKKUR |
| --- | --- | --- |

BILL OF QUANTITIES

Description and Rate of Items based on Composite Schedule of Rates

NAME OF WORK  :-	33-  M&R TO HIGH COURT LODGE AT SUKKUR.

(ELECTRIFICATION).

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |
|  |  | PART “A” SCHEDULE ITEMS |  |  |  |
| 1. | 30 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.Mo.129 P.15). | 910 | Per point | 27300 |
| 2. | 20 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.130 P-No.15) | 742 | Per point | 14840 |
| 3. | 2 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4”) channel patti on surface as required (S.I.No.131 P-No.15) | 1590 | Per point | 3180 |
| 4. | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾” dia PVC conduit on surface (S.I.No.3 P-No.1) | 171 | Per Mtr. | 8550 |
| 5. | 60 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾” dia PVC conduit on surface (S.I.No.4 P-No.1) | 200 | Per Mtr. | 12000 |
| 6. | 40 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 (6mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.5 P-No.1) | 305 | Per Mtr. | 12200 |
| 7. | 30 | Providing & fixing one way SP 5amp switch flush type (S.I.No.219 P-No.33) | 54 | P.No. | 1620 |
| 8. | 20 | Providing & fixing two pin 5amp plug & socket (S.I.No.222 P-No.33) | 83 | P.No. | 1660 |
| 9. | 10 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepare board as required (S.I.No.202 P-No.30) | 916 | P.No. | 9160 |
| 10. | 10 | Providing & fixing Brass Battern holder c(S.I.No.232 P-No.33) | 70 | P.No. | 700 |
| 11. | 5 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No.228 P-No.33) | 72 | P.No. | 360 |
| 12. | 40 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1” dia PVC conduit on surface (S.I.No.6 P-No.1) | 428 | Per Mtr. | 17120 |
| 13. | 1 | Providing & fixing circuit breaker 15,20,30,40,50,60,75 & 10amp TP (XS100NS) on prepare board as required (S.I.No.202 P-No.30) | 9261 | P.No. | 9261 |
| 14. | 1 | Providing & fixing circuit breaker 3,5,10,150,20 & 30amp TP (XS-30NS{NB}) on prepare board as required (S.I.No.205 P-No.31) | 5301 | P.No. | 5301 |
| 15. | 1 | P/F DP I/C change over switch 500 volts 200amp on a prepare board. | 8767 | P.No. | 8767 _________ |
|  |  |  | Total Rs. |  | 132019 |

Page No:2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

PART “B” OLD SCHEDULE ITEMS

| .1. | 4 | P/F distribution metal board double shutter to accommodate circuit breakers i/c painting with enamel paint and for other similar job on surface (S.I No.5 P-No.13) | 1426.33 | Each | 5705 |
| --- | --- | --- | --- | --- | --- |
| 2. | 3 | P/F mild steel bar fan clamp 15.8 mm (5/8”) dia suitable for RCC roof (S.I No.1(c) P-No.14) | 141.01 | Each | 423 |
| 3. | 2 | P/F wall bracket light fancy type superior quality including necessary electric connection and fixing on wall oe ceiling etc complete (S.I No.5 P-No.33) | 497 | Each | 994 |
| 4. | 30 | P/F energy sever superior quality including fixing on existing holder etc complete (S.I No.6 P-No.33) | 497 | Each | 14910 |
| 5. | 1 | P/F earthing set with 2x2x1/4” cooper plate buried in ground at a depth of 12” or less if water comes out from the ground level with salt and charcoal etc i/c making the pit 12” deep by excavation of all type of soil Earth plat to be connected with No.8. | 3610.04 | Each | 3610 |
| 6. | 10 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I No.2b P-No.14) | 124.30 | Each | 1243 |
| 7. | 1 | P/F A.C or DC electric bell 200/250 volt 70mm (S.I No.21 P-No.11) | 150.70 | Each | 151 |
| 8. | 1 | P/F flush type electric bell bush button (S.I No.23 P-No.12) | 25.19 | Each | 25 |
|  |  |  | Total Rs. |  | 32474 |

NON SCHEDULE ITEMS

| 1. | 2 | S/F AC ceiling fan 56” size (Pak fan, GFC, SK) company i/c fixing & wiring connection etc complete |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 2. | 4 | S/F LED light round / square shape i/c wiring connection 50 watts (search light). |  | Each |  |
| 3. | 4 | S/F LED light round / square shape i/c wiring connection 22 watts. |  | Each |  |
| 4. | 4 | S/F Wall bracket fan standard size (Pak fan company). |  | Each |  |
| 5. | 6 | S/F Fancy light globe. |  | Each |  |
| 6. | 2 | S/F Air Conditioner split type 2.0 ton capacity (approved by officer Incharge) (Kenwood company or Gree company) |  | Each |  |
| 7. | 2 | S/F Stablizer 12000 watts copper conductor (approved by officer Incharge). |  | Each |  |
| 8. | 20 | S/F Fancy type switch 10amp i/c fancy plastic sheet & board etc. |  | Each |  |
| 9. | 10 | S/F Fancy type 2-pin plug 10amp i/c fancy plastic sheet & board etc. |  | Each |  |
| 10. | 4 | S/F Power plug 30amp i/c board & sheet and 3-pin shoe 30amp etc. |  | Each |  |

Page No:2.

| Item No. | Qty: | Description of Item to be executed at site | Rate | Units | Amount |
| --- | --- | --- | --- | --- | --- |

| 11. | 4 | S/F Fancy Universal plug i/c fancy sheet & board etc. |  | Each |  |
| --- | --- | --- | --- | --- | --- |
| 12. | 3 | S/F Round type globe for lawn light i/c energy saver. |  | Each |  |
| 13. | 50 | S/F Delto size cat -6 for internet 3mm size fitted in PVC duct etc. |  | Each |  |
| 14. | 10 | S/F Energy saver 45 watts of approved quality. |  | Each |  |
|  |  |  | TOTAL RS. |  |  |

| PART "A" |  | ________________%Above/Below New Electric Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below Old Electric Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | ________________ Non Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  |  | G. Total Rs:- |  |

| CONTRACTOR |  | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION SUKKUR |
| --- | --- | --- |