## Sheet1
S.NO. | NAME OF AGENCY. | D.R.NO. | DATE. | AMOUNT.
1 | M/S Elahi Enterprises. | 2663 | 23-04-2015 | 3000
2 | M/S Bhatai Construction Co. | 2664 | 23-04-2015 | 3000
3 | Mr.Wazir Ali Mahar. | 2665 | 23-04-2015 | 3000
4 | M/S Al-Madina. | 2666 | 23-04-2015 | 2000
5 | M/S Al-Mansoor Construction Co. | 2667 | 23-04-2015 | 2000
6 | M/S Waqar Traders. | 2668 | 23-04-2015 | 2000
7 | M/S Anees | 2669 | 23-04-2015 | 3000
8 | Mr. Jaweed Ahmed Tunio. | 2670 | 23-04-2015 | 3000
9 | Mr. Ashique Ali Abbasi. | 2671 | 23-04-2015 | 3000
10 | M/S Zubair & Co. | 2672 | 23-04-2015 | 3000
11 | M/S Misbah Construction Co. | 2673 | 23-04-2015 | 3000
12 | M/S Roomusa Engineering | 2674 | 23-04-2015 | 3000
13 | Mr. Sajadullah Bhutto. | 2675 | 23-04-2015 | 3000
14 | M/S Rohri Construction Co. | 2676 | 23-04-2015 | 3000
15 | Mr. Habibullah Bhutto. | 2677 | 23-04-2015 | 3000
16 | M/S Mustafa Construction Co. | 2678 | 23-04-2015 | 3000
17 | M/S Al-Khalid Mahar. | 2679 | 23-04-2015 | 3000
18 | Mr. Sanaullah Mahar. | 2680 | 23-04-2015 | 3000
19 | Mr.Asad Ali Abro. | 2681 | 23-04-2015 | 3000
20 | M/S Hamad Global Enterprises. | 2682 | 23-04-2015 | 3000
21 | M/S Rohri Construction Co. | 2683 | 23-04-2015 | 3000
22 | Mr.Wazir Ali Mahar. | 2684 | 23-04-2015 | 3000
23 | M/S Bilal Construction Co., | 2685 | 23-04-2015 | 3000
24 | M/S Dua Construction Enterprises. | 2686 | 23-04-2015 | 3000
25 | M/S Mahar & Co. | 2687 | 23-04-2015 | 2000
26 | M/S Misbah Construction Co. | 2688 | 23-04-2015 | 2000
27 | Mr. Muhammad Bux Balouch. | 2689 | 23-04-2015 | 2000
28 | Mr. Rano Khan. | 2690 | 23-04-2015 | 3000
29 | M/S Al- Hassan | 2691 | 23-04-2015 | 3000
30 | M/S Bukhari Engineering. | 2692 | 23-04-2015 | 3000
31 | M/S Anwar Ali & Co. | 2693 | 23-04-2015 | 3000
32 | Mr. Abdul Hafeez Kolachi. | 2694 | 23-04-2015 | 3000
33 | M/S Arz Muhammad & Co. | 2695 | 23-04-2015 | 3000
34 | Mr. Waliullah. | 2696 | 23-04-2015 | 3000
35 | Mr. Soomar Khan Mahar. | 2697 | 23-04-2015 | 3000
36 | Mr. Jaweed Ahmed Tunio. | 2698 | 23-04-2015 | 3000
37 | Mr. Abdul Hafeez Kolachi. | 2699 | 23-04-2015 | 3000
38 | M/S Ellahi Enterprises. | 2700 | 23-04-2015 | 3000
39 | M/S Sahar Enterprises. | 2701 | 23-04-2015 | 3000
40 | Mr. Soomar Khan Mahar. | 2702 | 23-04-2015 | 3000
41 | Mr. Ashique Ali Abbasi. | 2703 | 23-04-2015 | 3000
42 | M/S Ajlal Mustafa. | 2704 | 23-04-2015 | 3000
43 | M/S Mashallah Engineering. | 2705 | 23-04-2015 | 3000
44 | Mr. Wazir Ali Mahar. | 2706 | 23-04-2015 | 3000
45 | M/S Awais & Brothers. | 2707 | 23-04-2015 | 3000
46 | M/S Waqar Traders. | 2708 | 23-04-2015 | 2000
47 | M/S Al-Noor. | 2709 | 23-04-2015 | 2000
48 | Mr. Roshan Ali. | 2710 | 23-04-2015 | 2000
49 | Mr. Soomar Khan Mahar. | 2711 | 23-04-2015 | 2000
50 | M/S M.A. & Brothers. | 2712 | 23-04-2015 | 2000
51 | M/S Al-Masroor. | 2713 | 23-04-2015 | 2000
52 | Mr. Ali Baba. | 2714 | 23-04-2015 | 2000
53 | Mr. Muhammad Bux Balouch. | 2715 | 23-04-2015 | 2000
54 | Mr. Bashir Ahmed Qureshi. | 2716 | 23-04-2015 | 2000
55 | M/S Malik Muhammad Ishaque & Co. | 2717 | 23-04-2015 | 5000
56 | Mr. Faheem. | 2718 | 23-04-2015 | 2000
57 | Mr. Junejo. | 2719 | 23-04-2015 | 5000
58 | Mr. Shahbaz Soomro. | 2720 | 23-04-2015 | 5000
59 | Mr. Soomar Khan Mahar. | 2721 | 23-04-2015 | 5000
60 | Mr. Ashique Ali Abbasi. | 2722 | 23-04-2015 | 5000
61 | Mr. Abdul Wahab. | 2723 | 23-04-2015 | 2000
62 | M/S Momin Enterprises. | 2724 | 23-04-2015 | 5000
63 | Mr. Anees Ahmed. | 2725 | 23-04-2015 | 2000
64 | Mr. Mateen Ahmed Kolachi. | 2726 | 23-04-2015 | 2000
65 | M/S Muhsen Brothers. | 2727 | 23-04-2015 | 2000
66 | M/S Royal Enterprises. | 2728 | 23-04-2015 | 2000
67 | M/S Zahoor & Brothers. | 2729 | 23-04-2015 | 3000
68 | Mr. Ashique Ali Abbasi. | 2730 | 23-04-2015 | 3000
69 | Mr. Anees Ahmed. | 2731 | 23-04-2015 | 3000
|  |  | G.TOTAL RS:- | 198000

## Bid Data
BIDDING DATA
This Section should be filled in by the Executive Engineer Provincial Buildings Division Sukkur, before issuance of the Bidding Documents.
(a) | Name of Procuring Agency | Executive Engineer Provincial Buildings Division Sukkur
(b) | Brief Description of Works | CONSTRUCTION OF BUILDINGS FOR EMPLOYMENT EXCHANGE IN SINDH @ DISTRICT KHAIRPUR ( INTERNAL W/S & S/F).
(c) | Procuring Agency Address | SUKKUR
(d) | Estimated Cost | 1200000
(e) | Amount of Bid Security | 24000
(f) | Period of Bid Validity (Days) | 60 Days
(g) | Security Deposit (i/c bid Security) | 120000
(h) | Percentage, if any, to be deducted from Bills | 10.5%
(i) | Deadlines for submission of bids along with times | 02-06-2014 1.00 P.M
(j) | Venue, Time & Date of Bid Opening | 02-06-2014 2.00 P.M
(k) | Time for completion from written order of commences | 06 Months
(l) | Liquidity Demages
(m) | Desposit Receipt______________________ Date _____________ Amount ___________________________
(n) | D.R No. Date & Amount
(o) | Tender Issued to (Mr./ M/S.)
EXECUTIVE ENGINEER
PROVINCIAL BUILDINGS DIVISION
SUKKUR

## Bill of Qty El new and old
SCHEDULE "B" (BILL OF QUANTITY)
9(v) CONSTRUCTION OF DARGAH SADARUDDIN BADSHAH (RIZIVI) SITUATED @ DEH BAKHAR TALUKA ROHRI DISTRICT SUKKUR PHASE-I (CONSTRUCTION OF OFFICE BLOCK INTERNAL E..I).
Quantities |  | Item No. | Description of items to be executed at site | Rate | Unit | Amount
PART "A" NEW ELECTRIC SCHEDULE ITEMS 2012.
|  | 1- | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.I.No:124 P-15).
33 | Point. |  | Each point. | 1130 | P.Point. | 37290
Rupees One Thousand One Hundred Thirty)Only.
8 | Point. | 2- | Wiring for plug point with 3/.29 PVC in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126 P-15). | 985 | P.Point. | 7880
Rupees Nine Hundred Eighty Five)Only.
4 | Point. | 3- | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126 P-15). | 1764 | P.Point. | 7056
Rupees One Thousand Seven Hundred Sixty Four)Only.
20 | P.Met. | 4- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-3/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:8 P-2). | 173 | P.Meter. | 3460
Rupees One Seventy Three)Only.
50 | P.Met. | 5- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:10 P-2). | 222 | P.Meter. | 11100
Rupees Two Hundred Twenty Two)Only.
50 | P.Met. | 6- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P-2). | 252 | P.Meter. | 12600
Rupees Two Hundred Fifty Two)Only.
10 | P.Met. | 7- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P-2). | 341 | P.Meter. | 3410
Rupees Three Hundred Forty One)Only.
50 | P.Met. | 8- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1" dia PVC conduit on surface. (S.I.No:06 P-1). | 463 | P.Meter. | 23150
Rupees Four Hundred Sixty Three)Only.
9 | Nos | 9- | Providing & fixing circuit breaker 6,10,15,20, 30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required. (S.I.No:202 P-30). | 916 | Each | 8244
Rupees Nine Hundred Sixteen)Only.
1 | No. | 10- | Providing & fixing circuit breaker 3,5,10,15,20 & 30 Amps: TP (XS-30NS{NB}) on prepared board as required. (S.I.No:202 P-30). | 5301 | Each | 5301
Rupees Five Thousand Five Hundred Twenty One)Only.
1 | Nos | 11- | Providing and fixing of flood light 400 watts (HPIT) having IP65 classification with 400 w Lamp, choke, capacitor, igniter and Internal wiring complete in all respect at the height up to 40 ft with the help hydraulic crane and manual labour as per site requirement and instruction of Engineer Incharge. (S.I.No:164 P-26). | 16980 | Each | 16980
Rupees Sixteen Thousand Nine Hundred Eighty )Only.
8 | Nos | 12- | Providing and fixing two pin 5 Amp plug & flush type. (S.I.No:225 P-33). | 83 | Each | 664
Rupees Eighty Three)Only.
4 | Nos | 13- | Providing and fixing three pin 10/15 Amp plug & Socket flush type. (S.I.No:222 P-33). | 151 | Each | 604
Rupees One Hundred Fifty One)Only.
4 | Point. | 14- | Providing and fixing three pin 10/15 Amp plug & Socket flush type. (S.I.No:222 P-33). | 162 | P.Point. | 648
Rupees One Hundred Sixty Two)Only.
33 | Point. | 15- | Providing and fixing one way SP 5 Amp: switch flush type. (S.I.No:219 P-33). | 54 | Each | 1782
Rupees Fifty Four)Only.
10 | Point. | 16- | Providing and fixing Bakelite ceiling rose with two terminals. (S.I.No:228 P-33). | 72 | Each | 720
Rupees Seventy Two)Only.
5 | Nos | 17- | Providing and fixing Brass Ceiling fan 56" (good quality) (S.I.No:235 P-34). | 3185 | Each | 15925
Rupees Three Thousand One Hundred Eighty Five)Only.
12 | Nos | 18- | Providing and fixing Brass Battern holders (S.I.No:232 P-33). | 70 | Each | 840
Rupees Seventy )Only.
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 157654
PART "B" OLD SCHEDULE OF RATES 2004.
2 | SFT | 1- | Providing and fixing distribution metal board double shutter to accommodate circuit breakers including painting with ememel paint and for other simmilar job on surface. (S.I.No:18 P-13). | 1426.33 | P.SFT | 2852.66
Rupees One Thousand Four Hundred Twenty Six & Ps:Thirty Three )Only.
5 | Nos | 2- | Providing and fixing meld steel bar fan clamp 15.8 mm (5/8" dia) suitable for RCC roof. (S.I.No:1© P-14). | 141.01 | Each | 705.05
Rupees One Hundred Forty One & Ps:One )Only.
4 | Nos | 3- | Providing and fixing 1-40 watts tube light complete with 40 watts 4.0" long rod chok , starter and putty with Phillips components including necessary electric connection and fixing on wall or ceiling etc complete. (S.I.No:1 P-33). | 396 | Each | 1584
Rupees Three Hundred Ninety Six ) Only.
1 | No. | 4- | Providing and fixing 2-40 watts tube light complete with 40 watts 4.0" long rod chok , starter and putty with Phillips components including necessary electric connection and fixing on wall or ceiling etc complete. (S.I.No:1 P-33). | 1677 | Each | 1677
Rupees One Thousand Six Hundred Seventy Seven )Only.
1 | Nos | 5- | Providing and fixing wall bracket light fancy type superior quality including necessary electric connection and fixing on wall one ceiling etc complete. (S.I.No:5 P-33). | 497 | Each | 497
Rupees One Thousand Nine Hundred Nine )Only.
23 | Nos | 6- | Providing Energy sever superior quality including fixing on existing holder etc complete. (S.I.No:6 P-33). | 497 | Each | 11431
Rupees One Thousand Nine Hundred Nine )Only.
1 | Nos | 7- | Providing and fixing earthing set with 2x2x1/4" copper plate burried in ground at a depth of 12' or less if water comes out from the ground level with salt and chorcoal , etc, in/c making the pit 12" deep by excavation of all type of soil, Earth plat to be connected with No:8. | 3610.04 | Each | 3610.04
Rupees Three Thousand Six Hundred Ten and Ps:Four )Only.
5 | Nos | 8- | Providing and fixing A.C. ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet. (S.I.No:2b P-14). | 124.3 | Each | 621.5
Rupees One Hundred Twenty Four & Ps:Thirty )Only.
4 | Nos | 9- | Providing and fixing AC or DC electric bell 200/250 volts 70 MM. (S.I.No:21 P-11). | 150.7 | Each | 602.8
Rupees One Hundred Fifty Four & Ps:Seventy )Only.
4 | Nos | 10- | Providing and fixing type electric bell bush button. (S.I.No:23 P-12). | 25.19 | Each | 100.76
Rupees One Thousand Nine Hundred Nine )Only.
10 | Nos | 11- | Providing (20mm) 3/4" dia G.I. pipe with 1.13 3/.029 PVC wire for down of ceiling fan. | 25.91 | Each | 259.1
Rupees Twenty Five & Ps:Ninety One ) Only.
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 23940.91
PART "C" NON SCHEDULE ITEMS.
1 | No. | 1- | Supplying & Fixing Exhaust fan 16" fan. |  | Each
5 | Nos. | 2- | Supplying and Fixing water proof wall type bracket i/c glass shade etc complete. |  | Each
PART "C" NON SCHEDULE ITEM TOTAL RS:-
GENERAL ABSTRACT.
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 157654
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 23940.91
PART "C" NON SCHEDULE ITEM TOTAL RS:-
G. TOTAL RS:-
Amount Total (CSR)
|  | PART "A" | New Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "B" | Old Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "C" | Non Schedule Item %Above/Below ________________ |  | Total Rs:
Total (A to C)RS:-
EXECUTIVE ENGINEER
| CONTRACTOR |  |  | PROVINCIAL BUILDINGS DIVISION
SUKKUR
SCHEDULE "B" (BILL OF QUANTITY)
9(ii) CONSTRUCTION OF DARGAH SADARUDDIN BADSHAH (RIZIVI) SITUATED @ DEH BAKHAR TALUKA ROHRI DISTRICT SUKKUR PHASE-I (CONSTRUCTION OF MOSQUE INTERNAL E..I).
PART "A" NEW ELECTRIC SCHEDULE ITEMS 2012.
|  | 1- | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.I.No:124 P-15).
45 | Point. |  | Each point. | 1130 | P.Point. | 50850
Rupees One Thousand One Hundred Thirty)Only.
8 | Point. | 2- | Wiring for plug point with 3/.29 PVC in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126 P-15). | 985 | P.Point. | 7880
Rupees Nine Hundred Eighty Five)Only.
20 | P.Met. | 3- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-3/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:8 P-2). | 173 | P.Meter. | 3460
Rupees One Seventy Three)Only.
50 | P.Met. | 4- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:10 P-2). | 222 | P.Meter. | 11100
Rupees Two Hundred Twenty Two)Only.
30 | P.Met. | 5- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P-2). | 252 | P.Meter. | 7560
Rupees Two Hundred Fifty Two)Only.
10 | P.Met. | 6- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P-2). | 341 | P.Meter. | 3410
Rupees Three Hundred Forty One)Only.
20 | P.Met. | 7- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1" dia PVC conduit on surface. (S.I.No:06 P-1). | 463 | P.Meter. | 9260
Rupees Four Hundred Sixty Three)Only.
9 | Nos | 8- | Providing & fixing circuit breaker 6,10,15,20, 30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required. (S.I.No:202 P-30). | 916 | Each | 8244
Rupees Nine Hundred Sixteen)Only.
1 | No. | 9- | Providing & fixing circuit breaker 3,5,10,15,20 & 30 Amps: TP (XS-30NS{NB}) on prepared board as required. (S.I.No:202 P-30). | 5301 | Each | 5301
Rupees Five Thousand Five Hundred Twenty One)Only.
8 | Nos | 10- | Providing and fixing two pin 5 Amp plug & flush type. (S.I.No:225 P-33). | 83 | Each | 664
Rupees Eighty Three)Only.
4 | Nos | 11- | Providing and fixing three pin 10/15 Amp plug & Socket flush type. (S.I.No:222 P-33). | 151 | Each | 604
Rupees One Hundred Fifty One)Only.
2 | Point. | 12- | Providing and fixing three pin 10/15 Amp plug & Socket flush type. (S.I.No:222 P-33). | 162 | P.Point. | 324
Rupees One Hundred Sixty Two)Only.
45 | Point. | 13- | Providing and fixing one way SP 5 Amp: switch flush type. (S.I.No:219 P-33). | 54 | Each | 2430
Rupees Fifty Four)Only.
18 | Point. | 14- | Providing and fixing Bakelite ceiling rose with two terminals. (S.I.No:228 P-33). | 72 | Each | 1296
Rupees Seventy Two)Only.
10 | Nos | 15- | Providing and fixing Brass Ceiling fan 56" (good quality) (S.I.No:235 P-34). | 3185 | Each | 31850
Rupees Three Thousand One Hundred Eighty Five)Only.
15 | Nos | 16- | Providing and fixing Brass Battern holders (S.I.No:232 P-33). | 70 | Each | 1050
Rupees Seventy )Only.
1 | No. | 16- | Providing and fixing Brass Bracket fan 18" (good quality) (S.I.No:236 P-34). | 2791 | Each | 2791
Rupees Two Thousand Seven Hundred Ninety One )Only.
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 148074
PART "B" OLD SCHEDULE OF RATES 2004.
2 | SFT | 1- | Providing and fixing distribution metal board double shutter to accommodate circuit breakers including painting with ememel paint and for other simmilar job on surface. (S.I.No:18 P-13). | 1426.33 | P.SFT | 2852.66
Rupees One Thousand Four Hundred Twenty Six & Ps:Thirty Three )Only.
10 | Nos | 2- | Providing and fixing meld steel bar fan clamp 15.8 mm (5/8" dia) suitable for RCC roof. (S.I.No:1© P-14). | 141.01 | Each | 1410.1
Rupees One Hundred Forty One & Ps:One )Only.
3 | Nos | 3- | Providing and fixing 1-40 watts tube light complete with 40 watts 4.0" long rod chok , starter and putty with Phillips components including necessary electric connection and fixing on wall or ceiling etc complete. (S.I.No:1 P-33). | 396 | Each | 1188
Rupees Three Hundred Ninety Six ) Only.
4 | No. | 4- | Providing and fixing 2-40 watts tube light complete with 40 watts 4.0" long rod chok , starter and putty with Phillips components including necessary electric connection and fixing on wall or ceiling etc complete. (S.I.No:1 P-33). | 1677 | Each | 6708
Rupees One Thousand Six Hundred Seventy Seven )Only.
20 | Nos. | 5- | Providing Energy sever superior quality including fixing on existing holder etc complete. (S.I.No:6 P-33). | 497 | Each | 9940
Rupees One Thousand Nine Hundred Nine )Only.
1 | Nos | 6- | Providing and fixing earthing set with 2x2x1/4" copper plate burried in ground at a depth of 12' or less if water comes out from the ground level with salt and chorcoal , etc, in/c making the pit 12" deep by excavation of all type of soil, Earth plat to be connected with No:8. | 3610.04 | Each | 3610.04
Rupees Three Thousand Six Hundred Ten and Ps:Four )Only.
10 | Nos | 7- | Providing and fixing A.C. ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet. (S.I.No:2b P-14). | 124.3 | Each | 1243
Rupees One Hundred Twenty Four & Ps:Thirty )Only.
20 | Nos | 8- | Providing and fixing type electric bell bush button. (S.I.No:23 P-12). | 25.19 | Each | 503.8
Rupees One Thousand Nine Hundred Nine )Only.
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 27455.6
PART "C" NON SCHEDULE ITEMS.
1 | No. | 1- | Supplying & Fixing Exhaust fan 16" fan. |  | Each
5 | Nos. | 2- | Supplying and Fixing water proof wall type bracket i/c glass shade etc complete. |  | Each
6 | Nos. | 3- | Supplying and fixing out side light fitting with 45 Watts Savour. |  | Each
PART "C" NON SCHEDULE ITEM TOTAL RS:-
GENERAL ABSTRACT.
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 148074
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 27455.6
PART "C" NON SCHEDULE ITEM TOTAL RS:-
G. TOTAL RS:-
Amount Total (CSR)
|  | PART "A" | New Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "B" | Old Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "C" | Non Schedule Item %Above/Below ________________ |  | Total Rs:
Total (A to C)RS:-
EXECUTIVE ENGINEER
| CONTRACTOR |  |  | PROVINCIAL BUILDINGS DIVISION
SUKKUR
SCHEDULE "B" (BILL OF QUANTITY)
9(xi) CONSTRUCTION OF DARGAH SADARUDDIN BADSHAH (RIZIVI) SITUATED @ DEH BAKHAR TALUKA ROHRI DISTRICT SUKKUR PHASE-I (CONSTRUCTION OF LANGAR KHANA INTERNAL E..I).
PART "A" NEW ELECTRIC SCHEDULE ITEMS 2012.
|  | 1- | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.I.No:124 P-15).
30 | Point. |  | Each point. | 1130 | P.Point. | 33900
Rupees One Thousand One Hundred Thirty)Only.
7 | Point. | 2- | Wiring for plug point with 3/.29 PVC in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126 P-15). | 985 | P.Point. | 6895
Rupees Nine Hundred Eighty Five)Only.
20 | P.Met. | 3- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-3/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:8 P-2). | 173 | P.Meter. | 3460
Rupees One Seventy Three)Only.
50 | P.Met. | 4- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:10 P-2). | 222 | P.Meter. | 11100
Rupees Two Hundred Twenty Two)Only.
100 | P.Met. | 5- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1" dia PVC conduit on surface. (S.I.No:06 P-1). | 463 | P.Meter. | 46300
Rupees Four Hundred Sixty Three)Only.
4 | Nos | 6- | Providing & fixing circuit breaker 6,10,15,20, 30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required. (S.I.No:202 P-30). | 916 | Each | 3664
Rupees Nine Hundred Sixteen)Only.
1 | No. | 7- | Providing & fixing circuit breaker 3,5,10,15,20 & 30 Amps: TP (XS-30NS{NB}) on prepared board as required. (S.I.No:202 P-30). | 5301 | Each | 5301
Rupees Five Thousand Three Hundred One)Only.
3 | Nos | 8- | Providing and fixing of flood light 400 watts (HPIT) having IP65 classification with 400 w Lamp, choke, capacitor, igniter and Internal wiring complete in all respect at the height up to 40 ft with the help hydraulic crane and manual labour as per site requirement and instruction of Engineer Incharge. (S.I.No:164 P-26). | 16980 | Each | 50940
Rupees Sixteen Thousand Nine Hundred Eighty )Only.
7 | Nos | 9- | Providing and fixing two pin 5 Amp plug & flush type. (S.I.No:225 P-33). | 83 | Each | 581
Rupees Eighty Three)Only.
30 | Point. | 10- | Providing and fixing one way SP 5 Amp: switch flush type. (S.I.No:219 P-33). | 54 | Each | 1620
Rupees Fifty Four)Only.
9 | Point. | 11- | Providing and fixing Bakelite ceiling rose with two terminals. (S.I.No:228 P-33). | 72 | Each | 648
Rupees Seventy Two)Only.
8 | Nos | 12- | Providing and fixing Brass Ceiling fan 56" (good quality) (S.I.No:235 P-34). | 3185 | Each | 25480
Rupees Three Thousand One Hundred Eighty Five)Only.
21 | Nos | 13- | Providing and fixing Brass Battern holders (S.I.No:232 P-33). | 70 | Each | 1470
Rupees Seventy )Only.
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 191359
PART "B" OLD SCHEDULE OF RATES 2004.
2 | SFT | 1- | Providing and fixing distribution metal board double shutter to accommodate circuit breakers including painting with ememel paint and for other simmilar job on surface. (S.I.No:18 P-13). | 1426.33 | P.SFT | 2852.66
Rupees One Thousand Four Hundred Twenty Six & Ps:Thirty Three )Only.
8 | Nos | 2- | Providing and fixing meld steel bar fan clamp 15.8 mm (5/8" dia) suitable for RCC roof. (S.I.No:1© P-14). | 141.01 | Each | 1128.08
Rupees One Hundred Forty One & Ps:One )Only.
21 | Nos | 3- | Providing Energy sever superior quality including fixing on existing holder etc complete. (S.I.No:6 P-33). | 497 | Each | 10437
Rupees One Thousand Nine Hundred Nine )Only.
1 | No. | 4- | Providing and fixing earthing set with 2x2x1/4" copper plate burried in ground at a depth of 12' or less if water comes out from the ground level with salt and chorcoal , etc, in/c making the pit 12" deep by excavation of all type of soil, Earth plat to be connected with No:8. | 3610.04 | Each | 3610.04
Rupees Three Thousand Six Hundred Ten and Ps:Four )Only.
8 | Nos | 5- | Providing and fixing A.C. ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet. (S.I.No:2b P-14). | 124.3 | Each | 994.4
Rupees One Hundred Twenty Four & Ps:Thirty )Only.
20 | Nos | 6- | Providing and fixing type electric bell bush button. (S.I.No:23 P-12). | 25.19 | Each | 503.8
Rupees One Thousand Nine Hundred Nine )Only.
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 19526
PART "C" NON SCHEDULE ITEMS.
1 | No. | 1- | Supplying & Fixing Exhaust fan 16" fan. |  | Each
9 | Nos. | 2- | Supplying and Fixing water proof wall type bracket i/c glass shade etc complete. |  | Each
PART "C" NON SCHEDULE ITEM TOTAL RS:-
GENERAL ABSTRACT.
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 191359
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 19526
PART "C" NON SCHEDULE ITEM TOTAL RS:-
G. TOTAL RS:-
Amount Total (CSR)
|  | PART "A" | New Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "B" | Old Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "C" | Non Schedule Item %Above/Below ________________ |  | Total Rs:
Total (A to C)RS:-
EXECUTIVE ENGINEER
| CONTRACTOR |  |  | PROVINCIAL BUILDINGS DIVISION
SUKKUR
SCHEDULE "B" (BILL OF QUANTITY)
REPAIR/RENOVATION OF EXISTING BUILDING OF REGIONAL DIRECTOR BUREAU OF STATISTICS SUKKUR OCCUPIED BY NAB ( PROVIDING INTERNAL ELECTRIFICATION ).
PART "A" NEW ELECTRIC SCHEDULE ITEMS 2012.
|  | 1- | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.I.No:124 P-15).
150 | Point. |  | Each point. | 1130 | P.Point. | 169500
Rupees One Thousand One Hundred Thirty)Only.
25 | Point. | 2- | Wiring for plug point with 3/.29 PVC in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126 P-15). | 985 | P.Point. | 24625
Rupees Nine Hundred Eighty Five)Only.
10 | Point. | 3- | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126 P-15). | 1764 | P.Point. | 17640
Rupees One Thousand Seven Hundred Sixty Four)Only.
50 | P.Met. | 4- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-3/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:8 P-2). | 173 | P.Meter. | 8650
Rupees One Seventy Three)Only.
600 | P.Met. | 5- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:10 P-2). | 222 | P.Meter. | 133200
Rupees Two Hundred Twenty Two)Only.
10 | P.Met. | 6- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P-2). | 252 | P.Meter. | 2520
Rupees Two Hundred Fifty Two)Only.
100 | P.Met. | 7- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 copper conductor in 3/4" dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P-2). | 341 | P.Meter. | 34100
Rupees Three Hundred Forty One)Only.
10 | P.Met. | 8- | Providing and laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1" dia PVC conduit on surface. (S.I.No:06 P-1). | 463 | P.Meter. | 4630
Rupees Four Hundred Sixty Three)Only.
38 | Nos | 9- | Providing & fixing circuit breaker 6,10,15,20, 30,40,50 & 63 Amps: SP (TB-5S) on prepared board as required. (S.I.No:202 P-30). | 916 | Each | 34808
Rupees Nine Hundred Sixteen)Only.
1 | No. | 10- | Providing & fixing circuit breaker 3,5,10,15,20 & 30 Amps: TP (XS-30NS{NB}) on prepared board as required. (S.I.No:202 P-30). | 5301 | Each | 5301
Rupees Five Thousand Five Hundred Twenty One)Only.
1 | No. | 11- | Providing and fixing circuit breaker 15,20,30,40,50 & 60 Amp: TP (XE-100CS{CB}) on prepared board as required (S.I.No: P- ). | 5521 | Each | 5521
Rupees Five Thousand Five Hundred Twenty One)Only.
2 | Nos | 12- | Providing & fixing circuit breaker 15,20, 30,40,50, 60, 75 & 100 Amps: TP (XS-100NS) on prepared board as required. (S.I.No:207 P-31). | 9261 | Each | 18522
Rupees Nine Thousand Two Hundred Sixty One)Only.
25 | Nos | 13- | Providing and fixing two pin 5 Amp plug & flush type. (S.I.No:225 P-33). | 83 | Each | 2075
Rupees Eighty Three)Only.
30 | Nos | 14- | Providing and fixing three pin 10/15 Amp plug & Socket flush type. (S.I.No:222 P-33). | 151 | Each | 4530
Rupees One Hundred Fifty One)Only.
15 | Point. | 15- | Providing and fixing three pin 10/15 Amp plug & Socket flush type. (S.I.No:222 P-33). | 162 | P.Point. | 2430
Rupees One Hundred Sixty Two)Only.
150 | Point. | 16- | Providing and fixing one way SP 5 Amp: switch flush type. (S.I.No:219 P-33). | 54 | Each | 8100
Rupees Fifty Four)Only.
10 | Point. | 17- | Providing and fixing Bakelite ceiling rose with two terminals. (S.I.No:228 P-33). | 72 | Each | 720
Rupees Seventy Two)Only.
1 | Nos | 18- | Providing and fixing Brass Ceiling fan 56" (good quality) (S.I.No:235 P-34). | 3185 | Each | 3185
Rupees Three Thousand One Hundred Eighty Five)Only.
125 | Nos | 19- | Providing and fixing Brass Battern holders (S.I.No:232 P-33). | 70 | Each | 8750
Rupees Seventy )Only.
1 | Nos | 20- | Providing and fixing of flood light 400 watts (HPIT) having IP65 classification with 400 w Lamp, choke, capacitor, igniter and Internal wiring complete in all respect at the height up to 40 ft with the help hydraulic crane and manual labour as per site requirement and instruction of Engineer Incharge. (S.I.No:164 P-26). | 16980 | Each | 16980
Rupees Sixteen Thousand Nine Hundred Eighty )Only.
68 | Nos | 21- | Providing and laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 Volts size 25mm2. (S.I.No:103 P-12). | 1909 | Each | 129812
Rupees One Thousand Nine Hundred Nine )Only.
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 635599
PART "B" OLD SCHEDULE OF RATES 2004.
4 | SFT | 1- | Providing and fixing distribution metal board double shutter to accommodate circuit breakers including painting with ememel paint and for other simmilar job on surface. (S.I.No:18 P-13). | 1426.33 | P.SFT | 5705.32
Rupees One Thousand Four Hundred Twenty Six & Ps:Thirty Three )Only.
20 | Nos | 2- | Providing and fixing meld steel bar fan clamp 15.8 mm (5/8" dia) suitable for RCC roof. (S.I.No:1© P-14). | 141.01 | Each | 2820.2
Rupees One Hundred Forty One & Ps:One )Only.
3 | Nos | 3- | Providing and fixing 1-40 watts tube light complete with 40 watts 4.0" long rod chok , starter and putty with Phillips components including necessary electric connection and fixing on wall or ceiling etc complete. (S.I.No:1 P-33). | 396 | Each | 1188
Rupees Three Hundred Ninety Six ) Only.
1 | No. | 4- | Providing and fixing 2-40 watts tube light complete with 40 watts 4.0" long rod chok , starter and putty with Phillips components including necessary electric connection and fixing on wall or ceiling etc complete. (S.I.No:1 P-33). | 1677 | Each | 1677
Rupees One Thousand Six Hundred Seventy Seven )Only.
25 | Nos | 5- | Providing and fixing wall bracket light fancy type superior quality including necessary electric connection and fixing on wall one ceiling etc complete. (S.I.No:5 P-33). | 497 | Each | 12425
Rupees One Thousand Nine Hundred Nine )Only.
125 | Nos | 6- | Providing Energy sever superior quality including fixing on existing holder etc complete. (S.I.No:6 P-33). | 497 | Each | 62125
Rupees One Thousand Nine Hundred Nine )Only.
3 | Nos | 7- | Providing and fixing earthing set with 2x2x1/4" copper plate burried in ground at a depth of 12' or less if water comes out from the ground level with salt and chorcoal , etc, in/c making the pit 12" deep by excavation of all type of soil, Earth plat to be connected with No:8. | 3610.04 | Each | 10830.12
Rupees Three Thousand Six Hundred Ten and Ps:Four )Only.
30 | Nos | 8- | Providing and fixing A.C. ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet. (S.I.No:2b P-14). | 124.3 | Each | 3729
Rupees One Hundred Twenty Four & Ps:Thirty )Only.
10 | Nos | 9- | Providing and fixing AC or DC electric bell 200/250 volts 70 MM. (S.I.No:21 P-11). | 150.7 | Each | 1507
Rupees One Hundred Fifty Four & Ps:Seventy )Only.
10 | Nos | 10- | Providing and fixing type electric bell bush button. (S.I.No:23 P-12). | 25.19 | Each | 251.9
Rupees One Thousand Nine Hundred Nine )Only.
50 | Nos | 11- | Providing (20mm) 3/4" dia G.I. pipe with 1.13 3/.029 PVC wire for down of ceiling fan. | 25.91 | Each | 1295.5
Rupees Twenty Five & Ps:Ninety One ) Only.
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 103554.04
PART "C" NON SCHEDULE ITEMS.
10 | Nos. | 1- | Supplying and fixing wall bracket fan with regulator, capicitor with ON/OFF switch (Pak, GFC,SK). |  | Each
20 | Nos. | 2- | Supplying and fixing Ceiling fan of Copper conductor 56" sweep (Pak, GFC,SK) complete with dimmer switch & fan wiring with 2-3/.029 etc recessed. |  | Each
4 | Nos. | 3- | Supplying and fixing Exhaust fan 16" size complete with holes plastic body i/c control switch. |  | Each
12 | Nos. | 4- | Supplying and fixing Water proof wall type bracket complete with wiring and connector etc. |  | Each
20 | Nos. | 5- | Supplying and fixing LED light squire/ round shape with wiring and connection etc. |  | Each
2019 | P.Met. | 6- | Supplying and fixing Delto cable size K.T-6 for internet 3mm fitted in PVC duct etc. |  | P.M.
30 | Nos. | 7- | Supplying and fixing Telephone sheet double T.P. socket i/c board and frame with connection. |  | Each
30 | Nos. | 8- | Supplying and fixing Inaternal sheet single i/c board and frame with connection etc. |  | Each
10 | P.Met. | 9- | Supplying and fixing Main service telephone cable of (20 Pairs) in PVC pipe under ground in trench etc. |  | P.M.
10 | P.Met. | 10- | Supplying and fixing Cable wires of (2 Pairs) for intercom connection in PVC duct on surface. |  | P.M.
2 | Nos. | 11- | Supplying and fixing search light of superior quality LED squire shape with stand and holes for fixing complete with connection etc. |  | Each
PART "C" NON SCHEDULE ITEM TOTAL RS:-
GENERAL ABSTRACT.
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 635599
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 103554.04
PART "C" NON SCHEDULE ITEM TOTAL RS:-
G. TOTAL RS:-
Amount Total (CSR)
|  | PART "A" | New Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "B" | Old Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "C" | Non Schedule Item %Above/Below ________________ |  | Total Rs:
Total (A to C)RS:-
EXECUTIVE ENGINEER
| CONTRACTOR |  |  | PROVINCIAL BUILDINGS DIVISION
SUKKUR
40 | Nos | 16- | Providing and laying (MAIN or SUB MAIN) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 Volts size 16mm2.(S.I.No:102 P-12). | 1300 | Each | 52000
2 | Nos | 17- | Providing and fixing of flood light 400 watts (HPIT) having IP65 classification with 400 w Lamp, choke, capacitor, igniter and Internal wiring complete in all respect at the height up to 40 ft with the help hydraulic crane and manual labour as per site requirement and instruction of Engineer Incharge. (S.I.No:164 P-26). | 16980 | Each | 33960
2 | Nos | 18- | Providing and fixing circuit breaker 125, 150, 200, & 225 Amps: TP (XS-225 NS) on prepared board as required. (CSI No:1208 P- 31). | 25541 | Each | 51082
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 2354501.12
PART "B" OLD SCHEDULE OF RATES 2004.
10 | SFT | 1- | Providing and fixing distribution metal board double shutter to accommodate circuit breakers including painting with ememel paint and for other simmilar job on surface. (S.I.No:18 P-13). | 1426.33 | P.SFT | 14263.3
94 | Nos | 2- | Providing and fixing meld steel bar fan clamp 15.8 mm (5/8" dia) suitable for RCC roof. (S.I.No:1© P-14). | 141.01 | Each | 13254.94
30 | Nos | 3- | Providing and fixing 1-40 watts tube light complete with 40 watts 4.0" long rod chok , starter and putty with Phillips components including necessary electric connection and fixing on wall or ceiling etc complete. (S.I.No:1 P-33). | 396 | Each | 11880
50 | Nos | 4- | Providing and fixing wall bracket light fancy type superior quality including necessary electric connection and fixing on wall one ceiling etc complete. (S.I.No:5 P-33). | 497 | Each | 24850
281 | Nos | 5- | Providing Energy sever superior quality including fixing on existing holder etc complete. (S.I.No:6 P-33). | 497 | Each | 139657
2 | Nos | 6- | Providing and fixing AC or DC electric bell 200/250 volts 70 MM. (S.I.No:21 P-11). | 150.7 | Each | 301.4
2 | Nos | 7- | Providing and fixing type electric bell bush button. (S.I.No:23 P-12). | 25.19 | Each | 50.38
4 | Nos | 8- | Providing and fixing earthing set with 2x2x1/4" copper plate burried in ground at a depth of 12' or less if water comes out from the ground level with salt and chorcoal , etc, in/c making the pit 12" deep by excavation of all type of soil, Earth plat to be connected with No:8. | 3610.04 | Each | 14440.16
94 | Nos | 9- | Providing and fixing A.C. ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet. (S.I.No:2b P-14). | 124.3 | Each | 11684.2
40 | Nos | 10- | Providing (20mm) 3/4" dia G.I. pipe with 1.13 3/.029 PVC wire for down of ceiling fan. | 25.19 | Each | 1007.6
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 231388.98
PART "C" NON SCHEDULE ITEMS.
22 | Nos. | 1- | Supplying and fixing Exhaust Fan 16" size Superior quality. |  | Each
PART "C" NON SCHEDULE ITEM TOTAL RS:-
GENERAL ABSTRACT.
[5 empty] | PART "A" NEW SCHEDULE OF RATES 2012 TOTAL RS:- | 2354501.12
[5 empty] | PART "B" OLD SCHEDULE OF RATES 2004 TOTAL RS:- | 231388.98
PART "C" NON SCHEDULE ITEM TOTAL RS:-
G. TOTAL RS:-
Amount Total (CSR)
|  | PART "A" | New Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "B" | Old Electric Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "C" | Non Schedule Item %Above/Below ________________ |  | Total Rs:
Total (A to D)RS:-
EXECUTIVE ENGINEER
| CONTRACTOR |  |  | PROVINCIAL BUILDINGS DIVISION
SUKKUR
6 | Nos. | 1/- | Providing and fixing squating type white glazed of flushing cistern with internal fitting and flush pipe with band and making requisite number of holes in wall plinth & floor for pipe connections and making good in cement concerete (1:2:4) (A) W.C. pan of not less than 23" clear opening between flushing rims and 3 gallons flushing tank with 4" dia C.I. trpe (S.I.No:1(b) P-1). | 4802.6 | Each | 28815.6
3 | Nos. | 2/- | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with c.P brass hineges and buffers, 3 gallons white glazed earthen earthen ware low level foushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls, plinth and floor for Pipe connectios and making good in cement concerete 1: 2: 4. (Foreign Quality) | 11477.4 | Each | 34432.2
4 | Nos. | 3/- | Providing & fixing24" x 18"lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I. cantilever brackets 6" built into wall painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plate pillar traps 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia malleable iron or C.P. brass traps malleable iron or brass union and making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concerete (1:2:4) (Standard pattern) Add extra for labour for providing and fiing of earthenware pedestal white or coloured glazed (Standard pattern). (S.I.No:8 P-3). | 4253.7 | Each | 17014.8
4 | Nos. | 4/- | Add extra for labour for providing and fixing of earthenware pedestal white or colored glazed (Standard pattern). (S.I.No:9 P-3). | 938.47 | Each | 3753.88
150 | RFT | 5/- | Providing G.I. pipes special & clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling (Internal) (ii) 3/4" dia G.I. pipe. (S.I.No:1 (ii) P-12). | 95.79 | P.RFT | 14368.5
12 | Nos. | 6/- | Providing and fixing 6"x2" or 6"x3" C.I. floor trap of the approved self cleaning design with a C.I. screwed down gritting with or without a vent arm complete with and i/c making requisite number or holes in walls plinth and flor for pipe connecations & making good in C.C. (1:2:4). (S.I.No:20 P-6). | 2042.43 | P.RFT | 24509.16
12 | Nos. | 7/- | Providing and fixing Nyloon connection complete with 1/2" dia brass stop cock with pair of brass nuts and lining joints to nyloon connection. (S.I.No:23 P-6). | 447.15 | Each | 5365.8
13 | Nos. | 8/- | Supplying and fixing long bib cock of superior quality with C.P. head 1/2" dia. (S.I.No:13(a) P-19). | 1109.46 | Each | 14422.98
12 | Nos. | 9/- | Supplying and fixing concealed stop cock of superior quality with C.P head 1/2" dia . (S.I.No:11(b) P-18). | 509.74 | Each | 6116.88
4 | Nos. | 10/- | Supplying and fixing jet whower with rod of superior quality with C.P. head 1/2" dia . (S.I.No:15 P-19). | 1142.24 | Each | 4568.96
|  | 11/- | Providing and fixing F.C. pressure pipe with collar dadex or equivalent i/c digging the finches required depth & fixing and jointing with rubber ring i/c testing to water pressure head of 200 feet. (S.I.No:3(b) P-25).
100 | RFT | A) | 4" dia. | 188.44 | P.RFT | 18844
150 | RFT | B) | 6" dia. | 299.06 | P.RFT | 44859
6 | Nos. | 12/- | Supplying and fixing in position C.P. Tee cock 1/2" dia C.P. Bib cock standard pattern. (S.I.No:12(a) P-18). | 843.92 | Each | 5063.52
|  | 13/- | Providing and fixing handles valves (China) etc complete. (S.I.No:5 P-17).
10 | Nos. | A) | 3/4" dia. | 271.92 | Each | 2719.2
2 | Nos. | B) | 1" dia. | 365.42 | Each | 730.84
2 | Nos. | C) | 1-1/4" dia. | 475.42 | Each | 950.84
|  | 14/- | Providing G.I. Pipes specials and etc i/c fixing cutting and fitting complete with and i/c the cost of cutting trench up to 2-1/2' ft: deep refiling watering ramming and disposable of surplus earth with iron one chain and painting 2 coats of bitumen paint to pipes and special after cleaning and hussain cloth soakets in maxphalt composition wrapped titltely round pipes and testing to pressure 200 feet and handling. (S.I.No:1(ii) P-14).
150 | RFT | A) | 1" dia G.I. Pipe. | 116.2 | P.RFT | 17430
100 | RFT | B) | 1-1/4" G.I. Pipe. | 155.27 | P.RFT | 15527
3 | Nos. | 15/- | Supply and fixing C.P. Muslim shower with double bib cock and ring pipe etc complete (S.I.No:19(a) P-19). | 3432 | Each | 10296
4 | Nos. | 16/- | Supplying and fixing wash basin mixture of superior quality with C.P. head 1/2" dia. (S.I.No:14(a) P-19). | 2882 | Each | 11528
1 | No. | 17/- | Providing and fixing steel stainless local make complete with cast iron or wrought iron brackets 6" built in wall 1-1/2" rubber plug chrome brass chain 1-1/2" C.P. brass waste with 1-1/2" plate P.V.C. waste pipe and making good in cement concrete (1:2:4) (c) Steel sink stainless 33" x 18" local make (Standard pattern). (S.I.No:19(c) P-6). | 5712.3 | Each | 5712.3
4 | Nos. | 18/- | Supplying and fixing 15"x12" beveldge mirror of belgium glass complete with 1/8" thick hor board and C.P. screw fix to wooden sheet superior quality. (S.I.No:4 P-7). | 2047.76 | Each | 8191.04
1 | No. | 19/- | Supplying and fixing mixtrue cock of superior quality with C.P. head etc complete. (S.I.No:17 P-19). | 2745.6 | Each | 2745.6
3 | Nos. | 20/- | Supplying and fixing bath room accessories set (7)Seven Piece) i/c towel rod, brush holder soap tray, Shelf of approved quality and design etc complete (S.I.NO:22 P-19). | 8122.4 | Each | 24367.2
[5 empty] | PART "A" W/S & S/F SCHEDULE ITEMS TOTAL RS:- | 322333.3
PART "B" PUBLIC HEALTH ENGR: SCHEDULE ITEMS.
100 | RFT | 1/- | Providing UPVC pressure pipes of Class "C" equivalent make fixing in trench i/c cutting, fitting and jointing with "Z" joint with one rubber ring i/c testing with water to a head of 61 meter or 200' ft: 4" dia (P.H.E.). (S.I.No:1(b) P-22). | 373 | P.RFT | 37300
60 | RFT | 2/- | Boring for tube well in all water bearing soils from ground level upto 100' feet or 30.5 meter depth including sinking and with drawing of casing pipe (100 mm 4"). (S.I.No:1(b) P-36). | 242 | P.RFT | 14520
6 | Nos. | 3/- | Construction of manhole or inspection chamber for the required dia of circular sewer and 3'-6" (1067mm) depth with walls of B.B. in cement mortar (1:3) cement plaster 1:3-1/2" thick inside 1" (25mm) thick over beching and channel i/c fixing C.I. main hole cover with frame of clear opening 1-1/2"x 1-1/2"( 457x457 mm) of 1.75 Cwt (88.9 Kg) embedded in plain C.C.(1:2:4) & fixing (25mm) dia M.S. Steps 6" 150 mm) white projecting 4" (102 mm) from the face of walls at 12" (305 mm) c/c duly painted etc complete as per standard specification and drawing. (S.I.No: P-46). | 14748 | Each | 88488
2 | Nos. | 4/- | Construction of wheel valve chamber. (S.I.No:9 P-53). | 4103 | Each | 8206
[5 empty] | PART "B" P.H.ENGR: SCHEDULE ITEMS TOTAL RS:- | 148514
PART "C" ELECTRIC NON SCHEDULE ITEMS.
1 | No. | 1/- | Providing and fixing Pumping set 2 H.P. Electric Motor single phase i/c pump etc complete. |  | Each
PART "C" NON SCHEDULE ITEMS TOTAL RS:-
PART "D(I)" PLINTH PROTECTION BUILDING SCHEDULE ITEMS.
1052 | CFT | 1/- | Excavation in foundation of Building Bridges and other structures including dagbelling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft. In ordinary soil.(S.I.No.18 (b) P-04). | 3176.25 | %0Cft | 3341.415
546 | CFT | 2/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:4:8). (S.I.No:4 (b) P-15). | 9416.28 | %Cft | 51412.8888
1335 | CFT | 3/- | Pacca brick work in foundation and plinth in cement sand mortar (1:6). (S.I.No.4 (e) P-20). | 11948.36 | %Cft | 159510.606
3206 | CFT | 4/- | Suppling and fixing sand under floor plugging into walls. | 1141.25 | %Cft | 36588.475
3206 | CFT | 5/- | Add Extra lead 3 Miles. | 579.41 | %Cft | 18575.8846
1052 | SFT | 6/- | P/L 1" thick C.C. toping (1:2:4) i/c surface finishing and dividing into panels. 2" thick.(S.I.No:16 P-45). | 3275.5 | %Cft | 34458.26
1052 | SFT | 7/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). | 2206.6 | %Sft | 23213.432
1052 | SFT | 8/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (b) P-51). | 2197.52 | %Sft | 23117.9104
[5 empty] | PART "D" BUILDINGS SCHEDULE ITEMS TOTAL RS:- | 350218.8718
PART "D(II)" SEPTIC TANK BUILDING SCHEDULE ITEMS.
1056 | CFT | 1/- | Excavation in foundation of Building Bridges and other structures including dagbelling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft. In ordinary soil.(S.I.No.18 (b) P-04). | 3176.25 | %0Cft | 3354.12
198 | CFT | 2/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:5:10). (S.I.No:4 (b) P-17). | 8694.95 | %Cft | 17216.001
220 | CFT | 3/- | Pacca brick work in foundation and plinth in cement sand mortar (1:6). (S.I.No.4 (e) P-20). | 11948.36 | %Cft | 26286.392
95 | SFT | 4/- | Perforated pacca brick walling 4-1/2" thick in ground floor cement sand mortar. (S.I.No:15(ii-e) P-24). | 3935.75 | %Sft | 3738
4.91 | CWT | 5/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) | 5001.7 | P.Cwt | 24558.347
132 | CFT | 6/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a) P-19). | 337 | P.Cft | 44484
442 | SFT | 7/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). | 2206.6 | %Sft | 9753.172
442 | SFT | 8/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (b) P-51). | 2197.52 | %Sft | 9713.0384
54 | CFT | 9/- | Cement concrete plain including placing compacting, finishing and curing, comlete (including screening and washing at stone aggregate without shuttering. Ratio1:2:4 | 14429.25 | %Cft | 7791.795
[5 empty] | PART "D" BUILDINGS SCHEDULE ITEMS TOTAL RS:- | 146894
Amount Total (CSR)
|  | PART "A" | W/S & S/F Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "B" | P.H.Engr: Schedule Items %Above/Below ____________ |  | Total Rs:
|  | PART "C" | Electric Non Schedule %Above/Below ________________ |  | Total Rs:
|  | PART "D(i)" | Bulding Schedule Item %Above/Below ____________ |  | Total Rs:
|  | PART "D(ii)" | Building Schedule Items %Above/Below ____________ |  | Total Rs: | ____________
[5 empty] | Total (A to D)RS:- | ____________
EXECUTIVE ENGINEER
CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION
SUKKUR
1 | 14 | 1 | Providing and fixing squating type white glazed earthen were w.e pan with including the cost of flushing cistern with internal fitting and flush Pipe with bend & making requisite number of holes in walls plinth & floor for pipe connections & making good in cement concerte 1.2.4 (ii) with 4" dia white glazed earthen ware trap & plastic thumble. (S.I.No.1 (a) P-1). | 5088.2 | Each | 5088.2
2 | 4 | 2 | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with c.P brass hineges and buffers, 3 gallons white glazed earthen earthen ware low level foushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls, plinth and floor for Pipe connectios and making good in cement concerete 1: 2: 4. (Foreign Quality) | 11477.4 | Each | 22954.8
3 | 12 | 3 | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into wall, painted white in two coast after a primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or c.P brass traps malloable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection and making good in cement concrete 1: 2: 4 (Standard pattern). | 4253.7 | Each | 12761.1
4 | 12 | 4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed (Foreign or Equivalent) | 938.47 | Each | 3753.88
5 | 30 | 5 | Providing & fixing 6" x 2" or 6" x 3" C.I floor trap of the approved selt cleaning design with a C.I scrrewed down gratting with or without a vent arm complete with & I/c making requisite number of holes in walls, plinth & floor for Pipe connections & making good cement concrete 1:2:4. | 2042.13 | Each | 10210.65
6 | 46 | 6 | Providing & fixing in position nyloon connections complete with 1/2" dia, brass stop cock with pair of brass nuts and lining joints to nyloon connection. | 447.15 | Each | 2682.9
7 | 12 | 7 | Providing & fixing24" x 18" bavelled edge mirror of belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat. (a) Standard Pattern. | 1711.6 | Each | 11981.2
8 | 46 | 8 | S/Fixing cancealed tee-stop cock of superir quality with c.p head 1/2" dia. | 889.46 | Each | 7115.68
9 | 18 | 9 | S/Fixing long bib- cock of superir quality with c.p head 1/2" dia. | 1109.46 | Each | 9985.14
10 | 4 | 10 | Supplying & fixing jet shower with rod of superior quality single c.p head 1/2" dia. | 1142.24 | Each | 11422.4
11 | 12 | 11 | Supplying/Fixing wash basen mixture of superir quality with c.p head 1/2" dia. (S.I.No.14(b) P-19) | 3179 | Each | 34969
12 | 4 | 12 | Supplying & fixing Bath room accessories set (7 Piece ) I/c towel rod, brush holder soaptray shelf of approved design I/c cost of screws, nuts etc Complete.(Master Braqnd). | 10322.4 | Each | 123868.8
13 | 10 | 13 | Providing & fixing 6" x 4" C.C gully trap with 4" outlet complete with 4" thick 1: 2: 4 C.C. for bed & 1/2" thick cement plaster (1:3) to the karb, C.I grating 6" x 6" & C.I cover and frame 12" x 12" (inside) etc. complete. (ii) With R.C.C. Cover. | 1429.67 | Each | 18585.71
14 | 4 | 14 | Providing & fixing chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long c.p brass screws Towel rail 24" long (a) 3/4" dia round or square (Standard Pattern) | 972.95 | Each | 13621.3
15 | 4 | 15 | Providing & fixing steel sinks stainless local make complete with cast iron or wraught iron brackets 6 inches built in wall, 1-1/2" c.p bubber plug chrome plated brass chain, 1-1/2" c.p brass waste, with 1-1/2" P.V.C. waste pipe & making requisite number of holes in wall & plinth & floor for pipe connection & making good in cement concrete 1 : 2: 4. Steel sink stainless sized 36" x 18" local make (Standard Pattern.) | 5162.3 | Each | 77434.5
111796 | CFT | 1- | Earth work for road embankment for barrow pites including laying in 6" layer cold breaking reaming dressing complete lead upto 100" & lift upto 5" (In ordinary soil). 85%. | 3916.13 | %OCFT | 437807.6695
57182 | CFT | 2- | Earth work 95". | 4885.15 | %OCFT | 279342.6473
22633 | CFT | 3- | Earth work on burms. | 3916.13 | %OCFT | 88633.7703
23748 | CFT | 4- | Preparing Sub Base course by supplying stone metal of approved quality from properly rated 1/2" thick suppling & Spreading 15 Cft screening and non plistic quarry fines filling wattering Preparing Sub base course by supplying stone metal of approved quality from properly grated 1/2" thick supplying and spreading 15 CFT screening and non plastic q uarry fines filling olling watering and Compacting the same so as achieve 100 density as per modified AASHO specification (this i/c and using Rate including cost of material T & P Carriage upto site of work. | 4265.52 | %CFT | 1012975.6896
23748 | CFT | 5- | Preparing base course by supplying stone metal of approved quality from properly grated 1/2" thick supplying and Spreading 15 CFT screening and non plastiac quarry fines filling rolling watering and Compacting the same so as achieve 100 density as per modified AASHO specification (this i/c and using Rate including cost of material T & P Carriage upto site of work. | 4265.52 | %OCFT | 1012975.6896
47429 | CFT | 6- | Providing Ist Coats of surface dressing on new or existing surface with 30 lbs of bitumen 80 (100 penetation and 4.0 Cft crash Bagri 3/4" 1/2" or including cleaning the road surface rolling etc complete Rate i/c cost of material T & P & Carriage upto site of work. | 433.13 | %CFT | 205429.2277
4812 | SFT | 7- | Laying brick end edging including supplying of 4-1/2" thick class burent bricks excavation for laying brunt edging with small side palled to the road rate i/c all coat of materials T & P Carriage upto site of work. | 868.52 | %SFT | 41793.1824
47429 | SFT | 8- | Providing 1" thick (Consolidated ) premix carpet in commen i/c supplying 10 Cft crush Bagri 4.0 Cft Hill sand 67 Lbs of bitumen 85/100 penetation and i/c mixing mechanical mixer in rock thickness of preparation and including heating the carriage upto site work. | 1099.4 | %SFT | 521434.426
[5 empty] | G. TOTAL RS:- | 3600393
Amount Total (CSR)
|  | PART "A" | %Above/Below ____________ | Total Amount
|  | PART "B" | %Above/Below ____________ | Total Amount
____________
|  |  |  | Total (A+B) |  | ____________
EXECUTIVE ENGINEER
CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION
SUKKUR
5898 |  | 1 | Providing base course i/c supplying and spreading stone metal of approved thickness property graded to maximum size of 1½ in required thickness to proper camber and grade i/e supplying and spreading 15 cft of screening and non plastic quarry fine filling desperation with stone metal after initial rolling i/c watering and comparing the same ,so as to achieve 100% density as per modify AASHO speciation (Rate i/c providing of using templates ,camber plates ,screen forms directed) Rate i/cs all cost of material T & P and carriage up to site of work. | 7942.97 | %Cft | 468238
6192 |  | 2 | Laying Brick on end edging i/c supply of 9”x4 ½”x3” Ist class burnt excavation for having Edging with small size parallel to the road (Rate i/c lead up to 3 chain ). | 2729.96 | %Rft | 169048
23582 |  | 3 | Providing surface dressing 1st coat on new or existing surface with 30Lbs of bitumen & 4 Cft bajri of required size i/c cleaning road rolling etc. complete (Rate i/c all cost of material T&P carriage upto 3 chains). | 1622.55 | %Sft | 382629
78609 |  | 4 | Providing 1” thick consolidated premixed carpet in proper camber & grade i/c supplying 10 Cft bajri 4 Cft Hill sand of (approved quality & grade) and bitumen 80-100% penetration i/c mixing mechanical mixer in proper proportion i/c heating the material & deeming the orad surface (Hill Sand 2 Cft for mixing and 2 Cft for dusting) (Rate i/c all cost of material T&P & carriage upto 3 chain). | 4484.02 | %Sft | 3524870
27865 |  | 5 | Earth work for road embankment by bulldozer including plugging, mixing, clod breaking, dress and compacting with optimum moisture content lead upto 100ft and lift upto 5 ft in all tupe soil except rock (with extra lead). | 7783.95 | %0Cft | 216903
|  |  |  | TOTAL | RS. | 4761688
PART "B"
800 |  | 1 | Excavation for pipe line in trenches, and pits in soft soils i/c trimming and dressing sides to true alignment and shape levelling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge . Providing fence guards, lights, flags and temporary crossings for non-vehicular traffic where ever required lift upto 5 ft. (1.52m) and lead upto one chain (30.5m). (S.I.No.1 P-60). | 3600 | %0Cft | 2880
200 |  | 2 | Laying PVC pipes of Class 'B' 'C' & 'D' and fixing in trench i/c cutting, fitting and jointing with 'Z' joint i/c testing with water to a head of 61 meter to 122 meter or 200 ft. to 400 ft. (S.I.No.2 (d) P-39). | 5.34 | P.Rft | 1068
100 |  | 3 | Manufacturing, S/F balck steel M.S pipe made out of M.S sheet confirming to API 5L grade X- 42 ERW & Externally asphalt coated with fiber glass 5mm thick & Internaly C.C linning 8mm thick (AWWA specification) i/c laying jointing with Hilical welding in trenches i/c cost of bends of any degree & testing with water specified pressure for different dia of pipes as below:(Straight) (S.I.No.1 (c) P-30). | 746.53 | P.Rft | 74653
1371 |  | 4 | Cleaning of collecting tank/sump below ground level i/c dewatering of sullage water & disposal of garbage, solid waste etc out side the tank etc complete. (S.I.No1 P-59). | 420.189 | %Cft | 576
3400 |  | 5 | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc. complete. (S.I.No.24 P-77). | 2760 | %0Cft | 9384
|  |  |  | TOTAL | RS. | 88561
Amount Total (CSR)
|  | PART "A" | %Above/Below ____________ | Total Amount |  | ____________
|  | PART "B" | %Above/Below ____________ | Total Amount |  | ____________
|  |  |  | Total (A+B) |  | ____________
EXECUTIVE ENGINEER
CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION
SUKKUR

## Bill of Qty non schd
BILL OF QUANTITIES
Discription & Rate of items based on Market (offered Rates).
NAME OF WORK: |  |  | ESTIMATE FOR REPAIR & RENOVATION OF TYPE VITH QUARTERS AT DISTRICT JAIL SHIKARPUR.
| Quantities | Item No. | Description of items to be executed at site | Rate | Unit | Amount
| 1 No. | 1/- | Providing and fixing Pumping set 2 H.P. Electric Motor single phase i/c pump etc complete. |  | Each
TOTAL RS:-
Total (B) in works & figures
EXECUTIVE ENGINEER
PROVINCIAL BUILDINGS DIVISION
SUKKUR
1 | 18 |  | Providing & fixing G.I pipes (IIL-M) concealed fittings. (S.I.No.34 i P-14) |  | P.Rft
2 | 2 |  | P/F hand pump machine set complete i/c boring 50-60 feet filter 10' ft and P.V.C pipe 40-50' ft i/c Hodi 4'x4' etc complete. |  | Each
TOTAL
Total (B) in works & figures
EXECUTIVE ENGINEER
PROVINCIAL BUILDINGS DIVISION
SUKKUR

## Summary of Bill of Qty
SUMMAR OF BILL OF QUANTITIES
| Cost of Bid | Amount | Position
1. (A) | Cost Based on Composite Schedule of Rates
2. (B) | Cost Based on Non/Offered Schedule of Rates
TOTAL COST OF BID © = TOTAL (A) + TOTAL (B)
EXECUTIVE ENGINEER
PROVINCIAL BUILDINGS DIVISION
| CONTRACTOR | SUKKUR