SCHEDULE “B”

CONSTRUCTION OF SURFACE DRAIN TYPE I, II & III FOR CONSTRUCTION OF DRAINAGE SCHEME DIFFERENT MOHALLAH MITHI TOWN DISTRICT THARPARKAR

| 1. | Dismantling brick work in lime or cement mortar (G.S.I.No:13 P-10). |
| --- | --- |

1688.00 Sft		@ Rs. 1285/63		P% Cft			Rs. 21,701/=

(Rupees One Thousand Two Hundred Eighty Five

and Paisas Sixty Three) only (Per Hundred Cft)

| 2. | Dismantling and removing road metalling (G.S.I.No: 51 P-13. |
| --- | --- |

525.00 Cft		@ Rs. 605/=			P% Cft			Rs. 3,176/=

(Rupees Six Hundred Five) only (Per Hundred Sft)

| 3. | Dismantling brick or flagged flooring without concrete foundation (G.S.I.No: 30 P-12. |
| --- | --- |

600.00 Sft		@ Rs. 257/13			P%Sft			Rs. 1,543/=

(Rupees Two Hundred Fifty Seven and Paisas Thirteen)

only (Per Hundred Sft)

| 4. | Excavation in foundation of buildings bridges and other structures including dag belling, dressing refilling around structures with excavated earth watering and ramming lead upto 5’ ft: (In sand, ashes, loose Soil) (G.I.S.No.18 (a) P/4). |
| --- | --- |

24342.35 Cft		@ Rs. 2722/50		P‰ Cft		Rs. 66,272/=

(Rupees Two Thousand Seven Hundred Twenty Two

and Paisas Fifty)  only (Per Thousand Cft)

| 5. | Cement concrete plain including placing, compacting, finishing and curing complete (Including screening and washing of stone aggregate without shuttering. (G.S.I. No. 5 P-16). |
| --- | --- |

- Ratio 1:4:8

3926.00 		@ Rs. 11288/75		P%Cft			Rs. 4,43,196/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisas Seventy Five)  only (Per Thousand Cft)

| 6. | Pucca brick work n foundation and plinth in cement sand mortar (1:6) (G.S.I. No. 4 (i)/e P-20). |
| --- | --- |

12644.00 Cft		 @ Rs. 11948/36		P% Cft			Rs. 15,10,751/=

(Rupees Eleven Thousand Nine Hundred Forty Eight

and Paisas Thirty Six)  only (Per Hundred Cft)

| 7. | Construction of standard open drain comet block of cement concrete (1:2:4) in situ design profile i.e. cost of mould as per drawing i/c applying floating coat of cement 1/32" thick to the exposed face finished smooth curing etc complete as per detailed drawing. (P.H.S.I No. D P-44). |
| --- | --- |

Type-A

3500.0 Rft		@ Rs. 94/=			P.Rft			Rs. 3,29,000/=

(Rupees Ninety Four) only (Per Rft)

Type-B

1200.0 Rft		@ Rs. 174/=			P.Rft			Rs. 2,08,800/=

(Rupees One Hundred Seventy Four) only (Per Rft)

Type-C

700.00 Rft		@ Rs. 309/=			P.Rft			Rs. 2,16,300/=

(Rupees Three Hundred Nine) only (Per Rft)

| 8. | Cement Plaster (1:4) upto 12’ height 1/2” thick (G.S.I.No.11(b) P-52) |
| --- | --- |

18325.00 Sft 		@ Rs. 2283/93		P% Sft			Rs. 4,18,530/=

(Rupees Two Thousand Two Hundred Eighty Three

and Paisas Ninety Three) only (Per Hundred Sft)

| 9. | Reinforced cement concrete work including all labour and material except the cost of binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and fining washing of shingle (a) RCC work in roof slab beams columns rafts lintels and others structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 Lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼" gauge (G.S.I. No.6) (a) Page No.16). |
| --- | --- |

1086.00 Cft		@ Rs. 	337/=			P.Cft			Rs. 3,65,982/=

(Rupees Three Hundred Thirty Seven) only (Per Cft)

| 10. | Precast Reinforced cement concrete in column, beams lintels stair case shelves etc (G.S.I. No.6) (b) Page No.17). |
| --- | --- |

52.50 Cft		@ Rs. 	309/78		P.Cft			Rs. 16,263/=

(Rupees Three Hundred Nine and Paisas Seventy Eight)

only (Per Cft)

| 11. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending laying in position making joints and fastening laying in position binding wire (also includes removal of rust from bars) (G.S.I. No.8 (b) P-17). |
| --- | --- |

40.660 Cwt		@ Rs. 5001/70		P.Cwt			Rs. 2,03,369/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

Total	Rs. 38,04,883/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |