Schedule”B”

NAME OF WORK:-   Construction of School building for Existing Shelter less Primary School in R/A (2016-2017)Prog. Under Community Development Programme for SDGS (PS-05)at GBPS Hassan Khan Chandio

| S.NO. | NAME OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Excavation in foundation of building bridges and other structures i/c dag belling dressing refilling around structure with excavated earth watering and ramming lead upto 5f (SI.7P.4) |  |  |  |  |
|  |  | 807.0 | 3176/25 | %CFT | Rs.2563/- |
| 2. | Cement concrete brick or stone ballast 1 ½”2 gauge ratio 1.5.10 (SI.No.4P.15) |  |  |  |  |
|  |  | 489.0 | 8694/95 | %CFT | Rs.42518/- |
| 4. | Pacca brick work in foundation and plinth in cement sand mortar ratio 1.6 (SI. No. 4 P.20) |  |  |  |  |
|  |  | 709.0 | 11948/36 | %CFT | Rs.84714/- |
| 5 | RCC work i/c labor and material except the cost of steel reinforcement and its is labor for bending and binding which will be pair separately. This rate also i/c all kinds of forms mould lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing if single ration 1.2.4.(SI/No. 6(a) P. 16 ) |  |  |  |  |
|  |  | 191 | 337/- | P.CFT | Rs.64367/- |
| 6 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost ogf binding wire also i/c cost of binding removal of rust from bars (Si.No.19P.58) |  |  |  |  |
|  | Tor bar 7.674 |  | 5001/70 | P.Cwt | Rs.38383/- |
|  | M.Steel 1.705 |  | 4820/20 | P.CWT | Rs.8218/- |
| 7. | Filling watering ramming earth in floor with surplus earth lead upto one chain (SI.No. P. ) |  |  |  |  |
|  |  | 538 | 1512/50 | %0CFT | Rs.814/- |
| 8. | Filling watering ramming earth from out side lead upto 5ft. (si No. P. NO. ) |  |  |  |  |
|  |  | 1733 | 3630/- | %oCFT | Rs.6290/- |
| 9. | Supplying and fixing sand under floor and plugging in walls (SI.No.29P.26) |  |  |  |  |
|  |  | 268.0 | 1141/25 | %CFT | Rs.3059/- |
| 10 | Add.Extra lead three mild |  |  |  |  |
|  |  | 2001 | 579/41 | %SFT | Rs.11594/- |
| 11 | Pacca brick work in G/F in Cement sand motor ratio 1.6 (SI.NO.5 P.No. 21 ) |  |  |  |  |
|  |  | 1164 | 12674/36 | %CFt | Rs.147530/- |
| 12. | Providing and fixing G.I frame/chowkats of size 7x2or 4 ½ x3 for door using 20 gauge G.I sheet i/ welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ration 1.6 and repairing the mamba. The cost also i/c all carriage tools and plants used in making and fixing (SI.No.27 P.93) |  |  |  |  |
|  |  | 67.0 | 228/90 | P.RFT | Rs.15336/- |
| 13 | Providing and fixing G.I frame/chowkats of size 7x2or 4 ½ x3 for windows using 20 gauge G.I sheet i/ welded hings and fixing at site with necessary hold fasts filling with cement sand slurry of ration 1.6 and repairing the mamba. The cost also i/c all carriage tools and plants used in making and fixing (SI.No.28 P.93) |  |  |  |  |
|  |  | 138 | 240/50 | P.RFT | Rs.33189/- |
| 14. | S/F Girder at site of work |  |  |  |  |
|  |  | 10.28 | 3850/- | P.Cwt | Rs.39578/- |
| 15. | S/F tear at site of work |  |  |  |  |
|  |  | 11.77 | 3575/- | P.CWT | Rs.42078/- |
| 16. | Errection rolled steel beams |  |  |  |  |
|  | 22.05 |  | 186/34 |  | Rs.4109/- |
| 17 | 2nd. Class tiles roofing consisting of 4 earth and 1 mud plaster with gobri leeping over ½ thick cement plaster 1.6 with 34 lbs of hot bitumen coating and blinded provided over one layer of 12x6x2 tiles laid in 1.6 cement mortar i/c cement pointing under neath of tiles complete including curing etc (SI.No.2P.38) |  |  |  |  |
|  |  | 682.0 | 7607/25 | %SFT | Rs.51881/- |
| 18 | Cement Plaster 1.6 upto 20 height ½”thick in cement sand (SI. No.13 P. 52 ) |  |  |  |  |
|  |  | 2841 | 2206/60 | %SFT | Rs.62670/- |
| 19 | Cement Plaster 1.4 upto 20 height3/8””thick in cement sand (SI. No. P. ) |  |  |  |  |
|  |  | 2841.0 | 2197/52 | %SFt | Rs.62432/- |
| 20. | P/L C.C topping 1.2.4 i/c surface finishing and dividing into panels (3thick ),(SI.No.6P.42) |  |  |  |  |
|  |  | 556.0 | 4411/82 | %SFT | Rs.24530/- |
| 21 | P/L C.C topping 1.2.4 i/c surface finishing and dividing into panels (2”thick ,(SI.No.16(b)p.42) |  |  |  |  |
|  |  | 25.0 | 3275/50 | %SFT | Rs.819/- |
| 22. | Cement Pointing sruck joints on walls ratio 1.2 (SI.No.9 P.53 ) |  |  |  |  |
|  |  | 778.0 | 1287/44 | %SFT | Rs.10016/- |
| 23. | First class deodar wood wrought joinery in door and windows etc fixed in position i/c chowkats tower blat cleats cords with hooks glazed or fully glazed 1 ¾ thick (SI.No.7 P.58 ) |  |  |  |  |
|  |  | 129 | 902/93 | P.SFT | Rs.116478/- |
| 24. | Making notice board made with cement (SI.No. 1 P.98 ) |  |  |  |  |
|  | B/Board | 2x8.0x4.0 |  | 64 |  |
|  |  | 64.0 | 58/11 | P.SFT | Rs.3719 |
| 25. | R.C.C spout i/c fixing | (SI.No.14P.18) |  |  |  |
|  |  | 4.0 | 261/25 | Each | Rs.1045/- |
| 26. | White what three coats | (SI.No.26P.54) |  |  |  |
|  |  | 886.0 | 829/95 | %SFt | Rs.7353/- |
| 27. | Colour washing two coats (SI.No.25 P. No./54 ) |  |  |  |  |
|  |  | 778.0 | 859/90 | %SFT | Rs.6690/- |
| 28. | Primary coat of chalk under distempering (SI.NO.23 P.54 ) |  |  |  |  |
|  | Net.Qty.2579(-)247(=) | 2358 | 442/75 | %SFT | Rs.10440/- |
| 29. | Distempering three coats (S.No24. P. 54 ) |  |  |  |  |
|  | Qty.same as item No.25 | 2358.0 | 1079/65 | %SFt | Rs.25458/- |
| 30. | Painting door and windows three cost new surface.(Si.No. 5© P.70 ) |  |  |  |  |
|  |  | 380.0 | 2116/41 | %SFT | Rs.8042/- |
| 31 | Painting guard bars iron bars New surface three coats (si.No. P. 70 ) |  |  |  |  |
|  |  | 510. | 1270/83 | %SFT | Rs.6481/- |
| 32 | S/F in position iron steel grill 3/4xx1/4 flate iron of approved design i/c painting three coat etc complete weight into be less than 3.7 pound lbs per squired feet.(SI.No. P. |  |  |  |  |
|  |  | 67.0 | 180/80 | P:SFT | Rs:12094/- |
| 33. | P/L glazed(6”x6”x1/4”)½ on floor or wall facing in required pattern of stile specification jointed in white cement and pigment over a base of 1.2 gray cement mortar ¾ thick i/c washing and filling of joints With slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles or proper profiled(SI.No.62P.57) |  |  |  |  |
|  |  | 80.0 | 30509/77 | %SFt | Rs.24408/- |
| 34 | Laying flor of approved with glazed tiles ¼” thick in white cement 1.2 over ¾”thick cement mortar 1.2 complete (SI.No.24P.42) |  |  |  |  |
|  |  | 38.0 | 27747/86 | %SFT | Rs.10544/- |
|  | ________% above/below on the rates of CSR. |  |  | Total | Rs.989440/- |

### EXECUTIVE ENGINEER

EDUCATION WORKS DIVISION

GHOTKI

CONTRACTOR