Schedule “B”

Name of Work:        Repair /Renovation and Rehabilitation  Govt:Boys

Primary School  Alam Rajari Taluka Ubauro

| Sr;No: | Name of Item |  | Qty: | Rate |  | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Excavation in foundation of building bridges and other structures including dag belling dressing, refilling around structure with excavated earth watering and ramming lead upto 5 ft (S. I No: 18 P. No: 4) |  |  |  |  |  |  |
|  |  |  | 764.0 | 3176/25 |  | %oCFT | Rs:2427/- |
| 2. | Cement concrete brick or stone ballast 1 ½ “ to 2” gauge 1:5:10 (S. I No: 4 (c) P. No: 15). |  |  |  |  |  |  |
|  |  |  | 555.0 | 8694/95 |  | %CFT | Rs:48257/- |
| 3. | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (S. I No: 4 (e) P. No: 21). |  |  |  |  |  |  |
|  |  |  | 1277.0 | 11948/36 |  | %CFT | Rs:152581/- |
| 4. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) 1:2:4 (S. I No: 6 a i P. No: 17) |  |  |  |  |  |  |
|  |  |  | 349.0 | 337/- |  | P;SFT | Rs:117613/- |
| 5. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of mild steel (S. I No: 8 (b) P. No: 17) |  |  |  |  |  |  |
|  | Tor bars 349.0x5.50/112=17.13 |  |  | 5001/70 |  | P:CWT | Rs:85679/- |
|  | M.Steel 349.0x1.0/112=3.11 |  |  | 4820/20 |  | P:CWT | Rs:14491/- |
| 6. | Filling Watering and ramming earth under floor with new earth (Excavated from out side)lead upto one chain and lift upto 5feet(SI:NO:22P.4) |  |  |  |  |  |  |
|  |  | 5369.0 |  | 3630/- |  | %oCFT | Rs:19489/- |
| 7. | Add:Extra lead three milled |  |  |  |  |  |  |
|  | Same Qty:as item No:6(5369) |  |  | 579/41 |  | %CFT | Rs:31109/- |
| 8. | Pacca brick work in ground floor 1:6 in cement sand (S. I No: 5 P. No: 21). |  |  |  |  |  |  |
|  | 1565 |  |  |  | 12674/36 | %CFT | Rs:198354/- |
| 9. | Pacca brick work in other then building i/c striking of joints upto 20 feet height in Cement sand mortor (SI:NO:7(i)(e)P.21) |  |  |  |  |  |  |
|  |  |  | 878 |  | 12346/65 | %SFT | Rs:108404/- |
| 10. | Providing and fixing G.I frame/chowkats of size 7x2or 4 ½ x3 for door using 20 gauge G.I sheet i/ welded hings and fixing at site with necessary hold fasts filling with cement sand slurry of ration 1.6 and repairing the mamba. The cost also i/c all carriage tools and plants used in making and fixing (SI.No.28p.92) |  |  |  |  |  |  |
|  |  |  | 67.0 |  | 228/90 | P:RFT | Rs:15336/- |
| 11. | Providing and fixing G.I frame/chowkats of size 7x2or 4 ½ x3 for Windows using 20 gauge G.I sheet i/ welded hings and fixing at site with necessary hold fasts filling with cement sand slurry of ration 1.6 and repairing the mamba. The cost also i/c all carriage tools and plants used in making and fixing (SI.No.29p.92) |  |  |  |  |  |  |
|  |  |  | 136.0 |  | 240/50 | P:RFT | Rs:32708/- |
| 12. | S/F Girder at site of work |  |  |  |  |  |  |
|  |  |  | 15.93 | 3850/- |  | P:CWT | Rs:61331/- |
| 13. | S/F Tear at site of work |  |  |  |  |  |  |
|  |  |  | 17.59 | 3575/- |  | P:CWT | Rs:62884/- |
| 14. | Erection Rolled steel beams or old rails in roof set erection and fxing in positon (sI.No.6.P.90) |  |  |  |  |  |  |
|  | (33.52) |  |  | 186/34 |  | P:CWT | Rs:6246/- |
| 15. | 2nd: tiles roofing consisting of 4 earth and 1 mud plaster with gobri over ½” thick cement plaster 1.6 with 34 lbs of hot bitumen coating and blinded provided over one layer of 12”x6”2” tiles laid in 1.6 cement mortar i/c cement pointing under neath of tiles complete including curing etc (SI.No.01P.33) |  |  |  |  |  |  |
|  |  |  | 1081 | 7607/25 |  | %SFT | Rs:82234/- |
| 16. | Cement plaster 1:6 upto 20’ height ½ “ thick (S. I No: 13 (b) P. No: 52). |  |  |  |  |  |  |
|  |  |  | 6159.0 | 2206/60 |  | %SFT | Rs:135904/- |
| 17. | Cement plaster 1:4 upto 20’ height 3/8” thick (S. I No: P. No: 52). |  |  |  |  |  |  |
|  | 6159 |  |  | 2197/52 |  | %SFT | Rs:135345/- |
| 18. | Cement Pointing struck joints on walls ration 1:2(SI:NO:19P.52) |  |  |  |  |  |  |
|  |  |  | 2052 | 1287/44 |  | %SFT | Rs:26418/- |
| 19. | Reinforced cement concrete spouts including fixing in position 2 ½” x6”x5”(SI:NO:14P.17) |  |  |  |  |  |  |
|  |  |  | 3.0 | 524/98 |  | Each | Rs:1575/- |
| 20. | P/L 3” thick toping i/c surface finishing and dividing into pannals (S.I No: 16 P. No: 42). |  |  |  |  |  |  |
|  |  |  | 907.0 | 4411/82 |  | %SFT | Rs:40015/- |
| (B) | 2”Tthick |  |  |  |  |  |  |
|  |  |  | 36.0 | 3275/50 |  | %SFT | Rs:1179/- |
| 21. | M/F steel grated door with 1/16:thick sheeting i/c angle iron frame 2”x2”i/c and ¾”square bars 4:centere to center with looking rearrangement(SI:NO: P; ) |  |  |  |  |  |  |
|  |  |  | 54.0 | 726/72 |  | P:SFT | Rs:39243/- |
| 22. | First class Deodar wood framed braced & battened colors & windows complete with iron fitting & fixed in position i/c chowkats 1 ¾ “ thick with battens & ¾ planks (S. I No: 10 P. No: 59). |  |  |  |  |  |  |
|  |  |  | 158.0 | 902/93 |  | P:SFT | Rs:142663/- |
| 23. | S/F in position iron steel grill 3/4xx1/4 flate iron of approved design i/c painting three coat etc complete weight into be less than 3.7 pound lbs per squired foet.(SI.No.26 P. 92) |  |  |  |  |  |  |
|  |  |  | 85.0 | 180/50 |  | P:SFT | Rs:15343/- |
| 24. | White wash three coat (SI.No.26© P. No.53) ) |  |  |  |  |  |  |
|  |  |  | 2353.0 | 829/95 |  | %SFT | Rs:19529/- |
| 25. | Colour washing two coats (SI:NO: P:NO: ) |  |  |  |  |  |  |
|  |  |  | 6694.0 | 442/75 |  | %SFT | Rs:57562/- |
| 26. | Preparing surface and painting of doors & windows any type i/c edges 03 coats (new surface) (S. I No: 5 ii © P. No: 70). |  |  |  |  |  |  |
|  |  |  | 368 | 2116/41 |  | %SFT | Rs:7788/- |
| 27. | Preparing surface and painting guards bars gates iron bars railing (S.I No: 41 (j) P.No: 69). |  |  |  |  |  |  |
|  |  |  | 801 | 1270/86 |  | %SFt | Rs:10180/- |
|  | ________% above/below on the rates of CSR. |  |  | G.Total |  |  | 1672387/- |
|  | CONTRACTOR |  |  | EXECUTIVE ENGINER EDUCATION WORKS DIVISION GHOTKI |  |  |  |