## Schul-B
SCHEDULE 'B'
NAME OF WORK:- (ADP-82/235) Rehabilitation of GBHS Sakhi Wahab Town (2015-16 Programme)Taluka Latifabad (E.I.Work)
S.No. | DESCRIPTION OF ITEMS | Qty. |  |  | Rate | Unit |  | Amount
PART "A" SCHEDULE ITEMS
1 | Wiring for light or fan point with (3/.029) PVC insulated wire (3/4") PVC channal patti on surface as required (S.I.No. 129/P-15) | 95 | Points | @ | 910 | P/P | Rs. | 86450
2 | Wiring for Plug Point with (3/.029) PVC insulated wire in 20mm 3/4" PVC channal patti on surface as required. (S.I.No. 130/P-15). | 16 | Points | @ | 742 | P/P | Rs. | 11872
3 | Providing & Laying (Main or sub-mains) PVC insulated with size 2-7/0.29 copper conductor in 3/4" dia PVC condiut on surface. (S.I.No. 03/P-01). | 145 | Mtr. | @ | 171 | P.Mtr | Rs. | 24795
4 | Wiring for call bell point 1/1.13 (3/.029)PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.I.No. 128/P-15). | 2 | Points | @ | 1764 | P/P | Rs. | 3528
5 | Providing & Laying (Main or sub-mains) PVC insulated with size 2-7/0.44 copper conductor in 3/4" dia PVC condiut on surface. (S.I.No. 05/P-01). | 92 | Meter. | @ | 305 | P.Met | Rs. | 28060
6 | P/F AC one way S.P. 5 Amps switch flush type.(S.I.No. 219/P-33). | 95 | Nos. | @ | 54 | P.No. | Rs. | 5130
7 | P/F 2 pin 5 Amps S.P. plug, socket. (S.I.No. 222/P-33). | 16 | Nos. | @ | 80 | P.No. | Rs. | 1280
8 | P/F type 3 Pin 10/15 Amps S.P.Plug Socket.(S.I.No. 224/P-33). | 3 | Nos. | @ | 162 | P.No. | Rs. | 486
9 | P/F brass batten holder (S.I.No. 232/P-33). | 33 | Nos. | @ | 70 | P.No. | Rs. | 2310
10 | P/F backlight ceiling rose with two terminals.(S.I.No. 228/P-33). | 30 | Nos. | @ | 72 | P.No. | Rs. | 2160
11 | P/F Circuit Breaker 6,10,15,20,30,40,50 & 63 Amp S.P on a prepared board as required. (S.I.No. 203/P-31). | 10 | Nos. | @ | 916 | P.No. | Rs. | 9160
12 | P/F Circuit Breaker 6,10,15,20,30,40,50 & 63 Amp D.P on a prepared board as required. (S.I.No. 204/P-31). | 1 | Nos. | @ | 2456 | P.No. | Rs. | 2456
13 | P/F Volt Meter size 96/96 mm 500 volts as required as per instruction of E.I (S.I.No. 285/P-41) | 1 | Nos. | @ | 999 | P.No. | Rs. | 999
14 | Providing & Laying (Main or sub-mains) PVC insulated with size two core copper conductor in 3/4" dia PVC condiut on surface. (S.I.No. 03/P-01). | 62 | Meter. | @ | 335 | P.Mtr | Rs. | 20770
|  |  | Total Part "A" |  |  |  | Rs. | 199456
PART "B" NON SCHEDULE ITEMS (R.A. Approved)
1 | P/F 1-40 watts tube light complete with 40-watts with rod, chowk, starter etc complete Philips made. | 12 | Nos. | @ | 802.63 | P.No. | Rs. | 9631.56
2 | P/F Enegy sever superior quality i/c fixing on existing holder. | 61 | Nos. | @ | 407 | P.No. | Rs. | 24827
3 | P/F ceilling fan 56" complete in all respect as required (GFC Karachi / Pak /Asia. | 24 | Nos. | @ | 5262 | P.No. | Rs. | 126288
4 | P/F flush type ceiling fan dimmer imported quality as required. | 24 | Nos. | @ | 354.64 | P.No. | Rs. | 8511.36
5 | P/F Mild Steel Bar Fan Clamp 15.8mm 5/8" dia suitable for RCC Roof. | 24 | Nos. | @ | 236.94 | P.No. | Rs. | 5686.56
6 | P/F capsole light superior quality with plastic reflector i/c connection as required. | 3 | Nos. | @ | 609.84 | P.No. | Rs. | 1829.52
7 | P/F 10 Ampss polycarborate flame retardant bell push with fancy gang plate fixed on die fadricated powder couted metal bourd recesses in wall or column i/c connection as required | 3 | Nos. | @ | 290.77 | P.No. | Rs. | 872.31
8 | P/F Distribution Panel Board 3/8" thic sheeting Double Shutter to Accommodate circuit Breker i/c Painting with enammelled paint. | 1.5 | Sft. | @ | 1950 | P.Sft | Rs. | 2925
9 | P/F metal holder suitable for false ceilling saver cor plate as required.(R.A) | 25 | Nos. | @ | 609.77 | P.No. | Rs. | 15244.25
11 | S/F of pilot lamp (Neon sign) 200/240 volts fixing on a prepared i/c necessary connection as required. | 3 | Nos. | @ | 274.27 | P.No. | Rs. | 822.81
|  |  | Total Part "B" |  |  |  | Rs. | 196638.37
GENARAL ABSTRACT
| Cost of Schedule Items Part "A" | Rs. | 199456
| Cost of Non-Schedule Items Part "B" | Rs. | 196638.37
| Grand Total | Rs. | 396094.37
CONTRACTOR
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION HYDERABAD.