## Sb
SCHEDULE "B"
NAME OF WORK:- (ADP-243/166) Up-gradation of Primary Schools to Middle Schools in District Hyderabad (02 Units) 2012-2013 Programme. GBPS Ghotana Taluka Rural Hyderabad (E.I.Work)
S.No. | DESCRIPTION OF ITEMS | Qty. |  |  | Rate | Unit |  | Amount
PART "A" SCHEDULE ITEMS
1 | Wiring for light or fan point with (3/.029) PVC insulated wire (3/4") PVC conduit recessed in the wall or column as required (S.I.No. 124/P-15). | 90 | Points | @ | 1130 | P/P | Rs. | 101700
2 | Wiring for Plug Point with (3/.029) PVC insulated wire in 3/4" PVC conduit recessed in the wall or column as required(S.I.No. 126/P-15). | 18 | Points | @ | 985 | P/P | Rs. | 17730
3 | Wiring for call bell point 1/1.13 (3/.029)PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.I.No. 128/P-15). | 3 | Points | @ | 1764 | P/P | Rs. | 5292
4 | Providing & Laying (Mains or sub-Mains)PVC insulated wih size 2-7/0.29 PVC insulated wire in 3/4" PVC conduit recessed in the wall or column as required.(S.I.No. 10/P-2). | 190 | Meter. | @ | 222 | P.Met | Rs. | 42180 | 3.25 | 617.5
5 | Providing & Laying (Mains or sub-Maing) PVC insulated with size with 2-7 /0.44 PVC insulated wire in 3/4" PVC conduit recessed in the wall or column as required. (S.I.No. 12/P-2). | 130 | Meter | @ | 341 | P.M: | Rs. | 44330
6 | P/F AC one way S.P.5 Amps switch flush type.(S.I.No.219/P-33). | 90 | Nos. | @ | 54 | P.No. | Rs. | 4860
7 | P/F 2 pin 5 Amps S.P. plug, socket. (S.I.No. 222/P-33). | 18 | Nos. | @ | 80 | P.No. | Rs. | 1440
8 | P/F type 3 Pin 10/15 Amps S.P.Plug Socket.(S.I.No. 224/P-33). | 6 | Nos. | @ | 162 | P.No. | Rs. | 972
9 | P/F brass batten holder (S.I.No. 232/P-33). | 38 | Nos. | @ | 70 | P.No. | Rs. | 2660
10 | P/F backlight ceiling rose with two terminals.(S.I.No. 228/P-33). | 35 | Nos. | @ | 72 | P.No. | Rs. | 2520
11 | P/F Circuit Breaker 6,10,15,20,30,40,50 & 63 Amp S.P on a prepared board as required. (S.I.No. 203/P-31). | 12 | Nos. | @ | 916 | P.No. | Rs. | 10992
12 | P/F Circuit Breaker 6,10,15,20,30,40,50 & 63 Amp D.P on a prepared board as required. (S.I.No. 204/P-31). | 2 | Nos. | @ | 2456 | P.No. | Rs. | 4912
13 | Providing Circuit Breaker 6,10,15,20,30,40,50 & 63 Amp T.P on a prepared board as required. (S.I.No. 206/P-31). | 1 | Nos. | @ | 5521 | P.No. | Rs. | 5521
14 | P/F Volt Meter size 96/96 mm 500 volts as required as per instruction of E.I (S.I.No. 285/P-41) | 5 | Nos. | @ | 999 | P.No. | Rs. | 4995
15 | Providing & Laying (Main or sub-mains) PVC insulated with size two core copper conductor in 3/4" dia PVC condiut on surface. (S.I.No. 03/P-01). | 110 | Meter. | @ | 335 | P.Met | Rs. | 36850 | 3.25 | 357.5
|  |  | Total Part "A" |  |  |  | Rs. | 286954
PART "B" NON SCHEDULE ITEMS (R.A)
1 | P/F 1-40 watts tube light complete with 40-watts with rod, chowk, starter etc complete Philips made. | 16 | Nos. | @ | 802.63 | P.No. | Rs. | 12842.08
2 | P/F Enegy sever superior quality i/c fixing on existing holder. | 52 | Nos. | @ | 407 | P.No. | Rs. | 21164
3 | P/F ceilling fan 56" complete in all respect as required (GFC Karachi / Pak /Asia. | 19 | Nos. | @ | 5262 | P.No. | Rs. | 99978
4 | P/F flush type ceiling fan dimmer imported quality as required. | 19 | Nos. | @ | 354.64 | P.No. | Rs. | 6738.16
5 | P/F Mild Steel Bar Fan Clamp 15.8mm 5/8" dia suitable for RCC Roof. | 19 | Nos. | @ | 236.94 | P.No. | Rs. | 4501.86
6 | P/F capsole light superior quality with plastic reflector i/c connection as required. | 14 | Nos. | @ | 609.84 | P.No. | Rs. | 8537.76
7 | P/F Panel Distribution Board Double Shutter to Accommodate circuit Breker i/c Painting. | 3 | Nos. | @ | 1950 | P.No. | Rs. | 5850
8 | P/F Main Panel Board of 1/2" thick sheeting Double Shutter to Accommodate heavy duty circuit Breker i/c Painting with enammelled paint. | 9 | Sft. | @ | 2324 | P.Sft | Rs. | 20916
9 | P/F A.C or D.C Electric Bell 200 / 250 volts 70mm (3/4") Gong. | 3 | Nos. | @ | 614.17 | P.No. | Rs. | 1842.51
10 | P/F 10 Ampss polycarborate flame retardant bell push with fancy gang plate fixed on die fadricated powder couted metal bourd recesses in wall or column i/c connection as required | 3 | Nos. | @ | 290.77 | P.No. | Rs. | 872.31
11 | S/F of pilot lamp (Neon sign) 200/240 volts fixing on a prepared i/c necessary connection as required. | 3 | Nos. | @ | 274.27 | P.No. | Rs. | 822.81
|  |  | Total Part "B" |  |  |  | Rs. | 184065.49
GENARAL ABSTRACT
| Cost of Schedule Items Part "A" | Rs. | 286954
| Cost of Non-Schedule Items Part "B" | Rs. | 184065.49
| Grand Total | Rs. | 471019.49
CONTRACTOR
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION HYDERABAD.