## BOQ-32 B
BOQ-32 B
Name of Work:- Maintenance and Repair (2016-17 Progg:) at: GBHSS Waggan Taluka Warah
S.No: | ITEM OF WORK | Qnty: | Rate |  | Unit | Amount.
1 | Wiring for light or fan point with (3/.029)PVC insulated wire in 20mm(3/4") PVC conduit recessed in the wall or column as required (S.I.No:124-P/15) | 179 | @Rs: | 1130 | P.Point | 202270
2 | Wiring for Plug point with (3/.029) PVC insulated wire in 20mm(3/4") PVC conduit recessed in the wall or column as required (S.I.No: 126-P/15) | 42 | @Rs: | 985 | P.Point | 41370
3 | Wiring for Call bell with (3/.029) PVC insulated wire in 20mm(3/4") PVC conduit recessed in the wall or column as required (S.I.No:128-P/15) | 4 | @Rs: | 1764 | P.Point | 7056
4 | Providing and laying (Main or sub-Main) PVC insulated with size 2-7/029} Copper conductor in 3/4" dia PVC condiut acessed in the wall or coloumn as required (S.I.No:10-P/2) | 898 | @Rs: | 222 | P.Meter | 199356
5 | Providing and laying (Main or sub-Main) PVC insulated with size 2-7/.044}(6mm2) Copper conductor in 1" dia PVC conduit acessed in the wall or coloumn as required. (S.I.No:11-P/2) | 409 | @Rs: | 341 | P.Meter | 139469
6 | Providing and laying (Main or sub-Main) PVC insulated wirh size 2-/.052}(10mm2) Copper conductor in 1" dia PVC conduit on surface (S.I.No:6-P/1) | 93 | @Rs: | 641 | P.Meter | 59613
7 | Providing & Fixing one way S.P 10/15 amps switch surface type (S.I.No: 218 P 33) | 179 | @Rs: | 58 | P.Each | 10382
8 | Providing & Fixing 2 pin 5 amps plug & socket flush type.(S.I.No: 225 P 33). | 42 | @Rs: | 83 | P.Each | 3486
9 | Providing & Fixing Brass Battern holder..(S.I.No: 232 P 33) | 71 | @Rs: | 70 | P.Each | 4970
10 | Providing & Fixing Baklite Ceiling rose with two terminals .(S.I.No: 228 P 33) | 88 | @Rs: | 72 | P.Each | 6336
11 | Providing & Fixing 3 pin 10/15 amps plug & socket flush type. (S.I.No: 227 P 33). | 20 | @Rs: | 162 | P.Each | 3240
12 | Providing & Fixing Circuit breaker 6,10,15,20,30,40,50 & 63 Amps S.P (T B-5S) on prepared board as required (S.I.No:203-P/31) | 25 | @Rs: | 916 | P.Nos | 22900
13 | Providing and fixing brass ceiling fan 56" (good quality).(S.I.No: 235 P 34) | 49 | @Rs: | 3185 | P.Nos | 156065
14 | Providing & Fixing Circuit breaker 15,20,30.40,50,60,75 & 100 Amp (T P (XS-100 NS on a prepared board as required (S.I.No:207-P/31) | 2 | @Rs: | 9261 | P.Each | 18522
15 | Providing & Fixing Circuit breaker 125,150,200,& 225 Amp TP (XS-225NS) on a prepared board as required (S.I.No:208-P/31) | 1 | @Rs: | 25541 | P.No | 25541
( Part B N.S.I )
16 | P/Fixing Fan dimmer 220/240 volts fancy type imported make with necessary connection etc complete (china make)(R.A.A) | 53 | @Rs: | 350 | P.Each | 18550
17 | Providing and Fixing mild steel bar fan clamp 15.8 mm (5/8") dia suitable for RCC roof. | 53 | @Rs: | 141.71 | P.Each | 7510.63
18 | Providing & Fixing main pannel board double shutter to accommodate heavey duty circuit breaker bus bar ine painting (R.A.A) | 1 | @Rs: | 1950 | P.Sq: Ft: | 1950
19 | Providing & Fixing on prepared board iron cald bus bar with 4 copper strips of 200 Amps in 24.4 mm x 5.50 mm i/c necessary Electric connection (R.A.A) | 1 | @Rs: | 18000 | P.Each | 18000
20 | P/F Earthing set size (1x1) copper plate i.c excavation of rock earth 12'' depth or if water comes out i/c salt/ choracale mixed with G.I rod with nuts bolts testing topping etc complete (R.a.A) | 1 | @Rs: | 15000 | P.Each | 15000
21 | P/F Energy saver superior quality i/c fixing on extg: holder etc complete.(R.A.A) | 91 | @Rs: | 600 | P.Each | 54600
22 | P/ F ceiling mounted light fancy type superior quality i/c necessary electric connection an with holder without energy saver etc (R.A.A) | 20 | @Rs: | 600 | P.Each | 12000
23 | P/F 2-40 (W) Tube Light complete with 40 W 4-0 Long rod cock starter and puty with flourcent components i/c necessary electric connection and fixing on all or ceiling etc as approved by Engineer Incharge (R.A.A) | 35 | @Rs: | 3200 | P.Each | 112000
|  |  |  | Total |  | 1140000