SCHEDULE-B  FOR  CONSTRUCTION OF  04 FOUR NOS COURT

BUILDING  GAMBAT  DISTRICT KHAIRPUR.

(Remaining Work OF main building)

S.NO		ITEM  OF  WORK	QTY:			RATE		UNIT		AMOUNT.

SCHEDULE-B

01/-	Cement Plaster 1:6 up to 20’-0’ height ½” thick.

(S.I NO:      P.NO     )

Qty: 14407 Sft		@RS: 2206.60	% Sft		RS: 317904/-

02/-	Cement Plaster 1:4 up to 20’-0’ height 3/8” thick.

(S.I NO:      P.NO     )

Qty: 42120 Sft		@RS: 2197.52	% Sft		RS: 925595/-

04/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(e), P. No.18)

Qty: 1612 Cft		@RS: 14429.25  % Cft		RS: 232600/-

05/-	Laying white marble flooring fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (b) 1” thick flooring.(S.I.NO.28 (b) Page No. 43)

Qty: 9071 Sft		@RS: 567.48	P.Sft		RS: 5147611/-

06/-	Providing and fixing 3/8” thick marble tile of approved quality and colour and shade size 8”x4”/6”x4” in dado skirting and facing removal/tucking of existing plaster surface etc over ½” thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c filing the joints and washing the tiles with white cement slurry cutting, finishing cleaning and polishing etc complete (2) for old works. (S.I. No.68 (ii) P. No.49)

Qty: 2226 Sft		@RS: 186.04	P.Sft		RS: 414125/-

07/-	Providing and laying tile glazed 6”x ¼” on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I. No. 60, P. No.52)

Qty: 1644 Sft		@RS: 30509.77% Sft		RS: 501581/-

===========================================

Total						RS: 7539416/-

Contractor 							   Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad