SCHEDULE-B

ESTABLISHMENT OF CATTLE COLONY  AT KHAIRPUR  PROVIDING

EXTERNAL     ELECTRIFICATION   IN    MAIN     GATE  TO   WAPDA    TRANSFORMER

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART NEW ELECTRIC SCHEDULE 2012)

- Providing and fixing  of flood light 400 watt (HPIT) having ip 65

Classification with 400 watt  lamp, choke capacitor ingnater and

Internal wiring complete in all respects  as per site requirements etc

(S.I.NO:167-P-26)

10-Nos:    16980/-     Each       169800/-

2)	Providing and fixing of MS  tublar pole as following  specification

To be fixed  on precast foundation with the help  manual labour20 ft 6”

Dia 5x5”  5” da  5.5ft 4” dia 8SWG base plate 18”x18”x3/4” hole 4 Nos:

Etc complete  (S.I.NO;) 132P-16)

5-Nos:        36697/-    Each         183485/-

- construction of RCC foundation  as per flooowing  specification  and

instruction of E.I  for 31 ft/40 ft  long tubular pole excavation of soft /

hard soil 3x3x5x5stone soiling 3x3x6” making leans in the ratio of

1:4 :8 etc  (S.I.NO;139-P-19)

5-Nos:	15168/-	Each	75840/-

- Providing and laying  MAIN OR SUB MAIN ) pvc  insulated and PVC

Sheated with  4core  coper conducto 600/1000 volts size 16 mm 2

(S.I.NO;102P-12)

220-Mtr:	1300/-	P Mtr:      286000/-

5	Providing and fixing  circuit breaker 30 amps TP on prepared  board

(S.I.NO;205P-31)

5-Nos:    5301/-     Each,	              26505/-

_________

Total=		741630/-

________

(PART B OLD SCHEDULE ITEMS)

- S/F stay with 7/10 G.I wire  complete stay rod galvanized  thimble

SK4  insulator sstay rodand clams etc as required (SIN>NO:02P-28)

04-Nos:	3610.04	Each	14,440/-

2)	P/F Earthing set with 2x2x1/2” thick copper pate buried in the ground

At a depth of 12 ft or less if wataer comes out from the  ground level

Etc complete (S,I,NO;1 P-26)

05-Nos: 3610/04       Each	18,050/-

- P/F panel board  double shutter accommodate circuit  breaker etc

i/c oil  painting etc (s.i.no;6p-13)

4-Nos:	1426.33	Each	5705/-

_______

Total=	38195/-

(PART  C KNON SCHEDULE  ITEMS)

- S/F  LT/ HT  Coil  copper conductor for transformer.

3-Nos:			Each

2)	S/F LT/ HT  Bush for transformer 	3-Nos:			Each

3)	Suplying  oil for transformer 	250-Galon  	     Gallon

4)	S/F Magnatic cover 	1-No:			Each

5)	Nut bolt and labour charges	1-Job			Each

_________

Total=

________

Contractor 							     Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad