SCHEDULE-B

NAME  OF  WORK:-	M/R TO  RENOVATION OF CENTERAL JAIL KHAIRPUR (HOSPITAL BLOCK). @ DISTRICT KHAIRPUR.

S.NO		ITEM  OF  WORK  	QTY:			RATE		UNIT		AMOUNT.

1/-		Dismantling Cement Concrete plain reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I. No. 20 P. No.11).

Qty: 1141 cft		@RS: 5445/-	% Cft		RS: 62127/-

2/-		Dismantling  Cement Concrete  plain (1:2:4) (S>I No:  P.No:        ).

Qty:372 cft		@RS: 3327.50	% Cft		RS: 12378/-

3/-		Removing Cement or lime plaster (S.I NO: 53 P-14).

Qty: 1674 Sft		@RS: 121/-	% Sft		RS: 2026/-

4/-		Dismantling brick work in cement or lime mortar (S.I NO:  P.NO:

Qty: 481 cft		@RS: 1285.63	% Cft		RS:6164/-

5/-		Pacca brick work in ground floor in cement sand mortar ratio 1:6 (S.I NO:    P.NO:    ).

Qty: 481 Cft		@RS: 12674.36  % Cft		RS: 60963/-

6/-	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20)

Qty: 130.206 cwt	@RS: 5001.70	P.cwt		RS: 651252/-

7/-	R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I.No.6 (a-i) P.No. 17)

Qty: 1690 Cft		@RS: 337/-	P.Cft		RS: 569530/-

8/-		Applying Floating coat of cement 1/32” thick. (S.I No: 14 P.NO: 53 ).

Qty: 1674 Sft		@RS: 660/-	% Sft		RS:11048/-

9/-	Cement Plaster 1:6 up to 20’-0 height ½” thick. ( S.I NO: 13(b)    P:NO:52   )

Qty: 1674 Sft		@RS: 2206.60	% Sft		RS: 36938/-

10/-	Cement Plaster 1:4 up to 20”-0 height 3/8” thick. . ( S.I NO: 11(a) P:NO:52   )

Qty: 1674 Sft		@RS: 2197.50	% Sft		RS: 36786/-

S.NO		ITEM  OF  WORK  	QTY:			RATE		UNIT		AMOUNT.

11/-	Laying white marble fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (a) ¾” thick flooring. (S.I.NO.28 (a) Page No. 43)

Qty: 1270 Sft		@RS: 567.48	P.Sft		RS: 720700/-

12/-		Providing and lying 1” thick C/C topping cement concrete (1:2:4) i/c surface finishing and dividing into panels.  (S.I.No.16 (d) P.No.42).(2” thick).

Qty: 2205 Sft		@RS: 3275.50	  % Sft		RS: 72725/-

13/-		Removing Door with Chowakats  (S.I NO: 33 (a)P-13).

Qty: 05 Nos		@RS: 142.18	each		RS: 711/-

14/-		Removing Windows with Chowakats  (S.I NO: 33 (a)P-13).

Qty: 04 No’s		@RS: 102.85	each		RS: 411/-

15/-	Providing & fixing G.I frames/chowkhats size 7”x2” or   4 ½”x3” for  door using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio (1:6) and repairing the jambs. The cost also i/c all carriage, tools and plants used in making & fixing.(S.I.No 29 P.No.93)

Qty: 36 Rft		@RS: 228.90	P.Rft		RS: 8240/-

16/-	Providing & fixing G.I frames/chowkhats size 7”x2” or   4 ½”x3” for  windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio (1:6) and repairing the jambs. The cost also i/c all carriage, tools and plants used in making & fixing.(S.I.No 29 P.No.93)

Qty: 61 Rft		@RS: 240.50	P.Rft		RS: 14671/-

17/-	First class deodar wood  wrought joinery  in doors & windows  etc fixed in position  including  hold fasts hinges  iron  tower bolts chock, cleats  handles  and  cords  with hooks etc complete.

(S.I No: 54 P.NO:  65).

Qty: 28 Sft		@RS: 902.93	P.Sft		RS: 25282/-

18/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(f), P. No.16)

Qty: 12 Cft		@RS: 14429.25   % Cft		RS: 1732/-

19/-	Providing and laying tile glazed (6”x 6”1/4”) on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I. No. 60, P. No.47)

Qty: 165 Sft		@RS: 30509.77   % Sft		RS: 50341/-

20/-	White washing 03 three coats (A.I NO:    P.NO:      ).

Qty: 2185 Sft		@RS: 829.95	% Sft			RS: 18134/-

21/-	Distempering 02 two coats (S.I NO:     P.NO:       ).

Qty: 5623 Sft		@RS: 1496.25	 % Sft		RS: 84134/-

22/-	Painting New Surface Painting Door & Windows any type 02 coats (S.I NO:    P.NO:    ).

Qty: 208 Sft		@RS: 2116.41	% SFt		RS: 4402/-

23/-	Two coats of Bitumen hot using 34 Lbs per % sft blinded with sand

Qty: 2205 Sft		@RS: 1887.40	% Sft		RS: 41617/-

24/-	Providing & Fixing R.C.C Spouts including fixing in position.

Qty: 10 NO’s		@RS: 524.98	each		RS: 5250/-

==================================

Total					RS:2497562/-

Contractor 							          Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad