SCHEDULE-B

CONSTRUCTION OF  FOUR  04 NOS  COURT BUILDING  GAMBAT @ DISTRICT KHAIRPUR.(External development

S.NO.	NAME OF WORK		NO.L.B.D.	QTY.	RATE.	UNIT.		AMOUNT.

SCHEDULE-B

1/-	Filling Watering & remaining earth under floor with new earth (excavated from out side) lead upto 6-0 Miles and lift upto 5ft.

Qty: 97240  cft		@Rs:11349/60		%0 Cft		RS: 1103635/-

2/-	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (b) P.No.17)

Qty: 3638 cft			@Rs:8122/95			% Cft		RS:295513/-

3/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(f), P. No.16)

Qty:1236 cft			@Rs:14429/25		% Cft		RS:178346/-

4/-	Providing & Fixing  Paving  block  flooring  having  size 197x97x80 mm  of city , quddra , Cobble shape  with pigment  having  strength  b/w 5000 psi  to 8500  Psi  including filling the joints  with hill sand  and laying  in specified  manner etc complete.

Qty: 7875 sft			@Rs:248/17			P.Sft		RS:1954339/-

5/-	Pacca  Brick  work in  foundation & plinth  work  in cement sand mortar (1:6) (S.I No:5 P-25).

Qty: 256 Cft			@RS: 11948.36		% Cft		RS: 30587/-

6/-	Cement Plaster 1:6 up to 20’-0 height ½” thick. ( S.I NO: 13(b)    P:NO:52   )

Qty: 736 Sft			@RS: 2206.60			% Sft		RS: 20654/-

7/-	Cement Plaster 1:4 up to 20”-0 height 3/8” thick. . ( S.I NO: 11(a) P:NO:52   )

Qty:936 Sft		@Rs:2197/52				% Sft		RS:20569/-

======================================

Total						RS:3603643/-

Contractor 							         Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad