(SCHEDULE-B)

NAME  OF  WORK:-	CONSTRUCTION OF ROOMS FOR KEEPING SPOUSES WITH CONVICTED PRISONS @ CENTERAL JAIL KHAIRPUR. (EXTERNAL DEVELOPMENT)

S.NO		ITEM  OF  WORK		QTY:		RATE		UNIT		AMOUNT.

Part-A

01/-	Supplying & Filling Sand under floor plugging into wall. (S.I No:   P.No        ).

Qty: 13264 Cft	  @RS: 1913.21	%Cft	RS: 253768/-

02/-	Cement Concrete brick or stone ballast 1 ½” to 2” gauge Ratio (1:4:8) (S.I No:   P.No:   )

Qty: 2140 Cft	@RS: 9416.28	 	% Cft	RS: 201508/-

03/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(h), P. No.18.

Qty: 1102 Cft	@RS: 14429.25  	 % Cft	RS: 159010/-

04/-	03/-	P/F cement paving blocks flooring having size of 197x97x80(mm)of cuty/ quddra / cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc. complete. (S.I. No.74 P. No.50).

Qty: 6485 Sft	@RS: 223.97		P.Sft	RS: 1452445/-

=====================================

Total				RS: 2066731-

(PART-B   Sch: Item  W/S  S/F

1-	P/F squatting type white glazed of flushing cistern with internal fitting and flush pipe with band and making requisite Nos. of holes in wall plinth & floor for pipe connections and making good in cement concrete 1:2:4. (A) W.C pan of not less than 23” clear opening between flashing rims and 3 gallons flushing tank. With 4” dia C.I. tape. (S.I.NO.1(A) P.No.1)

Qty:05 Nos	@Rs:4802/60	each		RS:24013/-

2/-	P/F 6”x2” or 6”x3” C.I floor trap of the approved self cleaning design with a C.I screwed down gritting with or without a vent arm complete with and i/c making requisite number or holes in walls plinth and floor for pipe connections & making good in CC 1:2:4. (S.I. No. 20 P. No.5)

Qty: 20 Nos	@Rs:2042/43	each		RS:30636/-

3/-	Providing & Fixing Nylon connection  complete with  ½” dia Brass stop cock  with pair  of brass  nuts  and lining  joints  to nylon  connection (S.I No:23 P-6).

Qty:05 Nos	@Rs:447/15	each		RS:6707/-

4/-	Supplying and fixing long bib-cock of superior quality with C.P. head ½” dia. (S.I.NO.15(a) P. No.15)

Qty: 20 Nos	@Rs:1109/46	each		RS: 22189/-

5/-	Supplying and fixing concealed stopcock of superior quality with c.p head ½” dia.(S.I.NO.13 (a)

P. No.15)

Qty: 15 Nos	@Rs:509.74	each		RS: 5074/-

6/-	Supplying and fixing jet shower with rod of superior quality with c.p head ½” dia. (S.I.NO.17 P. No.15).

Qty: 05 Nos	@Rs:1142/24	each		RS:5711/-

7/-	P/F 22”x16” lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I or C.I cantilever brackets 6” built into wall painted white in two coats after a primary coat of red lead paint a pair of ½” dia chrome plate pillar traps 1-1/2” dia rubber plug & chrome plated brass chain 1-1/4” dia malleable iron or c.p brass traps malleable iron or brass union & making requisite number of holes in walls plinth & floor for pipe connection and making good in cement concrete 1:2:4 (standard pattern). Add extra for labour for providing & fixing of earthenware pedestal white or colored glazed (Standard pattern) .  (S.I.NO. 8 P. No.3).

Qty:05 No	@Rs:4694.80	each		RS:23474/-

8/-	Add extra for labour for providing & fixing of earthenware pedestal white or colored glazed (Standard pattern) .  (S.I.NO. 9 P. No.3)

Qty:05 nos	@Rs:938/47	each		RS:4692/-

9/-	Providing & Fixing Swan type pillar cock etc complete

Qty:10 No	@Rs:795/-	each		RS:7950/-

10/-	Providing & Fixing Handle valves  (china) etc complete

¾” Dia 					05 No		@Rs:271.92	each		RS:2719/-

01 Dia					03 No		@Rs:365.42	each		RS: 1827/-

11/-	Boring for tube well in all water bearing soils from ground level up-to 100 ft or 30.5 meter depth i/c sinking and with drawing of casing pipe. (100 mm 4”) (S.I.No. 01 (b) Page No.36).

4” Dia

Qty:50 rft	@Rs:242/-	P,rft		RS:12100/-

====================================

Total					RS: 147092/-

N.S.I Item

12/-	Providing & Fixing pump mono block suction and delivery 1 ¼” x 1” Single Phase 220 volts delivery up to 50 ft: including  making c.c plain 1:3:6 Plate Form  or required size & fixing with Nut bolts etc in all respects.    Pumping set 2 H.P  single  phase etc complete.

Qty:01 No	@Rs:20000/-	each		RS: 20000/-

==================================

Total					RS:20000/-

PART-C- NON SHEDULE ITEM

1/-	P/F UPVC pipe ½” dia PAK-ARAB) SCH-40 surface by using clip /saddler/socket/reducer/bush/tee etc .or recessed in masonry C.C or R.C.C upto 20’ ft. height and making good wih C.c i/c curing finishing etc complete as per instruction of the Engineer In charge ,.Specification of the material should meet the requirement of class 12454-Bin accordance with the ASTM-D-1784 type 1 Grade 1. rate include all costs of labor ,material, cartage scaffolding ladders .etc complete (R.A Sanction).

For Hot /cold

Qty:60 rft	@Rs:75/-	P.rft		RS:4500/-

2/-	P/F UPVC UNION solvent ) ½’ dia (PAK ARAB) SCH-40 make of approved quality and design of various size fixed to UPVC pipe /fitting paid separately using approved adhesive compound upto 20 ft. height as per instruction of the Engineer In charge .Specification of the material should meet the requirement of class 12454-B I Grade .Rate include all costs of labor material ,cartage scaffolding /ladders etc complete.

Qty:10 Nos	@Rs:146/-	each		RS:1460/-

3/-	P/F UPVC pipe ¾” dia PAK-ARAB) SCH-40 surface by using clip /saddler/socket/reducer/bush/tee / elbow etc .or recessed in masonry C.C or R.C.C upto 20’ ft. height and making good wih C.c i/c curing rinishing etc complete as per instruction of the Engineer In charge ,.Specification of the material should meet the requirement of class 12454-Bin accordance with the ASTM-D-1784 type 1 Grade 1. rate include all costs of labor ,material, cartage scaffolding ladders .etc complete (R.A Sanction).

Qty: 185 rft	@Rs:83/-	P.rft		RS: 15355/-

4/-	P/F UPVC UNION  ¾” dia PAK-ARAB) SCH-40  make approved quality and Design of various sizes Fixed to UPVC Pipe / Fitting paid Separately  upto 20’ ft. height as per instruction Sof the Engineer In charge Specification of the material should meet the requirement of class 12454-Bin accordance with the ASTM-D-1784 type 1 Grade 1. rate include all costs of labor ,material, cartage scaffolding ladders .etc complete (R.A Sanction).

Qty:10 Nos	@Rs:241/-	each		RS:2410/-

5/-	P/F UPVC pipe 1” dia PAK-ARAB) SCH-40 surface by using clip /saddler/socket/reducer/bush/tee / elbow etc .or recessed in masonry C.C or R.C.C upto 20’ ft. height and making good wih C.c i/c curing finishing etc complete as per instruction of the Engineer In charge ,.Specification of the material should meet the requirement of class 12454-Bin accordance with the ASTM-D-1784 type 1 Grade 1. rate include all costs of labor ,material, cartage scaffolding ladders .etc complete (R.A Sanction).

Qty: 631 rft	@Rs:91/-	P.rft		RS: 57421/-

6/-	P/F UPVC pipe 4” dia PAK-ARAB) SCH-40 surface by using clip /saddler/socket/reducer/bush/tee /  etc . or recessed in masonry C.C or R.C.C upto 20’ ft. height and making good wih C.C i/c curing finishing etc complete as per instruction of the Engineer In charge ,.Specification of the material should meet the requirement of class 12454-Bin accordance with the ASTM-D-1784 type 1 Grade 1. rate include all costs of labor ,material, cartage scaffolding ladders .etc complete (R.A Sanction).

Qty:20 rft	@Rs:290/-	P.rft		RS:5800/-

7/-	P/F UPVC  PLUG TEE 4” dia  PAK-ARAB) SCH-40  make of approved quality and design of various sizes fixed to UPVC Pipe / fitting  paid separately using approved adhesive compound upto   20’ ft. height  as per instruction of the Engineer In charge ,.Specification of the material should meet the requirement of class 12454-Bin accordance with the ASTM-D-1784 type 1 Grade 1. rate include all costs of labor ,material, cartage scaffolding ladders .etc complete (R.A Sanction).

Qty:8 Nos	@Rs:774/-	each		RS:6192/-

8/-	P/F UPVC BEND (LONG) 4” Of PAK ARAB make of approved quality include\ing / making joints by using pest/solution AGM make  as per instruction of the Engineer In charge ,.Rate includes all costs of labour , material, cartage, scaffolding etc complete. (R.A Sanctioned).

Qty:6 Nos	@Rs:1021/-	each		RS:6126/-

9/-	P/F 4” dia UPVC Socket of PAK ARAB make of approved quality including makings joints by using pest/ solution AGM make as per instruction of the Engineer In charge ,. ,.Rate includes all costs of labour , material, cartage, scaffolding etc complete. (R.A Sanctioned).

Qty:03 Nos	@Rs:306/-	each		RS:918/-

10/-	P/F   4” dia  UPVC Cowl / Terminal  Guard / End of  PAK ARAB make of approved quality & joints by using pest/solution AGM make  as per instruction of the Engineer In charge ,.Rate includes all costs of labour , material, cartage, scaffolding etc complete. (R.A Sanctioned).

Qty:2 Nos	@Rs:306/-	each		RS:612/-

==================================

Total			RS: 100794/-

(PART-     DRAINAGE

01/-	Cement Concrete brick or stone ballast 1 ½” to 2” gauge Ratio (1:4:8) (S.I No:   P.No:   )

Qty: 445 CFt	@RS: 9416.36	 % Cft		RS: 41903/-

02/-	Erection and removal of centering for R.C.C or plain cement concrete works of Deodar wood (2nd-Class) (S.I NO: 19 (ii)P.NO: 18)

Qty: 674 Sft	@RS: 7000/-	  % Sft		RS:47180/-

02/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(h), P. No.18.

Qty: 337 Cft	@RS: 14429.25	   % Cft		RS: 48627/-

03/-	Providing UPVC pressure  pipes of class “C” equivalent make fixing in trench i/c cutting, fitting and jointing with “Z” joint with one rubber ring i/c testing with water to head of 61 meter or 200ft. 4” dia. (P.H.E)  (S.I.No. 01 (b) P.No.22)

6” dia 					Qty: 78 rft	@Rs:373/-	P.Rft		RS: 29094/-

8” Dia					Qty: 259 Rft	@RS: 574/-	P.Rft		RS: 148666/-

04/-	Construction of manhole  or inspection chamber  for the required dia  of circular sewer   and 3’-6’ (1067 mm ) depth with walls  of B.B  in cement mortar  1:3 cement plaster  1:3 ½”  thick in side 1”  (25 mm ) thick over  beching  and channel i/c  fixing C.I main hole cover with frame of clear opening  1 ½”x 1 ½”” 457x457 mm) of 1.75 cwt . (88.9 kg) embedded in plain c.c 1:2:4) & fixing (25 mm) dia M.S steps 6” 150 mm)   white projecting 4” (102 mm) from the face of walls at 12” (305 mm) c/c duly painted etc complete as per standard specification & drawing.(S.I No- P-46).

Qty: 18 No	@Rs:14748/-	P.rft		RS: 265464/-

======================================

Total				RS: 580934/-

Contractor							Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad