NAME  OF  WORK:-	ESTIMATE FOR M/R TO  RENOVATION OF CENTERAL JAIL KHAIRPUR

( WAITING SHADE ). @ DISTRICT KHAIRPUR.

S.NO	ITEM  OF  WORK  		QTY:		RATE		UNIT		AMOUNT.

SCHEDULE-B

1/-		Dismantling brick work in cement or lime mortar (S.I NO:  P.NO:    )

Qty: 552 Cft	@RS: 1285.63	% Cft		RS: 7097/-

2/-	Removing Door with Chowakats etc (S.I NO;    P.NO:     ).

Qty: 01 NO	@RS: 142.18	each		RS: 142/-

3/-	Dismantling 2nd Class tile roofing (S.I NO:      P.NO:      ).

Qty: 185 sft	@RS: 378.13	% Cft		RS: 700/-

4/-	Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.4)

Qty: 4842 Cft	@RS: 3176.25	%0Cft		RS: 15379/-

5/- 	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:12). (S.I.No.4 (d) P.No.15)

Qty: 809 Cft	@RS: 8694.95	%Cft		RS: 70342/-

6/-	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.8 (a) P.No.17)

Qty: 52.651 cwt  @RS: 5001.70  P.cwt	RS: 263348/-

6/-	R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I.No.6 (a-i) P.No. 17)

Qty: 1620 Cft	@RS: 337/-	P.Cft		RS: 545940/-

7/-	Random rubble masonry (un-coursed) (d) in cement sand mortar (iv) Ratio (S.I.No.1 (d)(iv) P.No.27).

Qty: 2692 Cft	@RS: 17723/-	% Cft		RS: 477103/-

8/-	Supplying & Fixing Sand Under floor plugging into wall.

Qty: 3913 cft	@RS: 1913.21	% Cft		RS: 74863/-

10/-	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:6:12). (S.I.No.4 (d) P.No.15)

Qty: 516 Cft	@RS: 8122.95	% Cft		RS: 41914/-

11/-	Pacca Brick work in Ground floor 1:6 in cement sand mortar etc

Qty: 1876 cft	@RS: 12674.36    % Cft	RS: 237771/-

12/-	First class deodar wood  wrought joinery  in doors & windows  etc fixed in position  including  hold fasts hinges  iron  tower bolts chock, cleats  handles  and  cords  with hooks etc complete.(S.: 54 P. 65).

Qty: 108 Sft	@RS: 1273.76	  P.Sft		RS: 137566/-

13/-	Painting New Surface Painting Door & Windows any type 02 coats (S.I NO:    P.NO:    ).

Qty: 216 sft	@RS:1489.68	  % Sft		RS:3218/-

14/-	S/F in position Aluminum channel framing for hinged doors or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alphas (Japan) locks i/c handles stopper etc.(b) (Deluxe Model (Bronze).)

Qty: 136 Sft	@RSL 1507.66	 P.Sft		RS: 205042/-

15/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(f), P. No.16)

Qty: 154 Cft		@RS: 14429.25   %Cft		RS: 22221/-

16/-		Providing and lying 1” thick C/C topping cement concrete (1:2:4) i/c surface finishing

and dividing into panels.  (S.I.No.16 (d) P.No.42)3” thick.

Qty: 658 Sft	@RS: 4411.82	  % Sft		RS: 29030/-

17/-	Providing and laying tile glazed (6”x 6”1/4”) on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I. No. 60, P. No.47)

Qty: 424 Sft	@RS: 30509/-	  % Sft		RS: 129358/-

18/-	Laying white marble fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (a) ¾” thick flooring. (S.I.NO.28 (a) Page No. 43)

Qty: 760 Sft	@RS: 567.48	P.Sft		RS: 431285/-

19/-	Providing and fixing 3/8" thick marble tiles of approved quality and colour and shade size  8" x 4" /6" x 4" in dado skirting anf facing removal /tucking of existing plaster surface ete. Over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement  over mortar base including filling the joints and washing the tiles with white cement slurry , currint finishing, cleaning and ploishing etc. complete.(S.I NO: 68 P.NO: 49)

Qty: 206 Sft	@RS: 186.04	P.Sft		RS: 38324/-

20/-	Supplying & Fixing R.S Girder  (4”x8”) Material Schedule .

Qty: 64.133 cwt  @RS: 3850/-  P.cwt		RS: 246912/-

21/-	Supplying  & Fixing T-Iron (2’x2’x1/4”) Material Schedule.

Qty: 32.625 cwt   @RS: 3575/-  P.cwt		RS: 116634/-

22/-	Erecting rolled Steel beam  or old rail in roof etc.

Qty: 96.758 cwt    @RS: 186.84  P.cwt	RS: 18078/-

23/-	Supplying and fixing in position iron/steel grill of ¾” x ¼” size flat iron of approved design including painting 3 coats etc complete (Weight or not less than 3.7 Lbs/sq feet of finished grill		(S.I No:       P.NO:       ).

Qty: 84 Sft	@RS: 180.50	P.Sft		RS: 15162/-

24/-	Galvanized wire gauze fixed to chowakats with ¾’  deodar strip  and screw. (S.I No: 4(c) P:58 ).

Qty: 84 Sft	@RS: 190.72	P.Sft		RS: 16020/-

25/-	Second class tile roofing consisting of 4” earth and 1” mud plaster with gobri leaping over ½” thick cement plaster 1:6 with 34 Lbs of hot bitumen coating sand blinded provided over one layer of 12”x6”x2” tiles laid in 1:6 cement mortar including 1:2 cement pointing under neath of tiles complete including curing etc.S.I.NO. 2 Page No. 33).

Qty: 1566 Sft	@RS: 7607.25	% Sft		RS: 119130/-

26/-	Cement Plaster 1:6 up to 20’-0 height ½” thick. ( S.I NO: 13(b)    P:NO:52   )

Qty: 4920 Sft	@RS: 2206.60	 % Sft		RS: 108565/-

27/-	Cement Plaster 1:4 up to 20”-0 height 3/8” thick. . ( S.I NO: 11(a) P:NO:52   )

Qty: 4920 Sft	@RS: 2197.50	% Sft		RS: 108118/-

28/-	Painting guard bars gets iron bars grating , railing including standard braces (etc) and similar open work. (S.I NO:4(d)P.NO:69).

Qty: 1799 Sft	@RS: 896.39	% Sft		RS: 16126/-

29/-	White washing 02 coats.

Qty: 1566 Sft	@RS: 842.47	% Sft		RS: 13193/-

30/-	Providing & Fixing R.C.C Spouts fixing in position etc

Qty: 10 No’s		@RS: 524.98		each	RS: 5250/-

===================================

Total					RS: 3513831/-

Contractor 							          Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad