SCHEDULE-B

ESTABLISHMENT OF CATTLE COLONY WITH DISTRICT & PRIVATE PARTICIPATION IN

SINDH @ KHAHIRPUR

(Shed NO:  7,8,9 (External  Drainage)

S.NO		NAME OF ITEM	QTY:		RATE		UNIT 		AMOUNT

01/-	Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.4)

Qty: 5513 Cft	@RS:3176/25	% Cft		RS:17511/-

02/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:4:8. (S.I. No. 5(f), P. No.16)

Qty:  1260 cft	@RS: 11288.75   % Cft		RS: 142238/-

03/-	Pacca  Brick  work in  foundation & plinth  work  in cement sand mortar (1:6) (S.I No:5 P-25).

Qty: 2126 cft	@RS: 11946.36    % Cft	RS: 404504/-

04/-	Construction of Standard  of open drain curette block of cement concrete  1:2:4 in situ to design profile including cost of mould as per drawing including applying floating coat of cement 1/32” thick to the exposed face finished smooth curing  etc complete as per detail drawing (PHS S.NO:    P.44).

Qty: 630 rft	@RS:309/-	P.Rft		RS:194670/-

05/-	Cement Plaster 1:4 up to 20”-0 height  1/2” thick. . ( S.I NO: 11(b) P:NO:51 )

Qty: 5985 Sft	@RS: 2283.93	% Sft		RS: 136693/-

06/-	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20)

Slab

Qty: 4.571 cwt	  @RS: 5001.70   P.cwt	RS: 22863/-

07/-	R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I.No.6 (a-i) P.No. 17)

Qty: 144 cft	@RS: 337/-	P.Cft		RS: 48528/-

===================================

Total				RS: 967007/-

Contractor 							          Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad