## Sheet1
SCHEDULE-B
Name of Work:- M/R to Disrict Prision / Jail at N-Feroze ( Office Block)
S.NO. | ITEM OF WORK | QUANTITY. | RATE. | UNIT | AMOUNT.
1 | Dismentling of Pacca Brick Work
( S.I.No 13 P-10)
|  | 227 | 1285.63 | P%Cft | 2918.3801
2 | Dismentling of Glazed or encaustic tiles etc.
( S.I.No. 55 P-13).
|  | 207 | 786.5 | P%Sft | 1628.055
3 | Dismentling of C.C.Plain ( 1:2:4).
|  | 97 | 3327.5 | P%Cft | 3228
4 | Excavation in foundation of building bridges i/c dage
belling dressing and refilling around the structure
with excavated earth atering and ramming lead upto
onbe chain and lift upto 5"ft ( S.I.No. 18 ( b) P- 04).
|  | 26 | 3176.25 | P%0Cft | 82.5825
5 | Cement Concrete brick or stone ballast 1 1/2" to
2" Guage ratio 1:4:8. ( S.I.No. 4 (b) P-14)
|  | 9 | 9416.28 | P%Cft | 847.4652
6 | Pacca brick work in Foundation and plinth in cement
sand mortor ( 1:6). ( S.I.No. 04 ( I) ( e) P- 20).
|  | 13 | 11948.36 | P%Cft | 1553.2868
7 | R.C.C work in roof slab beams coloums raft lintels and
other position complete in all respects 1:2:4 90 Lbs cement
2 Cft sand 4 Cft shngle concrete 1/8" to 1/4" guage.
( S.I.No. 06 (a) ( I) P- 16).
|  | 20 | 337 | P.Cft | 6740
8 | Fab: of mild steel reinf: for c.c i/c
cutting bending and binding and laying
in position making of joints and fastesting
i/c removal of rust from bars. ( S.I.No. 08( b) P-16).
|  | 0.893 | 5001.7 | P.Cwt | 4466.5181
9 | Pacca brick work in Ground floor i/c stricking of
joints (1:6). ( S.I.No. 5 (i) (e) P- 20).
|  | 89 | 12674.36 | P%Sft | 11280.1804
10 | Providing and Iron Girders of 4"x8" size.
|  | 3.143 | 3850 | P.Cwt | 12100.55
11 | Cement plaster 1/2" thick upto 12" height.
| ( S.I.No. 13 ( b) P-51). | 252 | 2206.6 | P%Sft | 5560.632
12 | Cement plaster 3/8" thick (1:4) upto 12"height.
| ( S.I.No. 11( a) P - 51). | 158 | 2197.52 | P%Sft | 3472.0816
13 | C.C.plain (`1:2:4 ) i/c placing compacting finishing and
curring complete i/c screening and washing of stone
| aggregate W/O shuttering. | 95 | 14429.25 | P%Cft | 13707.7875
14 | Laying floor of apporved with glazed tiles 1/4" thick
in white cement 1:2 over 3/4" thick cement mortor
| 1:2 complete. | 562 | 27678.86 | P%Sft | 155555.1932
15 | White glazed tiles 1/4" thick dado jointed in white cement
| and laid over 1:2 cement mortor 3/4" thick i/c finishing | 366 | 28253.61 | P%Sft | 103408.2126
16 | S/Fixing in position Aluminium channels framing for hinged
doors and alcope made in with 5 mm thick tinted glass
glazing ( Belgium) and alpha japan locks i/c handles
| ( S.I.No. 83 ( b) P- 107). | 63 | 1507.66 | P.Sft | 94982.58
17 | Supplying and fixing in position Aluminium channels for
framing for slidding windows & ventilators of Alcope made
with 5 mm thick tilted glass glazing ( Belgium) & Aluminium
fly screen i/c handles stoppers & locking arrangements
| etc complete. ( S.I.No 84(b) P-107). | 78 | 1647.69 | P.Sft | 128519.82
18 | S/Fixing false ceiling of plaster of paris in apnnels i/c
making of frame work of deodar wood i/c painting
| with soligia paint. ( S.I.No. 52 P-63). | 437 | 25293.42 | P%Sft | 110532.2454
19 | Preparing surfaced and painiting with matt finish
paint of approved make to old matt finish
| surface ( S.I.No. 37 P-54 ). | 381 | 2499.75 | P%Sft | 9524.0475
20 | Supplying and fixing wall pannels of fiber sheet of good quality i/c transporting and
making with aluminium patti of best quality complete in all respects as desired.
| ( R.A.Attached) | 819 | 190 | P.Sft | 155610
| TOTAL. |  |  |  | 825718
Internal W/S and S/F
1 | Providing and fixing orisa type white
colour glazed earthern were W.C pan
low level flush tank of 3 gallons
capacity of approved quality i/c making
requisite number of holes in wall plinth
& floor and making good in c.c1:2:4
(A) W.C pan with orisa type 23" wit
plastic of low down 3 gallons C.I trap &
| C.I thumble Superior quality. | 1 | 5836.6 | Each | 5837
(S.I.NO. (3) (a) (i) p.No. 02 ).
2 | S/Fixing CP Muslim shower with double bib cock and etc complete .. S.N.. 19.. P-19) | 1 | 3432 | Each | 3432
3 | S/F earthen ware europen commode set (ACL/Fafcolon type) coupled with flush and seat cover complete with int: fitting fixture clamps necessary lead connection and making req: numbers of holes in walls plinth and floor for pipe connection and maiking good in C.C 1.2.4 as directed by the Engineer incharge. | 1 | 21000 | Each | 21000
4 | P/F flat back lipped from urinal basin of not lose than 17" in ht: white glazed earhten ware complete with and i/c the cost of 1 gallon GZ automatic flushing eistern with fitting a pet cock CI WI brackets std:waste pipe enmaled iron connection complete and maiking reqd: numbers of holes in walls plinth and floor for pipe 1.2.4 (foreign or equivalent) (S..7 P-2) | 1 | 4440.7 | Each | 4440.7
5 | S/F wash basin mixture of superior quality with C.P head 1/2" dia… | 1 | 3179 | Each | 3179
6 | Add: extra for labour for providing &
fixing of earthern were pedestal white or
| coloured glazed foreign or equivalent. | 1 | 2533.47 | Each | 2533.47
S.I.No 9 P.No. 03 ).
7 | P/F in position nyloon connections
complete with 1/2" dia brass stop cock
| with pair of brass nuts and lining joints | 2 | 447.15 | Each | 894.3
to nyloon connection (S.I.No.23.P.6 ).
7 | S/F bathroom accessories (7) set pieces i/c towel.. | 1 | 8122.4 | Each | 8122.4
8 | Providing and fixing handle velve ( China)
| 3/4" Dia | 2 | 271.92 | Each | 543.84
9 | S/Fixing Concelled Stop Cock of superior
| quality with cp head 1/2" dia | 3 | 509.74 | Each | 1529.22
10 | M/Supplying of 21" R.C.C main hole
cover cast in 1:2:4 concrete ratio 3 inch
deep at centre reinforced with 1/2" dia
tor steel brass at 4" c/c welded of 3/16"
| thick wide M.S plate two hook of 3/8" | 2 | 1830.94 | Each | 3661.88
dia tor bar i/c compacting i/c curring and
transportation with in 10 miles
( S.I.No 1 P.No. 30 ).
11 | Supplying and Fixing in position C.P bib
| cock (b) 3/4" cp Bib cock standard pattern | 2 | 348.92 | Each | 697.84
12 | P/F chamber 15x9" inside daimension 24"
deep for house meters with 6" thick c.c
1:3:6 Block set 1:6 cement mortor 6"
thick c.c 1:4:8 in foundation 1/.2" thick
| cement plaster 1:3 C.M to all inside opening . | 2 | 4905.67 | Each | 9811.34
13 | S/Fixing swan type piller cock of superior quality
| single cp head 1/2" dia | 1 | 795 | Each | 795
14 | P/Fixing 6"x4" cc gully trape with 4" outlet
complete with 4" thick 1:2:4 cc for bed and
1/2" thick cement Plaster 1:3 to kerb C.I grating
| 6"x6" and with RCC Cover sino:1 (ii) P-23 | 1 | 1259.5 | Each | 1259.5
15 | P/Fixing Floor Trape Jalli UPVC type size
6"x6" of approved colour and design master
| class A equivelent as directed by encharge | 1 | 245 | Each | 245
(R.A Attached)
16 | P/F UPVC Fitting of schedule 40 (E) AGM or pak arab
make in/c jointing with PVC solvent / JTC solution and fixing at
any height / floor using jhoola or long laddar in horizental
or vertical pipe as directed by the Engineer Incharge,
| a) 1/2" dia pipe 2x20.5 | 38 | 105.35 | Each | 4003.3
| b) 3/4" dia Pipe 1x12 | 45 | 126 | Each | 5670
| c) 4" dia.Pipe 2x5 | 30 | 356 | Each | 10680
17 | P/F UPVC Fitting of schedule 40 (E) AGM or pak arab
make in/c jointing with PVC solvent / JTC solution and fixing at
any height / floor using jhoola or long laddar in horizental
or vertical pipe as directed by the Engineer Incharge,
| plain Elbow 4'dia. | 2 | 788 | Each | 1576
18 | P/F UPVC Fitting of schedule 40 (E) AGM or pak arab
make in/c jointing with PVC solvent / JTC solution and fixing at
any height / floor using jhoola or long laddar in horizental
or vertical pipe as directed by the Engineer Incharge,
| Plain -Tee 4"dia. | 2 | 895 | Each | 1790
19 | P/F UPVC Fitting of schedule 40 (E) AGM or pak arab
make in/c jointing with PVC solvent / JTC solution and fixing at
any height / floor using jhoola or long laddar in horizental
or vertical pipe as directed by the Engineer Incharge,
| 4" dia Floor Trap. | 1 | 1211.83 | Each | 1211.83
20 | P/F UPVC Fitting of schedule 40 (E) AGM or pak arab
make in/c jointing with PVC solvent / JTC solution and fixing at
any height / floor using jhoola or long laddar in horizental
or vertical pipe as directed by the Engineer Incharge,
| Jubilee Clip. | 8 | 69 | Each | 552
21 | P/F UPVC Fitting of schedule 40 (E) AGM or pak arab
make in/c jointing with PVC solvent / JTC solution and fixing at
any height / floor using jhoola or long laddar in horizental
or vertical pipe as directed by the Engineer Incharge,
| 4" dia Cowel. | 2 | 293 | Each | 586
| TOTAL |  |  |  | 94051
(D) Electric Work.
1 | Providing & laying ( Main or Sub-main)
PVC insulated wire szie 2-3/029 copper
| conductor in 3/4" dia PVC conduict on surface. | 50 | 121 | P.Metr. | 6050
2 | Providing & laying ( Main or Sub-main)
PVC insulated & pvc sheeted with 4 core
| copper conductor 600/1000 volts size 70mm2 | 15 | 4722 | P.Metr. | 70830
(S.N.. 106 .. P-12)
3 | Wiring for light of fan point with 3/029
PVC insulated wire in 20 mm (3/4") channel
| Patti on surface as required. | 5 | 910 | P.Point. | 4550
4 | Wiring for plug point with 3/029
PVC insulated wire in 20 mm (3/4") channel
| Patti on surface as required. S.N.. 130 .. P-15 | 5 | 742 | Per No | 3710
5 | P/F holder for 125 watts light @ per site requirement
| & instruction of E.I. S.N.. 189 P-29 | 5 | 203 | Per No | 1015
6 | P/F TP i/c change over switch 600 volts 600 amps on
| a prepred board (S.N.. 202 .. P-30) | 1 | 69014 | Per No | 69014
7 | Providing and fixing two way sp 5 apms
| switch flush type . | 15 | 55 | Per No. | 825
8 | Providing and fixing two way sp 15 amps
| switch flush type | 15 | 67 | Per No. | 1005
9 | Providing and fixing three pins 5 amps
| plug & socket. | 9 | 91 | Per No. | 819
10 | Providing & fixing three pin 10/15 amps
| plug & socket. | 5 | 151 | Per No. | 755
11 | Providing and fixing two pins 5 amps
| plug & socket flush type . | 12 | 83 | Per No. | 996
12 | Providing and fixing three pins 5 amps
| plug & Socket flush type. | 20 | 151 | Per No. | 3020
13 | Providing and fixing bake lite ceiling rose
| with two terminals | 5 | 72 | Per No. | 360
14 | Providing and fixing brass bracket lamp
holder suitable for 12 mm 1/2" dia
| bracket. | 4 | 72 | Per No. | 288
15 | Providing and fixing brass bracket lamp
holder suitable for 15 mm (5/8" ) dia
| bracket. | 6 | 72 | Per No. | 432
16 | Providing and fixing brass battern holder. | 10 | 70 | Per No. | 700
17 | Providing & fixing brass ceiling fan 56"
| good quality. | 4 | 3185 | Per No. | 12740
18 | Providing & fixing brass bracket fan 18"
| good quality. | 2 | 2791 | Per No. | 5582
19 | Providing & fixing LED Lights i/c holder, frame of approved quality RA Attached. | 8 | 1200 | Per No. | 9600
20 | Providing & fixing Energy Saver of good quality | 10 | 500 | Per No. | 5000
| TOTAL |  |  |  | 197291
| CONTRACTOR | EXECUTIVE ENGINEER
PROVINCIAL BUILDINGS DIVISION
SHAHEED BENAZIR ABAD