## SCHEDULE B
Schedule of Prices
REHABILITATION, IMPROVEMENT / RENOVATION & PROVISION FOR MISSING FACILITIES IN EXIASTING SECONDARY / HIGHER SECONDARY SCHOOLS DISTRICT KARACHI SOUTH @ GOVERNMENT GIRLS SECONDARY SCHOOL NEELAM COLONY (CAMPUS) SHAH RASOOL COLONY CLIFTON (ADDITION OF 2-C/ROOM) SADDAR TOWN KARACHI (ADP NO.336 OF 2016-2017 PROGRAMME)
S.NO. | Description of items |  |  | Quantity |  | Rate | Unit | Amount
(Addition of 2-Class Rooms)
a) | Scheduel items which stands at par.
1 | Excvation in foundation of building bridges and other structure i/c degbelling dressing refilling around structure with excvated earth watering and ramming lead upto 5 ft (b) ordinary soil (P/4-18,b).
| 3075 | Cft | 3176.25 |  | %0Cft |  | Rs. | 9767
2 | Random, rubble masonary (uncoused) (a) Dry Masonary (P/27-1,a).
| 696.25 | Cft | 13051.5 |  | %Cft |  | Rs. | 90871
3 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:4:8 (P/16,5,I).
| 542.52 | Cft | 11288.75 |  | %Cft |  | Rs. | 61244
4 | P/L single per layer of polythene sheet 0.13 mm thick for water proofing as per specification and instruction of Engineer Incharfge (P/38-38).
| 1085.04 | Sft | 10.7 |  | P.Sft |  | Rs. | 11610
5 | Hire charges of pumping set of upto 10 H.P.pumping out water from 10 ft deep trench (P/76-23,i) (P.H.E.S)
| 20 | day | 1500 |  | P.day |  | Rs. | 30000
6 | Extra salush or daldal.(P/4-16)
| 1845 | Cft | 2420 |  | %0Cft |  | Rs. | 4465
7 | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C. work in roof slab, beams coloumns rafts, lintels and other structural members laid in situ or precast laid in position completed in all respect ratio 1:2:4 (P/16-6,a-ii).
| 2133.52 | Cft | 337 |  | P.Cft |  | Rs. | 718996
8 | Erection & removal of centering for R.C.C. or plain c.c.work or deodar wood (2nd class) for Partal wood (ii) for vertical (P/18-19,b(ii) ).
| 626.1 | Sft | 3127.41 |  | %Sft |  | Rs. | 19581
9 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:3:6 (P/16,5,h).
| 442.86 | Cft | 12595 |  | %Cft |  | Rs. | 55778
12 | P/L 1:3:6 c.c.solid block masonary set in 1:6 C.M.in plinth and foundation i/c racking out joints and curing etc complete (P/19-22).
| 84 | Cft | 14268.53 |  | %Cft |  | Rs. | 11986
13 | P/L 1:3:6 c.c.solid block masonary wall 6" & below thickness set in 1:6 C.M.in G/F superstructure i/c racking out joints and curing etc complete (P/19-24).
| 397.25 | Cft | 15771.01 |  | %Cft |  | Rs. | 62650
14 | M/F Notice board made with cement on walls (P/95-1)
| 80 | Sft | 58.11 |  | P.Sft |  | Rs. | 4649
15 | Cement plaster (1:4) upto 12' height 3/4" thick (Only for block masonary wall) (P/52-11,d)
| 4383 | Sft | 3191.76 |  | %Sft |  | Rs. | 139895
16 | P/L 2" thick topping c.c.i/ surface finishing & dividing into the panells ratio 1:2:4. (P/42-16,c).
| 1028.25 | Sft | 3275.5 |  | %Sft |  | Rs. | 33680
17 | Two coat of bitumen laid hout using 34 Lbs for % sft, over roof and blinded with sand at one cft per % Sft (P/35-13)
| 992.25 | Sft | 1887.4 |  | %Sft |  | Rs. | 18728
18 | P/F 3/8" thick marble tiles of approved qualuty and colour and shade size 8"x4" / 6"x4" in dado skirting and facing removal / tucking of existing plaster surface etc over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, current finishing, cleaning and polishing etc complete (I) for new work (P/49-68-i)
| 158 | Sft | 186.04 |  | P.Sft |  | Rs. | 29394
19 | First class deodar wood wrought joinery doors & windows fixed in position i/c chowkets hold fasts hinges tower bolts chocks cleats handles cords with hook 1-3/4" thick (P/58-7,b) (Only shuttrs)
| 49 | Sft | 902.93 |  | P.Sft |  | Rs. | 44244
20 | P/F with sunk iron screws wooden Architrave approved design / shape having width not less than 2-1/2" as directed by Engineer Incharge.(P/66-60)
| 148 | Rft | 49.97 |  | P.Rft |  | Rs. | 7396
21 | RCC Spout i/c fixing in position 2-1/2" x 6" x 5" (P/18-14).
| 10 | Nos | 261.25 |  | Each |  | Rs. | 2613
22 | Primary coat of chalk under distemper (P/54-23)
| 4383 | Sft | 442.75 |  | %Sft |  | Rs. | 19406
23 | Distempring three coats.(P/54-24,C)
| 6874 | Sft | 1079.65 |  | %Sft |  | Rs. | 74215
25 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick / sand paper, filling the voids with chalk / plaster of paris and then painting with weather coat of approved make three coats (P/56-38-A+B)
| 1892 | Sft | 2567.95 |  | %Sft |  | Rs. | 48586
26 | Painting doors & windows any type new surface three coats.(P/69-5,c)
| 98 | Sft | 2116.41 |  | %Sft |  | Rs. | 2074
[6 empty] | (a) Total Rs. |  | 1501828
| ______%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )
b) | Scheduel items such as fabricaton & steel works.
27 | Fabrication of steel reinforcement for c.c.i/c cutting, bending, laying in position, making joints and fastening i/c cost of binding wire (also removal of rust from bars) (using tor bars) (P/18-7,a).
| 95.25 | Cwt | 5001.7 |  | P.Cwt |  | Rs. | 476412
28 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for door using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P/93-29).
| 33 | Rft | 228.9 |  | P.Rft |  | Rs. | 7554
29 | S/F in position iron steel grill 3/4"x1/4" approved design & shape i/c painting 3 coats.(P93-26).
| 414 | Sft | 180.5 |  | P.Sft |  | Rs. | 74727
[6 empty] | (b) Total Rs. |  | 558693
| ______%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )
c) | Schedule items which stands 20% below.
30 | P/F in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen i/c handles stoppers & locking arrangement etc complete (b) Deluxe model (Bronze) (P/108-84,b)
| 144 | Sft | 1647.69 |  | P.Sft |  | Rs. | 237267
31 | P/L tiles glazed 6" x6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (P/47-60).
| 46 | Sft | 30509.77 |  | %Sft |  | Rs. | 14034
[6 empty] | ( c ) Total Rs. |  | 251301
| ______%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )
d) | Cost of Non schedule Items
32 | Filling with proper granalar material supplying mixing leveling dressing watering and ramming compacting pit run gravel mixed with sand haro or any other course sand of same modulesl of same medules of fineress hill sand i/c the cost of carriage from the sources to the site of work lead upto 15 miles as required by Engineer Incharge (L.Q.R).
| 2880 | Cft | 19.05 |  | P.Cft |  | Rs. | 54864
33 | P/L floor of Verona marble tiles of size 12" x 12" x 3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2 grey C.M setting the tiles with grey cement slurry. Jointing and washing the tiles with sulrry of white cement and pigment to match the colur of the tiles i/c curing, grinding, rubbing and chemical polishing etc complete i/c cutting tiles to proper profile (R.A).
| 960 | Sft | 301 |  | P.Sft |  | Rs. | 288960
34 | Difference of S.R.Cement (R.A)
| 292.43 | bags | 40 |  | P.bag |  | Rs. | 11697
[6 empty] | ( d ) Total Rs. |  | 355521
| ______%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )