## Sheet1
SCHEDULE OF PRICE
| NAME OF WORK :- |  | REHABILITATION / IMPROVEMENT / RENOVATION & PROVISION FOR MISSING FACILITIES IN EXISITING PRIMARY/ ELEMENTARY SCHOOL AT DISTRICT LEVEL (A.D.P NO. 190) AT GGPS COELA GODOWN, LYARI TOWN KARACHI. (SEMIS COD: 408050053)
S:# | DISCRIPTION OF |  |  | QTY |  | RATE |  | UNIT |  |  |  | Amount
1 | Dismantling c.c.plain 1:2:4. (P-10-19-c)
| 242 |  |  |  |  | 3327.5 |  |  | %Cft |  |  | Rs. | 8053
2 | Removing cement or lime plaster (P/13-53).
| 316 |  |  |  |  | 121 |  |  | %Sft |  |  | Rs. | 382
3 | P/L 1:3:6 c.c.solid block masonalry wall 6" & below in thickness set in 1:6 C.M.in G/F superstructure i/c racking out joints and curing etc complete (P/19-24).
| 120 |  |  |  |  | 15771.01 |  |  | %Cft |  |  | Rs. | 18925
4 | Cement plaster (1:4) upto 20' height 3/4" thick (P-52/11-c)
| 796 |  |  |  |  | 3015.76 |  |  | %Sft |  |  | Rs. | 24005.4496
5 | Scraping ordinary distemper oil bound distemper or paint on walls (P-13/54b)
| 25325.5 | Cft |  |  | 226.88 |  |  |  | % Sft |  |  | Rs: | 57458.4944
6 | Scraping white wash and colour wash (P-13/54a)
| 8472 | Cft |  |  | 75.63 |  |  |  | % Sft |  |  | Rs: | 6407.3736
7 | Brushing an scraping blishters of old paint from wood work (P-68/2)
| 1324 | Cft |  |  | 151.25 |  |  |  | % Sft |  |  | Rs: | 2002.55
8 | Brushing an scraping blishters of old paint from metal surface (P-68/3)
| 1439.5 | Cft |  |  | 605 |  |  |  | % Sft |  |  | Rs: | 8708.975
9 | C,C brick or stone ballast 1-1/2" to 2" guage ration 1:4:8(S.NO. 4-B/P-15)
| 1638.5 | Cft |  |  | 9416.28 |  |  |  | %Cft |  |  | Rs: | 154285.7478
10 | Filling, watering and ramming earth under floor with new earth (Excavated from outside) lead upto one chain and lift upto 5 feet. (R/A)
| 3277 | Cft |  |  | 14 |  |  |  | P.Cft |  |  | Rs: | 45878
11 | Providing and Laying 2"thick topping (P-42/16c)
| 680 |  |  |  | 3275.5 |  |  |  | %Sft |  |  | Rs. | 22273
12 | Two coat of bitumen laid hot using 34 Ibs %Sft over roof and blinded with sand at one Cft per %Sft (P-35/13)
| 5120 | Sft |  |  | 1887.4 |  |  |  | % Sft |  |  | Rs. | 96634.88
13 | Providing and Laying 3"thick topping c.c. (1:2:4) i/c surface finishing and dividing into panels. (P-47/16d)
| 3550 |  |  |  | 4411.82 |  |  |  | %Sft |  |  | Rs. | 156620
14 | P/F in position door & windows and ventilator for first class deodar wood frames 1 1/2" thick and teak wood ply Shutters of first class deodar wood skelton (Solid) stiled and ply wood stiled and rails core of Partal wood and teak ply wood (3 ply ) on both sides i/c hold fasts hinges al-drops Iron Tower Bolts handles Cleats with Cord etc Complete(Only shutters) (P/64-51).
| 43.88 |  |  |  |  | 875.13 | P.Sft |  |  |  |  | Rs. | 38401
15 | First class deodar wood wrought joinery in doors & windows etc, fixed in position including chowkats hold fasts hinges, iron tower bolts chocks cleats handles cords with hook 1-3/4" thick (P/58-7,b). Only shutter
| 209.86 |  |  |  |  | 902.93 | P.Sft |  | ` |  |  | Rs. | 189488.8898
16 | Distempring three coats.(P-54/24-B)
| 25325.5 |  |  |  |  | 1079.65 | %Sft |  |  |  |  | Rs. | 273426.7608
17 | White wash three coats (P-54/26b)
| 8472 |  |  |  |  | 829.95 | %Sft |  |  |  |  | Rs. | 70313.364
18 | Painting doors & windows new surface doors & windows any type.(3 coats) (P-69/5-ci-ii)
| 463 |  |  |  |  | 2116.41 | %Sft |  |  |  |  | Rs. | 9799
19 | Painting doors & windows any type old surface . (P-68/4-i-ii)
| 1324 |  |  |  |  | 1662.21 | %Sft |  |  |  |  | Rs. | 22008
20 | P/L floor of verona marble tiles of size 12"x12"x3/4" fine dressed on the surface wihtout winding set in white cement laid over 3/4" thick 3/4" thick bed of 1:2 grey CM setting the tiles with gerey cement slurry i/c cutting tiles to proper profile (R.A)
| 3624 |  |  |  |  | 301 | P.Sft |  |  |  |  | Rs. | 1090824
21 | P/F 3/8" thick marble tiles of approved quality & colour shade size 8" x 4/6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc over 1/2" thick base of cement mortar 1:3 setting mortar base i/c filling the joints and washing the tiles with white cement slurry, currnt, finishing cleaning and polishing etc complete (for old work) (P/49-68-ii).
| 592 |  |  |  |  | 201.07 | P/Sft |  |  |  |  | Rs. | 119033.44
22 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cment mortar 1:2 (P/43.25).
| 140 |  |  |  |  | 27747.06 | %Sft |  |  |  |  | Rs. | 38845.884
23 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing (P/50-38).
| 400 |  |  |  |  | 28299.3 | %Sft |  |  |  |  | Rs. | 113197.2
24 | Painting guard bars, gates iron bars gratings, railings including standard braces etc similar open work (P-69/I-d)
| 1439.5 |  |  |  |  | 977.4 | %Sft |  |  |  |  | Rs. | 14070
25 | P/F angle iron vertical plats for barbed wire fencing of size 2"x2" 1/4" embedded in RCC/Masonary pillars i/c Making cuts/holders @ 12" i/c fixing in pillars by chiseling and filling with cement sand mortar, saprining and finishing the surface. (P-95/8
| 235 |  |  |  |  | 169.18 | P/Rft |  |  |  |  | Rs. | 39757.3
26 | Providing and fixing barbed wire including with 12 guage 4 points @ 6" spart barbed wire i/c straightening & fixing in angle iron vertical (P-96/9)
| 235 |  |  |  |  | 8.38 | P/Rft |  |  |  |  | Rs. | 1969.3
27 | Split tiles 1/4" thick matt glazed or double glazed jointed in white cement and laid over 1:2 grey cement sand mortoar 3/4" thick including finishing complete (Flooring and facing)P-49/69
| 288 |  |  |  |  | 21021.11 | %Sft |  |  |  |  | Rs. | 60540.7968
28 | Applying chemical polishing on existing mosaic /Marble flooring /dado including cleaning, grinding with carbornaduim stone /sand paper and applying chemical plish as per requirment. (P49/70)
| 3568.5 |  |  |  |  | 36.6 | P/Sft |  |  |  |  | Rs. | 130607.1
29 | Painting old surface Painting corrugated surface patent roofing etc with oil paint (P-68/4(a)
| 288 |  |  |  |  | 1072.06 | %Sft |  |  |  |  | Rs. | 3087.5328
30 | S/F in position iron steel grill of 3/4 x 1/4 size flat iron of approved design I/c pinting rhree coats etc complete(weight not to be less than 3-6 lbs per sq:ft of finished grill(P-93-26)
| 432 | Sft |  |  | 180.5 |  | P.Sft |  |  |  | 77976 | Rs: | 77976
| _______%ABOVE/BELOW | [10 empty] | G.Total | 2894980.0386
| SINGNATURE OF CONTRACTOR | [8 empty] | Executive Engineer
Education Works Division-I
Karachi.

## Sheet2
SCHEDULE OF PRICE
PART (B) (W/S & S/W)
REHABILITATION / IMPROVEMENT / RENOVATION & PROVISION FOR MISSING FACILITIES IN EXISITING PRIMARY/ ELEMENTARY SCHOOL AT DISTRICT LEVEL (A.D.P NO. 190) AT GGPS COELA GODOWN, LYARI TOWN KARACHI. (SEMIS COD: 408050053)
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS :.
1 | P/F squating type white glazed earthen were W.C.pan 9" with low level flushing cistern 3 gallons capacity (ICL IFC design) i/c making requisite No of holes in walls plinth and floor and making good as finished originality also i/c the cost of C.I.trap and C.I.thumble (P/1-1,a).
|  | 3 | Nos | 5044.6 | Each | Rs. | 15133.8
2 | P/F 24" x 18" lavatory basin in white colour glazed earthen ware (ICL IFC) design with & i/c the cost of all finishing accessaries 1-1/2" dia rubber plug, chrome plated brass chain 1-1/4" dia malleable iron or brass unions earthen ware padestal of matching colour of similar making also i/c the cost of making holes in plinth floor wall etc and making good as dinished originality (P/3-8).
|  | 2 | Nos | 4253.7 | Each | Rs. | 8507
3 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed (Standard patterns) (P/3-9).
|  | 2 | Nos | 938.47 | Each | Rs. | 1877
4 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P-6/20)
|  | 2 | Nos | 2042.43 | Each | Rs. | 4085
5 | P/F chrome plated brass tower rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 1 | Nos | 1412.95 | Each | Rs. | 1413
6 | P/F 15" x 12" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 2 | Nos | 2047.76 | Each | Rs. | 4096
7 | P/F handle valve (China) .(P17/5)
| 1/2" dia | 1 | Nos | 200.42 | Each | Rs. | 200
| 1" dia | 1 | Nos | 365.42 | Each | Rs. | 365
| 1-1/4" dia | 1 | Nos | 475.42 | Each | Rs. | 475
8 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 1 | Nos | 22000 | Each | Rs. | 22000
9 | S/F soap tray made of plastic of superior quality.(P-7/6)
|  | 2 | Nos | 169.4 | Each | Rs. | 339
10 | Providing R.C.C.pipe with collars of class "A" and digging the trencle to required depth & fixing in postion l/c cuttin g,fitting & jointing with maxphalt composition & C.M.1:1 and testing with water pressure to a head of 4ft above the top of the building.
| 6" dia pipe | 100 | Rft | 72.4 | P.Rft | Rs. | 7240
| 9" dia pipe | 120 | Rft | 115.2 | P.Rft | Rs. | 13824
11 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.
|  | 8 | Nos | 14748.2 | Each | Rs. | 117986
12 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/17-2).
|  | 5 | Nos | 4905.67 | Each | Rs. | 24528
13 | P/F cancelled stop cock of superior quality with crystal head 1/2" dia (P/15-13,b).
|  | 2 | Nos | 252.1 | Each | Rs. | 504
14 | P/F long bib cock of superior crystal head with C.P.head 1/2" dia (P/15-15,b).
|  | 2 | Nos | 252.1 | Each | Rs. | 504
15 | S/F jet shower with rod of superior quality with C.P.head 1/2" dia (P/15-17).
|  | 2 | Nos | 197.1 | Each | Rs. | 394
16 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia
|  | 2 | Nos | 295.9 | Each | Rs. | 1797
17 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (600 gallons).
|  | 1 | Nos | 19402.5 | Each | Rs. | 19403
18 | P/F Europen white glazed earthen ware down w.c.pan complete.
|  | 1 |  | 2594.9 | Each | Rs. | 2595
[5 empty] | Total:. | Rs. | 247265.8
NON SCHEDULE ITEMS :.
19 | P/F "U" P.V.C pipe of schedule 40 of Nepro plastic for waswte and vent pipe i/c cutting and fitting jointing special "U" P.V.C cement soulation as approved directed by D.O.Incharge (R.A).
| 4" dia | 90 | Rft | 324.39 | P.Rft | Rs. | 29195
| 6" dia | 65 | Rft | 400 | P.Rft | Rs. | 26000
20 | P/F "U" P.V.C tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 650 | Each | Rs. | 3250
21 | P/F "U" P.V.C Elbow 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).(90 Degree).
|  | 5 | Nos | 395.34 | Each | Rs. | 1977
22 | P/F "U" P.V.C Socket 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 305.14 | Each | Rs. | 1526
23 | P/F "U" P.V.C cross 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 2 | Nos | 2449.37 | Each | Rs. | 4899
24 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 2 | Nos | 945.78 | Each | Rs. | 1892
25 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 2 | Nos | 573.3 | Each | Rs. | 1147
26 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 1 | Nos | 690 | Each | Rs. | 690
27 | P/F P.V.C Nepro make of Schedule 40 in/c cutting fitting complete in/c the cost of breaking through walls and roof and making good with c.c and testing with water to pressure head of 200 ft and handling etc complete (R.A).
| 1/2" dia | 5 | Rft | 45 | P.Rft | Rs. | 225
| 3/4" dia | 3 | Rft | 58.91 | P.Rft | Rs. | 177
| 1" dia | 2 | Rft | 91.68 | P.Rft | Rs. | 183
28 | P/F P.V.C socket of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 1 | Nos | 37.8 | Each | Rs. | 38
| 3/4" dia | 1 | Nos | 45.8 | Each | Rs. | 46
| 1" dia | 1 | Nos | 55.48 | Each | Rs. | 55
29 | P/F P.V.C Elbow of Schedule 40 of 90 degree in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 54.95 | Each | Rs. | 55
| 3/4" dia | 1 | Nos | 75.79 | Each | Rs. | 76
| 1" dia | 1 | Nos | 140.25 | Each | Rs. | 140
30 | P/F P.V.C union of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 1 | Nos | 350.88 | Each | Rs. | 351
| 3/4" dia | 1 | Nos | 381.13 | Each | Rs. | 381
| 1" dia | 1 | Nos | 471.88 | Each | Rs. | 472
31 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 64.34 | Each | Rs. | 129
| 3/4" dia | 2 | Nos | 85.8 | Each | Rs. | 172
| 1" dia | 2 | Nos | 140.8 | Each | Rs. | 282
32 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 5.83 | Each | Rs. | 12
| 3/4" dia | 2 | Nos | 10.56 | Each | Rs. | 21
| 1" dia | 2 | Nos | 10.36 | Each | Rs. | 21
33 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 1 | Nos | 225.06 | Each | Rs. | 225
| 3/4" dia | 1 | Nos | 229.9 | Each | Rs. | 230
| 1" dia | 1 | Nos | 375.16 | Each | Rs. | 375
34 | P/F P.V.C conceled stop cock 1/2" dia of schedule 40 in/c fitting etc complete as approved by the D.O.Incharge (R.A).
|  | 1 | Nos | 290.73 | Each | Rs. | 291
35 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 69.03 | Each | Rs. | 69
| 3/4" dia | 1 | Nos | 89.65 | Each | Rs. | 90
| 1" dia | 1 | Nos | 154.66 | Each | Rs. | 155
36 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 44.99 | Each | Rs. | 45
| 3/4" dia | 1 | Nos | 61.7 | Each | Rs. | 62
| 1" dia | 1 | Nos | 130.9 | Each | Rs. | 131
37 | P/F P.V.C Tee of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 1 | Nos | 109.67 | Each | Rs. | 110
| 3/4" dia | 1 | Nos | 136.29 | Each | Rs. | 136
| 1" dia | 1 | Nos | 160.49 | Each | Rs. | 160
38 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 244.75 | Each | Rs. | 245
| 3/4" dia | 1 | Nos | 260.7 | Each | Rs. | 261
| 1" dia | 1 | Nos | 350.9 | Each | Rs. | 350.9
|  |  | Cost of Non Sch: Items |  |  | Rs. | 76347.9 | 277495
_______%ABOVE/BELOW
SINGNATURE OF CONTRACTOR
EXECUTIVE ENGINEER
EDUCATION WORKS DIVN-I
KARACHI

## Sheet3
SCHEDULE OF PRICE
NAME OF WORK :- |  | REHABILITATION / IMPROVEMENT / RENOVATION & PROVISION FOR MISSING FACILITIES IN EXISITING PRIMARY/ ELEMENTARY SCHOOL AT DISTRICT LEVEL (A.D.P NO. 190) AT GGPS COELA GODOWN, LYARI TOWN KARACHI. (SEMIS COD: 408050053)
S # | Description of item |  | QTY: | RATE | UNIT |  | AMOUNT
1 | Boring for tube well in all water bearing soils from ground level upto 100 feet or 30-50 meter depth including sinking & with drawing of casing pipe (150 mm6"dia) (P-41/1d)
|  |  | 100 | 414 | P.Rft |  | 41400
2 | Boring for tube well in all water bearing soils from depth 100 to 200 feet or 30-51 to 61 meter below ground level including sinking & with drawing of casing pipe (250 mm 10"dia) (P-42/2d)
|  |  | 100 | 724 | P.Rft |  | 72400
3 | S/I PVC straingers "B" class of approved design quality and make including necessary socket etc complete (P-9/0-43)
|  |  | 60 | 363.35 | P.Rft |  | 21801
4 | S/F local made soir stainer of approved quality complete (150mm 6" dia) P-44/10b)
|  |  | 100 | 647 | P.Rft |  | 64700
5 | S/I PVC blind pipe 'B' class of approved quality & make including necessary sockets etc complete (150mm 6" dia) P-37/12d)
|  |  | 125 | 338.9 | P.Rft |  | 42362.5
6 | Shoulding of grated bajri (3/8"x1/8") b/w blind pipe 6" dia (P-45/13d)
|  |  | 125 | 102 | P.Rft |  | 12750
7 | Plujgging of joint casing & blind with c.c. 1:1-1/2:3 (P-38/14d)
|  |  | 64 | 347 | P.Cft |  | 22208
8 | Providing G.I pipe special and clamps etc i/c fixing cutting and fitting complete with and i/c cost of breaking walls and roof, making good etc painting two coats as white zink paint pigment and testing water pressure bead of 200 ft et complete (P-45/14d)
|  |  | 151 | 128.55 | P.Rft |  | 19411.05
9 | P/L full way gun metal values with wheals treaded or flanged or match with rubber washing standared patterns 1" dia (P-17/14a)
|  |  | 8 | 260.92 | P.Rft |  | 2087.36
10 | P/F ball value with unsoldered copper ball made to BBS 1" dia (P-18/6-iii)
|  |  | 1 | 318.34 | Each |  | 318.34
11 | P/F water pumping set 2 HP Mono of volts 1-1/2"x1- 1/2" suction & devlivery 30ft head including base plate form & also making cc. 1:3:6 plate form of required size & along with nuts & bolts complete in all respect (P-30/12)
|  |  | 1 | 22000 | Each |  | 22000
321438.25
________%ABOVE/BELOW
SINGNATURE OF CONTRACTOR
EXECUTIVE ENGINEER
EDUCATION WORKS-I
KARACHI