SCHEDULE “B”

Name of Work:   Rehabilitation of Improvement Renovation & provison for Missing Facilities Existing Primary School /Elementary Sachool at GBPS Mughal Sethar

Taluka Ubauro

| S.No. | Name of item | Qty. | Rate |  | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling cement concrete plain 1.3.6(SI.No.19(b) P.10) |  |  |  |  |  |
|  |  | 168.0 | 1306/80 | %CFT |  | Rs.2195/- |
| 2. | Removing cement or lime plaster (SI.No.53P.13) |  |  |  |  |  |
|  |  | 1044.0 | 121/- | %SFT |  | Rs;1263/- |
| 3. | Removing door with chowkats (Si.No.33 P.12 ) |  |  |  |  |  |
|  |  | =2 | 142/18 | Each |  | Rs;284/- |
| 3. | Removing Windows with chowkats (Si.No.34 P.12 ) |  |  |  |  |  |
|  |  | 1x6 | 102/85 | Each |  | Rs;617/- |
| 4. | Excavation in foundation of building bridges and other structures including dag belling dressing, refilling around structure with excavated earth watering and ramming lead upto 5 ft (S. I No: 18 P. No: 4) |  |  |  |  |  |
|  |  | 1401.0 | 3176/25 | %CFT |  | Rs:4450/- |
| 5. | Cement concrete brick or stone ballast 1 ½ “ to 2” gauge 1:5:10 (S. I No: 4 (c) P. No: 15). |  |  |  |  |  |
|  |  | 716.0 | 8694/36 | %CFT |  | Rs;62252/- |
| 6. | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (S. I No: 4 (e) P. No: 21). |  |  |  |  |  |
|  |  | 1207 | 11948/36 | %CFT |  | Rs:144217/- |
| 7. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) 1:2:4 (S. I No: 6 a i P. No: 17) |  |  |  |  |  |
|  |  | 210 | 337/- | P:CFT |  | Rs:70770/- |
| 8. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of mild steel (S. I No: 8 (b) P. No: 17) |  |  |  |  |  |
|  | Tor bar | 9.93 | 5001/70 | P;CWT |  | Rs:49667/- |
|  | M.Steel | 1.87 | 4820/20 | P:CWT |  | Rs:9014/- |
| 9. | Filling Watering and ramming earth under floor with new earth (Excavated from out side)lead upto one chain and lift upto 5feet(SI:NO:22P.4) |  |  |  |  |  |
|  |  | 7082.0 | 3630/- | %oCFT |  | Rs:25708/- |
| 10. | Add:Extra lead three miled lead |  |  |  |  |  |
|  | (7082.0 |  | 579/41 | %CFT |  | Rs:41034/- |
| 11. | Cement plaster 1:6 upto 20’ height ½ “ thick (S. I No: 13 (b) P. No: 52). |  |  |  |  |  |
|  |  | 2947.0 | 2206/60 | %SFT |  | Rs:65029/- |
| 12. | Cement plaster 1:4 upto 20’ height 3/8” thick (S. I No: P. No: 52). |  |  |  |  |  |
|  |  | 2947.0 | 2197/52 | %SFT |  | Rs:64761/- |
| S.No. | Name of item | Qty. | Rate |  | Unit | Amount |
| 13. | Providing and fixing G.I frame/chowkats of size 7x2or 4 ½ x3 for door using 20 gauge G.I sheet i/ welded hings and fixing at site with necessary hold fasts filling with cement sand slurry of ration 1.6 and repairing the mamba. The cost also i/c all carriage tools and plants used in making and fixing (SI.No.28p.92) |  |  |  |  |  |
|  |  | 35.0 | 228/90 | P:RFT |  | Rs;8012/- |
| 14. | Providing and fixing G.I frame/chowkats of size 7x2or 4 ½ x3 for Windows using 20 gauge G.I sheet i/ welded hings and fixing at site with necessary hold fasts filling with cement sand slurry of ration 1.6 and repairing the mamba. The cost also i/c all carriage tools and plants used in making and fixing (SI.No.29p.92) |  |  |  |  |  |
|  |  | 138.0 | 240/50 | P:RFT |  | Rs:33189/- |
| 15. | P/L 3” thick toping i/c surface finishing and dividing into pannals (S.I No: 16 P. No: 42). |  |  |  |  |  |
|  |  | 1229.0 | 4411/82 | %SFT |  | Rs;64221/- |
| (B) | 2thick |  |  |  |  |  |
|  |  | 399.0 | 3275/50 | %SFT |  | Rs:13069/- |
| 16. | Applying floating coat of cement 1/32”thick (SI:NO:14P.p.52) |  |  |  |  |  |
|  |  | 1044.0 | 660/- | %SFT |  | Rs:6890/- |
| 17. | Cement plaster 1:4 upto 20’ height ¾” thick (S. I No: P. No: 52). |  |  |  |  |  |
|  |  | 1044.0 | 3015/76 | %SFT |  | Rs:31485/- |
| 18. | P/L tiles glazed 6”x6”x1/4” on floor or wall facing in required colour and apttern of STILE specification jointed in white cement and pigment over a base of 1.2 grey cement mortar ¾”thick i/c washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc.complete i/c cutting (SI.No.60P.46) |  |  |  |  |  |
|  |  | 112.0 | 30509/77 | %SFT |  | Rs;34171/- |
| 19. | First class Deodar wood framed braced & battened colors & windows complete with iron fitting & fixed in position i/c chowkats 1 ¾ “ thick with battens & ¾ planks (S. I No: 10 P. No: 59). |  |  |  |  |  |
|  | Only shutter |  |  |  |  |  |
|  |  | 69.0 | 902/93 | P:SFT |  | Rs:62302/- |
| 20. | S/F in position iron steel grill 3/4xx1/4 flate iron of approved design i/c painting three coat etc complete weight into be less than 3.7 pound lbs per squired foet.(SI.No.26 P. 92) |  |  |  |  |  |
|  |  | 18.0 | 180/50 | P:SFT |  | Rs;3249/- |
| 21. | S/F in position iron steel grill door with angle iron frame of 1 ½”x1 ½”x1/4”and flat iron of ¾”x`3/4” with approved design and looking arrangement embedded in masonary as per instruction of Engineer.(SI.No.31 P. 93) |  |  |  |  |  |
|  |  | 108.0 | 231/60 | P:SFT |  | Rs:25013/- |
| 22. | Providing and laying single per layer of poly then sheet 0.13mm thick for water proofing as per specification and instruction of Engineer in charge (SI.No.38P.37) |  |  |  |  |  |
|  |  | 702.0 | 10/70 | P:SFT |  | Rs;7544/- |
| 23. | Earth filling over roof i/c watering ramming with 1”mue plaster finished with gobri leeping (a) 3”thick eaerth filling and 1”mud plaster (11(a)P.No.34) |  |  |  |  |  |
|  | (705.0) |  | 734/14 | %CFT |  | Rs:5176/- |
| 24. | Reinforced cement concrete spouts including fixing in position 2 ½” x6”x5”(SI:NO:14P.17) |  |  |  |  |  |
|  |  | 2 Nos: | 261/25 | Each |  | Rs:523/- |
| 25. | Making Notice board made with cement sand (SI.No. 01 P. No.95 ) |  |  |  |  |  |
|  |  | 64.0 | 58/11 | P:SFT |  | Rs:3719/- |
| S.No. | Name of item | Qty. | Rate |  | Unit | Amount |
| 26. | White wash three coat (SI.No.26© P. No.53) ) |  |  |  |  |  |
|  |  | 2904.0 | 829/95 | %SFT |  | Rs:24102/- |
| 27. | Colour wash two coats (SI.No. 25 (b) P.No.53 ) |  |  |  |  |  |
|  |  | 2197.0 | 859/90 | %SFT |  | Rs:18892/- |
| 28. | Distempering two coats (SI.No.24(a0 P. No.53 ) |  |  |  |  |  |
|  |  | 2766.0 | 1043/90 | %SFT |  | Rs:28874/- |
| 29. | Preparing surface and painting of doors & windows any type i/c edges 03 coats (new surface) (S. I No: 5 ii © P. No: 70). |  |  |  |  |  |
|  |  | 374.0 | 2116/38 | %SFT |  | Rs:7915/- |
| 30. | Preparing surface and painting guards bars gates iron bars railing (S.I No: 41 (j) P.No: 69). |  |  |  |  |  |
|  |  | 689.0 | 1270/83 | %SFT |  | Rs:8756/- |
| 31. | Pacca brick work in other then building in cement sand 1:6(SI:NO: P. ) |  |  |  |  |  |
|  |  | 778.0 | 12346/65 | %SFT |  | Rs:96057/- |
| 32. | Erection and removal of centering for R.C.C or plain cement concrete works of Deodar wood (2nd-Class)(SI: No:19(b)(ii)P.17) |  |  |  |  |  |
|  |  | 137.0 | 3127/41 | %SFT |  | Rs:4285/- |
| 33. | Cement concrete plain i/c placing compacting finishing and curing complete (i/c screening and washing at stone aggregate without ratio 1:2:4(SI.No.5(f)P.15) |  |  |  |  |  |
|  |  | 39.0 | 14429/25 | %CFT |  | Rs:5627/- |
| 34. | Cement Pointing struck joints on walls ration 1:2 (SI:NO:19P.52) |  |  |  |  |  |
|  |  | 925.0 | 1287/44 | %SFT |  | Rs:11909/- |
| 35. | M/F steel grated door with 1/16”thick sheeting i/c angle iron frame 2”x2”x3/8” and ¾”square bars 4”centre to centre with locking agrrangement (SI.No.24P.No.91) |  |  |  |  |  |
|  |  | 60.0 | 726/72 | %SFT |  | Rs:43603/- |
| 36.. | Providing and laying HALA or gattewrn tilles glazed 8" x 8" x1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing , cleaning and cost of wax ploish etc. complete including cutting tiles to proper profile.(SI:NO:62P.48). |
|  |  | 177.0 | 34520/31 | %SFT |  | Rs:61101/- |
|  |  |  |  | Total |  | 1144262 |

________% above/below on the rates of CSR.

### EXECUTIVE ENGINEER

EDUCATION WORKS DIVISION

GHOTKI

CONTRACTOR

| Part (B) |  |  |  |  |
| --- | --- | --- | --- | --- |
| P/F squatting type white glazed of flushing cistern with bend and making requisite numbers of holes in wall plinth & floor for pipe connections & making good in c.c 1.2.4(i)W.C of not less than 19 clear opening between fleshing rims and 3 gallons flushing tank with 4”dia C.I Thimble.(SI.NO(2) (B) P.1) |  |  |  |  |
|  | 2 Nos: | 6014/80 | Each | 12030/- |
| S/F 4x4x4 Dia C.I branches of the required degree with acces doorrubber washer 1/8” and bolts and nuts aand extra painting to match the colour of building (SI:NO: P ) |  |  |  |  |
|  | 2.0Nos: | 704/20 | Each | 1408/- |
| P/F 4”dia C.I Plain bend of the required degree i/c extra painting to match the colour of the building (SI:NO:10P.9) |  |  |  |  |
|  | 2.0 Nos: | 566/70 | Each | 1133/- |
| P/F 4”dia C.I soil and vent pipe i/c cutting and fitting and extra painting match the colour of building (SI:NO:1P.8.) |  |  |  |  |
|  | 2.0 Nos: | 333/29 | Each | 3999/- |
| Providing RCC pipe with collar (dedexor equivalent)i.c digging the ranch to required depth and fixing in position i.c cutting fitting and jointing with maxphlat composition and cement mortar and testing with water pressure to head of 4”feet above the top of the height pipe and refilling with excavated staff (SI:NO:2P.) |  |  |  |  |
| 4”dia | 20.0 | 146/54 | P:RFT | 2931/- |
| 6”dia | 40.0 | 199/25 | : | 7970/- |
| Providing G.I pipe special its i/c fixing cutting and fitting complete with i/c the cost of cutting trenches upto 2-2”feet deept refilling watering ramming and disposal of surplus earth within one chain in and painting 2 coats of bitumen paint to pipe and special after cleaning and hassin in soaket in maxphalt composition wrapped tightly round pipe and testing to pressure head of 200 feet and handing (SI:NO: P. ) |  |  |  |  |
| ½”dia | 20.0 | 73/21 | P;RFT | 1464/- |
| ¾”dia | 100.0 | 95/79 | P;RFT | 9579/- |
| 1:dia | 15.0 | 128/55 | P;Rft | 1928/- |
| P/F handle valves china ¾”thick (SI;No:7P.14) |  |  |  |  |
|  | 3.0 | 271/92 | Each | 816/- |
| S/F long bib cock of superior quality with C.P head ½”concealed dia (SI:NO:3P.13) |  |  |  |  |
|  | 4.0 | 337/92 | Each | 1352/- |
| P/F position C.P stops cock (SI:NO:7P.14) |  |  |  |  |
|  | 4.0 | 478/25 | Each | 1913/- |
| S/F fiber glass tank of approved quality and design and wall thickness as specified i/c cost nuts and blats fixing in position of c.c 1:3:6 and making connections for inlet and out let over flow pipe etc complete 250 gallons (SI:NO:3(a) P.21) |  |  |  |  |
|  | 1.0 | 21989/61 | Each | 21990/- |
| P/F 4”dia C.I terminal guard i/c extra painting to match the colour of the building (SI:No: P. ) |  |  |  |  |
|  | 2.0 | 398/70 | Each | 797/- |
| Add: extra labour for concealed G.I pipe |  |  |  |  |
| ½”dia | 20.0 | 7/82 | P;RFT | 156/- |
| ¾”dia | 50.0 | 8/45 | P:RFT | 432/- |
| Non Schedule item |  |  |  |  |
| P/I Position pump approved quality jawed mako 1 ½”x1”suction and delivery with pas plate and complete 1 H.P single phase motor sacraments mako 60 head 2800 i/c the cost of G.I fitting nuts and builds the cost of in C.C 1.2.4 plate form (a)Local made coir strainer 1 ½”dia with wooden shoe i/c boring fitting and fixing at complete (C) hand pumps machine with all accessories 4”dia G.I casing pipe Jawed mako 1 H.P phase motor etc complete.(R.A.S) |  |  |  |  |
| Filter | 10.0 | 76/05 | P:RFT | 761/- |
| G.I Pipe | 60.0 | 38/95 | “ | Rs:2337/- |
| P;Pump | 1.0 | 4276/- | Each | 4276/- |
| Hand pump | 1.0 | 1441/65 | “ | 1442 |
|  |  | Non: item |  | 8815/- |
|  |  | G;Total |  | 78705/- |

Part (B) ________% above/below/@ Par on the rates of CSR.

### EXECUTIVE ENGINEER

EDUCATION WORKS DIVISION

GHOTKI

CONTRACTOR