**SCHEDULE “B”**

**NAME OF WORK: - REHABILITATION, IMPROVEMENT, RENOVATION & PROVISION FOR MISSING FACILITIES IN EXISTING PRIMARY SCHOOL @ GBPS MAIN SINDH PRIMARY SCHOOL GHOTKI TALUKA GHOTKI (ADP NO: 181 OF 2016-17). (BLOCK B+E).**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S. No:** | **Item of Work** | **Qty:** | **Rate** | **Unit** | **Amount** |
|  |  |  |  |  |  |
| 1 | Dismantling 2nd Class tile roofing (S. I No: 22 (b) P. No: 11). | | | | |
|  |  | 1304 | @ 378/13 | %Sft | 4931/- |
| 2 | Dismantling brick work in lime or cement mortar (S. I No: 13 P. No: 10). | | | | |
|  |  | 1730 | @ 1285/63 | %Cft | 22259/- |
| 3 | Removing cement or lime plaster (S. I No: 53 P. No: 13). | | | | |
|  |  | 1004 | @121/- | %Sft | 1215/- |
| 4 | Dismantling cement concrete reinforced separating reinfor cement from concrete cleaning and straightening the same (S. I No: 20 P. No: 10). | | | | |
|  |  | 945 | @ 5445/- | %Cft | 51455/- |
| 5 | Mud plaster on floor or roof 1" thick (S. I No: 2 P. No: 51). | | | | |
|  |  | 7347 | @ 555/- | %Sft | 40776/- |
| 6 | Pacca brick work in foundation and plinth in Cement sand mortar 1:6 (S. I No: 4 (e) P. No: 21). | | | | |
|  |  | 731 | @ 11948/36 | %Cft | 87343/- |
| 7 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle.) (a) R.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (I) Ratio (1 : 2: 4 ) 90 Lbs.cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge. (S. I No: 6 a i P. No: 17). | | | | |
|  |  | 1713 | @ 337/- | P.Cft | 577281/- |
| 8 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.) (S. I No: 8 (b) P. No: 17). | | | | |
|  | Tor Steel | 84.120 | @ 5001/70 | P.Cwt | 420743/- |
|  | Mild Steel | 7.647 | @ 4820/20 | P.Cwt | 36860/- |
| 9 | Pacca brick work in ground floor in Cement sand mortar 1:6 (S. I No: 5 I (e) 21). | | | | |
|  |  | 1815 | @ 12674/36 | %Cft | 230040/- |
| 10 | Filling, watering and ramming earth under floor with new earth (Excavated from outside) lead upto one chain and lift upto 5 feet (S. I No: 22 P. No: 4). | | | | |
|  |  | 1561 | @ 3630/- | %0Cft | 5666/- |
| 11 | Add Extra lead 03 miles. | | | | |
|  |  | 1561 | @ 579/41 | %Cft | 9045/- |
| 12 | Cement plaster 1:6 upto 12' height 1/2" thick (S.I No: 13 (b) P. No: 52). | | | | |
|  |  | 5602 | @ 2206/60 | %Sft | 123614/- |
| 13 | Cement plaster 1:4 upto 12' height 3/8" thick (S.I No: 11 (a) P. No: 52). | | | | |
|  |  | 5602 | @ 2197/52 | %Sft | 123106/- |
| 14 | Pacca brick work other than building including striking of joints upto 20 feet height in: Cement sand mortar 1:6(S. I No: 7 I (e) 22). | | | | |
|  |  | 436 | @ 12346/65 | %Cft | 53831/- |
| 15 | Applying floating coat of Cement 1/32" thick. (S. I No: 14 P. No: 53). | | | | |
|  |  | 1004 | @660/- | %Sft | 6626/- |
| 16 | Cement plasters 1:4 upto 12' height. 3/4" thick. (S.I No: 11 (c) P. No: 52). | | | | |
|  |  | 1004 | @3015/76 | %Sft | 30278/- |
| 17 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge. Ratio 1 : 5 : 10(S.I No: 4 (c) P. No: 15). | | | | |
|  |  | 192 | @ 8694/95 | %Cft | 16694/- |
|  |  |  |  |  |  |
| **S. No:** | **Item of Work** | **Qty:** | **Rate** | **Unit** | **Amount** |
|  |  |  |  |  |  |
| 18 | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels: (S.I No: 16 (d) P. No: 42). | | | | |
|  |  | 720 | @4411/82 | %Sft | 31765/- |
| 19 | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels: 2" thick(S.I No: 16 (b) P. No: 42). | | | | |
|  |  | 2204 | @3275/50 | %Sft | 72192/- |
| 20 | Notice board made with cement (S. I No: 1 P. No: 95). | | | | |
|  |  | 80 | @ 58/11 | P.Sft | 465/- |
| 21 | Reinforced cement concrete spout including fixing in position 2 1/2" x 6" x 5" 9 (S.I No: 14 P. No: 18). | | | | |
|  |  | 8 | 261/25 | Each | 2090/- |
| 22 | White washing three coats (S. I No: 26 (c) P. No: 54). | | | | |
|  |  | 1922 | @ 829/95 | %Sft | 15952/- |
| 23 | Providing and fixing G.I frames /Chowkats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing (S. I No: 29 P. No: 93). | | | | |
|  |  | 35 | @ 228/90 | P.Rft | 8012/- |
| 24 | Providing and fixing G.I frames /Chowkats of size 7" x 2" or 4 1/2" x 3" for windows using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing (S. I No: 28 P. No: 93). | | | | |
|  |  | 138 | @ 240/50 | P.Rft | 33189/- |
| 25 | Supplying & fixing in position iron/steel grill of 3/4" x 1/4" size flat iron of approved design including painting 3 coats etc. complete (weight not to be less than 3.7 Lbs./Sq . Foot of finished grill) (S. I No: 26 P. No: 93). | | | | |
|  |  | 71 | @ 180/50 | P.Sft | 12816/- |
| 26 | First class deodar wood wrought joinery in doors and windows etc fixed in chowkats tower bolts cleats cords with hocks etc. | | | | |
|  |  | 119 | @ 902/93 | P.Sft | 107449/- |
| 27 | Cement pointing struck joints on walls Ratio 1:2 (S. I No: 19 (a) P. No: 53). | | | | |
|  |  | 813 | @ 1287/44 | %Sft | 10467/- |
| 28 | Priming coat of chalk distemper (S. I No: 23 P. No: 54). | | | | |
|  |  | 6419 | @ 442/75 | %Sft | 28420/- |
| 29 | Distempering Three coats (S. I No: 24 (c) P. No: 54). | | | | |
|  |  | 6419 | @ 1079/65 | %Sft | 69303/- |
| 30 | Colour washing Two coats (S. I No: 25 (b) P. No: 54). | | | | |
|  |  | 1771 | @ 859/90 | %Sft | 15229/- |
| 31 | Painting doors / windows (New Surface) 03 coats. | | | | |
|  |  | 304 | @ 2116/40 | %Sft | 6434/- |
|  | Old Surface Door |  |  |  |  |
|  |  | 328 | @ 1662/71 | %Sft | 5454/- |
| 32 | Painting guard bars, gates iron bars gratings, railings including standard braces (etc.) and similar open work. Each subsequent coat. (S. I No: 04 (d) P. No: 69). | | | | |
|  |  | 73 | @ 977/40 | %Sft | 714/- |
|  |  |  |  |  |  |
|  |  |  |  | **Total** | **2261715/-** |

\_\_\_\_\_\_\_\_\_%Above/Below on the rates of CSR.

****

****