SCHEDULE “B”

NAME OF WORK:  	REHABILITATION, IMPROVEMENT, RENOVATION & PROVISION FOR MISSING FACILITIES IN EXITING COLLEGES IN SUKKUR DEIVISION IN EDUCATION WORKS DIVISION GHOTKI   TALUKA M.MATHLO (ADP NO: 431).

| S. No: | Item of Work | Qty: | Rate | Unit | Amount |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling 2nd:class tiles roofing (SI:22(B)P.11) |  |  |  |  |  |
|  |  | 18005.0 | 378/13 | %SFT | Rs:68082/- |  |
| 2. | Dismantling cement concert reinforced separating rein for cement form concrete deaning and straightening the same (SI:1P.No.10) |  |  |  |  |  |
|  |  | 9585.0 | 5445/- | %CFT | Rs:521903/- |  |
| 3. | Removing windows with chowkats (SI:NO:33P.12) |  |  |  |  |  |
|  |  | 5495.0 | 121/- | %CFT | Rs:6649/- |  |
| 4. | Dismantling C.C Plain 1:3.6(SI:No:19(b)P.10) |  |  |  |  |  |
|  |  | 1009.0 | 1306/80 | %CFT | Rs:13186/- |  |
| 5. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) 1:2:4 (S. I No: 6 a i P. No: 17) |  |  |  |  |  |
|  |  | 112431.0 | 337/- | P:CFT | Rs:4189247/- |  |
| 6. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of mild steel (S. I No: 8 (b) P. No: 17) |  |  |  |  |  |
|  | Tor bar | 710.191 | 5001/70 | P:CWT | Rs:3552162/- |  |
|  | M.Steel | 7.50 | 4820/20 | P:CWT | Rs;36152/- |  |
| 7. | P/L 3” thick toping i/c surface finishing and dividing into pannals (S.I No: 16 P. No: 42). |  |  |  |  |  |
|  |  | 5935.0 | 4411/82 | %SFT | Rs:261842/- |  |
| 8. | Cement concrete plain i/c placing compacting finishing and curing complete (i/c screening and washing at stone aggregate without ratio 1:2:4(SI.No.5(f)P.15) |  |  |  |  |  |
|  |  | 3280.0 | 14429/25 | %SFT | Rs:473279/- |  |
| 9. | Two coat of bitumen laid hot using 34lbs fors %SFT over roof and blinded with sand at one CFT per %SFT(SI:NO:13P.34) |  |  |  |  |  |
|  |  | 18144.0 | 1887/40 | %SFT | Rs:342450/- |  |
| 10. | Applying floating coat of cement 1/32”thick (SI:NO:14P.p.52) |  |  |  |  |  |
|  |  | 5495.0 | 660.0 | %SFT | Rs:36267/- |  |
| 11. | Cement plaster 1:4 upto 12' height 3/4 thick (S.I No: 13 (b) P. No: 52). |  |  |  |  |  |
|  |  | 5495.0 | 3015/76 | %SFT | Rs:165716/- |  |
| 12. | Providing and laying HALA or gattewrn tilles glazed 8" x 8" x1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing , cleaning and cost of wax ploish etc. complete including cutting tiles to proper profile.(SI:NO:62P.48) |  |  |  |  |  |
|  |  | 1990.0 | 34520/31 | %SFT | Rs:686954/- |  |
| 13. | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (S. I No: 4 (e) P. No: 21). |  |  |  |  |  |
|  |  | 23336.0 | 11948/36 | %CFT | Rs:398597/- |  |
| 14. | Pacca brick work in ground floor 1:6 in cement sand (S. I No: 5 P. No: 21). |  |  |  |  |  |
|  |  | 1738.0 | 12674/36 | %CFT | Rs:220280/- |  |
| S. No: | Item of Work | Qty: | Rate | Unit | Amount |  |
| 15. | Cement plaster 1:6 upto 12' height 1/2" thick (S.I No: 13 (b) P. No: 52). |  |  |  |  |  |
|  |  | 14841.0 | 2206/60 | %SFT | Rs:327482/- |  |
| 16. | Cement plaster 1:4 upto 12' height 3/8" thick (S.I No: 11 (a) P. No: 52). |  |  |  |  |  |
|  |  | 14841.0 | 2197/52 | %SFT | Rs:326134/- |  |
| 17. | First class deodar wood wrought joinery in doors and windows etc fixed in chowkats tower bolts cleats cords with hocks glazed or fully glazed 1 ¾” thick (S. No: 7 (b) P. No: 58) |  |  |  |  |  |
|  | Only Shutter |  |  |  |  |  |
|  |  | 334.0 | 902/90 | P:SFT | Rs:301579/- |  |
| 18. | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and apttern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile.(SI:No;60P.47) |  |  |  |  |  |
|  |  | 2058.0 | 30509/77 | %SFT | Rs:627891/- |  |
| 19. | S/F Sandunder floor and plugging in walls (SI: No: P ) |  |  |  |  |  |
|  |  | 4628.0 | 1141/25 | %CFT | Rs:52817/- |  |
| 20. | Add:Extra lead three miled |  |  |  |  |  |
|  |  | 4628.0 | 579/41 | %CFT | Rs:26817/- |  |
| 21. | Excavation in foundation of building bridges and other structures including dag belling dressing, refilling around structure with excavated earth watering and ramming lead upto 5 ft (S. I No: 18 P. No: 4) |  |  |  |  |  |
|  |  | 3000.0 | 3176/25 | %CFT | Rs:7529/- |  |
| 22. | Cement concrete brick or stone ballast 1 ½ “ to 2” gauge 1:4:8. (S. I No: 4 (c) P. No: 15). |  |  |  |  |  |
|  |  | 1000.0 | 9416/28 | %CFT | Rs:94163/- |  |
| 23. | Pacca brick work in other then building in cement sand 1:6(SI:NO: P. ) |  |  |  |  |  |
|  |  | 4125.0 | 12346/65 | %CFT | Rs:509299/- |  |
| 24. | Erection and removal of centering for R.C.C or plain cement concrete works of Deodar wood (2nd-Class)(SI: No:19(b)(ii)P.17) |  |  |  |  |  |
|  |  | 520.0 | 3127/41 | %SFT | Rs:16263/- |  |
| 25. | Cement pointing struck joins on walls ratio 1:2.(SI:NO: P:no: ) |  |  |  |  |  |
|  |  | 4587.0 | 829/95 | %SFT | Rs:59055/- |  |
| 26. | Colour wash two coats. (S. No: 25 P. No: 54) |  |  |  |  |  |
|  |  | 4897.0 | 859/ | %SFT | Rs:39444/- |  |
| 27. | Primary coat of chalk distempering. (S.I No: 23 P. No: 54) |  |  |  |  |  |
|  |  | 18399.0 | 442/25 | %SFT | Rs:81462/- |  |
| 28. | Distempering three coats. (S.I No: 24 P. No: 54) |  |  |  |  |  |
|  |  | 48999.0 | 1043/90 | %SFT | Rs:511501/- |  |
| 29. | Preparing surface painting guards bars gates realing similar any type 3 coats. (old Surface) |  |  |  |  |  |
|  |  | 3516.0 | 674/60 | %SFT | Rs:23719/- |  |
| 30. | Preparing surface painting door and windows any type 3 coats. (New Surface) (S. I No: 5 P. No:70) |  |  |  |  |  |
|  |  | 5471.0 | 1160/06 | %SFT | Rs:63467/- |  |
| 31. | White wash three coats (SI:No: S.No: ) |  |  |  |  |  |
|  |  | 11175.0 | 829/95 | %SFT | Rs:92747/- |  |
|  |  |  |  | Total | 14136135/- |  |

_________%Above/Below on the rates of CSR.