|  |  |
| --- | --- |
| **NAME OF WORK :-** | **M/R TO SINDH SECRETARIAT NO-III (OLD KDA BUILDING) KARACHI**  **(SPECIAL REPAIR IN OFFICE OF THE ADVISOR TO CHIEF MINISTER 3RD FLOOR).** |

**“ SCHEDULE ‘ B’ “**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S.#** | **DESCRIPTION OF ITEMS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
|  | **SCHEDULE ITEMS PART-“A” ( CIVIL WORK )** |  |  |  |  |
| 1 | Dismantling glazed or encaustic tiles etc. ( SI.55 / P-13 ). | 1563.85-Sft | 786/50 | %Sft | 12300/- |
|  | Rupees. seven hundred eighty six. And. Fifty. Paisa | | | | |
| 2 | Scraping ( b) Ordinary distemper oil bound distemper or Pain on Walls. ( SI.54-(b) / P-13 ). | 2417.72-Sft | 226/88 | %Sft | 5485/- |
|  | Rupees. two hundred twenty six. And. Eighty eight. Paisa | | | | |
| 3 | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 2417.72-Sft | 1772/38 | %Sft | 42851/- |
|  | Rupees. One thousand seven hundred seventy two. And. Thirty eight. Paisa | | | | |
|  | **Total Rs.** | | | | **60636/-** |
|  | Above / Below Rs. | | | |  |
|  | **Total Rs. (A)** | | | |  |
|  | **NON-SCHEDULE ITEMS** |  |  |  |  |
| 1 | P/L wooden tiles 30”x6”x1/4” jointed in white cement and laid over 1:2 grey cement sand mortar ¾” thick in/c finishing & filling of joints with slurry of white cement or tile grout in desired shape in/c cutting (on floor or facing) **size 30”x6”x1/4”.** | 1035.00-Sft |  | PSft |  |
| 2 | P/F wall paneling with lassani sheet 3/4" thick and teak ply in/c frame work of partal wood 2”x1” & fixing lassani sheet & then teak ply in approved design and texture including all cost of labour making & cartage etc complete. | 496.20 Sft. |  | P/Sft. |  |
| 3 | S/F LED spot light China make with 12 Nos lamps each 12 watts fitted on walls, ceiling of approved quality as directed by the Engineer Incharge. | 51 Nos |  | Each |  |
|  |  |  | **(B). Total Rs.** | |  |
|  |  |  | **(A). Total Rs.** | |  |
|  |  | **G. Total (A + B ) Total Rs:-** | | |  |
|  |  | **Say Rs.** | | |  |

**CONDITION.**

1). Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2). No Cartage will be paid on any items of works.

3). No premium shall be paid on Non-Schedule items.

4). Water shall be arranged by the Contractor.

|  |  |  |
| --- | --- | --- |
| **CONTRACTOR.** | **ASSISTANT ENGINEER**  **PROVINCIAL BUILDINGS SUB-DIVISION-V,**  **KARACHI.** | **EXECUTIVE ENGINEER**  **PROVINCIAL BUILDINGS DIVISION-II,**  **KARACHI.** |