## Face sheet
FACE SHEET
Fund Head |  |  | Provincial
Major Head:- |  |  | SC-21020 SC-24020
Minor Head:- |  |  | Building & Structure
Service Head:- |  |  | Repair & maintenance
Deptt: Head:- |  |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI. Colouring, Painting, watersupply, sanitary fittings & Misc: works in different flats of (7th & 8th Floor)
Amount:- |  |  | Rs. 4,84,000/-
The estimate has been framed in the office of the Executive Engineer Provincial Buildings Division-III, Karachi for the probable expenditure that will be incurred in the current financial year.
SPECIFICATION
The work will be carried out as per P.W.D specification through Government approved contractors of Buildings Department government of Sindh.
GENERAL DESCRIPTION
The estimate has been prepared as per demand / requirement of occupants of Humayoon House Garden West Karachi and the same is submitted for technical sanction. Further it is submitted that the funds to teh tune of Rs:___________ million avalible and permission for N.I.T. recorded vide Superintending Engineer Provincial Buildings Circle Karachi letter No. PBC/GC-3042, Dated 11-10-2012.
| S.No | Financial Year |  | Release | Expenditure
| 1 | 2009-10 |  | 5000000/- | 5000000/-
| 2 | 2010-11 |  | 807015/- | 807015/-
| 3 | 2011-12 |  | 3150000/- | 3150000/-

## G.Abs
|  | NAME OF WORK => | M/R TO BARRACK NO. 18 OFFICE OF THE CHIEF ENGINEER BUILDING DEPARTMENT CAMP OFFICE AT SINDH SECRETARIAT BLOCK 4-A KARACHI.
GENERAL ABSTRACT
| S. No | Name of Component |  |  |  | Cost of Constt:
Part "A" Civil Works
| (i) | Schedule Items |  |  |  | 169818 | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
Part "B" W/S & S/F
| (i) | Schedule Items |  |  |  | 0 | /-
Part "C" Electric work
| (ii) | Non Schedule Items |  |  |  | 0 | /-
[5 empty] | G.Total Rs | 169818 | /-
[5 empty] | Say Rs. | 170000 | /-
|  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
Provincial Buildins Sub Division-VII |  |  |  |  | Provincial Buildins Division-II
|  | KARACHI. |  |  | KARACHI.

## (Abs)
NAME OF WORK => |  | M/R TO BARRACK NO. 18 OFFICE OF THE CHIEF ENGINEER BUILDING DEPARTMENT CAMP OFFICE AT SINDH SECRETARIAT BLOCK 4-A KARACHI.
' SCHEDULE " B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work)
(i) Schedule Item
1 | Dismantling cement concrete plain 1: 2: 4:
| (S.I.No.19/CP-10) |  | 523.125 | Cft | 3327 | / | 50 | % Cft | 17407 | /-
Rupees Thirty Three Hundred Twenty Seven and Fifty Ps Only
2 | Scraping ordinary distemper or paint on
| (S.I.No.54(b)P-13) |  | 1223.93 | Sft | 226 | / | 88 | % Sft | 2777 | /-
Rupees Two Hundred Twenty Six and Eighty Eight Ps Only
3 | Distempering (b) Two Coats.(S.I.24(C)/54) |  | 229.75 | Sft | 1043 | / | 90 | % Sft | 2398 | /-
Rupees One Thousand Forty Three and Ninty Ps Only
4 | Providing and laying 1" thick topping finishing
cement concrete (1:2:4 ) including Surface
and dividing into panels: 3" thick
| (S.I.No.16-c/P-42) |  | 523.125 | Sft | 4411 | / | 82 | % Sft | 23080 | /-
Rupees Four Thousand Four Hundred Eleven and Eighty Two Only
5 | Providing & fixing with jute felt paper
of 60 lbs over roof i/c claning of roof
with wire brush and removing dust, applying
bitumen coat at the rate of 34 lbs per % sft
as premix inter coats and then laying felt paper
with 10 % over laps then applying and s
spreading hill sand at the rate of 1 cft per
100 sft the cost also i/c necessary fire
material , kerosene oil wood etc.
| (S.I.No.42/P-39) |  | 1153.125 | Sft | 106 | / | 73 | P.Sft | 123073 | /-
Rupees One Hundred Six and Seventy Three Only
6 | Painting Old Surfaces painting doors and
Windows any type. Each subsequent coat.
| (S.I.No.4-c/i+ii/P-68) |  | 93.375 | Sft | 1160 | / | 6 | % Sft | 1083 | /-
Rupees Eleven Hundred Sixty and Six Ps Only
[8 empty] | Part A(i)Total | 169818 | /-
Above or Below
[8 empty] | Part A(i)Total |  | /-
Part (A) Civil Work
(ii) Non Schedule Item
1 | P/L RCC Precast Slab size of specially
designed size 31/2x21/2x3 scetion shown
below directed by Engineer Incharge.Rate
i/c all cost of material trained labour
shifting loading & unloading fixing jointing
with cement mortar ratio 1:2 and curring
| etc complete in all respect |  | 41.25 | Sft |  |  |  | P.Sft
2 | Preparing the surface & Applying matte finishpaint of
approved quality & make includingscraping the old
surface, applying sandpaper filling with loppy& ICI or
equivalent& then applying matte finish paint 2 coats
| as directed by Engineer Incharge. |  | 975.51 | Sft |  |  |  | P.Sft
3 | French Polish of Door Windows & ventilators and
stair floor (Walls) work etc including repairing surface
and polishing by using latch dana, spirit, thinner,
pigment ICI lacquer,regmal, (Germany) malmal,
ICI Saller, Tarpauine Oil, Polishing as per satisfaction
| of competent authorityetc complete. |  | 93.375 | Sft |  |  |  | P.Sft
4 | Providing and Fixing False ceiling of
Gypsum Fibre board in/c. frame work of
aluminium double channel Section hanged
with Nails, Hooks, wire to ceiling etc. as
| directed by the Consultant. |  | 77.25 | Sft |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part (B) W/S & S/F
(i) Schedule Item
1 | S/F fiber glass tank of approved quality
and design and wall thickness as specified
i/c the cost of nuts bolts and fixing in
plateform of cement concrete 1:3:6
and making connection for inlet and
over flow pipe etc complete 250 gallon
| wall thickness 4mm (S.I.No.3-c/P-21) |  | 1 | Nos | 21989 | / | 42 | Each | 21989 | /-
Rupees Twenty One Thousand Nine Hundred Eighty Nine
2 | Providing & Fixing Handle Valve 1/2" dia |  | 1 | Nos | 200 | / | 42 | Each | 200 | /-
Rupees Two Hundred and Forty Two Ps Only
3 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 2 | Nos | 1109 | / | 46 | Each | 2219 | /-
Rupees Eleven Hundred Nine and Forty Six Only
[5 empty] | Total W/S & S/F Sch.Item |  |  |  | 24408 | /-
Above Or Below
Total
PART - C Electric Item
(ii) Non Schedule Item
1 | Providing & fixing fancy type switch imported quality
with board approved by the Engineer Incharge
| I/c necessary connection & recessed in the wall etc. |  | 6 | Nos |  |  |  | Each
2 | P/F Light plug socket 3 pin 15 amps
with fancy type board and sheet i/c
| necessary connection. |  | 1 | Nos |  |  |  | Each
3 | P/F Pannel Board double shutter to accommodate
the circuit breaker i/c painting with enemmelled
| paint etc complete |  | 1 | Sft |  |  |  | P.Sft
4 | P/F False ceiling spot light fancy type
round shape or square shape with glass
and 2 holdre i/c steel box,jalli,and energy
saver or tube light 2'-0 long rod as
| approved by engineer incharge. |  | 17 | Nos |  |  |  | Each
5 | Providing & fixing Energy saver 18 to 24
| watts approved quality etc complete. |  | 8 | Nos |  |  |  | Each
Part "B-iii" NSI)Total
SUMMARY OF COST
| PART A | Cost of Civil Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Civil Work |  |  |  |  | Rs.
| PART B | Cost of W/S & S/F Schedule Item |  |  |  |  | Rs.
| PART C-ii | Cost of Non Schedule Item Electric Work |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VII |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## Mes
NAME OF WORK:- |  | M/R TO BARRACK NO. 18 OFFICE OF THE CHIEF ENGINEER BUILDING DEPARTMENT CAMP OFFICE AT SINDH SECRETARIAT BLOCK 4-A KARACHI.
MEASUREMENT SHEET.
S.No. | Description of Item |  |  | NO. L. B. D. |  | Quantity
PART (A) Civil Work)
(i) Schedule Item
1 | Dismantling Cement Concrete
| Roof |  |  | 1x33.75x15.50 |  | 523.125 | Sft
[6 empty] | 523.125 | Sft
2 | Scraping (B) Ordinary distemper
| Camp Office Walls |  |  | 2x(32.25+14.50)x8.25 |  | 771.37 | Sft
| Bath Room Walls |  |  | 2x(7.50+5.50)x1.75 |  | 45.5 | Sft
| O/Side Walls S/Walls |  |  | 2x14.50x9.0 |  | 261 | Sft
| O/Side Building L/Wall |  |  | 1x33.0x8.75 |  | 288.75 | Sft
[6 empty] | 1366.62 | Sft
Deduction:
| D |  |  | 1x4.50x7.0 |  | 31.5 | Sft
| B/D |  |  | 1x2.25x6.75 |  | 15.18 | Sft
| W |  |  | 2x6.0x4.0 |  | 48 | Sft
| W |  |  | 2x3.0x4.0 |  | 24 | Sft
| W |  |  | 1x6.0x4.0 |  | 24 | Sft
[6 empty] | 142.68 | Sft
[6 empty] | 1223.94 | Sft
3 | Distempering two coats
| O/side |  |  | 2x14.50x8.75 |  | 253.75 | Sft
Deduction
| W |  |  | 2x3.0x4.0 |  | 24 | Sft
[6 empty] | 229.75 | Sft
4 | C.C Topping 3" thick
| over roof |  |  | 1x33.75x15.50 |  | 523.125 | Sft
5 | P/L bitumen jhute felt
| Chief Office |  |  | 1x33.75x15.50 |  | 523.125 | Sft
| Electric office |  |  | 1x35.0x18.0 |  | 630 | Sft
[6 empty] | 1153.125 | Sft
6 | painting doors and windows
| b/d |  |  | 2x2.25x6.75 |  | 30.375 | Sft
| door |  |  | 2x1x4.50x7.0 |  | 63 | Sft
[6 empty] | 93.375 | Sft
Part A-ii Civil Work Non Sch: Item
1 | precast rcc slab |  |  | 1x7.50x5.50 |  | 41.25 | Sft
2 | P/L matte finish surface
| camp off wall |  |  | 2x(32.25+14.50)x8.25 |  | 771.375 | Sft
| bath room |  |  | 2x(7.50+5.50)x1.75 |  | 45.5 | Sft
| o/side c/wall |  |  | 1x33.75x8.75 |  | 295.3125 | Sft
[6 empty] | 1112.1875 | Sft
Deduction:
| W |  |  | 2x6.0x4.0 |  | 48 | Sft
| D |  |  | 1x2.25x6.75 |  | 15.1875 | Sft
| W |  |  | 2x3.0x4.0 |  | 24 | Sft
| W |  |  | 1x6.0x4.0 |  | 24 | Sft
| W |  |  | 1x3.0x4.0 |  | 12 | Sft
| D |  |  | 1x4.50x3.0 |  | 13.5 | Sft
[6 empty] | 136.6875 | Sft
[6 empty] | 975.5 | Sft
3 | P/L French Polishing
| D |  |  | 2x4.50x7.0 |  | 63 | Sft
| D |  |  | 2x2.25x6.75 |  | 30.375 | Sft
[6 empty] | 93.375 | Sft
4 | P/F False ceiling
| Bath Ceiling |  |  | 1x7.50x5.50 |  | 41.25 | Sft
| office |  |  | 1x18.0x2.0 |  | 36 | Sft
[6 empty] | 77.25 | Sft
Part B W/S & S/F Schedule Item
1 | P/F Fiber glass tank
|  |  |  | 1 x 1 |  | 1 | No
2 | P/F Handle Valve 1/2" dia
|  |  |  | 1 x 1 |  | 1 | No
3 | P/F Bib Cock 1/2" dia
|  |  |  | 1 x 2 |  | 2 | Nos
Part C Electric Non Schedule Item
1 | P/F Fancy switch
|  |  |  | 1 x 6 |  | 6 | Nos
1 | P/F Power Plug
|  |  |  | 1 x 1 |  | 1 | No
3 | P/F Distribution Board
|  |  |  | 1x1.0x1.0 |  | 1 | Sft
4 | P/F Fancy False ceiling light
| Chief Office |  |  | 1 x 5 |  | 5 | Nos
| Electric Office |  |  | 1 x 12 |  | 12 | Nos
[6 empty] | 17 | Nos
5 | P/F Energy Savers
|  |  |  | 1 x 8 |  | 8 | Nos
| Sub-Engineer |  |  |  | ASSISTANT ENGINEER
Provincial Building Sub-Division No.VII
Karachi.