## Sheet1
Office of the Project Director (GHDA)
Name of work: Development of Gorakh Hills Construction of Servant Hall Hangan Spring
| Estimated cost Rs. | 3100000
ASSISTANT ENGINEER Gorakh Hills Development Authority | Project Director Gorakh Hills Development Authority
Gorakh Hills Development Authority

## Sheet2
ABSTRACT OF COST
Name of work: Development of Gorakh Hills Construction of Servant Hall Hangan Spring
Cost of schedule itmes |  |  | Rs. | 1728493.4129
Cost of carriage |  |  | Rs. | 452060.384
Add 50% on difficult terrain |  |  | Rs. | 864246.7065
Add 1% contifency |  |  | Rs. | 17284.9341
|  | Grand total Rs. |  | 3062085.4375
|  |  | Say Rs. | 3100000
ASSISTANT ENGINEER Gorakh Hills Development Authority |  |  | Project Director Gorakh Hills Development Authority

## Sheet3
DETAILED WORKING ESTIMKATE
Name of work: Development of Gorakh Hills Construction of Servant Hall Hangan Spring
1 | Excavation in hard rock requiring blasting but blasting prohibited and disposal of excavted material upto 50ft lead
amount
| Footing |  |  | 11 | x | 4 | x | 4 | x | 3 | = | 528
|  |  |  | 3 | x | 12 | x | 2.5 | x | 3 |  | 270
|  |  |  | 2 | x | 6 | x | 2.5 | x | 3 |  | 90
[9 empty] | Total |  |  | 888
|  | 888 | x | Rs | 25936 | P o% cft | [6 empty] | 23031.168
2 | Stone filling in dry hand packed as filling behind retaining walls or in pitching and apron
Stone filling
|  | Room |  | 1 | x | 20 | x | 14 | x | 2.5 | = | 700
|  | Verandah |  | 1 | x | 6 | x | 20 | x | 2.5 | = | 300
|  |  |  | 1 | x | 7 | x | 5 | x | 2.5 |  | 87.5
[9 empty] | Total |  |  | 1087.5
|  | 1088 | x | Rs | 2684 | %cft | [6 empty] | 29201.92
3 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge Ratio (1:4:8)
|  |  |  | 11 | x | 4 | x | 4 | x | 0.75 | = | 132
[9 empty] | Total |  |  | 132
|  | 132 | x | Rs | 9416.28 | %cft | [6 empty] | 12429.4896
4 | Reinforced cement concrete work including all labour and material expect the cost of stell reinforcement and bending and binding which will be paid separtily. This rate also including all kinds for forms moulds lifing shuttring curing rendering and all finshing the exposed surface (inclluding screening and washing of shingle).
| R.C.C Fooling |  |  | 11 | x | 3 | x | 3 | x | 2 | = | 198
|  |  |  | 11 | x | 2.5 | x | 2.5 | x | 2.75 | = | 189.0625
| Plinth beam |  |  | 2 | x | 20 | x | 0.75 | x | 2 | = | 60
|  |  |  | 2 | x | 12.5 | x | 0.75 | x | 2 | = | 37.5
|  |  |  | 2 | x | 4.5 | x | 0.75 | x | 2 | = | 13.5
|  |  |  | 1 | x | 20 | x | 0.75 | x | 2 | = | 30
|  |  |  | 2 | x | 7 | x | 0.75 | x | 2 |  | 21
|  |  |  | 11 | x | 1.5 | x | 0.75 | x | 10.5 | = | 129.9375
|  |  |  | 1 | x | 21.5 | x | 14 | x | 0.67 | = | 201.67
[9 empty] | Total |  |  | 880.67
|  | 880.7 | x | Rs | 337 | P cft | [6 empty] | 296795.9
5 | febrication of mild steel reinforcement for cement concrete including cuttin bending lying in position, making jointsand fasterning i/c cost of binding wire, B) using tor bars.
| 880.7*5/112 |  | = | 39.31 | 5001.7 | p cwt | [6 empty] | 196616.827
6 | Providing and fixing G.I frames / choukhats of size 7"x2" or 4 1/2"x3 for windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry or ratio 1:6 and reparining the jambs. The cost i/c all carriage tools and plant used in making and fixing
|  |  |  | 3 | x | 22 | = | 66
[7 empty] | Total | 66
|  | 66 | x | Rs | 240.5 | P rft | [6 empty] | 15873
7 | First class dedar wood wrought, joinery in doors and windows etc, fixing in position including chowkats bhold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. 1 3/4" thick.
|  |  |  | 3 | x | 4.5 | x | 8.5 | = | 114.75
[9 empty] | Total | 114.75
|  | 114.8 | x | Rs | 1182.56 | P sft | [6 empty] | 135757.888
8 | Supplying and fixing in position Aluminium channel framing for openable (hinged) ventelator aluminium english section with powder coted (A-1 material)
|  |  |  | 4 | x | 2 | x | 7.5 | = | 60
|  |  |  | 1 | x | 2 | x | 2.5 | = | 5
[9 empty] | Total | 65
|  | 65 | x | Rs | 1647.69 | P sft | [6 empty] | 107099.85
9 | Course ruble masonery including hammer dressed with 1:4 Cement morter
|  | 2 | x | 20 | x | 0.75 | x | 13 | = | 390
|  | 2 | x | 12.5 | x | 0.75 | x | 13 | = | 243.75
|  | 1 | x | 14 | x | 0.75 | x | 7 | = | 73.5
|  | 2 | x | 7 | x | 0.75 | x | 13 | = | 136.5
[9 empty] | Total | 843.75
|  | 843.8 | x | Rs | 28759.23 | % sft | [6 empty] | 242670.3827
10 | Cement Plaster 1:4 yp to12' height. 3/4' thick
| Room | 2 | x | 2 | x | 20 | x | 10 | = | 800
|  | 2 | x | 2 | x | 12.5 | x | 10 | = | 500
verandal |  | 2 | x | 2 | x | 14 | x | 45 | = | 2520
Dedcut windows & doors |  | 2 | x | 4 | x | 3 | x | 4.5 | = | 108
|  | 2 | x | 2 | x | 3.5 | x | 8.5 | = | 119
|  | 2 | x | 2 | x | 7 | x | 10 | = | 280
|  | 2 | x | 2 | x | 5 | x | 10 | = | 200
[9 empty] | Total | 3873
|  | 3873 | x | Rs | 3056.62 | % sft | [6 empty] | 118382.8926
11 | Cement Plaster 1:4 up to 12' height 1/2" thick flooring
Qty same as item No. 10= 3593 Sft
|  | 3873 | x | Rs. | 2496.75 | %Sft | [6 empty] | 96699.1275
12 | Cement concrete brick or stone ballast 1-1/2' to 2' gauge Ratio (1:4:8)
| Room | 1 | x | 20 | x | 14 | x | 0.5 | = | 140
| veiw | 1 | x | 20 | x | 6 | x | 0.5 | = | 60
|  | 1 | x | 20 | x | 14 | x | 0.5 |  | 140
[9 empty] | Total | 340
|  | 340 | x | Rs | 9416.28 | % cft | [6 empty] | 32015.352
13 | Cement concrete plain including palcing compaction. Finshing and curing complete, (inculding screening and washing at stone aggregate without ratio 1:2:4.
| Room | 1 | x | 20 | x | 14 | x | 0.33 | = | 92.4
|  | 1 | x | 20 | x | 6 | x | 0.33 | = | 39.6
| Bath | 1 | x | 7 | x | 5 | x | 0.33 | = | 11.55
[9 empty] | Total | 143.55
|  | 143.6 | x | Rs | 14429.25 | % cft | [6 empty] | 20720.403
14 | Providing and laying tile glazed 8"x8"x1/4" on floor on walls facing in requred colour and petron with the gry cement 1:2 ration and 3/4 thick cement morter all ect.
| Room |  |  | 1 | x | 20 | x | 14 | = | 280
|  |  |  | 1 | x | 20 | x | 6 | = | 120
| Bath |  |  | 1 | x | 7 | x | 5 | = | 35
[9 empty] | Total | 435
|  |  |  | 435 | x | Rs | 34520.31 | % cft |  |  |  |  | 150163.3485
15 | Wall finsh preparing the surface and painting with matt finsh i/c rubbing the surface with bathy (silicon carbide rubble brick) filling the voide with zink/chalk/ plaster or paris mixture, applying first coat primer, making the surface smooth and then painting 3 coat with matt finsh of approved mak etc.
|  |  |  | 1 | x | 20 | x | 10 | = | 200
|  |  |  | 1 | x | 12.5 | x | 10 | = | 125
|  |  |  | 1 | x | 14 | x | 5 | = | 70
[9 empty] | Total | 395
|  |  |  | 395 | x | Rs | 2717 | % cft |  |  |  |  | 10732.15
16 | preparing the surface and painting with wether coat i/c rubbing the surface with rubble brick/ sand paper filling the voide with zink/chalk/ plaster or paris then painting 3 coat with matt finsh of approved mak etc.
| outer building |  |  | 1 | x | 20 | x | 10 | = | 200
|  |  |  | 1 | x | 12.5 | x | 10 | = | 125
|  |  |  | 1 | x | 14 | x | 5 | = | 70
|  |  |  | 2 | x | 7 | x | 10 |  | 140
|  |  |  | 1 | x | 5 | x | 10 | = | 50
[9 empty] | Total | 585
|  |  |  | 585 | x | Rs | 1948.1 | % sft |  |  |  |  | 11396.385
17 | French Polishing complete on new work
|  | doors |  | 3 | x | 4.5 | x | 8.5 | = | 114.75
[9 empty] | Total | 114.75
|  |  |  | 114.8 | x | Rs | 3841.75 | % sft |  |  |  |  | 4410.329
Electrical Works
18 | Wiring for light or fan point with 3/29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required
|  |  |  | 20 | x | at Rs. | 797 | [5 empty] | 15940
19 | Wiring for plug point light or fan point with 3/29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required
|  |  |  | 2 | x | at Rs. | 985 | [5 empty] | 1970
20 | Providing and fixing MS tubular pole 31 ft long with all respect assesscres complete.
|  |  |  | 2 | x | at Rs. | 26956 | [5 empty] | 53912
21 | Providing and fixing junction Box asper following sepecifaction. Size 8"x6"x4"
|  |  |  | 10 | x | at Rs. | 117.9 | [5 empty] | 1179
22 | Providing and fixing circute Breaker 30amp DP
|  |  |  | 5 | x | at Rs. | 2456 | [5 empty] | 12280
23 | Providing and fixing circute Breaker 100amp DP
|  |  |  | 1 | x | at Rs. | 9261 | [5 empty] | 9261
24 | Providing and fixing on way sp 10AMP switch surface type
|  |  |  | 40 | x | at Rs. | 58 | [5 empty] | 2320
25 | Providing and fixing tree pin 10 amp plug & socket
|  |  |  | 10 | x | at Rs. | 151 | [5 empty] | 1510
26 | Providing & fixing backlight ceiling rose
|  |  |  | 40 | x | at Rs. | 72 | [5 empty] | 2880
27 | Providing & fixing ceiling fan 56"
|  |  |  | 2 | x | at Rs. | 3185 | [5 empty] | 6370
28 | Providing and laying main Pvc insulated with size 2-7/0.64 (16 mm) 2
|  |  |  | 125 | x | at Rs. | 935 | [5 empty] | 116875
[10 empty] | Total |  |  | 1728493.4129
ASSISTANT ENGINEER Gorakh Hills Development Authority

## Sheet4
MATERIAL STATEMENT
S.NO | MATERIAL | QTY | CEMENT | HILL SAND | CRUSHED BAJRI | STONE | paver block
1 | C.C (1:4:8) | 472 | 45.312 | 223.256 | …. | 446.984
2 | RCC(1:2:4) | 880.7 | 154.1225 | 387.508 | 775.016
2 | C.C (1:2:4) | 143.6 | 25.13 | 63.184 | 126.368 | ….
3 | Tiles | 435 | …. | …. | …. | …. | 1957.5
| course RM | 843.8 | 53.9188 | 270.016 |  | 1012.56
4 | c plaster 1:4 | 3873 | 27.537 | 139.428 | …. | ….
5 | Steel | 39.31 | …. | …. | …. | …. | 1.9655
|  |  | 306.0204 | 1083.392 | 901.384 | 1459.544 | 1959.4655
|  | RATE | 110.73 | 1292.92 | 1195.24 | 771.96 | 4309.29
|  | PER | BAG | % CFT | % CFT | % CFT | per 1000
|  | AMOUNT | 33885.6334 | 14007.3918 | 10773.7021 | 11267.0959 | 8443.9051
[5 empty] | TOTAL |  | 78377.7283
| ASSISTANT ENGINEER Gorakh Hills Development Authority |  |  |  | Project Director Gorakh Hills Development Authority

## Sheet5
RATE ANALYSIS
Name of Work: | Name of work: Development of Gorakh Hills Construction of Servant Hall Hangan Spring
Carriage of 100cft /5 tones of all materials like stone aggregate, spawl, coal,lime, surkhi etc B.G Rail fastening points and crossing Bridges, Girders, Pipes, sheet rails M.S bars etc or 1000 Nos bricks 10"x5"x3" or 100 nos tiles 12"x6"x2" or 150 cft of timber or 100 maunds of fuel wood by trucks or any other means owned by the contractors.
| HILLS SAND |  |  |  | BAJRI/SHINGLE
Quarry to (SOW) Miles 22 |  |  |  | Quarry to (SOW) Miles 19
Mile 1st to 6th mile |  |  | Rs. 771.96 | Mile 1st to 6th mile |  |  | Rs. 771.96
subsequent Mile: 16 Miles 32/56 |  |  | Rs. 520.96 | subsequent Mile: 16 Miles 32/56 |  |  | Rs. 423.28
|  | Total | Rs. 1292.92 |  |  | Total | Rs. 1195.24
| STONE BALLAST |  |  |  | HILLS SAND
Quarry to (SOW) Miles 22 |  |  |  | Quarry to (SOW) Miles 22
Mile 1st to 6th mile |  |  | Rs. 771.96 | Mile 1st to 6th mile |  |  | Rs. 7.53
subsequent Mile: 16 Miles 32.56 |  |  | Rs. | subsequent Mile: 16 Miles 32/56 |  |  | Rs. 103/20
|  | Total | Rs. 771.96 |  |  | Total | Rs. 110.73
TOR STEEL
Quarry to (SOW) Miles 172
Mile 1st to 6th mile |  |  | Rs. 771.96
subsequent Mile: 16 Miles 32/56 |  |  | Rs. 5404.96
|  | Total | Rs.1235.98
ASSISTANT ENGINEER Gorakh Hills Development Authority |  |  |  |  | Project Director Gorakh Hills Development Authority

## Sheet6
RATE ANALYSIS
CARRIGE OF MATERIAL FROM 32 KM TO SITE OF WORK THAT IS 35.0 TO SOW (LEAD 09 MILES)
1 | Crush bajri | 901.384 | Cft | @ | Rs: | 79.2 | Rs. | 71389.6128
2 | Hill Sand | 1083.392 | Cft | @ | Rs: | 79.2 | Rs. | 85804.6464
3 | Cement Bags | 306.0204 | bags | @ | Rs: | 79.2 | Rs. | 24236.8117
4 | Tiles | 1957.5 | Sft | @ | Rs: | 39.16 | Rs. | 76655.7
5 | Stone Metal ____Cft (For 5 Mile) | 1459.544 | cft | @ | Rs: | 79.2 | Rs. | 115595.8848
[5 empty] | Total Rs. |  |  | 373682.6557
[5 empty] | From Quarry Source Rs. |  |  | 78377.7283
[5 empty] | Grand Total Rs. |  |  | 452060.384
| ASSISTANT ENGINEER Gorakh Hills Development Authority |  |  |  |  | Project Director Gorakh Hills Development Authority

## Sheet7
RATE ANALYSIS
Name of work: Development of Gorakh Hills Construction of Servant Hall Hangan Spring
units 20 CFT / 20 Bags / 1 Cwt
1 | Cost of fuel, lubricants, Filterm Waste etc complete.
|  | 8 liters | P. litre | @ | Rs: | 73 |  | Rs. 584 /-
2 | labour charges etc complete loading & unloading
|  | 02 nos |  | @ | Rs: | 250/- | Each Trip | Rs. 500/-
3 | Datrun Hire charges i/c Driver Rs. 2000/- P-4 Day i/c manintanance wear /rear, taxes Etc complete. |  |  |  | Nos of Trips Each day |  |  | Rs. 500.00
|  | Cost per CFT= |  | 1958 |  | 79.02 |  | Rs. 1584
20
| ASSISTANT ENGINEER Gorakh Hills Development Authority | [5 empty] | Project Director
Gorakh Hills Development Authority

## Sheet8
Name of work: Development of Gorakh Hills Construction of Servant Hall Hangan Spring
S.NO | DISCRIPTION OF ITEM |  |  | QTY | RATE | PER | AMOUNT | IN RS.
1 | Excavation in hard rock requiring blasting but blasting prohibited and disposal of excavted material upto 50ft lead |  |  | 888 | 25936 | P o% cft | 23031.168
2 | Stone filling in dry hand packed as filling behind retaining walls or in pitching and apron |  |  | 1088 | 2684 | %cft | 29201.92
3 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge Ratio (1:4:8) |  |  | 132 | 9416.28 | %cft | 12429.4896
4 | Reinforced cement concrete work including all labour and material expect the cost of stell reinforcement and bending and binding which will be paid separtily. This rate also including all kinds for forms moulds lifing shuttring curing rendering and all finshing the exposed surface (inclluding screening and washing of shingle). |  |  | 880.7 | 337 | P cft | 296795.9
5 | febrication of mild steel reinforcement for cement concrete including cuttin bending lying in position, making jointsand fasterning i/c cost of binding wire, B) using tor bars. |  |  | 39.31 | 5001.7 | p cwt | 196616.827
6 | Providing and fixing G.I frames / choukhats of size 7"x2" or 4 1/2"x3 for windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry or ratio 1:6 and reparining the jambs. The cost i/c all carriage tools and plant used in making and fixing |  |  | 66 | 240.5 | P rft | 15873
7 | First class dedar wood wrought, joinery in doors and windows etc, fixing in position including chowkats bhold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. 1 3/4" thick. |  |  | 114.8 | 1182.56 | P sft | 135757.888
8 | Supplying and fixing in position Aluminium channel framing for openable (hinged) ventelator aluminium english section with powder coted (A-1 material) |  |  | 65 | 1647.69 | P sft | 107099.85
9 | Course ruble masonery including hammer dressed with 1:4 Cement morter |  |  | 843.8 | 28759.23 | % sft | 242670.3827
10 | Cement Plaster 1:4 yp to12' height. 3/4' thick |  |  | 3873 | 3056.62 | % sft | 118382.8926
11 | Cement Plaster 1:4 up to 12' height 1/2" thick flooring Qty same as item No. 10= 3593 Sft |  |  | 3873 | 2496.75 | %Sft | 96699.1275
12 | Cement concrete brick or stone ballast 1-1/2' to 2' gauge Ratio (1:4:8) |  |  | 340 | 9416.28 | % cft | 32015.352
13 | Cement concrete plain including palcing compaction. Finshing and curing complete, (inculding screening and washing at stone aggregate without ratio 1:2:4. |  |  | 143.6 | 14429.25 | % cft | 20720.403
14 | Providing and laying tile glazed 8"x8"x1/4" on floor on walls facing in requred colour and petron with the gry cement 1:2 ration and 3/4 thick cement morter all ect. |  |  | 435 | 34520.31 | % cft | 150163.3485
15 | Wall finsh preparing the surface and painting with matt finsh i/c rubbing the surface with bathy (silicon carbide rubble brick) filling the voide with zink/chalk/ plaster or paris mixture, applying first coat primer, making the surface smooth and then painting 3 coat with matt finsh of approved mak etc. |  |  | 395 | 2717 | % cft | 10732.15
16 | preparing the surface and painting with wether coat i/c rubbing the surface with rubble brick/ sand paper filling the voide with zink/chalk/ plaster or paris then painting 3 coat with matt finsh of approved mak etc. |  |  | 585 | 1948.1 | % sft | 11396.385
17 | French Polishing complete on new work |  |  | 114.8 | 3841.75 | % sft | 4410.329
[5 empty] | Total Part- A |  | 1503996.4129
Electrical Works
18 | Wiring for light or fan point with 3/29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required |  |  | 20 | 797 | each | 15940
19 | Wiring for plug point light or fan point with 3/29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required |  |  | 2 | 985 | each | 1970
20 | Providing and fixing MS tubular pole 31 ft long with all respect assesscres complete. |  |  | 2 | 26956 | each | 53912
21 | Providing and fixing junction Box asper following sepecifaction. Size 8"x6"x4" |  |  | 10 | 117.9 | each | 1179
22 | Providing and fixing circute Breaker 30amp DP |  |  | 5 | 2456 | each | 12280
23 | Providing and fixing circute Breaker 100amp DP |  |  | 1 | 9261 | each | 9261
24 | Providing and fixing on way sp 10AMP switch surface type |  |  | 40 | 58 | each | 2320
25 | Providing and fixing tree pin 10 amp plug & socket |  |  | 2 | 151 | each | 302
26 | Providing & fixing backlight ceiling rose |  |  | 40 | 72 | each | 2880
27 | Providing & fixing ceiling fan 56" |  |  | 2 | 3185 | each | 6370
28 | Providing and laying main Pvc insulated with size 2-7/0.64 (16 mm) 2 |  |  | 125 | 935 | each | 116875
|  |  |  | Total |  |  | 3231281.8259
% AGE ABOVE/BELOW Part-A Rs.
% AGE ABOVE/BELOW Part-B Rs.
TOTAL Rs.
|  | CONTRACTOR |  | Project Director
Gorakh Hills Development Authority
Dadu