## Sheet1
Office of the Project Director (GHDA)
Name of work: Development of Gorakh Hills Construction of 10 beded hospital at Gorakh Hills
| Estimated cost Rs. | 30 Million
ASSISTANT ENGINEER Gorakh Hills Development Authority | Project Director Gorakh Hills Development Authority
Gorakh Hills Development Authority

## Sheet2
ABSTRACT OF COST
Name of work: Development of Gorakh Hills Construction of 10 beded hospital at Gorakh Hills
Cost of schedule itmes (A,B,C) |  |  | Rs. | 11621033.3224
Cost of Part D |  |  | Rs. | 5500000
add 10% on fab |  |  | Rs. | 142331.9601
Deduct 20% on tiles |  |  | Rs. | 1857599.9
Cost of carriage |  |  | Rs. | 2891876.1898
Add 100% on difficult terrain |  |  | Rs. | 11621033.3224
Add.5 % contigency |  |  | Rs. | 58105.1666
|  | Grand total Rs. |  | 29976780.0612
|  |  | Say Rs. | 30 Million
ASSISTANT ENGINEER Gorakh Hills Development Authority |  |  | Project Director Gorakh Hills Development Authority

## Sheet3
DETAILED WORKING ESTIMKATE
Name of work: Development of Gorakh Hills Construction of 10 beded hospital at Gorakh Hills
1 | Excavation in hard rock requiring blasting but blasting prohibited and disposal of excavted material upto 50ft lead
amount
| Footing |  |  | 26 | x | 5 | x | 5 | x | 4 | = | 2600
|  |  |  | 3 | x | 47 | x | 3 | x | 2.5 | = | 1057.5
|  | s/w |  | 3 | x | 70 | x | 3 | x | 2.5 | = | 1575
|  | L/w |  | 2 | x | 40 | x | 3 | x | 2.5 | = | 600
|  |  |  | 4 | x | 3 | x | 5 | x | 2.5 | = | 150
|  |  |  | 12 | x | 3 | x | 5 | x | 2.5 | = | 450
[9 empty] | Total |  |  | 6432.5
|  | 6432.5 | x | Rs | 25936 | P o% cft | [6 empty] | 166833.32
2 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge Ratio (1:4:8)
|  |  |  | 26 | x | 5 | x | 5 | x | 0.5 | = | 325
|  |  |  | 3 | x | 47 | x | 3 | x | 0.5 | = | 211.5
|  |  |  | 3 | x | 70 | x | 3 | x | 0.5 | = | 315
|  |  |  | 4 | x | 3 | x | 5 | x | 0.5 | = | 30
|  |  |  | 12 | x | 3 | x | 5 | x | 0.5 | = | 90
|  |  |  | 1 | x | 450 | x | 12 | x | 0.5 | = | 2700
[9 empty] | Total |  |  | 971.5
|  | 971.5 | x | Rs | 9416.28 | %cft | [6 empty] | 91479.1602
Stone filling in dry hand packed as filling behind retaining walls or in pitching and apron
3
Stone filling
| Opd 1 |  |  | 1 | x | 20 | x | 40 | x | 3.5 | = | 2800
| Opd 2 |  |  | 1 | x | 20 | x | 40 | x | 3.5 | = | 2800
| Hall |  |  | 1 | x | 19 | x | 30 | x | 3.5 | = | 1995
| Dressing & Medical Store |  |  | 2 | x | 12 | x | 12 | x | 3.5 | = | 1008
| Emerengency Room |  |  | 1 | x | 10 | x | 15 | x | 3.5 | = | 525
[9 empty] | Total |  |  | 9128
|  | 9128 | x | Rs | 2684 | %cft | [6 empty] | 244995.52
4 | Coursed rubble measure 1:4
|  | L/W |  | 3 | x | 70 | x | 0.75 | x | 11 | = | 1732.5
|  | S/W |  | 3 | x | 47 | x | 0.75 | x | 11 | = | 1163.25
|  |  |  | 1 | x | 40 | x | 0.75 | x | 11 | = | 330
|  | Bath |  | 1 | x | 22 | x | 0.75 | x | 11 | = | 181.5
| Medical Store |  |  | 1 | x | 12 | x | 0.75 | x | 11 | = | 99
| Emerengency Room |  |  | 1 | x | 15 | x | 0.75 | x | 11 | = | 123.75
| Steps |  |  | 3 | x | 30 | x | 0.75 | x | 11 | = | 742.5
[9 empty] | Total |  |  | 4372.5
|  | 4372.5 | x | Rs | 26475 | %cft | [6 empty] | 1157619.375
5 | Reinforced cement concrete work including all labour and material expect the cost of stell reinforcement and bending and binding which will be paid separtily. This rate also including all kinds for forms moulds lifing shuttring curing rendering and all finshing the exposed surface (inclluding screening and washing of shingle).
| R.C.C Footing |  |  | 26 | x | 4 | x | 4 | x | 3.5 | = | 1456
|  |  |  | 26 | x | 3 | x | 3 | x | 2 | = | 468
| Plinth beam L/w |  |  | 3 | x | 20 | x | 0.75 | x | 2 | = | 90
| S/W |  |  | 3 | x | 47 | x | 0.75 | x | 2 | = | 211.5
| S/W |  |  | 1 | x | 40 | x | 0.75 | x | 2 | = | 60
| Bathroom |  |  | 2 | x | 9 | x | 0.75 | x | 2 | = | 27
|  |  |  | 2 | x | 6 | x | 0.75 | x | 2 | = | 18
|  |  |  | 2 | x | 5 | x | 0.75 | x | 2 |  | 15
|  |  |  | 1 | x | 12 | x | 0.75 | x | 2 | = | 18
| Column |  |  | 26 | x | 0.75 | x | 2 | x | 11 | = | 429
|  |  |  | 3 | x | 70 | x | 0.75 | x | 2 | = | 315
|  |  |  | 3 | x | 47 | x | 0.75 | x | 2 | = | 211.5
|  |  |  | 1 | x | 40 | x | 0.75 | x | 2 | = | 60
| Bath |  |  | 2 | x | 9 | x | 0.75 | x | 2 | = | 27
|  |  |  | 2 | x | 5 | x | 0.75 | x | 2 | = | 15
|  |  |  | 1 | x | 12 | x | 0.75 | x | 2 | = | 18
|  |  |  | 1 | x | 48 | x | 70 | x | 0.5 | = | 1680
[9 empty] | Total |  |  | 3439
|  | 3439 | x | Rs | 337 | P cft | [6 empty] | 1158943
6 | febrication of mild steel reinforcement for cement concrete including cuttin bending lying in position, making jointsand fasterning i/c cost of binding wire, B) using tor bars.
| 8% of RCC |  | = | 275.12 | 5001.7 | p cwt |  |  |  |  | 275.12 | cwt
| approach road |  | 450 | x | 15 | x | 0.667 |  |  | 4502.25 | 4.0488 | =
|  |  | 15 | x | 600 | x | 0.667 |  |  | 6003 | 5.3984 | =
[11 empty] | 284.5672 | cwt
|  |  | 284.5672 | At RS | 5001.7 | PCWT | [6 empty] | 1423319.6005
7 | Providing and supplying sand haro or any other source sand modules of finess hill sand
| parking |  | 100 | x | 40 | x | 0.33 | = |  | 1320 | Cft
|  |  | 70 | x | 6 | x | 0.33 | = |  | 138.6 | Cft
1458.6
|  |  | 1458.6 | at Rs |  |  | 2425 |  | P%Sft |  |  |  | 35371.05
8 | Providing and fixing cement paving blocks flooring having size 197x97x80(mm) of city /quadra cobble shape with pigmented having strenght b/w 5000 psi to 8500 psi
| parking |  | 100 | x | 40 | = |  |  |  | 4000 | Sft
|  |  | 70 | x | 6 | = |  |  |  | 420
4420
|  |  |  | 4420 | at Rs |  | 223.97 |  | Psft |  |  |  | 989947.4
9 | Cement concrete plain i/c placing compacting finishing and curing complete 1:2:4
|  |  | 100 | x | 40 | x | 0.5 | = |  | 2000 | Cft
|  |  | 100 | x | 6 | x | 0.5 | = |  | 300 | Cft
| approach road |  | 450 | x | 12 | x | 0.5 | = |  | 2700 | Cft
5000
|  |  |  | 5000 | at Rs | 14429.25 |  |  | P%sft |  |  |  | 721462.5
10 | Providing and fixing G.I frames / choukhats of size 7"x2" or 4 1/2"x3 for windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry or ratio 1:6 and reparining the jambs. The cost i/c all carriage tools and plant used in making and fixing
|  |  |  | 1 | x | 5 | x | 2 | x | 7.25 | = | 72.5
|  |  |  | 1 | x | 5 | x | 1 | x | 3.1 | = | 15.5
|  |  |  | 2 | x | 1 | x | 4 | x | 2.08 | = | 16.64
[9 empty] | Total |  |  | 104.64
|  | 104.64 | x | Rs | 240.5 | P rft | [6 empty] | 25165.92
8 | Supplying and fixing in position Aluminium channel framing for openable (hinged) ventelator aluminium english section with powder coted (A-1 material)
| W/Grill |  |  | 5 | x | 7 | x | 7 | = | 245
|  |  |  | 2 | x | 8 | x | 8 | = | 128
|  |  |  | 2 | x | 5 | x | 4 | = | 40
[9 empty] | Total | 413
|  | 413 | x | Rs | 1647.69 | P sft | [6 empty] | 680495.97
9 | Cement Plaster 3/4" thich upto 20'
| L/W | i/s |  | 4 | x | 70 | x | 11 | = | 3080
|  | o/s |  | 4 | x | 70 | x | 11 | = | 3080
| S/W | i/s |  | 3 | x | 47 | x | 11 | = | 1551
|  | o/s |  | 3 | x | 47 | x | 11 | = | 1551
Bathroom |  | 2 | x | 4 | x | 6 | x | 11 | = | 528
|  | 2 | x | 4 | x | 9 | x | 11 | = | 792
Ded Windows |  | 2 | x | 5 | x | 4 | x | 5 | = | 200
Doors |  | 2 | x | 8 | x | 5 | x | 4 | = | 320
[9 empty] | Total | 11102
|  | 11102 | x | Rs | 3015.8 | % sft | [6 empty] | 334814.116
10 | Cement Plaster 3/8" thick upto 20" 1:4
Qty same as item No. 09= 3593 Sft
|  | 11102 | x | Rs. | 2195.5 | %Sft | [6 empty] | 243744.41
11 | First class dedar wood wrought, joinery in doors and windows etc, fixing in position including chowkats bhold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. 1 3/4" thick.
| Door |  |  | 2 | x | 4.5 | x | 8 | = | 72
| Doors |  |  | 4 | x | 3.5 | x | 7 | = | 98
|  |  |  | 4 | x | 3 | x | 7 | = | 84
[9 empty] | Total | 254
|  | 254 | x | Rs | 1182.56 | % cft | [6 empty] | 300370.24
12 | Supplying & Fixing in position Aluminium Channels Framming for hinged doors or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks i/c handles, Stoppers etc. (S.I No. 83 P-107).
Windows |  | 1 | x | 5 | x | 5 | x | 6.5 | = | 162.5
| Vent | 1 | x | 5 | x | 4 | x | 2 | = | 40
[9 empty] | Total | 202.5
|  | 202.5 | x | Rs | 1647.7 | Psft | [6 empty] | 333659.25
13 | Providing & laying 1"thick topping Cement concrete 1:2:4 i/c surface finishing & dividing into pannels.
|  |  |  | 1 | x | 47 | x | 70 | = | 3290
| Deductions |  | L/W | 3 | x | 70 | x | 0.75 | = | 157.5
|  |  | S/W | 3 | x | 73 | x | 0.75 | = | 164.25
[9 empty] | Total | 3611.75
|  |  |  | 3611.75 | x | Rs | 3275.5 | % cft |  |  |  |  | 118302.8712
14 | Khapriel of cement concrete 12"x8"x1" of approved design/shape laid flat in 1:2 grey cement mortar over a bed of 3/4" thick grey cement mortar 1:2.
|  |  |  | 1 | x | 47 | x | 70 | = | 3290
[9 empty] | Total | 3290
|  |  |  | 3290 | x | Rs | 8977.9 | % cft |  |  |  |  | 295372.91
15 | White glazed tiles 1/4" thick dado jointed in white cement and laid over 1:2 cement sand mortar 3/4" thick including finishing.
| Bath |  |  | 3 | x | 9 | x | 6 | = | 162
|  | 3 | x | 2 | x | 6 | x | 4 | = | 144
|  | 3 | x | 2 | x | 9 | x | 4 | = | 216
[9 empty] | Total | 522
|  |  |  | 522 | x | Rs | 26679 | % sft |  |  |  |  | 139264.38
16 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing etc.
| Hall |  |  | 2 | x | 20 | x | 40 | = | 1600
| Passage |  |  | 1 | x | 19 | x | 30 | = | 570
| Store |  |  | 1 | x | 12 | x | 12 | = | 144
| Emergency Room |  |  | 1 | x | 11 | x | 12 | = | 132
| Doctor Room |  |  | 1 | x | 11 | x | 12 | = | 132
[9 empty] | Total | 2578
|  |  |  | 2578 | x | Rs | 28254 | % sft |  |  |  |  | 728388.12
17 | Providing are laying HALA tiles
Front
|  |  |  | 1 | x | 15 | x | 50 | = | 750
|  |  |  | 1 | x | 6 | x | 8 | = | 48
[9 empty] | Total | 798
|  |  |  | 798 | x | Rs | 1079.7 | % sft |  |  |  |  | 861600.6
18 | Distemping three coats
Quantity same as in items # 10 /2
[5 empty] | 5551 | p%sft | at Rs |  | 1079.7 |  |  |  | 59934.147
19 | Preparing surface & painting with mat finish rubbing surface
Quantity same as in items # 10
[5 empty] | 11102/2 | = | 5551 | at Rs | 2717 | p%Sft |  |  | 150820.67
20 | Preparing surface weather coat
Quantity same as in items # 10
[5 empty] | 11102/2 | = | 5551 | at Rs | 1948.1 | p%sft |  |  | 108139.031
21 | Paints new surface painting doors three coats
Quantity same as in items # 11
[6 empty] | 254 | At Rs |  | 2116.41 | P%sft |  |  | 5375.6814
[12 empty] | Part-A | 10375419.2424
Sanitary Fittings
1 | Providing and fixing orisa white or colour glazed earthen ware W.C pen
|  |  |  | 1 | x | 1 | x | 3 | = | 3
[9 empty] | Total | 3
|  |  |  | 3 | x | Rs | 810 | [5 empty] | 2430
2 | Providing and fixing eureopean type white or colour glazed earthen ware W.C pen
|  |  |  | 1 | x | 1 | x | 2 | = | 2
[9 empty] | Total | 2
|  |  |  | 2 | x | Rs | 11477.4 | [5 empty] | 22954.8
3 | Providing and fixing steel sinks stainless local make complete size 40" x 20"
|  |  |  | 1 | x | 1 | x | 2 | = | 2
[9 empty] | Total | 2
|  |  |  | 2 | x | Rs | 5052.3 | [5 empty] | 10104.6
4 | Providing and fixing fixtures following dismeters complete with all accessories
a) 12 mm bib cock 90 dgree
|  |  |  | 8 | x |  |  | 1384.4 | = |  |  |  | 11075.2
b) Tee Stop cock
|  |  |  | 12 | x |  |  | 843.9 | = |  |  |  | 10126.8
c) Shower Head & Shower rod
|  |  |  | 4 | x |  |  | 1142.2 | = |  |  |  | 4568.8
d) 12 mm hot & Cold basin mixture
|  |  |  | 6 | x |  |  | 4598 | = |  |  |  | 27588
e) Muslim Shower
|  |  |  | 4 | x |  |  | 3432 | = |  |  |  | 13728
[9 empty] | Total | 0
5 | Supplying and fixing in position c.p s.s towel rod 750 mm long
|  |  |  | 1 | x | 2 | x | 2 | = | 4
[9 empty] | Total | 4
|  |  |  | 4 | x | Rs | 1269.9 | [5 empty] | 5079.6
6 | Supplying and fixing in position c.p s.s tollet paper holder
|  |  |  | 1 | x | 2 | x | 2 | = | 4
[9 empty] | Total | 4
|  |  |  | 4 | x | Rs | 1071.4 | [5 empty] | 4285.6
7 | Providing and fixing 5 mm thick Belguim mirr glase complete
|  |  |  | 1 | x | 2 | x | 2 | = | 4
[9 empty] | Total | 4
|  |  |  | 4 | x | Rs | 2376 | [5 empty] | 9504
8 | Providing G.I pipe including the cost of cutting trench upto 1.5 m deep i/c cost of two cot of bitumin paint to pipe complete
a) 12 mm dia G.I pipe
|  |  |  | 80 | x | Rft | Rs. | 64.88 | = |  |  |  | 5190.4
b) 20 mm dia G.I pipe
|  |  |  | 210 | x | Rft | Rs. | 86.36 | = |  |  |  | 18135.6
c) 25 mm dia G.I pipe
|  |  |  | 250 | x | Rft | Rs. | 116.2 | = |  |  |  | 29050
9 | Providing and fixing gate valves complete.
a) 12 mm dia
|  |  |  | 6 | x | Each @ | Rs | 200.42 | = |  |  |  | 1202.52
b) 20 mm dia
|  |  |  | 6 | x | Each @ | Rs | 271.92 | = |  |  |  | 1631.52
c) 25 mm dia
|  |  |  | 6 | x | Each @ | Rs | 365.4 | = |  |  |  | 2192.4
10 | Providing and fixing upvc pipe class B complete
a) 4" dia
|  |  |  | 100 | x | @ | Rs | 150 | = |  |  |  | 15000
b) 6" dia
|  |  |  | 150 | x | @ | Rs | 250 | = |  |  |  | 37500
11 | Providing and fixing pvc floor trap design with 6" x 6" approved pvc graded complete
|  |  |  | 1 | x | 2 | x | 4 | = | 8
[9 empty] | Total | 8
|  |  |  | 8 | x | Rs | 900 | [5 empty] | 7200
12 | Providing and fixing 4" dia pvc cowel etc complete
|  |  |  | 1 | x | 2 | x | 2 | = | 4
[9 empty] | Total | 4
|  |  |  | 4 | x | Rs | 800 | [5 empty] | 3200
13 | supplying and fixing stone ware guly tarp 150 X 150 mm
|  |  |  | 1 | x | 4 | x | 8 | = | 32
[9 empty] | Total | 32
|  |  |  | 32 | x | Rs | 1193.17 | [5 empty] | 38181.44
14 | Providing and fixing C.I cover less than 30 kgs
|  |  |  | 1 | x | 1 | x | 2 | = | 2
[9 empty] | Total | 2
|  |  |  | 2 | x | Rs | 3000 | [5 empty] | 6000
[12 empty] | Part- B | 285929.28
Electrical Works
Point wiring
15 | Wiring for plug point light or fan point with 3/29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required
|  |  |  | 30 | x | at Rs. | 797 | [5 empty] | 23910
16 | Wiring for plug point with 3/29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required
|  |  |  | 20 | x | at Rs. | 985 | [5 empty] | 19700
17 | Wiring for call bell with 3/.29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required
|  |  |  | 2 | x | at Rs. | 1380 | [5 empty] | 2760
18 | Wiring for call bell with 3/.29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required
|  |  |  | 1 | x | at Rs. | 1764 | [5 empty] | 1764
19 | Providing and fixing MS tubular Pole 31ft Long with all respect instuction EI for 31ft long pole
|  |  |  | 4 | x | at Rs. | 26956 | [5 empty] | 107824
20 | Construction of RCC foundation as per following specifaction and instruction EI for 31ft long pole
|  |  |  | 4 | x | at Rs. | 15168 | [5 empty] | 60672
21 | Providing and fixing junction Box as per following specifaction. Size 8"x6"x4"
|  |  |  | 12 | x | at Rs. | 117.9 | [5 empty] | 1414.8
22 | Providing & fixing Street Light 250 size 8"x6"4" watts (HPMV) having IP66
|  |  |  | 4 | x | at Rs. | 24790 | [5 empty] | 99160
23 | Providing & fixing Circute Breaker 30amp DP
|  |  |  | 2 | x | at Rs. | 2456 | [5 empty] | 4912
24 | Providing & fixing Circute Breaker 30amp DP
|  |  |  | 15 | x | at Rs. | 2456 | [5 empty] | 36840
25 | Providing & fixing Circute Breaker 100amp DP
|  |  |  | 4 | x | at Rs. | 9261 | [5 empty] | 37044
26 | Providing & fixing Circute Breaker 400amp DP
|  |  |  | 1 | x | at Rs. | 61696 | [5 empty] | 61696
27 | Providing & fixing on Way SP 10 AMP switch surface type
|  |  |  | 60 | x | at Rs. | 58 | [5 empty] | 3480
28 | Providing & fixing tree pin 10 amp plug & socket
|  |  |  | 8 | x | at Rs. | 151 | [5 empty] | 1208
29 | Providing & fixing back light ceiling rose
|  |  |  | 60 | x | at Rs. | 72 | [5 empty] | 4320
30 | Providing & fixing ceiling fan 56"
|  |  |  | 8 | x | at Rs. | 3185 | [5 empty] | 25480
31 | Providing & laying main PVC insulated with size 3-7/.064 (16mm)2
|  |  |  | 500 | x | at Rs. | 935 | [5 empty] | 467500
[12 empty] | Part-C | 959684.8
| PART D | [6 empty] | TOTAL OF PART A, B, C |  |  |  |  | 11621033.3224
1 | purchase of Toyota or equivalent 4x4 Ambulance for Gorakh Hospital
|  | 1 | No | At Rs | 4000000 | (LS) | [6 empty] | 4000000
2 | Purchasing installing furniture for 10 beded hospital
|  | 1 | job | At Rs | 750000 | (LS) | [6 empty] | 750000
3 | purchase of essential surgical instruments and medicinal instruments and medicines
|  | 1 | job | At Rs | 750000 | (LS) | [6 empty] | 750000
5500000
| CONTRACTOR | [8 empty] | Project Director
Gorakh Hills Development Authority
Dadu

## Sheet4
MATERIAL STATEMENT
S.NO | MATERIAL | QTY | CEMENT | HILL SAND | CRUSHED BAJRI | STONE | paver block | Steel
1 | C.C (1:4:8) | 971.5 | 93.264 | 459.5195 | …. | 920.0105
2 | RCC(1:2:4) | 3439 | 601.825 | 1513.16 | 3026.32
2 | C.C (1:2:4) | 5000 | 875 | 2200 | 4400 | ….
3 | Tiles | 3898 | …. | …. | …. | …. | 17541
| course RM | 4372.5 | 279.4027 | 1399.2 |  | 5247
4 | c plaster 1:4 | 11102 | 78.9352 | 399.672 | …. | ….
5 | Steel | 275.12 | …. | …. | …. | …. |  | 13.756
|  |  | 1928.427 | 5971.5515 | 7426.32 | 6167.0105 | 17541 | 1235.98
|  | RATE | 110.73 | 1292.92 | 1195.24 | 771.96 | 4309.29
|  | PER | BAG | % CFT | % CFT | % CFT | per 1000
|  | AMOUNT | 213534.7184 | 77207.3837 | 88762.3472 | 47606.8543 | 75589.2559 | 17002.1409
[5 empty] | TOTAL |  | 502700.5594
| ASSISTANT ENGINEER Gorakh Hills Development Authority |  |  |  | Project Director Gorakh Hills Development Authority

## Sheet5
RATE ANALYSIS
Name of Work: | Name of work: Development of Gorakh Hills Construction of 10 beded hospital at Gorakh Hills
Carriage of 100cft /5 tones of all materials like stone aggregate, spawl, coal,lime, surkhi etc B.G Rail fastening points and crossing Bridges, Girders, Pipes, sheet rails M.S bars etc or 1000 Nos bricks 10"x5"x3" or 100 nos tiles 12"x6"x2" or 150 cft of timber or 100 maunds of fuel wood by trucks or any other means owned by the contractors.
| HILLS SAND |  |  |  | BAJRI/SHINGLE
Quarry to (SOW) Miles 22 |  |  |  | Quarry to (SOW) Miles 19
Mile 1st to 6th mile |  |  | Rs. 771.96 | Mile 1st to 6th mile |  |  | Rs. 771.96
subsequent Mile: 16 Miles 32/56 |  |  | Rs. 520.96 | subsequent Mile: 16 Miles 32/56 |  |  | Rs. 423.28
|  | Total | Rs. 1292.92 |  |  | Total | Rs. 1195.24
| STONE BALLAST |  |  |  | HILLS SAND
Quarry to (SOW) Miles 22 |  |  |  | Quarry to (SOW) Miles 22
Mile 1st to 6th mile |  |  | Rs. 771.96 | Mile 1st to 6th mile |  |  | Rs. 7.53
subsequent Mile: 16 Miles 32.56 |  |  | Rs. | subsequent Mile: 16 Miles 32/56 |  |  | Rs. 103/20
|  | Total | Rs. 771.96 |  |  | Total | Rs. 110.73
TOR STEEL
Quarry to (SOW) Miles 172
Mile 1st to 6th mile |  |  | Rs. 771.96
subsequent Mile: 16 Miles 32/56 |  |  | Rs. 5404.96
|  | Total | Rs.1235.98
ASSISTANT ENGINEER Gorakh Hills Development Authority |  |  |  |  | Project Director Gorakh Hills Development Authority

## Sheet6
RATE ANALYSIS
CARRIGE OF MATERIAL FROM 32 KM TO SITE OF WORK THAT IS 35.0 TO SOW (LEAD 09 MILES)
1 | Crush bajri | 7426.32 | Cft | @ | Rs: | 79.2 | Rs. | 588164.544
2 | Hill Sand | 5971.5515 | Cft | @ | Rs: | 79.2 | Rs. | 472946.8788
3 | Cement Bags | 1928.427 | bags | @ | Rs: | 79.2 | Rs. | 152731.416
4 | Tiles | 17541 | Sft | @ | Rs: | 39.16 | Rs. | 686905.56
5 | Stone Metal ____Cft (For 5 Mile) | 6167.0105 | cft | @ | Rs: | 79.2 | Rs. | 488427.2316
[5 empty] | Total Rs. |  |  | 2389175.6304
[5 empty] | From Quarry Source Rs. |  |  | 502700.5594
[5 empty] | Grand Total Rs. |  |  | 2891876.1898
| ASSISTANT ENGINEER Gorakh Hills Development Authority |  |  |  |  | Project Director Gorakh Hills Development Authority

## Sheet7
RATE ANALYSIS
Name of work: Development of Gorakh Hills Construction of 10 beded hospital at Gorakh Hills
units 20 CFT / 20 Bags / 1 Cwt
1 | Cost of fuel, lubricants, Filterm Waste etc complete.
|  | 8 liters | P. litre | @ | Rs: | 73 |  | Rs. 584 /-
2 | labour charges etc complete loading & unloading
|  | 02 nos |  | @ | Rs: | 250/- | Each Trip | Rs. 500/-
3 | Datrun Hire charges i/c Driver Rs. 2000/- P-4 Day i/c manintanance wear /rear, taxes Etc complete. |  |  |  | Nos of Trips Each day |  |  | Rs. 500.00
|  | Cost per CFT= |  | 1958 |  | 79.02 |  | Rs. 1584
20
| ASSISTANT ENGINEER Gorakh Hills Development Authority |  |  |  | Project Director Gorakh Hills Development Authority

## Sheet8
Name of work: Development of Gorakh Hills Construction of 10 beded hospital at Gorakh Hills
S.NO | DISCRIPTION OF ITEM |  | QTY | RATE | PER | AMOUNT | IN RS.
1 | Excavation in hard rock requiring blasting but blasting prohibited and disposal of excavted material upto 50ft lead |  | 6432.5 | 25936 | P o% cft | 166833.32
2 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge Ratio (1:4:8) |  | 971.5 | 9416.28 | %cft | 91479.1602
3 | Stone filling in dry hand packed as filling behind retaining walls or in pitching and apron |  | 7824 | 2684 | %cft | 209996.16
4 | Coursed rubble measure 1:4 |  | 4372.5 | 26475 | %cft | 1157619.375
5 | Reinforced cement concrete work including all labour and material expect the cost of stell reinforcement and bending and binding which will be paid separtily. This rate also including all kinds for forms moulds lifing shuttring curing rendering and all finshing the exposed surface (inclluding screening and washing of shingle). |  | 3439 | 337 | p cwt | 1158943
6 | febrication of mild steel reinforcement for cement concrete including cuttin bending lying in position, making jointsand fasterning i/c cost of binding wire, B) using tor bars. |  | 168.9 | 5001.7 | P rft | 844787.13
7 | Providing and fixing G.I frames / choukhats of size 7"x2" or 4 1/2"x3 for windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry or ratio 1:6 and reparining the jambs. The cost i/c all carriage tools and plant used in making and fixing |  | 104.64 | 240.5 | P sft | 25165.92
8 | Supplying and fixing in position Aluminium channel framing for openable (hinged) ventelator aluminium english section with powder coted (A-1 material) |  | 413 | 1647.69 | P sft | 680495.97
9 | Cement Plaster 3/4" thich upto 20' |  | 11102 | 3015.8 | % sft | 334814.116
10 | Cement Plaster 3/8" thick upto 20" 1:4 |  | 11102 | 2195.5 | % sft | 243744.41
11 | First class dedar wood wrought, joinery in doors and windows etc, fixing in position including chowkats bhold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. 1 3/4" thick. |  | 254 | 1182.56 | %Sft | 300370.24
12 | Supplying & Fixing in position Aluminium Channels Framming for hinged doors or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks i/c handles, Stoppers etc. (S.I No. 83 P-107). |  | 202.5 | 1647.7 | % cft | 3336.5925
13 | Providing & laying 1"thick topping Cement concrete 1:2:4 i/c surface finishing & dividing into pannels. |  | 3611.8 | 3275.5 | % cft | 118304.509
14 | Khapriel of cement concrete 12"x8"x1" of approved design/shape laid flat in 1:2 grey cement mortar over a bed of 3/4" thick grey cement mortar 1:2. |  | 3290 | 8977.9 | % cft | 295372.91
15 | White glazed tiles 1/4" thick dado jointed in white cement and laid over 1:2 cement sand mortar 3/4" thick including finishing. |  | 522 | 26679 | % cft | 139264.38
16 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing etc. |  | 2578 | 28254 | % sft | 728388.12
17 | Providing are laying Hala tiles |  | 798 | 1079.7 | % sft | 861600.6
18 | Distemping three coats |  |  |  | % sft | 5551
19 | Preparing surface & painting with mat finish rubbing surface |  |  |  | % sft | 5551
20 | Preparing surface weather coat |  |  |  | % sft | 5551
21 | Paints new surface painting doors three coats |  |  |  | % sft | 254
|  |  |  | Total Part-A |  | 7377422.9127
Sanitary Fittings
1 | Providing and fixing orisa white or colour glazed earthen ware W.C pen |  | 3 | 810 | % sft | 2430
2 | Providing and fixing eureopean type white or colour glazed earthen ware W.C pen |  | 2 | 11477.4 | % sft | 22954.8
3 | Providing and fixing steel sinks stainless local make complete size 40" x 20" |  | 2 | 5052.3 | % sft | 10104.6
4 | Providing and fixing fixtures following dismeters complete with all accessories
| a) 12 mm bib cock 90 dgree |  | 8 | 1384 | % sft | 11072
| b) Tee Stop cock |  | 12 | 844 | % sft | 10128
| c) Shower Head & Shower rod |  | 4 | 1142 | % sft | 4568
| d) 12 mm hot & Cold basin mixture |  | 6 | 4598 | % sft | 27588
| e) Muslim Shower |  | 4 | 3432 | % sft | 13728
5 | Supplying and fixing in position c.p s.s towel rod 750 mm long |  | 4 | 1269.9 | % sft | 5079.6
6 | Supplying and fixing in position c.p s.s tollet paper holder |  | 4 | 1071.4 | % sft | 4285.6
7 | Providing and fixing 5 mm thick Belguim mirr glase complete |  | 4 | 2376 | % sft | 9504
8 | Providing G.I pipe including the cost of cutting trench upto 1.5 m deep i/c cost of two cot of bitumin paint to pipe complete
| a) 12 mm dia G.I pipe |  | 80 | 64.9 | Rft | 5192
| b) 20 mm dia G.I pipe |  | 210 | 86.4 | Rft | 18144
| c) 25 mm dia |  | 250 | 116 | Rft | 29000
9 | Providing and fixing gate valves complete.
| a) 12 mm dia G.I pipe |  | 6 | 200 | Rft | 1200
| b) 20 mm dia G.I pipe |  | 6 | 272 | Rft | 1632
| c) 25 mm dia |  | 6 | 365 | Rft | 2190
10 | Providing and fixing upvc pipe class B complete
| a) 4" dia |  | 100 | 150 | Rft | 15000
| b) 6" dia |  | 150 | 250 | Rft | 37500
11 | Providing and fixing pvc floor trap design with 6" x 6" approved pvc graded complete |  | 8 | 900 | Rft | 7200
12 | Providing and fixing 4" dia pvc cowel etc complete |  | 4 | 800 | Rft | 3200
13 | supplying and fixing stone ware guly tarp 150 X 150 mm |  | 32 | 1193.17 | Rft | 381.8144
14 | Providing and fixing C.I cover less than 30 kgs |  | 2 | 3000 | Rft | 6000
|  |  |  | Total Part-B |  | 248082.4144
Electrical Works
16 | Wiring for plug point light or fan point with 3/29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required |  | 30 | 797 |  | 23910
17 | Wiring for plug point with 3/29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required |  | 20 | 985 |  | 19700
18 | Wiring for call bell with 3/.29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required |  | 2 | 1380 |  | 2760
19 | Wiring for call bell with 3/.29 pvc insulated wire in 20mm (3/4") PVC conduit on surface as required |  | 1 | 1764 |  | 1764
20 | Providing and fixing MS tubular Pole 31ft Long with all respect instuction EI for 31ft long pole |  | 4 | 26956 |  | 107824
21 | Construction of RCC foundation as per following specifaction and instruction EI for 31ft long pole |  | 4 | 15168 |  | 60672
22 | Providing and fixing junction Box as per following specifaction. Size 8"x6"x4" |  | 12 | 117.9 |  | 1414.8
23 | Providing & fixing Street Light 250 size 8"x6"4" watts (HPMV) having IP66 |  | 4 | 24790 |  | 99160
24 | Providing & fixing Circute Breaker 30amp DP |  | 2 | 2456 |  | 4912
25 | Providing & fixing Circute Breaker 30amp DP |  | 15 | 2456 |  | 36840
26 | Providing & fixing Circute Breaker 100amp DP |  | 4 | 9261 |  | 37044
27 | Providing & fixing Circute Breaker 400amp DP |  | 1 | 61696 |  | 61696
28 | Providing & fixing on Way SP 10 AMP switch surface type |  | 60 | 58 |  | 3480
29 | Providing & fixing tree pin 10 amp plug & socket |  | 8 | 151 |  | 1208
30 | Providing & fixing back light ceiling rose |  | 60 | 72 |  | 4320
31 | Providing & fixing ceiling fan 56" |  | 8 | 3185 |  | 25480
32 | Providing & laying main PVC insulated with size 3-7/.064 (16mm)2 |  | 500 | 935 |  | 467500
959684.8
% ABOVE/BELOW Rs. Part-A
Part-B
Part-C
TOTAL Rs.
| CONTRACTOR |  | Project Director
Gorakh Hills Development Authority
Dadu