SCHEDULE – B

CONSTRUCTION OF TUBE WELL , PUMP HOUSE R.C.C RESERVOIR, PVC RISING MAIN 3” DIA & PUMPING MACHINERY 7.50 BHP FOR INSTALLATION OF 10 NOS. TUBE WELLS FOR DISTRICT THARPARKAR PART-IV @ VILLAGE MUHAMMAD HANIF DAL TALUKA NAGARPARKAR DISTRICT THARPARKAR.

ABSTRACT OF COST

Part-A	Boring of Tube Well 					Rs. 14,11,250/=

Part-B	Pump House (8' x 8')	 				Rs. 1,80,752/=

Part-C	R.C.C Underground Reservoir				Rs. 5,32,923/=

Part-D	PVC Pipe Line Rising Main 3" dia			Rs. 65,918/=

Part-E		Pumping Machinery 7.50 BHP				Rs. 6,23,000/=

Total 		Rs. 28,13,843/=

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |

SCHEDULE – B

PART-A	TUBE WELL (400' ft DEPTH)

| 1. | Mobilization Tube Well construction. |
| --- | --- |

1-Trip		@ Rs. 31,570/=				P.Trip		Rs. 31,570/=

(Rupees Thirty One Thousand Five Hundred

Seventy Only) (Per Trip)

| 2. | Drill for tube well at 16" inch minimum dia meter from ground level up to 100' depth. |
| --- | --- |

100 ft		@ Rs. 1997/12				P.Ft		Rs. 1,99,712/=

(Rupees One Thousand Nine Hundred

Ninety Seven and Paisa Twelve Only) (P.ft)

| 3. | Drill for tube well at 16" inch minimum dia meter from 100' depth maximum 200' ft depth. |
| --- | --- |

100 ft		@ Rs. 2302/53				P.Ft		Rs. 1,30,253/=

(Rupees Two Thousand Three Hundred

Two and Paisa Fifty Three Only) (P.ft)

| 4. | Drill hole to 16" dia 200' ft to 300' depth. |
| --- | --- |

100 ft		@ Rs. 2607/95				P.Ft		Rs. 1,60,795/=

(Rupees Two Thousand Six Hundred

Seven and Paisa Ninety Five Only) (P.ft)

| 5. | Drill hole 16" dia 300' ft to 400 ft. |
| --- | --- |

100 ft		@ Rs. 2913/36				P.Ft		Rs. 2,91,336/=

(Rupees Two Thousand Nine Hundred

Thirteen and Thirty Six Paisa Only) (P.ft)

| 6. | Supplying and install 8" nominal dia under PVC class “D” pump housing casing (Blind Pipe). |
| --- | --- |

270 ft		@ Rs. 934/70				P.Ft		Rs. 2,52,369/=

(Rupees Nine Hundred Thirty Four and

Paisa Seventy Only) (P.ft)

| 7. | Supplying and install 8" nominal diameter PVC class “D” slatted. |
| --- | --- |

130 ft		@ Rs. 1005/79				P.Ft		Rs. 1,30,753/=

(Rupees One Thousand Five and

Paisa Seventy Nine Only) (P.ft)

| 8. | Supply and install 8" nominal dia meter plug 5'-0 ft long complete i/c casing and cap 7 concrete plug. |
| --- | --- |

1 No:		@ Rs. 6033/50				Each		Rs. 6,034/=

(Rupees Six Thousand Thirty Three and Paisa Fifty Only) (Each)

| 9. | Supply and install well head casing and security cap. |
| --- | --- |

1 No:		@ Rs. 4854/	=				Each		Rs. 4,854/=

(Rupees Four Thousand Eight Hundred Fifty Four Only) (Each)

| 10. | Supply and place graded pack in well (P.H.S.I no. 13 (h) P-45). |
| --- | --- |

400 ft		@ Rs. 232/-					P.Ft		Rs. 92,800/=

(Rupees Two Hundred Thirty Two Only) (P.ft)

| 11. | Develop and test well. |
| --- | --- |

1 No:		@ Rs. 1,07,239/=				Each		Rs. 1,07,239/=

(Rupees One Lac Seven Thousand Two Hundred Thirty Nine Only)(Each)

| 12. | Dis-infection of well. |
| --- | --- |

1 No:		@ Rs. 500/=					Each		Rs. 500/=

(Rupees Five Hundred Only) (Each)

| 13. | Construction concrete Class “B” around well head casing complete. |
| --- | --- |

1 No:		@ Rs. 3035/	=				Each		Rs. 3035/=

(Rupees Three Thousand Thirty Five Only) (Each)

Total		Rs. 14,11,250/=

SCHEDULE – B

PART-B	PUMP HOUSE SIZE (8' X 8')

| 1. | Excavation in foundation of building bridges and other structure i/c dag belling dressing, refilling around structure with excavated earth watering and ramming lead up to one chain and lift up to 5 ft.(G.S.I.No: 18 P-4) (in sand, ashes or loos sail). |
| --- | --- |

122.50 Cft	@ Rs. 2722/50				P‰ Cft	Rs. 334/=

(Rupees Two Thousand Seven Hundred Twenty Two 				and Paisa Fifty Only)(Per Thousand Cft)

| 2. | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering (G.S.I.No: 5 (i) P-16). |
| --- | --- |

50.00 Cft	@ Rs. 11288/75				P% Cft	Rs. 5,644/=

(Rupees Eleven Thousand Two Hundred Eighty Eight and Paisa Seventy Five Only)  (Per Hundred Cft)

| 3. | Pucca brick work in foundation and plinth in (1:6). (G.S.I.No.4 P-23). |
| --- | --- |

118.0 Cft	@ Rs. 11948/36 				P% Cft	Rs. 14,099/=

(Rupees Eleven Thousand Nine Hundred Forty Eight and Paisa Thirty Six Only)  (Per Hundred Cft)

| 4. | Pucca brick work in ground floor in i/c stricking of joints with cement sand mortar (1:6) (G.S.I.No. 5 P-25). |
| --- | --- |

231.00 Cft	@ Rs. 12674/36				P% Cft	Rs. 29,278/=

(Rupees Twelve Thousand Six Hundred Seventy Four and Paisa Thirty Six Only)  (Per Hundred Cft)

| 5. | Reinforced cement concrete work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also i/c of forms moulds lifting shuttering curing rendering and finishing the exposed surfaces i/c screening and washing of shingle 1/8" to 1/4" gauge.(P.H.S. I. No: 6 P-16). |
| --- | --- |

80.00 Cft	@ Rs. 337/=					P.Cft		Rs. 26,960/=

(Rupees Three Hundred Thirty Seven Only)  (P.Cft)

| 6 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending lying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (G.S.I.No. 7 P-16). |
| --- | --- |

3.21 Cwt	@ RS. 5001/70 				P.Cwt		Rs. 16,055/=

(Rupees Five Thousand One and Paisa Seventy Only) (P.Cwt)

| 7. | Filling, watering and ramming earth under floor with surplus earth from foundation lead upto one chain and lift upto 5 feet. (G.S.I.No. 21 P-4). |
| --- | --- |

102.00 Cft	@ Rs. 1512/50 				P‰ Cft	Rs. 154/=

(Rupees One Thousand Five Hundred Twelve and Paisa Fifty Only)  (P. Thousand Cft)

| 8. | Making and fixing steel grated door with 1/16" thick sheeting including and iron frame 2"x 2" x 3/8" and ¾" square bars 4" center to center with locking arrangement. (G.S.I.No.24 P-91). |
| --- | --- |

24.50 Sft	@ RS. 726/72 				P.Sft		Rs. 17,805/=

(Rupees Seven Hundred Twenty Six

and Paisa Seventy Two Only)  (P.Sft)

| 9. | Fabrication of heavy steel work with angles, tees, flat iron, iron and sheet iron for making trusses, girders, tanks etc, including cutting riveting, handing assembling and fixing but eluding erection in position. (G.S.I.No. 2 P-96). |
| --- | --- |

2.03 Cwt	@ Rs. 4928/49				P.Cwt		Rs. 10,005/=

(Rupees Four Thousand Nine Hundred Twenty Eight

and Paisa Forty Nine Only) (P.Cwt)

| 10. | Supplying and fixing iron steel grill of 3/4" x 3/4" x 1/8" slice flat iron of approved design i/c paining 3 coats etc complete weight not to be less than 3.70 lbs per sq: ft of finished grill. (G.S.I.No. 26 P-92). |
| --- | --- |

24.00 Sft	@ Rs. 180/50 				P.Sft		Rs. 4,332/=

(Rupees One Hundred Eighty and Paisa Fifty Only) (P.Sft)

| 11. | Cement Plaster (1:6) upto 20’ height 1/2" thick (G.S.I.NO 11 P-52). |
| --- | --- |

385.0 Sft	@ Rs. 2206/60   				P% Sft		Rs. 8,495/=

(Rupees Two Thousand Two Hundred Six and

Paisa Sixty Only) (P. Hundred Sft)

| 12. | Erection and fitting in position of iron tresses, staging of water tank etc. (G.S.I. No. 2 P-96). |
| --- | --- |

2.03 Cwt	@ Rs. 271/04   				P.Cwt		Rs. 550/=

(Rupees Two Hundred Seventy One and

Paisa Four Only) (P.Cwt)

| 13. | Cement Plaster (1:4) upto 20’ height 3/8" thick (G.S.I.No: 11 (a) P-51). |
| --- | --- |

385.00 Sft	@ Rs. 2197/52  				P% Sft		 Rs. 8,460/=

(Rupees Two Thousand One Hundred Ninety Seven and Paisa Fifty Tow Only)  (P. Hundred Sft)

| 14. | Cement pointing (1:3) struck joint on wall (G.S.I.No. 19 (b) P-53). |
| --- | --- |

358.00 Sft	@ Rs. 1213/58  				P% Sft		 Rs. 4,345/=

(Rupees One Thousand Two Hundred Thirteen and Paisa Fifty Eight Only)  (P. Hundred Sft)

| 15. | Providing and laying 2" thick topping concrete ratio (1:2:4) surface finishing and dividing into panels 2" thick (G.S.I.No. 16 (c) P-41). |
| --- | --- |

190.00 Sft	@ Rs. 3275/50 				P% Sft		Rs. 6,223/=

(Rupees Three Thousand Two Hundred Seventy Five and Paisa Fifty Only) (P. Hundred Sft)

| 16. | P/F C.I. main hole covering frame i/c cost of material (P.H.S.I.No: 1 P-35). |
| --- | --- |

1.75 Cwt	 @ Rs. 6985/=				P.Cwt		Rs. 12,224/=

(Rupees Six Thousand Nine Hundred Eighty Five Only) (P. Cwt)

| 17. | Painting new surface preparing surfaces and painting of doors and windows of any type i/c edges two coats.(G.S.I No. 4 P-69). |
| --- | --- |

49.0 Sft	@ Rs. 2116/41 				P% Sft		Rs. 1,037/=

(Rupees Two Thousand One Hundred Sixteen and Paisa Forty One Only)(P. Hundred Sft)

| 18. | White washing (a) one coat (G.S.I.No. 26 P-54). |
| --- | --- |

385.00 Sft	@ Rs. 416/63				P% Sft		Rs. 1,604/=

(Rupees Four Hundred Sixteen and Paisa Sixty Three Only)(P. Hundred Sft)

(b) Three Coats.

106.00 Sft	@ Rs. 829/95				P% Sft		Rs. 880/=

(Rupees Eight Hundred Twenty Nine and Paisa Ninety Five Only)(P. Hundred Sft)

| 19. | Colour washing (2 coats) (G.S.I.No. 25 (b) P-54). |
| --- | --- |

743.0 Sft	@ Rs. 859/90				P% Sft		Rs. 6,389/=

(Rupees Eight Hundred Fifty Nine

and Paisa Ninety Only)(P. Hundred Sft)

| 20. | S/F M/S. Girder size 8" x 4". (Sch: Mat: Item 140 P-6) |
| --- | --- |

1.527 Cwt	@ Rs. 3850/=				P.Cwt		Rs. 5,879/=

(Rupees Three Thousand Eight Hundred Fifty Only) (P. Cwt)

Total		Rs. 1,80,752/=

SCHEDULE - B

PART-C	CONSTRUCTION OF R.C.C U.G TANK (14' DIA) 6900 GALLONS CAPACITY

| 1. | Excavation for tanks and reservoirs in sandy Soil i/c trimming and dressing sides to true alignment / design correct / profiles and shape, leveling of bed of tanks to correct level & grade i/c laying of earth in 6” layers for construction of tanks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer Incharge i/c providing fence guards lights flags wherever required lift upto 5 feet and lead upto one chain (P.H.S.I.No. 2 P-68). |
| --- | --- |

0'-5'

3077.0 Cft @ Rs. 3150/= 					P‰ Cft	Rs. 9,693/=

(Rupees Three Thousand One Hundred Fifty Only)

(P. Thousand Cft)

5'-8'

942.0 Cft 	@ Rs. 3700/= 				P‰ Cft	Rs. 3,485/=

(Rupees Three Thousand Seven Hundred)

(P. Thousand Cft)

| 2. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate with out shutting (G.S.I.No. 5 (h) P-15). |
| --- | --- |

Ratio (1:4:8)

113.0 Cft	@ Rs. 11288/75				P% Cft	Rs. 12,756/=

(Rupees Eleven Thousand Two Hundred Eighty Eight and Paisa Seventy Five Only)  (Per Hundred Cft)

| 3. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C.C work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. (G.S.I.No. 6 P-16). |
| --- | --- |

794.0 Cft	@ Rs. 337/=					P.Cft		Rs. 2,67,578/=

(Rupees Three Hundred Thirty Seven Only)  (P.Cft)

| 4. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (G.S.I. No. 7 (b) P-16) (USING TAR BARS). |
| --- | --- |

35.44 Cwt	@ Rs. 5001/70				P.Cwt		Rs. 1,77,260/=

(Rupees Five Thousand One and Paisa Seventy Only) (P.Cwt)

| 5. | Cement Plaster (1:3) upto 20’ height ¾” thick (G.S.I.No: 10 (c) P-51) (For Water Proofing). |
| --- | --- |

396.0 Sft	@ Rs. 2795/30 				P% Sft		Rs. 11,069/=

(Rupees Two Thousand Seven Hundred Ninety Five and Paisa Thirty Only)  (P. Hundred Sft)

| 6. | Supplying Dampo (For mixing with cement plaster for water proofing purposes) Gen: Sch: of Mat: Item No. 46 P-4) 3.50 Lbs per bag of cement. |
| --- | --- |

8.28 Kg	@ Rs. 125/=					P.Kg		Rs. 1,035/=

(Rupees One Hundred Twenty five Only)  (P.Kg)

| 7. | Providing and fixing C.I .Main hole cover with frame i/c cost of material (P.H.S.I. No:1 P-35). |
| --- | --- |

1.0 Cwt	@ Rs. 6985/=				P.Cwt		Rs. 6,985/=

(Rupees Six Thousand Nine Hundred Eighty Five Only) (P. Cwt)

| 8. | Providing/ Fixing C.I ventilator (Weight not less than 80 – Lbs/ Each) in tank roof of approved design with water light joint i/c painting etc complete. (P.H.S.I.No 4 P-55). |
| --- | --- |

1 No:		@ Rs. 4870/=				Each		Rs. 4,870/=

(Rupees Four Thousand Eight Hundred Seventy Only) (Each)

| 9. | Providing construction joint in concrete work of 9” wide corrugated P/C water stopper (with bulb) i/c soldering cost of material and labour etc complete (P.H.S.I No. 2 P-56). |
| --- | --- |

97.20 Rft	@ Rs. 86/=					P.Rft		Rs. 8,359/=

(Rupees Eighty Six Only) (P.Rft)

| 10. | Supplying C.I Tail Piece with one end flanged and other end spigot (for all size) (P.H.S. of Mat: I. No. 5 P-11). |
| --- | --- |

0.131 Cwt	@ Rs. 6096/=				P.Cwt		Rs. 799/=

(Rupees Six Thousand Ninety Six Only) (P.Cwt)

| 11. | Supplying and embedding C.I Foot steps of approved design weight not less than 15 Lbs. |
| --- | --- |

8 Nos:		@ Rs. 965/-					Each		Rs. 7,720/=

(Rupees Nine Hundred Sixty Five Only) (Each)

| 12. | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. (G.S.I. No: 16 P-41). |
| --- | --- |

1½" thick

362.0 Sft	@ Rs. 2548/29				P% Sft		Rs. 9,225/=

(Rupees Two Thousand Five Hundred Forty Eight and Paisa Twenty Nine Only) (P. Hundred Sft)

| 13. | Providing, Laying, Jointing and testing G.I pipe of standard approved quality with thickness 5.0 mm (G-6) with test pressure (725 PSI). |
| --- | --- |

3" Dia

8.0 Rft	@ Rs. 338/17				P.Rft		Rs. 2,705/=

(Rupees Three Hundred Thirty Eight and Paisa Seventeen Only) (P.Rft)

| 14. | Manufacturing, Supplying M.S flanges dia made out M.S sheet of 3/8 i/c cutting, drilling holes and welding of flanges with G.I/M.S pipe etc complete. |
| --- | --- |

3" Dia

2 Nos:		@ Rs. 500/89				Each		Rs. 1,002/=

(Rupees Five Hundred and Paisa Eighty Nine Only) (Each)

| 15. | Supplying C.I sluice valve heavy pattern test pressure 300 lbs/sq: inch (S.M.I No.2 P-12). |
| --- | --- |

3" dia

1 No:		@ Rs. 4290/=				Each		Rs. 4,290/=

(Rupees Four Thousand Two Hundred Ninety Only) (Each)

| 16. | C.I bend with flanged end with holes i/c turning and facing flanges for all size (S.M.I. No. 8 P-11). |
| --- | --- |

3" dia

0.262 Cwt	@ Rs. 6096/=				P.Cwt		Rs. 1,597/=

(Rupees Six Thousand Ninety Six Only) (P.Cwt)

| 17. | Jointing C.I/M.S flanged pipe and special and in jointing trenches i/c supply rubber packing of the required thickness nuts bolts with washier etc and other tools required for jointing and testing joint to the specified etc complete.(P.H.I No. 1 P-40). |
| --- | --- |

3" dia:

5 Joints	@ Rs. 499/=					P.Joint	Rs. 2,495/=

(Rupees Four Hundred Ninety Nine Only) (P.Joint)

Total	Rs. 5,32,923/-

PART-D 	PVC RISING MAIN 3” DIA:

| 1. | Providing PVC pipe of class “B” equivalent make fixing in trench i/c cutting, fitting and jointing with “Z” Joint with one rubber ring i/c testing with water to head of 61 meter or 200 ft. (P.H.S.I. No. 1 P-22). |
| --- | --- |

3" Dia

500.0 Rft	@ Rs. 90/=					P.Rft		Rs. 45,000/=

(Rupees Ninety)

| 2. | PVC “Z” Joint fitting (P.H.S.O.M.Item No. 16 P-28). |
| --- | --- |

(i)	Valve Socket  3" dia

1 No:		@ Rs. 350/=   		 		Each		Rs. 350/=

(Rupees Three Hundred Fifty) only

| 3. | Cast iron special for A.C pressure pipe (Standard Weight A.C.I.L “B” Class) (P.H.S.O.M.I No:9 P-16). |
| --- | --- |

(i)	Short Piece/Tail Piece

3" dia

2 Nos:		@ Rs. 375/=    				Each		Rs. 750/=

(Rupees Three Hundred Seventy Five) only

| 4. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other tools required for jointing and testing be same to be specified presser etc complete. (P.H.S.I No: 1 P-40). |
| --- | --- |

3" dia

2 Joints	@ Rs. 499/=  				P.Joint	Rs. 998/=

(Rupees Four Hundred Ninety Nine)

| 5. | Making joints to PVC specials fitting including laying of specials and cost of solvent cement of required diameter and testing the joints with along with PVC pipe “B, “C” & “D” class to the specied pressure and making good o all leaky joints etc complete.. (P.H.S.I.No. 1 P-41). |
| --- | --- |

3" dia

2 Joints	@ Rs. 59/= 	 				P.Joint	Rs. 118/=

(Rupees Fifty Nine)

| 6. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift up to 5 ft (1.52 m) and lead up to one chain (30.5 m). (P.H.S.I. No. 2 P-60). |
| --- | --- |

3000.0 Cft	@ Rs. 3750/=				P%o Cft	Rs. 11,250/=

(Rupees Three Thousand Seven Hundred Fifty)

| 7. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No.24 P-53). |
| --- | --- |

2700.0 Cft	@ Rs. 2760/=				P‰ Cft	Rs. 7,452/=

(Rupees Two Thousand Seven Hundred Sixty)

Total	Rs. 65,918/-

SCHEDULE-B

PART: E       PUMPING MACHINERY 7.50 BHP

| 1. | Providing and Installing in position i/c transportation site of work at Muhammad Hanif Dal Flow Pak Submersible pump 6 FSJC/10 stage with 7.50 HP Motor complete capable to discharge 30 GPM against a head of 380 ft 7.50 HP Flow Pak Motor (3 x 400V x 2 Pole) i/c G.I. riser pipe of 2" dia x 36 Nos. of 7.50 ft each (M Grade) with flanged ends. The flanges are notched to accommodate the cable i/c top set of 2" dia containing bore hole cover plate with 900 bend, sluice valve, G.I Motor jacket, nuts & bolts and 2 sets of installation clamps (G.I) i/c nipple of 2" dia (G.I) i/c 7.50 HP Motor Control Unit consist of metallic box, circuit breaker, am-meter, am-meter selector switch, volt meter, volt meter selector switch, electronic over current relay, magnetic contactor, under/Over voltage relay (EVR), dry running protection relay, indication lamps & On/Off switch i/c Electrodes & cable 3/29 x 380 ft, Drop cable 3 x 6 mm2 x 380 ft. Cable Clamps 40 Nos: Cable Termination Kit (CTK) x 0.1 No: and making necessary arrangement for testing of the complete pumping sets against the required head for 72 hours etc complete. |
| --- | --- |

1 Set		@ Rs. 7,23,000/=				P.Set	       	    Rs. 7,23,000/=

(Rupees Seven Lacs Twenty Three Thousand Only)(P.Set)

Total     Rs. 6,23,000/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery/Pipe will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |