BILL OF QUANTITIES

WORK NO. 6

CONSTRUCTION OF RCC SLAB AND REPAIR OF WALL AT REHRI ROAD BETWEEN UC-02 AND UC-03 DMC MALIR.

Description and rates of items based on composite schedule of rates.

| Item no | DESCRIPTION | QUANTITY | Engineer’s Estimate |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | RATE | UNIT | AMOUNT |
| 1- | Dismantling cement concrete plain 1:2:4 (P-10/19 / c ) 2x50x0.75x2 = 150 Cft 3x50x0.75x2.25 = 253.12 Cft 1x60x0.73x1.89 = 82.78 Cft 485.90 Cft | 485.90 Cft | 3327.50 | % Cft | 16,168.00 |
| 2- | Cement concrete plain i/c placing, compacting, finishing and curing, complete (including screening and washing at stone aggregate without shuttering. Ratio 1:2:4 (P/16-5/ (f) ) 3x100x4x0.25 = 300 Cft 2x60x4x0.25 = 120 Cft 420 Cft | 420.0 Cft | 14429.25 | % Cft | 60,603.00 |
| 3- | R.C.C work i/c labour and material except the cost of steel reinforcement and its labour for binding which will be paid separately. R.C work in roof slab, beams columns rafts, lintels and other structural etc.. 1:2:4 (S.I No. 6 (a) P/16) 4x100x1x6 = 2400 Cft 1x50x1x6 = 300 Cft 2x75x0.75x3 = 307.50 Cft 2x135x0.75x3 = 607.50 Cft 1x75x0.75x6 = 337.50 Cft 1x250x5.50x0.75 = 1031.25 Cft 1x110x1x6 = 660 Cft 5643.75 Cft | 5643.75 Cft | 337.00 | P.Cft | 19,01,943.00 |

| 4- | Fabrication of mild steel reinforcement for cement concrete i/c cutting, bending, laying in position, making joints and fastenings i/c cost of binding wire (also i/c removal of rust from bars.) (S.I No. 8 (b) p/16) Quantity same as item No.(3) 5643.75x5 = 251.95 Cwt 112 | 251.95 Cwt | 5001.70 | P.Cwt | 12,60,178.00 |
| --- | --- | --- | --- | --- | --- |

|  | TOTAL SCHEDULE RATES | Rs 3238893.00 |
| --- | --- | --- |

ASSISTANT EXECUTING ENGINEER (B & R)

DMC MALIR KARACHI

I / We hereby quote the amount of Rs ____________________     _________ % above/below on CSR I / We agree to sign the same as and when rates quoted by me / us are approved.

In words:  _____________________________________________________________________

Contractor’s signature. ___________________________________________________________

Name of firm & Address: ________________________________________________________

Telephone / mobile no: __________________________________________________________