BILL OF QUANTITIES

WORK NO. 40

REPAIR AND MAINTENANCE OF BALDIA PRIMARY SCHOOLIN DAWOOD GOTH

UC-10, DMC MALIR.

Description and rates of items based on composite schedule of rates.

| Item no | DESCRIPTION OF WORK | QUANTITY | Engineer’s Estimate |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | RATE | Unit | AMOUNT |
| 1. | Scraping (b) Ordinary distemper oil bound distemper or paint on walls. | 12507.00 | 226.88 | % sft | 28375.00 |
| 2. | Distempering Three coats | 12507.00 | 1043.90 | % sft | 130560.00 |
| 3. | (C) Painting doors and windows any type. 1st coat Each subsequent coat | 671.00 | 2116.41 | % sft | 14201.00 |
| 4 | (d) Painting guard bars gate iron bars gratings railings including standard braces etc. and similar open work. 1st coat Each subsequent coat | 1200.00 | 977.49 | % sft | 11733.00 |
| 5. | Providing and fixing in position door windows and ventilator of first class deodar wood frame and 1 ¾” thick commercial ply wood veneer shutter of deodar wood (3 ply) on both sides i/c hold fast cheats iron tower bolts handles hinges and one mortice lock. | 414.00 | 1227.36 | p-sft | 508127.00 |
| 6. | Removing cement or lime plaster. | 128.00 | 121.00 | % sft | 154.00 |
| 7. | Providing and laying 1:3:6 cement concrete solid block masonry walls 6” below in in thickness set in 1:6 cement mortar in ground floor super structure i/c racking out joints and curing etc. complete. | 64.00 | 15771.01 | % cft | 10093.00 |
| 8. | Dismantling glazed or encaustic tiles etc. | 00.00 | 786.50 | % sft | 00.00 |
| 9. | Cement plaster 1:4 upto 12’ height. (a) 1/2” thick | 128.00 | 2283.02 | % sft | 37860.00 |
| 10. | Providing and laying 1 1/2” topping cement concrete 1:2:4 i/c surface finishing and dividing into panels. | 854.00 | 2548.29 | % sft | 21762.00 |

| 11. | Providing and fixing PVC pipe. ½” dia |  | 100.00 |  | Open rate | p-rft | 00.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 12. | Providing and fixing fiber tank etc. 1000 gallon |  | 01.00 |  | Open rate | Each | 00.00 |
| 13. | Boring |  | 01.00 |  | Open rate | Each | 00.00 |
| 14. | Cleaning and washing mosaic floor etc. |  | 96.00 |  | Open rate | p-sft | 00.00 |
|  |  | TOTAL SCHEDULE RATES |  | Rs 728865.00 |  |  |  |

ASSISTANT EXECUTING ENGINEER (B & R)

DMC MALIR KARACHI

I / We hereby quote the amount of Rs ____________________     _________ % above/below on CSR I / We agree to sign the same as and when rates quoted by me / us are approved.

In words:  ______________________________________________________________________

Contractor’s signature. ___________________________________________________________

Name of firm & Address: _________________________________________________________

Telephone / mobile no: ___________________________________________________________