**Name of work: M/R TO EXTERNAL DEVELOPMENT AT CHIEF MINISTER HOUSE KARACHI.**

**SCHEDULE B.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S.No.** | **Description** | **Qty** | **Rate** | **Unit** | **Amount** |
| **1** | Excavation in foundation of buildings bridges and other structure including dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5'ft (b) in Ordinary Soil. (S.I. No. 4(b)/18) | **4000.00** | **3176/25** | **%CFT** | **12705** |
| **2** | Providing & fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with natural colours, having strength b/w. 5000 psi to 8500 psi i/c. filling the joints with hill sand and laying in specified manner / pattern and design etc. complete. (S.I-72/49) | **2045.00** | **223/97** | **%SFT** | **458010** |
|  | **TOTAL** |  |  |  | **470724** |
|  | **PART B N.S.I** |  |  |  |  |
| **1** | Reflector Light Paint for Kerb Stone any size original Zink Colour including all labour and material etc. complete as directed by Engineer Incharge. | **1525.00** |  | **SFT** |  |
| **2** | Providing and kerb stone 12" x 6" x 18" including cutting required earth over a bed of curing and finishing etc. complete | **200.00** |  | **SFT** |  |
| **3** | Providing and fixing uPVC pipe 4" dia including cutting making and jointing with switch pest with special approved quality including all cost of labour as directed by the Engineer Incharge etc. complete. | **75.00**  **RFT** |  | **RFT** |  |
| **4** | Construction of manhole size 2' x 2' x 3-1/2" of Block Masonry including Excavation, plastering, CC Flooring, manhole cover of RCC complete in all respect are as directed by the Engineer Incharge. | **20.00** |  | **RFT** |  |

TERMS & CONDITION

1. Any typographical errors in the schedule B are subject to the correct condition with Reference to the schedule of rate General 2012 enforced from 12-07-2012 as approved by the SRC Sindh.
2. Arbitraction clause stands deleted from the agreement.
3. No Premium shall be paid on Non Schedule Items
4. 100% well Graded crushed bajri shall be used in items of work without any extra payment.
5. No any items of exveceed then the quantity provided in the schedule B without prior of the Executive Engineer.
6. All sample of items should be got approved by the Executive Engineer

Contractor

Assistant Engineer,

Provincial Buildings sub Division-IX,

Karachi