## summary
SUMMARY OF COST
Name of Work: |  | REPAIR/RENOVATION OF D.C.O OFFICE MATIARI DISTRICT MATIARI (RENOVATION OF OFFICE CHAMBER I/C BATH).
(A) Details of Estimate of Civil work
1. | Cost of Total Schedule Items |  |  |  |  | Rs: | 872673
2 | Deduct 20 % Below on Item No.14,15,17,19,22 (Rs.583263) | [5 empty] | 16653
|  |  |  | Sub-Total |  | Rs: | 856020
3 | Add:10% on Item No.5,9,10,18 (Rs.41832) |  |  |  |  | Rs: | 4183
4 | Carraige of Material |  |  |  |  | Rs: | #REF!
5 | Add Contigency 1.0% |  |  |  |  | Rs: | 8558
|  |  |  | Total (A) |  | Rs: | #REF!
(B) Details of Estimate of Water Supply & Sanitary Work
1. | Cost of Schedule Items |  |  |  |  | Rs: | 30032
2. | Add:15% on Item No.1,4 Rcc & G.I Pipe (Rs.13670) |  |  |  |  | Rs: | 2051
3. | Cost of Non Schedule Items |  |  |  |  | Rs: | #REF!
|  |  |  | Total (B) |  | Rs: | #REF!
|  |  |  | Total (A) |  | Rs: | 886179
|  |  |  | Grant Total (A+B) |  | Rs: | #REF!
|  |  |  | Say |  | Rs: | 990000
[7 empty] | 0.99 | (M)
| Sub-Engineer |  | Assistant Engineer |  | Executive Engineer
|  |  | Buildings Sub-Division |  | Buildings Division
|  |  | Taluka Matiari |  | Matiari

## Estimate
E S T I M A T E
NAME OF WORK:- |  | REPAIR/RENOVATION OF D.C.O OFFICE MATIARI DISTRICT MATIARI (RENOVATION OF OFFICE CHAMBER I/C BATH).
S# | DESCRIPTION | QUANTITY | RATE
1 | Excavation in foundation of building, bridges & other structures I/c degbelling, dressing, refilling around structure with excavated earth watering & ramming lead up to 5 feet. (b) In ordinary soil. (S.I No:18(b)/P-4) | 219 | 3176.25 | % 0Cft |  | 696
2 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge ratio 1:4:8 (S.I.NO:4/P-14) | 94 | 9416.28 | % Cft |  | 8851
3 | Pacca brick work in foundation & plinth in cement sand mortar ratio 1:6 (S.I.NO: 4/P- 20) | 175 | 11948.36 | % Cft |  | 20910
4 | Reinforced Cement Concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (a) R.C.work in roof slab, beams, columns, rafts,lintels and other structural members laid in situ or precast laid in position complete in all respect.Ratio 1:2:4. (S.I.# 6-a/P-18) | 142 | 337 | P.Cft |  | 47854
5 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position making joints and fastenings including cost of binding wire (also removal of rust from bars.) (S.I.# 7/P-20) | 6.97 | 5001.7 | P.Cwt |  | 34862
6 | Pacca brick work in G.FLOOR i/c striking of joints in cement sand mortar ratio 1:6. (S.I.NO:5/P-21) | 299 | 12674.36 | % Cft |  | 37896
7 | Filling watering & ramming earth in floor with surplus earth from foundation lead up to one chain and lift up to 5 feet. (S.I No: 21/P-4) | 146 | 1512.5 | % 0Cft |  | 221
8 | Supplying and filling sand under floor & plugging in walls. (S.I.NO:29/P-26) | 204 | 1141.25 | % Cft |  | 2328
9 | P/Fixing G.I. frames/chowkhats of size 7" x 2" or 4 1/2" x 3" for doors using 20 gauge G.I. Sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 repairing the jambs. The cost also i/c all carriage, tools and plansts used in making and fixing.(S.I.# 29/P-98) | 16 | 228.9 | P.Rft |  | 3662
10 | P/Fixing G.I. frames/chowkhats of size 7" x 2" or 4 1/2" x 3" for windows using 20 gauge G.I. Sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 repairing the jambs. The cost also i/c all carriage, tools and plansts used in making and fixing. (S.I.# 28,/P-98) | 10 | 240.5 | P.Rft |  | 2405
11 | Cement plaster 1/2" thick, ratio 1:6 upto 20' height.(S.I.# 11/P-58) | 793 | 2206.6 | % Sft |  | 17498
12 | Applying floating coat of cement 1/32" thick. (S.I.NO: 14/P-53) | 793 | 660 | % Sft |  | 5234
13 | Cement plaster 3/8" thick, ratio 1:4 upto 20' height.(S.I.# 11/P-58) | 793 | 2197.52 | % Sft |  | 17426
14 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement & 1:2 pigment on a bed of 3/4" thick cement mortar 1:2 (S.I No. 25/P-43) | 64 | 27747.06 | % sft |  | 17758
15 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing. (S.I.NO: 38/P-45) | 176 | 28299.3 | % sft |  | 49807
16 | First class deodar wood wrought joinery in doors & windows etc fixed in position i/c chowkhat, holds fasts, hinges, iron tower bolts, chocks, cleats, handles and cords with hooks etc. Deodar panelled or panelled glazed or fully glazed 1-3/4" thick.(S.I.NO:7(b)/P-58 | 23 | 902.93 | P.sft |  | 20767
17 | S/Fixing in position Aluminium channels framing for hinges DOORS of Alcop made with 5mm thick tinted glass glazing (Belgium) & Alpha (Japan) locks i/c handles, stoppers etc (S.I. No: 83/P-108) | 220 | 1507.66 | P.sft |  | 331865
18 | S/F in position iron steel grill 3/4" x 1/4" size flat iron approved design i/c painting 3-coats. (S.I.NO: 26/P-93) | 5 | 180.5 | P.sft |  | 903
19 | Galvanized wire gauze fixed to chowkhats with 3/4" deodar wooden strips &screws.(S.I.NO:14(d)/P-60). | 5 | 190.72 | P.sft |  | 954
20 | S/F Window printed blinds (horizantal/ vertical) with plain design and approval colour i/c fixing in windows with necesarry accessories. (S.I No.71 P.67). | 165 | 91.11 | P.sft |  | 15033
21 | Providing and laying 2" thick Topping cement concrete (1:2:4) i/c surface finishing & dividing into panels.(S.I.NO: 16 /P-42 ) | 138 | 3275.5 | % Sft |  | 4520
22 | P/laying tiles glazed 6"x 6"x 1/4" on floor or wall facing in required color & pattern of STILE specification jointed in white cement & pigment over a base of 1:2 grey cement mortar 3/4" thick I/c washing & filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile (S.I No:60/P-47) | 600 | 30509.77 | % sft |  | 183059
23 | Primary coat of chalk under distemper (S.I No. 23 /P- 54) | 857 | 442.75 | % sft |  | 3794
24 | Distempering Three Coats. (S.I No: 24/P-54) | 857 | 1079.65 | % Sft |  | 9253
25 | Scraping ordinary distemper, oil bound distemper or paint on walls. (S.I.NO:54(b)/P-13) | 1005 | 226.88 | % Sft |  | 2280
26 | Preparing the surface and painting with Matt Finish paint of approval make to old matt surface. (S.I.NO: 37/P- 55) | 1005 | 2499.76 | % Sft |  | 25123
27 | Painting NEW surface, preparing surface and painting of doors and windows any (including edegs) .(S.I.NO:5(c)/P-70) | 44 | 2116.41 | % Sft |  | 931
28 | Painting OLD surfaces, painting doors and windows any type each subsequent coat (S.I.NO:4/(c)P-68) | 390 | 1160.06 | % Sft |  | 4524
29 | Painting OLD surface painting of sashes, fan lights, glazed or gauzed doors & windows etc .subsequent coat(S.I.NO:4/(b) P-68) | 335 | 674.19 | % Sft |  | 2259
[5 empty] | TOTAL:- | 872673
Sub-Engineer
Buildings Sub-Division
Matiari

## Material Sheet
MATERIAL STATEMENT
NAME OF WORK:- |  | REPAIR/RENOVATION OF D.C.O OFFICE MATIARI DISTRICT MATIARI (RENOVATION OF OFFICE CHAMBER I/C BATH).
S# | NAME OF ITEMS | QUANTITY | CEMENT P.Bag |  | HILL SAND % Cft |  | STONE BALLAST % Cft |  | BAJRI / SHINGLE % Cft |  | BRICKS %0 No: |  | STEEL Ton/5 | Marble tiLES EARTH % Cft
|  |  | % age | Qty: | % age | Qty: | % age | Qty: | % age | Qty: | % age | Qty: | Qty: | Qty:
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1. | Cement Concrete 1:4:8 | 94 | 9.6% | 9 | 48 % | 45 | 96 % | 90
4. | R.C.C. 1:2:4 | 142 | 17.6% | 25 | 44% | 62 |  |  | 88 % | 125
5. | Fabrication | 6.97 |  | 0 |  | 0 | [6 empty] | 0.35
6. | Pacca Brick Masonry (1:6) | 474 | 3.44% | 16 | 25.70% | 122 |  |  |  |  | 1350% | 6399
7. | C.C.Plain 1:2:4 |  | 13% |  | 46 % |  |  |  | 92 %
9. | Cement Plaster (1:6), 1/2" | 793 | 0.53% | 4 | 4 % | 32 |  |  |  | 0
10. | Cement Plaster (1:4), 3/8" | 793 | 0.57% | 5 | 3 % | 24 |  |  |  | 0
11. | Rough/cost Stucco Plaster | 0 | 2% | 0 | 0 | 0 |  |  | 3.60 % | 0
12. | C.C.Topping (1:2:4) , 2" thick | 138 | 3% | 4 | 7.40 % | 10 |  |  | 14.70 % | 20
13. | C.C.Topping (1:2:4) , 3" thick | 0 | 4.4% | 0 | 11% | 0 |  |  | 22% | 0
14 | Marble FLOOR & dado (1/2", 1:3) |  | 0.88% | 0 | 3.40 % | 0 |  |  |  | 0
15 | GLAZED Tiles (, 1:2) | 840 | 1.92% | 16 | 5 % | 42 |  |  |  | 0
16 | Pit Sand / Earth filling | [12 empty] | 0
| TOTAL QUANTITY |  |  | 79 |  | 337 |  | 90 |  | 145 |  | 6399 | 0.35 | 0
| LEAD IN MILES |  |  | 87 |  | #REF! |  | 30 |  | 31 |  | 12 | 6 | #REF!
| RATE OF CARRIAGE AS PER RATE ANALYSIS SHEET IN Rs: |  | Rs: | 58.53 | Rs: | 1260.36 | Rs: | 1553.4 | Rs: | 1585.96 | Rs: | 773.84 | 1097.56 | #REF!
| UNIT |  |  | P.Bag |  | % Cft |  | % Cft |  | % Cft |  | %0 No: | Ton/5 | % Cft
| AMOUNT IN Rs: |  | Rs: | 4624 | Rs: | 4247 | Rs: | 1398 | Rs: | 2300 | Rs: | 4952 | 77 | #REF!
[10 empty] | Grand Total Rs: |  |  | #REF!
| SUB-ENGINEER |  |  | ASSISTANT ENGINEER TALUKA CITY HYDERABAD.
SUB - DIVISION MATIARI
MATIARI

## Oxidation
(11) BILL OF QUANTITIES
Name of Work:- |  | Construction Oxidation Pounds for Drainage Scheme Bhitshah District Matiari.
Part A Oxidation
S# | (A) Description and rate of Items based on Composite Schedule of Rates.
Item No. | Quantities | Descripition of item to be executed as site | RATE | Unit | Amount in Rupees
1 | 728298 | Excavation for tanks and reservoir in sandloy soils i/c trimming and dressing sides to tru allignmnet in shape levling as per directed Enginweer incharge required lift upto 5 Ft and need upto one chain PHSI 2 P-68 | 3150 | % 0Cft | 2294139
2 | 113978.24 | Excavation for tanks and reservoir in sandloy soils i/c trimming and dressing sides to tru allignmnet in shape levling as per directed Enginweer incharge required lift upto 5 Ft and need upto one chain PHSI 14 P-74 | 7200 | % 0Cft | 820643
3 | 41979 | Earth work compaction by Sheep foot rooler and power rooler with optimum mosture content (for 95-100% modified AASHO density (GSINo.13 P-3) | 354 | % 0Cft | 14861
4 | 128 | Providing RCC Pipe ASTM C-76 -62 T/C -76 70 Class II Wall B and fixing and jointing with rubber ring i/c testing with water to specified pressure (e) 24" dia 60mm (PHSI 1(e) P-18 | 869 | P.Rft | 111232
5 | 50.24 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge ratio 1:4:8 (S.I.NO:4/P-14) | 9416.28 | % Cft | 4731
6 | 303.98 | R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately .This rate also i/c all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (a) R.C. work in roof slab, beams, columns, rafts, lintels & other structural members laid in situ or precast laid in position complete in all respects. ratio 1:2:4.(S.I.NO: 6/P-16) | 337 | P.Cft | 102443
7 | 13.3 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending laying in position making joints & fastening i/c cost of binding wire & also i/c removal of rust from bars. (S.I.NO.8/P-17) | 5001.7 | P.Cwt | 66523
|  |  | Total |  | 3414572
_________% above / below on the rates of CSR _____________/- |  |  | Amount to be added /deducted on the basis of premium quoted TOTAL
Total (A) = in words & figures :_____________________________________________________________________
____________________________________________________________________________________________
EXECUTIVE ENGINEER
| Contractor |  | BUILDINGS DIVISION
Note:- Any omissionerror if occurs will be corrected. |  |  | MATIARI

## Pump House
(11) BILL OF QUANTITIES
Name of Work:- |  | Construction Oxidation Pounds for Drainage Scheme Bhitshah District Matiari.
Part B Pump House
S# | (A) Description and rate of Items based on Composite Schedule of Rates.
Item No. | Quantities | Descripition of item to be executed as site | RATE | Unit | Amount in Rupees
1 | 294 | Excavation in foundation of building, bridges & other structures I/c degbelling, dressing, refilling around structure with excavated earth watering & ramming lead up to 5 feet. (b) In ordinary soil. (S.I No:18(b)/P-4) | 3176.25 | %0Cft | 934
2 | 101 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge ratio 1:4:8 (S.I.NO:4/P-14) | 9416.28 | % Cft | 9510
3 | 164 | Cement concrete plain 1:3:6 i/c placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate without shuttering. (S.I No. 5/P-16) | 12595 | % Cft | 20656
4 | 329 | Erection and removal of centering for R.C.C or plain cement concrete works of partal wood (b) Vertical. (S.I No.19(b)(ii)/P-18) | 3127.741 | % Cft | 10289
5 | 295 | Pacca brick work in G.FLOOR i/c striking of joints in cement sand mortar ratio 1:6. (S.I.NO:5/P-21) | 12674.36 | % Cft | 37389
6 | 100 | R.C.C work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately .This rate also i/c all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (a) R.C. work in roof slab, beams, columns, rafts, lintels & other structural members laid in situ or precast laid in position complete in all respects. ratio 1:2:4.(S.I.NO: 6/P-16) | 337 | P.Cft | 33700
7 | 4.01 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending laying in position making joints & fastening i/c cost of binding wire & also i/c removal of rust from bars. (S.I.NO.8/P-17) | 5001.7 | P.Cwt | 20057
8 | 129 | Filling watering & ramming earth in floor with surplus earth from foundation lead up to one chain and lift up to 5 feet. (S.I No: 21/P-4) | 1512.5 | % 0Cft | 195
9 | 120 | Providing and laying 2" thick TOPPING cement concrete (1:2:4) i/c surface finishing & dividing into panels.(S.I.NO: 16 /P-42 ) | 3275.5 | % Sft | 3931
10 | 934 | Cement Plaster 1:4 up to 12' height, 1/2" thick (S.I No.11 /P-59 ) | 2283.93 | % Sft | 21332
11 | 934 | Distempering. (S.I No: 24/P-54) | 1079.65 | % Sft | 10084
12 | 28 | M/ Fixing steel grated door with 1/16" thick sheeting i/c angle iron frame 2" x 2" x 3/8" & 3/4" square bars @ 4" centre to centre with locking arrangement. (S.I No. 24/P-92) | 726.72 | P. Sft | 20348
13 | 2.54 | Fabrication of heavy steel work with angles tees flat iron round iron and sheet iron for making trusses girders tanks etc i/c cutting diverting handling asembling and fixing but excluding erection in position(GSIN:2,P-91). | 4928.49 | P.Cwt | 12518
14 | 2.54 | Erection and fitting in position of iron trusses and testing of water Tank etc (G S I No: 3 P-91) | 271.04 | P.Cwt | 688
15 | 30 | S/F in position iron steel grill 3/4" x 1/4" size flat iron approved design i/c painting 3-coats. (S.I.NO: 26/P-93) | 180.5 | P. Sft | 5415
16 | 116 | Painting NEW surfaces, painting of Door & Window any type i/c edge. (S.I.NO: 5/P-68) | 2116.41 | % Sft | 2455
|  |  | Total |  | 209501
_________% above / below on the rates of CSR _____________/- |  |  | Amount to be added /deducted on the basis of premium quoted TOTAL
Total (A) = in words & figures :_____________________________________________________________________
____________________________________________________________________________________________
EXECUTIVE ENGINEER
| Contractor |  | BUILDINGS DIVISION
Note:- Any omissionerror if occurs will be corrected. |  |  | MATIARI

## Pumping Machinery
(11) BILL OF QUANTITIES
Name of Work:- |  | Construction Oxidation Pounds for Drainage Scheme Bhitshah District Matiari.
Part C Pumping Machinery
S# | (A) Description and rate of Items based on Composite Schedule of Rates.
Item No. | Quantities | Descripition of item to be executed as site | RATE | Unit | Amount in Rupees
1 | 52.97 | C.I bend with flange ends with holes i/c tuning & facing of flangs for all size (PHSMI.No.8.P-11) | 120 | P.Kg | 6356
2 | 2 | Foot wall valve heavy pattern with cone type gate(imported) (PHSMI.No.4.P-11) | 731.25 | Each | 1463
3 | 2 | Sluice valve heavy pattern tested pressure 21 kg/sq.cm or.300lbs)(imported) (PHSMI.No.2.P-9) | 4290 | Each | 8580
4 | 2 | Reflex valve heavy pattern tested pressure 21 kg/sq.cm or.300lbs)(imported) (PHSMI.No.6.P-10) | 1543.75 | Each | 3088
5 | 12 | Jointing C.I /MS flanged pipe and special flanged inside trenchis i/c supplying rubber paking of required thicknes nuts & bolts with washer etc and other tool required for jointing and testing the joint to the specified pressure etc complete(PHSMI.No.1.P-35) | 499 | P.J | 5988
|  |  | Total |  | 25475
_________% above / below on the rates of CSR _____________/- |  |  | Amount to be added /deducted on the basis of premium quoted TOTAL
Total (A) = in words & figures :_____________________________________________________________________
____________________________________________________________________________________________
EXECUTIVE ENGINEER
| Contractor |  | BUILDINGS DIVISION
Note:- Any omissionerror if occurs will be corrected. |  |  | MATIARI
(11)BILL OF QUANTITIES
Name of Work:- |  | Construction Oxidation Pounds for Drainage Scheme Bhitshah District Matiari.
Part C Pumping Machinery
S# | (B) Description and rate of Items based on Non Schedule Market Offer of Rates.
Item No. | Quantities | Descripition of item to be executed as site | RATE | Unit | Amount in Rupees
1 | 2 | Providing and installing in position i/c transportation to site of work Urban Drainage Scheme Pir Muhallah Bhitshah electric pumping set consisting of A.C.electric motor 7.50 BHP 3 phase 50 cycles 400/420 volts 1450 RPM (Siemens) frame size 132 M coupled with non closing pump KSB type KWP (65 -315 ) size 3" X 2.5" mounted on commen steel frame base plate capable discharge of 200 GPM aganist the Head of 50ft i/c installing of pumping set on C.C foundation ratio 1:2:4 with MS Nutts and Bolts of 5/2" dia to be embeded in C.C foundation i/c P/F on prepared board automatic MCU (Schneider) consist of A.C.50 cycles 3 phase 12/25 amperes trip rating push button type star delta starter complete with no volts and over load relay i/c fixing matteld board to accomondat main or sub main control switch recessed in the wall size 3’x2 ½’ i/c providing internal electric wiring for main with 3-7/0.85(7/0.36) pvc insulated wire 660 volts grade in 25 mm(1") PVC Conduct on surface as required i/c providing and fixing earthen set with 0.6mx0.6mx6.3m(2ʼx2ʼx1/4") copper plate buried in the ground and depth 3.7M(12ft or less as per pak PWD specification and testing of pumping set against required head & discharge per 72 hours etc complete(R.A Atteched) |  | P.set
2 | 54 | Manufacturing & installing MS pipe made out of MS sheet of 3/16" thick cutting and folding to requred curvature and shape i/c welding etc complete (R.A Besed on Schedule) |  | P.Rft
3 | 14 | Manufacturing & installing MS flang made out of MS sheet of 3/8" thick cutting drilling holes etc complete (R.A Besed on Schedule) |  | Each
| 64 | (a) 4 " Dia |  | Each
| 4 | (b) 6 " dia |  | Each
Total
_________% above / below on the rates of CSR _____________/- |  |  | Amount to be added /deducted on the basis of premium quoted TOTAL
Total (A) = in words & figures :_____________________________________________________________________
____________________________________________________________________________________________
EXECUTIVE ENGINEER
| Contractor |  | BUILDINGS DIVISION
Note:- Any omissionerror if occurs will be corrected. |  |  | MATIARI

## Rising Man
(11) BILL OF QUANTITIES
Name of Work:- |  | Construction Oxidation Pounds for Drainage Scheme Bhitshah District Matiari.
Part (D) RISING MAIN
S# | (A) Description and rate of Items based on Composite Schedule of Rates.
Item No. | Quantities | Descripition of item to be executed as site | RATE | Unit | Amount in Rupees
1 | 88560 | Excavation for pipe line in trenches and pits in soft Rock for hammering and cheisly where blosting is not pracrticable or prohibated i/c and dressing dressing side to true alignment and shapeleveling of bed of trenches to correct level and grade cutting joints holes and disposal disposal of surplus earth with in one chain as directed by engineer in charge providing fence guards light flags wherever required lift upt 5ft and lead up to one chain (PHSINO:A-1P/60 6"dia | 3600 | % 0Cft | 318816
2 | 6560 | P/L uPVC pressure pipe of Class B (equivalent make) and fixing trenchis i/c cutting fitting jointing with z joint with one rubber ring i/c testing with water to lead 61 meter or 200 ft PHSI 4(d) P-22 | 1581 | P.Rft | 10371360
3 | 1 | Air valve doubble acting (SOMI No.8 P-12) 3" dia | 4000 | Each | 4000
4 | 6 | Fire hydrant tee(PHSINO:7,P-16) | 1688 | Each | 1688
5 | 2 | Cost iron for special for AC pressure pipe standard wt for ACIL "B" class(PHSINO:1P-13) C.I bend 90 Degree 6" dia | 2212.5 | Each | 4425
6 | 4 | Jointing C.I/M.S flanged pipe & special inside trenchies i/c supplying rubber paking of required thickness nutts & bolts with washers etc and other tool required for jointing and testing the hoint to the specified pressure etc complete (PHSINO:1P-40) 6" dia | 938 | Each | 3752
7 | 1 | P/chamber 2-1/2x2-1/2(750x750mm) inside dimension 4-1/2 (1372mm) deep as per approved design for S.V 3" to 12" dia cover and frame (wt kws 3qr) fixed in RCC (102mm) thick (with 5lbs steel p/cft) 9" thick (299mm) brick masonary wall set 1:6 cwt mortar (152mm) thick cwt 1:3:6 in foundation 1" (25mm thick cwt 1:2:4 flooring 1/2" (12.50mm) thick cwt i/c P/F M.S ft rest @ every one ft beyond 21/2ʼ depth curing excavation back filling and disposal of surplus earth etc complete (PHSINO:7(i)P-40) | 18820 | Each | 18820
8 | 79704 | Refilling the excavated stuff in trenches 6" thick layer i/c watering rammming to full compaction etc complete (S.I No.24 P/53) | 2760 | % Cft | 219983
|  |  | Total |  | 10942844
_________% above / below on the rates of CSR _____________/- |  |  | Amount to be added /deducted on the basis of premium quoted TOTAL
Total (A) = in words & figures :_____________________________________________________________________
____________________________________________________________________________________________
EXECUTIVE ENGINEER
| Contractor |  | BUILDINGS DIVISION
Note:- Any omissionerror if occurs will be corrected. |  |  | MATIARI