SCHEDULE “B”

| NAME OF WORK | CONSTRUCTION OF WATER SUPPLY SCHEME RAHARKI SHARIF TALUKA DAHARKI DISTRICT GHOTKI. |
| --- | --- |

| A |  | TUBE WELL |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 01 |  | Boring for type for tube well in all water bearing soil from ground level upto 100ft of 30.30 meter depth i/c sinking and with drawing of costing pipe (PHSI No: 1 P/41) |  |  |  |  |
|  |  | 100.0RFT |  | RS:743/00 | P.RFT | RS: 74300/00 |
| 02 |  | Boring for type for tube well in all water bearing soil from ground level upto 100ft of 30.30 meter depth i/c sinking and with drawing of costing pipe (PHSI No: 1 P/41) |  |  |  |  |
|  |  | 30.0RFT |  | RS:849/00 | P.RFT | RS: 25470/00 |
| 03 |  | Providing strong substantially build wooden locked box with compartment for preserving 2lbs (1kg) sample of per strata from bore holes (PSHI No: 5 P No: 43) |  |  |  |  |
|  |  | 01 No: |  | RS: 3530/00 | P No: | RS: 3530/00 |
| 04 |  | Taking & preserving in box 2lbs (1kg) P-samples of per strata from boreholes (PHSI No: 6 P No:43) |  |  |  |  |
|  |  | 10 Sample |  | RS: 101/00 | P.Sample | RS: 1010/00 |
| 05 |  | Supplying and installing PVC strainer (B) class of approved design quality and making i/c necessary socket etc complete (PHSI No: 9 P No: 43) |  |  |  |  |
|  |  | 80.0RFT |  | RS: 554/05 | P.RFT | RS: 44324/00 |
| 06 |  | Supplying and installing PVC blind PVC blind pipe (B) class approved quality and make i/c necessary socket etc (PHSI No: 12 P No: 44) |  |  |  |  |
|  |  | 50.0RFT |  | RS: 516/80 | P.RFT | RS: 25840/00 |
| 07 |  | Shrouding with graded bajri 3/8”to 1/8” or 8 to 3mm in between bore and blind pipe for the following diameters of strainers (PHSI No: 13 P No:45) |  |  |  |  |
|  |  | 130.0RFT |  | RS: 105/00 | P.RFT | RS: 13650/00 |
| 08 |  | Supplying & fixing of and plugging PVC (PHSI No: 3 P No: 26) |  |  |  |  |
|  |  | 01 No: |  | RS: 1000/00 | EACH | RS: 1000/00 |
| 09 |  | Supplying & fixing M.S bail plug (PHSI No: 8b P No: 43) |  |  |  |  |
|  |  | 01 No: |  | RS: 2607/00 | EACH | RS: 2607/00 |
| 10 |  | Development of tube well testing charges of sample from laboratory (PHSI No: 8n P No: 43) |  |  |  |  |
|  |  | 130.00RFT |  | RS: 200/00 | P. RFT | RS: 26000/00 |
|  |  |  |  |  | TOTAL | RS: 217731/00 |
| B |  | PUMP HOUSE. |  |  |  |  |
| 01 |  | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |  |
|  |  | 193.50CFT |  | RS: 3176/25 | P-%0 CFT | RS: 615/00 |
| 02 |  | Cement concrete brick or stone ballast 1 ½”--2” guage (c.s.i no 4 p no:17) |  |  |  |  |
|  |  | 93.58 CFT |  | RS: 9416/28 | P % CFT | RS: 8812/00 |
| 03 |  | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |  |
|  |  | 105.74CFT |  | RS: 17723/00 | P-% CFT | RS: 18741/00 |
| 04 |  | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |  |
|  |  | 205.62 CFT |  | RS:25321/00 | P-% CFT | RS: 50265/00 |
| 05 |  | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |  |
|  |  | 58.75 SFT |  | RS: 4982/18 | P-% SFT | RS: 2927/00 |
| 06 |  | Painting on stone work raised (CSI No: 20 P No: 53) Ratio 1:3 |  |  |  |  |
|  |  | 195.00 SFT |  | RS: 1758/08 | P %SFT | RS: 3428/00 |
| 07 |  | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |
|  |  | 18.74 CFT |  | RS: 11948/36 | P %CFT | RS: 2239/00 |
| 08 |  | Pacca brick work in foundation ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |
|  |  | 305.50 CFT |  | RS: 12674/36 | P %CFT | RS: 38733/00 |
| 09 |  | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |  |
|  |  | 4.41 CWT |  | RS: 4928/49 | P- CWT | RS: 21734/00 |
| 10 |  | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |
|  |  | 102.89 CFT |  | RS: 337/00 | P- CFT | RS: 34674/00 |
| 11 |  | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |
|  |  | 4.13 CWT |  | RS: 5001/70 | P- CWT | RS: 20657/00 |
| 12 |  | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain |  |  |  |  |
|  |  | 327.75CFT |  | RS: 1512/50 | P%0CFT | RS: 496/00 |
| 13 |  | Preparing surface painting doors & window any type i/c edge |  |  |  |  |
|  |  | 164.00SFT |  | RS: 2116/41 | P-%SFT | RS: 2201/00 |
| 14 |  | Cement painting strict joints on walls |  |  |  |  |
|  |  | 438.25SFT |  | RS: 1213/58 | P-%SFT | RS: 5319/00 |
| 15 |  | Cement plaster 1:6 upto 12ft height |  |  |  |  |
|  |  | 472.50 SFT |  | RS: 2206/60 | P-% SFT | RS: 10426/00 |
| 16 |  | Cement plaster 1:4 upto 11ft height |  |  |  |  |
|  |  | 440.00 SFT |  | RS: 2197/52 | P-% SFT | RS: 9669/00 |
| 17 |  | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |
|  |  | 440.00 SFT |  | RS: 416/63 | P-% SFT | RS: 1833/00 |
|  |  | Three Coat |  |  |  |  |
|  |  | 214.50SFT |  | RS: 829/95 | P.%SFT | RS: 1780/00 |
| 18 |  | Colour washing Two Coats |  |  |  |  |
|  |  | 668.00 SFT |  | RS: 859/90 | P-%SFT | RS: 7464/00 |
| 20 |  | Providing and laying 1”thick topping cement concrete (1:24) ic surface and deriding in to panels |  |  |  |  |
|  |  | 109.25SFT |  | RS: 4411/82 | P-%SFT | RS: 4820/00 |
|  |  |  |  |  | TOTAL | RS: 248633/00 |
| C |  | STAFF QUARTER. |  |  |  |  |
| 01 |  | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |  |
|  |  | 290.62CFT |  | RS: 3176/25 | P-%0 CFT | RS: 923/00 |
| 02 |  | Cement concrete brick or stone ballast 1 ½”--2” guage (c.s.i no 4 p no:17) |  |  |  |  |
|  |  | 141.54 CFT |  | RS: 9416/28 | P % CFT | RS: 13328/00 |
| 03 |  | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |  |
|  |  | 161.43CFT |  | RS: 17723/00 | P-% CFT | RS: 28612/00 |
| 04 |  | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |  |
|  |  | 314.89 CFT |  | RS:25321/00 | P-% CFT | RS: 79761/00 |
| 05 |  | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |  |
|  |  | 90.00 SFT |  | RS: 4982/18 | P-% SFT | RS: 4484/00 |
| 06 |  | Painting on stone work raised (CSI No: 20 P No: 53) Ratio 1:3 |  |  |  |  |
|  |  | 229.25 SFT |  | RS: 1758/08 | P %SFT | RS: 4030/00 |
| 07 |  | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |
|  |  | 18.74 CFT |  | RS: 11948/36 | P %CFT | RS: 2239/00 |
| 08 |  | Pacca brick work in foundation ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |
|  |  | 350.80 CFT |  | RS: 12674/36 | P %CFT | RS: 44462/00 |
| 09 |  | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |  |
|  |  | 4.41 CWT |  | RS: 4928/49 | P- CWT | RS: 21734/00 |
| 10 |  | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |
|  |  | 176.27 CFT |  | RS: 337/00 | P- CFT | RS: 59403/00 |
| 11 |  | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |
|  |  | 7.08 CWT |  | RS: 5001/70 | P- CWT | RS: 35412/00 |
| 12 |  | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain |  |  |  |  |
|  |  | 517.50CFT |  | RS: 1512/50 | P%0CFT | RS: 783/00 |
| 13 |  | Preparing surface painting doors & window any type i/c edge |  |  |  |  |
|  |  | 116.00SFT |  | RS: 2116/41 | P-%SFT | RS: 2455/00 |
| 14 |  | Cement painting strict joints on walls |  |  |  |  |
|  |  | 463.03SFT |  | RS: 1213/58 | P-%SFT | RS: 5619/00 |
| 15 |  | Cement plaster 1:6 upto 12ft height |  |  |  |  |
|  |  | 679.18 SFT |  | RS: 2206/60 | P-% SFT | RS: 14987/00 |
| 16 |  | Cement plaster 1:4 upto 11ft height |  |  |  |  |
|  |  | 679.18 SFT |  | RS: 2197/52 | P-% SFT | RS: 14928/00 |
| 17 |  | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |
|  |  | 679.18 SFT |  | RS: 416/63 | P-% SFT | RS: 2830/00 |
|  |  | Three Coat |  |  |  |  |
|  |  | 333.00SFT |  | RS: 829/95 | P.%SFT | RS: 2764/00 |
| 18 |  | Colour washing Two Coats |  |  |  |  |
|  |  | 1142.21 SFT |  | RS: 849/90 | P-%SFT | RS: 9822/00 |
| 19 |  | Providing and laying 1”thick topping cement concrete (1:24) ic surface and deriding in to panels |  |  |  |  |
|  |  | 172.50SFT |  | RS: 3275/50 | P-%SFT | RS: 7610/00 |
|  |  |  |  |  | TOTAL | RS: 356183/00 |
| D | P.E RISING MAIN 6”DIA |  |  |  |  |  |
| 01 | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |  |  |
|  | 6000.00CFT |  |  | RS: 3600/00 | P.%0CFT | RS: 21600/00 |
| 02 | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) (P N 08) |  |  |  |  |  |
|  | 1000.00RFT |  |  | RS: 440/00 | P.RFT | RS: 440000/00 |
| 03 | P.E Specials (HDPE-100) P.N8 |  |  |  |  |  |
| a) | P.E Elbow 90’ P.N8 |  |  |  |  |  |
|  | 03 Nos: |  |  | RS: 3480/00 | P.No: | RS: 10440/00 |
|  | P.E Elbow 90’ P.N8 |  |  |  |  |  |
|  | 02 Nos: |  |  | RS: 1118/00 | P.No: | RS: 2236/00 |
|  | P.E Cross Tee 160mmx90 |  |  |  |  |  |
|  | 03 Nos: |  |  | RS: 4175/00 | Each | RS: 12525/00 |
|  | P.E Reading Tee |  |  |  |  |  |
|  | 02 Nos: |  |  | RS: 3250/00 | Each | RS: 6500/00 |
| b) | Butt Fusion 6”Dia |  |  |  |  |  |
|  | 5 Nos: |  |  | RS: 1000/00 | P.No: | RS: 5000/00 |
|  | 02 Nos: 4”Dia |  |  | RS: 1000/00 | P.No: | RS: 2000/00 |
| 04 | CI Sluice valve heavy pattern (Test Pressure 21.0kg/sq cm or 300ibs inch) (imported) (S.M.P.H I No: 2 P No: 10) |  |  |  |  |  |
|  | 01 No: |  |  | RS: 9360/00 | P.No: | RS: 9360/00 |
| 05 | Jointing of C.I /M.S flanged pipes and specials flanged & inside a trench i/c supplying rubber packing of the required thickness nuts bolts with washers etc and other tools required for jointing & testing the joints to the specified pressure etc complete (PHSI NO-1 P-18). |  |  |  |  |  |
|  | 02 Nos: |  |  | RS: 938/00 | P.No: | RS: 1876/00 |
| 06 | M.S Flanges 6”dia |  |  |  |  |  |
|  | 02 Nos: |  |  | RS: 804/77 | P.Each | RS: 1610/00 |
| 07 | Flange adopter RA approved |  |  |  |  |  |
|  | 02 Nos: |  |  | RS: 2025/00 | P.Each | RS: 4050/00 |
| 08 | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |  |  |
|  | 6300.00CFT |  |  | RS: 2760/00 | P.%0 | RS: 14904/00 |
|  |  |  |  |  | TOTAL | RS: 532101/00 |
| E | P.E DISTRIBUTION SYSTEM |  |  |  |  |  |
| 01 |  | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |  |
|  |  | 455400.00CFT |  | RS: 3600/00 | P.%0CFT | RS: 163940/00 |
| 02 |  | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) (P N 08) |  |  |  |  |
|  |  | 950.00RFT |  | RS: 440/00 | P.RFT | RS: 418000/00 |
|  |  | 1395.00RFT |  | RS: 224/00 | P.RFT | RS: 312480/00 |
|  |  | 5245.00RFT |  | RS: 148/00 | P.RFT | RS: 776260/00 |
| 3 |  | P.E SPECIALS |  |  |  |  |
|  |  | P.E Tee Equal |  |  |  |  |
|  |  | 4 Nos: 06Dia |  | RS: 4175/00 | EACH | RS: 16700/00 |
|  |  | 2 Nos: 04Dia |  | RS: 1986/00 | EACH | RS: 3972/00 |
|  |  | 5 Nos: 05Dia |  | RS: 1341/00 | EACH | RS: 6705/00 |
|  |  | P.E ELBOW 90”C |  |  |  |  |
|  |  | 1 No: 06Dia |  | RS: 3480/00 | EACH | RS: 3480/00 |
|  |  | 1 No: 04Dia |  | RS: 1655/00 | EACH | RS: 1655/00 |
|  |  | 4 No: 03Dia |  | RS: 1118/00 | EACH | RS: 4472/00 |
| 04 |  | P.E reducing Tee 160mm+90mm (R.A) |  |  |  |  |
|  |  | 05 Nos: |  | RS: 1810/00 | EACH | RS: 9050/00 |
| 05 |  | Stab End place 110/90mm |  |  |  |  |
|  |  | 05 Nos: |  | RS: 1616/00 | EACH | RS: 8080/00 |
| 06 |  | But Fusion Joint 6”Dia |  |  |  |  |
|  |  | 09 Joints 6”Dia |  | RS: 1000/00 | EACH | RS: 9000/00 |
|  |  | 09 Joints 4”Dia |  | RS: 1000/00 | EACH | RS: 9000/00 |
|  |  | 22 Joints 3”Dia |  | RS: 600/00 | EACH | RS: 13200/00 |
| 07 |  | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |  |
|  |  | 40986.00CFT |  | RS: 2760/00 | P.%0 | RS: 113121/00 |
|  |  |  |  |  | TOTAL | RS: 1889347/00 |
| F | PUMPING MACHINERY |  |  |  |  |  |
| 01 | Providing, installing transportation & Testing of KSB Deep well Turbine Pump Type DWT BTB/5+20 Pole (2900) KSB standard “VI” sold shaft motor, totally enclosed fan cooled tropically insulated 3 phase 50 cycle, 400+/-5 with non-reverse ratched, make KSB insulation class F & temperature up to 35C protection class IP-55 i/c sKSB MCU/SD 15 capable of 250GPM against the total head of 150ft & setting depth 60ft the pump assembly of 5stage with mixed flow type impeller, column assembly pf4” internal dia with flanged (discharge piece) joint with 20mm dia each 10’/3050mm length 3 sets & standard top set 1 set (305mm) discharge head with 4” discharge branch, type VN1342 a flange prelubtication arrangement, mounting clamps for 4 inch columns 4 halves i/c installation of pumping set on CC foundation with nuts & bolts & providing, laying (Main or Sub Main) PVC insulted with size 3-7/044(6mm2) copper conductor in 1”dia PVC conduct on surface & providing fixing earth set 2’x2’x1/2” copper plate buried in ground @ depth of 12’ or less if water comes out from the ground level with salt & charcoal etc i/c making the pit 12” deep by excavation of all type of soil earth plate to be connected with No:8 SWG Bore copper with run in ½” GI pipe straight from the earth plate & testing of pumping set against 72hours (quotation attached) |  |  |  |  |  |
|  | 01 SET |  |  | RS: 1343000/00 | P-SET | RS: 1343000/00 |
|  | INTERCONNECTION |  |  |  |  |  |
| 01 | Providing laying and fixing in trench i/c fitting, jointing & testing etc complete in all respect the high density polythene PE pipe (HDPS-100) PN-10 for W/S confirming ISO 4427/DIN8O74/8075 BS 3580 & PSI 3051 (PHI No: F No: F-1P-25). |  |  |  |  |  |
|  | 20.00RFT |  |  | RS: 530/02 | P.RFT | RS: 10600/00 |
| 02 | Manufacturing & fixing M.S flanged 3”dia made out of MS sheet 3/8” thick i/c cutting drilling holes etc complete (R.A Approved) (Based on sch: rates) |  |  |  |  |  |
|  | 06 Nos: |  |  | RS: 807/77 | P.No: | RS: 4829/00 |
| 03 | Butt fussion Joints 6”Dia |  |  |  |  |  |
|  | 06.00 Joints |  |  | RS: 1000/00 | P. Joint | RS: 6000/00 |
| 04 | Flange Adopter 6”Dia (RA Approve) |  |  |  |  |  |
|  | 6.00 Joints |  |  | RS: 2025/00 | P. Joint | RS: 12150/00 |
| 05 | CI supplying reflex valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 6 P 11. |  |  |  |  |  |
|  | 01 No: 6” Dia |  |  | RS: 9360/00 | Each | RS: 9360/00 |
| 06 | Supplying CI Sluice valve heavy pattern SM PHSI 2 P 10. |  |  |  |  |  |
|  | 01 Nos: 6” Dia |  |  | RS: 4062/50 | Each | RS: 4063/00 |
| 07 | CI bends with flanges with holes i/c turning facing flanges for all size. SM PHSI 8 P 11. |  |  |  |  |  |
|  | 1.09CWT |  |  | RS: 6096/00 | P.CWT | RS: 6687/00 |
| 08 | CI tapered flat bottomed or central tapered flanged with holes i/c turning and facing of flanged of all size |  |  |  |  |  |
|  | 0.22CWT |  |  | RS: 6096/00 | P.CWT | RS: 1340/00 |
| 09 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |  |
|  | 08 Joints 6”Dia |  |  | RS: 938/00 | P.JOINT | RS: 7504/00 |
|  |  |  |  |  | TOTAL | RS: 1405533/00 |
|  | PIPING ARRANGEMENT |  |  |  |  |  |
| 01 | Providing laying GI pipe & clamps etc i/c fixing cutting & fitting complete i/c the cost of breaking through walls & making good etc painting 3 coats after clearing the pipe with zink paint with pigment to match the pressure head of 200ft & Handling (saint: SCH: I P No: 12) |  |  |  |  |  |
|  | 80.00 RFT 3”Dia |  |  | RS: 304/02 | P.RFT | RS: 2432/00 |
|  | 140.00 RFT 6”Dia |  |  | RS: 896/17 | P.RFT | RS: 125464/00 |
| 03 | Manufacturing & fixing M.S flanged 3”dia made out of MS sheet 3/8” thick i/c cutting drilling holes etc complete (R.A Approved) (Based on sch: rates) |  |  |  |  |  |
|  | 14 Nos: 6”Dia |  |  | RS: 804/77 | P.No: | RS: 11267/00 |
|  | 02 Nos: 3”Dia |  |  | RS: 500/89 | P.No: | RS: 1002/00 |
| 04 | Supplying CI Sluice valve heavy pattern SM PHSI 2 P 10. |  |  |  |  |  |
|  | 01 Nos: 6” Dia |  |  | RS: 9360/00 | Each | RS: 9360/00 |
| 05 | Supplying of foot valve heavy pattern |  |  |  |  |  |
|  | 01 Nos: 6” Dia |  |  | RS: 1381/25 | Each | RS: 1381/00 |
| 06 | CI bends with flanges with holes i/c turning facing flanges for all size. SM PHSI 8 P 11. |  |  |  |  |  |
|  | 1.09CWT |  |  | RS: 6096/00 | P.CWT | RS: 6645/00 |
| 07 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |  |
|  | 08 Joints 6”Dia |  |  | RS: 938/00 | P.JOINT | RS: 7504/00 |
|  | 02 Joints 2”Dia |  |  | RS: 499/00 | P.JOINT | RS: 198/00 |
|  |  |  |  |  | TOTAL | RS: 166053 |

ABSTRACT

| S# | NAME OF WORK | SCHEDULE | NON- SCHEDULE | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Tube Well | 217731.00 | 00 | 217731.00 |
| 2 | Pump House | 248633.00 | 00 | 248633.00 |
| 3 | Staff Quarter | 356183.00 | 00 | 356183.00 |
| 4 | P.E Rising Main | 532101.00 | 00 | 532101.00 |
| 5 | Distribution System | 1867217.00 | 22130.00 | 1889347.00 |
| 6 | Pumping Machinery | 62533.00 | 1343000.00 | 1405533.00 |
| 7 | Piping Arrangement | 166053.00 | 00 | 166053.00 |
|  | TOTAL | 3450451.00 | 1365130.00 | 4815581.00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |