SCHEDULE “B”

| NAME OF WORK | PROVIDING LAYING JOINTING AND TESTING OF P.E PIPE 16” DIA FROM ENGRO GATE TO JAHANGIR PSO FOR URBAN WATER SUPPLY SCHEME DAHARKI. |
| --- | --- |

| 01 | Excavation for pipe line entrenches and pits in ordinary soils i.c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint hole and disposal of surplus earth within a one chain as directed by engineer in charge providing fence guard light flags and temporary crossing for non lead upto one chain (30.5m) (PHSI No: 5 P No: 47) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 16” dia (400mm) |  |  |  |
|  | 60000.00 CFT | RS: 3600/00 | P.%0CFT | RS: 216000/00 |
| 02 | Providing laying and fixing in trenches i/c fitting and testing etc complete in all respect the high Density Polyethylene P.E pipe (HDPE-100) W/S conforming to ISO-4427, DIN 8074,8075,B.S 3580 & PSI 3051 P.N 08 (PHESI No: 1 P No:26) (16” Dia) |  |  |  |
|  | 4000.00 RFT | RS: 2625/00 | P.RFT | RS: 10500000/00 |
| 03 | P.E CI Special P.E Pipe . |  |  |  |
| A | P.E Bend 45 PN- 45 PN-8 |  |  |  |
|  | 04 Nos: 16”Dia | RS: 17282/00 | Each | RS: 69128/00 |
|  | P.E Bend 45 PN- 90 PN-8 |  |  |  |
|  | 04 Nos: 16”Dia | RS: 21602/00 | Each | RS: 68408/00 |
|  | P.E Tee equal PN-8 |  |  |  |
|  | 04 Nos: | RS: 25922/00 | Each | RS: 103688/00 |
|  | Butt fusion joints 16”dia |  |  |  |
|  | 40 Nos: | RS: 2800/00 | Each | RS: 112000/00 |
|  | P.E Tee un-equal PN-16 |  |  |  |
|  | 03 Nos: | RS: 29146/00 | Each | RS: 87438/00 |
| 4 | CI Air valve double nutting acting local (PHSI No: 8 P No:12s) |  |  |  |
|  | 01 No: | RS: 4000/00 | Each | RS: 4000/00 |
| 5 | CI Sluice valve heavy pattern test pressure 21.0kg/sq cm or 300ibs/ inch (SPHI M No: 2 P No: 13) |  |  |  |
|  | 04 Nos: | RS: 107250/00 | Each | RS: 429000/00 |
| 6 | CI Tail Pieces 16”dia (PHSMI No: 9 P-15) |  |  |  |
|  | 08 Nos: | RS: 7223/00 | Each | RS: 43338/00 |
|  | Providing chamber 2 1/2x 2 1/2(750x750 mm) inside dimension 4 ½ (1372 mm) deep as per approved design for sluice valve 3” to 16” dia with 18” (9457 mm) dia inside cost iron cover & frame (wt = 1 cwt) fixed in RCC 1:2:4 (102 mm) (with 5 lbs steel per cft ) 9” (299 mm) thick brick masonary walls set in cement mortar 6” (91152 mm) thick cement concrete 1:3:6 in foundation 1” (25 mm) thick cement concrete 1:2:4 flooring ½” (12.5 mm) thick cement plaster 1:3 to all inside wall surface & to topic i/c p/f M.S foot rest @ everyone foot beyond 2 ½ ft depth curing excavation back filling & disposal of surplus earth etc complete (P.H.S.I No-1 P-40) |  |  |  |
|  | 04 Nos: | RS: 18820/00 | Each | RS: 75280/00 |
| 7 | Jointing of C.I /M.S flanged pipes and specials flanged & inside a trench i/c supplying rubber packing of the required thickness nuts bolts with washers etc and other tools required for jointing & testing the joints to the specified pressure etc complete (PHSI NO-1 P-18). |  |  |  |
|  | 20 Nos: | RS: 3348/00 | Each | RS: 66960/00 |
| 8 | Refilling the excavated stuff trenches 6” thick layers i/c watering ramming to full compaction etc complete (PHSI No: 24 P No:53) |  |  |  |
|  | 54000.00CFT | RS: 2760/00 | P.%CFT | RS: 149040/00 |
|  |  |  | TOTAL | RS: 11942280/00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |