## B1
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.NO. 207) Rehabilitation/Renovation to existing Primary/ Elementary Schools in Taluka Jam Nawaz Ali District Sanghar 2010-11 Programme(23-Units) Package @ GBPS. Saifal Chandio, GPS. Bhai Khan Wassan/ Ghafoor Wassan, GPS. Beerwari, GPS. Haji Khaskhely (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 56 | 910 | Each | 50960
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 16 | 742 | Each | 11872
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 100 | 118 | P.Mtr | 11800
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 35 | 213 | P.Mtr | 7455
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 56 | 54 | Each. | 3024
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 16 | 80 | Each. | 1280
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 8 | 151 | Each. | 1208
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 40 | 70 | Each. | 2800
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 16 | 72 | Each. | 1152
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 16 | 916 | Each. | 14656
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 4 | 2456 | Each. | 9824
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 2 | 999 | Each. | 1998
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 16 | 3185 | Each. | 50960
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 20 | 375 | P.Mtr | 7500
|  |  |  | Total | 176489
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 16 | 596.4 | P.No. | 9542.4
2 | Providing and Fixing blubs 100 watts | 20 | 35 | Each. | 700
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 8 | 596.4 | P.No. | 4771.2
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 16 | 112 | P.No. | 1792
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 4 | 171 | P.No. | 684
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 4 | 989.55 | P.Sft | 3958.2
|  |  |  | Total-B | 21447.8
|  |  |  | Grand Total A+B | 197936.8
|  |  | Say | Rs | 0.19794
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 2
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.NO. 207) Rehabilitation/Renovation to existing Primary/ Elementary Schools in Taluka Jam Nawaz Ali District Sanghar 2010-11 Programme(23-Units) Package @ GPS. Jam Anwar Ali, GPS. Mir Muhammad Liskani, GPS. Habib Mangrio. (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 42 | 910 | Each | 38220
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 12 | 742 | Each | 8904
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 50 | 118 | P.Mtr | 5900
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 30 | 213 | P.Mtr | 6390
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 42 | 54 | Each. | 2268
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 12 | 80 | Each. | 960
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 6 | 151 | Each. | 906
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 30 | 70 | Each. | 2100
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 12 | 72 | Each. | 864
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 9 | 916 | Each. | 8244
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 3 | 999 | Each. | 2997
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 12 | 3185 | Each. | 38220
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 30 | 375 | P.Mtr | 11250
|  |  |  | Total | 134591
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete). | 12 | 596.4 | P.No. | 7156.8
2 | Providing and Fixing blubs 100 watts | 14 | 35 | Each. | 490
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 3 | 596.4 | P.No. | 1789.2
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 12 | 112 | P.No. | 1344
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 4 | 171 | P.No. | 684
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 4 | 989.55 | P.Sft | 3958.2
|  |  |  | Total-B | 15422.2
|  |  |  | Grand Total A+B | 150013.2
|  |  | Say | Rs | 0.15001
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 3
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 208) Rehabilitation / Renovation to existing Pry / Elementary Schools in Taluka Sanghar/Jam Nawaz Ali/ Shahdadpur District Sanghar 2011-12 Programme (09-Units) @ GPS. Mir Muhammad Mangrio (Electrification)
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 18 | 910 | Each | 16380
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 3 | 742 | Each | 2226
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 30 | 118 | P.Mtr | 3540
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 20 | 213 | P.Mtr | 4260
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 18 | 54 | Each. | 972
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 3 | 80 | Each. | 240
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 1 | 151 | Each. | 151
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 12 | 70 | Each. | 840
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 6 | 72 | Each. | 432
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 5 | 916 | Each. | 4580
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 6 | 3185 | Each. | 19110
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 15 | 375 | P.Mtr | 5625
|  |  |  | Total | 61811
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 6 | 596.4 | P.No. | 3578.4
2 | Providing and Fixing blubs 100 watts | 6 | 35 | Each. | 210
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 1 | 596.4 | P.No. | 596.4
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 6 | 112 | P.No. | 672
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 3 | 171 | P.No. | 513
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 1.5 | 989.55 | P.Sft | 1484.325
|  |  |  | Total-B | 7054.125
|  |  |  | Grand Total A+B | 68865.125
|  |  | Say | Rs | 0.068865
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 4
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 209) Construction of Building for existing Primary Schools Two Roomed & One Roomed in Taluka Khipro District Sanghar 2011-12 Prog (19-Units) @ GPS. Yar Muhammad Mari (01-Roomed) (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 9 | 910 | Each | 8190
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 2 | 742 | Each | 1484
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 10 | 118 | P.Mtr | 1180
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 10 | 213 | P.Mtr | 2130
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 9 | 54 | Each. | 486
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 2 | 80 | Each. | 160
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 1 | 151 | Each. | 151
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 6 | 70 | Each. | 420
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 3 | 72 | Each. | 216
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 1 | 916 | Each. | 916
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 3 | 3185 | Each. | 9555
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 10 | 375 | P.Mtr | 3750
|  |  |  | Total | 32093
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 2 | 596.4 | P.No. | 1192.8
2 | Providing and Fixing blubs 100 watts | 5 | 35 | Each. | 175
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 1 | 596.4 | P.No. | 596.4
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 3 | 112 | P.No. | 336
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 3 | 171 | P.No. | 513
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 1 | 989.55 | P.Sft | 989.55
|  |  |  | Total-B | 3802.75
|  |  |  | Grand Total A+B | 35895.75
|  |  | Say | Rs | 0.035896
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 5
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 211) Construction of One C/Room i/c Lav: Block & Repair of School Buildings in existing Primary Schools in District Sanghar 2012-13 Programme (04-Units) Package @ GPS. Mehrab Khan Liskani , GPS. Timor at Gul M Mari (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 36 | 910 | Each | 32760
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 6 | 742 | Each | 4452
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 40 | 118 | P.Mtr | 4720
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 30 | 213 | P.Mtr | 6390
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 36 | 54 | Each. | 1944
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 6 | 80 | Each. | 480
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 2 | 151 | Each. | 302
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 24 | 70 | Each. | 1680
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 12 | 72 | Each. | 864
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 10 | 916 | Each. | 9160
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 2 | 2456 | Each. | 4912
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 2 | 999 | Each. | 1998
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 12 | 3185 | Each. | 38220
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 22 | 375 | P.Mtr | 8250
|  |  |  | Total | 116132
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 12 | 596.4 | P.No. | 7156.8
2 | Providing and Fixing blubs 100 watts | 8 | 35 | Each. | 280
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 2 | 596.4 | P.No. | 1192.8
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 12 | 112 | P.No. | 1344
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 6 | 171 | P.No. | 1026
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 3 | 989.55 | P.Sft | 2968.65
|  |  |  | Total-B | 13968.25
|  |  |  | Grand Total A+B | 130100.25
|  |  | Say | Rs | 0.1301
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 6
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 214) Rehabilitation to existing Primary Schools in District Sanghar 2015-16 Programme (02-Units) @ GPS. Almansoora Colony Sanghar (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 80 | 910 | Each | 72800
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 22 | 742 | Each | 16324
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 360 | 118 | P.Mtr | 42480
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 220 | 213 | P.Mtr | 46860
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 80 | 54 | Each. | 4320
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 22 | 80 | Each. | 1760
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 6 | 151 | Each. | 906
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 59 | 70 | Each. | 4130
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 21 | 72 | Each. | 1512
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 21 | 916 | Each. | 19236
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
12 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
13 | P/F Chang over switch 500 Volts (S.I.No: 199 P. 30 ). | 1 | 11506 | Each. | 11506
14 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 3 | 999 | Each. | 2997
15 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 21 | 3185 | Each. | 66885
16 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 60 | 375 | P.Mtr | 22500
|  |  |  | Total | 330845
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete (R.A). | 45 | 596.4 | P.No. | 26838
2 | Providing and Fixing blubs 100 watts | 20 | 35 | Each. | 700
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 16 | 596.4 | P.No. | 9542.4
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 21 | 112 | P.No. | 2352
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof (RA). | 21 | 171 | P.No. | 3591
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface (RA). | 6 | 989.55 | P.Sft | 5937.3
|  |  |  | Total-B | 48960.7
|  |  |  | Grand Total A+B | 379805.7
|  |  | Say | Rs | 0.37981
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 7
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 214) Rehabilitation to existing Primary Schools in District Sanghar 2015-16 Programme (02-Units) @ GPS. Mehar Ali Talpur Taluka Shahdadpur (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 68 | 910 | Each | 61880
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 18 | 742 | Each | 13356
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 250 | 118 | P.Mtr | 29500
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 174 | 213 | P.Mtr | 37062
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 68 | 54 | Each. | 3672
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 18 | 80 | Each. | 1440
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 4 | 151 | Each. | 604
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 50 | 70 | Each. | 3500
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 18 | 72 | Each. | 1296
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 18 | 916 | Each. | 16488
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
12 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
13 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 3 | 999 | Each. | 2997
14 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 18 | 3185 | Each. | 57330
15 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 60 | 375 | P.Mtr | 22500
|  |  |  | Total | 268254
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 40 | 596.4 | P.No. | 23856
2 | Providing and Fixing blubs 100 watts | 15 | 35 | Each. | 525
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 12 | 596.4 | P.No. | 7156.8
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 18 | 112 | P.No. | 2016
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 18 | 171 | P.No. | 3078
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 5 | 989.55 | P.Sft | 4947.75
|  |  |  | Total-B | 41579.55
|  |  |  | Grand Total A+B | 309833.55
|  |  | Say | Rs | 0.30983
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 8
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 147) Construction of Two Roomed Shelter Less Primary Schools in Sindh 2007-08 Programme (450-Units) District Sanghar (27-Units) @ GPS. Mir Muhammad Mari (Electrification)
S.# | Items of Work | Quantity | Rate | Unit | Amount
PART-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 17 | 910 | Each | 15470
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 3 | 742 | Each | 2226
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 20 | 118 | P.Mtr | 2360
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 15 | 213 | P.Mtr | 3195
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 17 | 54 | Each. | 918
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 3 | 80 | Each. | 240
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 1 | 151 | Each. | 151
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 11 | 70 | Each. | 770
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 6 | 72 | Each. | 432
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 3 | 916 | Each. | 2748
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 6 | 3185 | Each. | 19110
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 10 | 375 | P.Mtr | 3750
|  |  |  | Total | 54825
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete ). | 4 | 596.4 | P.No. | 2385.6
2 | Providing and Fixing blubs 100 watts | 10 | 35 | Each. | 350
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 1 | 596.4 | P.No. | 596.4
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 6 | 112 | P.No. | 672
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 3 | 171 | P.No. | 513
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 1 | 989.55 | P.Sft | 989.55
|  |  |  | Total-B | 5506.55
|  |  |  | Grand Total A+B | 60331.55
|  |  | Say | Rs | 0.060332
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 9
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 252) Up-Gradation of Middle School to High School in Sindh 2008-09 Programme District Sanghar (06-Units) @ GGMS. Perumal Taluka Sanghar (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 111 | 910 | Each | 101010
2 | Wiring for Call Bell point with 1.1.13(3/.029) pvc insulated wire in Channel Patti on surface as required ( S.I.NO.13 P.15) | 3 | 1590 | Each | 4770
3 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 44 | 742 | Each | 32648
4 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 (S.I.No.45 P.No.06 ). | 680 | 118 | P.Mtr | 80240
5 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 550 | 213 | P.Mtr | 117150
6 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 111 | 54 | Each. | 5994
7 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 44 | 80 | Each. | 3520
8 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 20 | 151 | Each. | 3020
9 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 83 | 70 | Each. | 5810
10 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 28 | 72 | Each. | 2016
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 36 | 916 | Each. | 32976
12 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | P/F Chang over switch 500 Volts (S.I.No: 199 P. 30 ). | 1 | 11506 | Each. | 11506
15 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 3 | 999 | Each. | 2997
16 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 28 | 3185 | Each. | 89180
17 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 100 | 375 | P.Mtr | 37500
|  |  |  | Total | 546966
PART" B"
1 | P/F A.C or D.C Electric Bell 220 Volts ding dong condy | 3 | 935 | Each. | 2805
2 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 75 | 596.4 | P.No. | 44730
3 | Providing and Fixing blubs 100 watts | 30 | 35 | Each. | 1050
4 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 24 | 596.4 | P.No. | 14313.6
5 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 28 | 112 | P.No. | 3136
6 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 28 | 171 | P.No. | 4788
7 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 10 | 989.55 | P.Sft | 9895.5
|  |  |  | Total-B | 80718.1
|  |  |  | Grand Total A+B | 627684.1
|  |  | Say | Rs | 0.62768
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 10
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 252) Up-Gradation of Middle School to High School in Sindh 2008-09 Programme District Sanghar (06-Units) @ GGMS. Kandiari Taluka Sanghar (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 111 | 910 | Each | 101010
2 | Wiring for Call Bell point with 1.1.13(3/.029) pvc insulated wire in Channel Patti on surface as required ( S.I.NO.13 P.15) | 3 | 1590 | Each | 4770
3 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 44 | 742 | Each | 32648
4 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 (S.I.No.45 P.No.06 ). | 680 | 118 | P.Mtr | 80240
5 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 550 | 213 | P.Mtr | 117150
6 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 111 | 54 | Each. | 5994
7 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 44 | 80 | Each. | 3520
8 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 20 | 151 | Each. | 3020
9 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 83 | 70 | Each. | 5810
10 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 28 | 72 | Each. | 2016
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 36 | 916 | Each. | 32976
12 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | P/F Chang over switch 500 Volts (S.I.No: 199 P. 30 ). | 1 | 11506 | Each. | 11506
15 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 3 | 999 | Each. | 2997
16 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 28 | 3185 | Each. | 89180
17 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 100 | 375 | P.Mtr | 37500
|  |  |  | Total | 546966
PART" B"
1 | P/F A.C or D.C Electric Bell 220 Volts ding dong condy | 3 | 935 | Each. | 2805
2 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 75 | 596.4 | P.No. | 44730
3 | Providing and Fixing blubs 100 watts | 30 | 35 | Each. | 1050
4 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 24 | 596.4 | P.No. | 14313.6
5 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 28 | 112 | P.No. | 3136
6 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 28 | 171 | P.No. | 4788
7 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 10 | 989.55 | P.Sft | 9895.5
|  |  |  | Total-B | 80718.1
|  |  |  | Grand Total A+B | 627684.1
|  |  | Say | Rs | 0.62768
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 11
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 252) Up-Gradation of Middle School to High School in Sindh 2008-09 Programme District Sanghar (06-Units) @ GBMS. Ahmed abad Taluka Shahdadpur (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC conduit ressed in the wall or colomn as required ( S.I.NO.124 P.15) | 12 | 1130 | Each | 13560
2 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti as required ( S.I.NO.129 P.15) | 11 | 910 | Each | 10010
3 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 2 | 742 | Each | 1484
4 | Wiring for main with 2-1/0.78(7/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti as required ( S.I.No. 03 P.No. 01 ). | 50 | 171 | P.Mtr | 8550
5 | Wiring for main with 2-7/ (7./.044) pvc in Channel Patti as required. (S.I.No: 05 P. 01 ). | 50 | 305 | P.Mtr | 15250
6 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 23 | 54 | Each. | 1242
7 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 2 | 80 | Each. | 160
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 21 | 70 | Each. | 1470
9 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 3 | 3185 | Each. | 9555
|  |  |  | Total | 61281
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 22 | 596.4 | P.No. | 13120.8
2 | P/F flush type 3 pin plug socket 15 amps with fancy type board and sheet i/c necessary connection. | 6 | 350 | P.No. | 2100
3 | P/F switch board china sheet superior quality . | 60 | 550 | P.No. | 33000
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 2 | 112 | P.No. | 224
|  |  |  | Total-B | 48444.8
|  |  |  | Grand Total A+B | 109725.8
|  |  | Say | Rs | 0.10973
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 12
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 256) Addition of C/Rooms / Construction of Labs & Libraries in existing Secondary/Higher Secondary Schools in Sindh 2007-08 Programme District Sanghar (63-Units) @ GHS. Ghulam M. Leghari (Add: 02 C/R) Taluka Shahdadpur (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 20 | 910 | Each | 18200
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 3 | 742 | Each | 2226
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 50 | 118 | P.Mtr | 5900
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 32 | 213 | P.Mtr | 6816
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 20 | 54 | Each. | 1080
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 3 | 80 | Each. | 240
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 1 | 151 | Each. | 151
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 14 | 70 | Each. | 980
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 6 | 72 | Each. | 432
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 5 | 916 | Each. | 4580
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 6 | 3185 | Each. | 19110
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 34 | 375 | P.Mtr | 12750
|  |  |  | Total | 75920
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete. | 8 | 596.4 | P.No. | 4771.2
2 | Providing and Fixing blubs 100 watts | 6 | 35 | Each. | 210
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 1 | 596.4 | P.No. | 596.4
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 6 | 112 | P.No. | 672
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 3 | 171 | P.No. | 513
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 1.5 | 989.55 | P.Sft | 1484.325
|  |  |  | Total-B | 8246.925
|  |  |  | Grand Total A+B | 84166.925
|  |  | Say | Rs | 0.084167
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 13
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 257) Rehabilitation of existing High / Higher Secondary Schools in Sindh 2008-09 Programme District Sanghar (11-Units) @ GGHSS. Khipro (Electrification).
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 129 | 910 | Each | 117390
2 | Wiring for Call Bell point with 1.1.13(3/.029) pvc insulated wire in Channel Patti on surface as required ( S.I.NO.13 P.15) | 3 | 1590 | Each | 4770
3 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 34 | 742 | Each | 25228
4 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 (S.I.No.45 P.No.06 ). | 620 | 118 | P.Mtr | 73160
5 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 360 | 213 | P.Mtr | 76680
6 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 129 | 54 | Each. | 6966
7 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 34 | 80 | Each. | 2720
8 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 15 | 151 | Each. | 2265
9 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 87 | 70 | Each. | 6090
10 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 45 | 72 | Each. | 3240
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 20 | 916 | Each. | 18320
12 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | P/F Chang over switch 500 Volts (S.I.No: 199 P. 30 ). | 1 | 11506 | Each. | 11506
15 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 3 | 999 | Each. | 2997
16 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 42 | 3185 | Each. | 133770
17 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 100 | 375 | P.Mtr | 37500
|  |  |  | Total | 539231
PART" B"
1 | P/F A.C or D.C Electric Bell 220 Volts ding dong condy (R.A) | 3 | 935 | Each. | 2805
2 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete. | 60 | 596.4 | P.No. | 35784
3 | Providing and Fixing blubs 100 watts | 30 | 35 | Each. | 1050
4 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete . | 24 | 596.4 | P.No. | 14313.6
5 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet . | 42 | 112 | P.No. | 4704
6 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 42 | 171 | P.No. | 7182
7 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 10 | 989.55 | P.Sft | 9895.5
|  |  |  | Total-B | 75734.1
|  |  |  | Grand Total A+B | 614965.1
|  |  | Say | Rs | 0.61497
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 14
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 279) Reconstruction of Dangerous Elementary High School in District Sanghar 2015-16 Programme (01-Unit) @ GGHS. Khadro (Electrification)
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC conduit ressed in the wall or colomn as required ( S.I.NO.124 P.15) | 167 | 1130 | Each | 188710
2 | Wiring for Call Bell point with 1.1.13(3/.029) pvc insulated wire in 20mm 3/4" PVC conduit ressed in the wall or colom as required ( S.I.No.128 P.15) | 3 | 1764 | Each | 5292
3 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC conduit in the wall or colom as required (S.I.No.126 P. 15) | 70 | 985 | Each | 68950
4 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit ressed in the wall are colom as required ( S.I.No. 10 P.No. 2 ). | 1000 | 222 | P.Mtr | 222000
5 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.036 coper conductor in 3/4" dia PVC conduit ressed in the wall are colom as required ( S.I.No. 11 P.No. 2 ). | 585 | 252 | P.Mtr | 147420
6 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 coper conductor in 3/4" dia PVC conduit ressed in the wall are colom as required ( S.I.No. 12 P.No. 2 ). | 450 | 341 | P.Mtr | 153450
7 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). | 167 | 58 | Each | 9686
8 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). | 70 | 83 | Each | 5810
9 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:227 P.33). | 30 | 162 | Each | 4860
10 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). | 127 | 70 | Each. | 8890
11 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). | 43 | 72 | Each. | 3096
12 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). | 35 | 916 | Each. | 32060
13 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps DB on prepared board. (S.I.No: 204 P.31). | 2 | 2456 | Each. | 4912
14 | P/F Chang over switch 500 Volts (S.I.No: 199 P. 30 ). | 1 | 11506 | Each. | 11506
15 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 4 | 9261 | Each. | 37044
16 | P/F Voltmeter size 96/96 mm 500 volts as required (S.I.No:285 P41) | 4 | 999 | Each. | 3996
17 | P/L for main or sub-main PVC insulated & PVC Sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 63 P.No. 08) | 100 | 375 | P.Mtr | 37500
|  |  |  | Total | 945182
PART" B"
1 | Supply and fixing A.C electric ceiling fans 56" sweep (pure copper winding) i/c down rod, cannopy blade, suitable (Double beering) internal electric connection with 3/.029 PVC. | 40 | 5500 | P.No. | 220000
2 | P/F earthing set size (1x1) copper plate i/c excavation of rock earth 12" depth or if water comes out i/c Salt/ choracale mixed with G.I Road with nuts, bolts testing topping etc complete. | 4 | 15000 | P.No. | 60000
3 | P/F fan dimmer 220/240 volts fancy type imported make with necessary connection etc complete (China make). | 40 | 350 | P.No. | 14000
4 | P/F on a prepared board iron clad bus bar with 4 copper strips of 400 amps in 24.4mm x 5.5mm (1'x7/32") i/c necessary electric connection etc. | 1 | 27000 | P.No. | 27000
5 | P/F distribution board double shutter for accommodate circuit breaker and bushar i/c painting with enemelled paint. | 12 | 1950 | P.Sft | 23400
6 | P/F 2-40 watts tube light complete with 40 watts 4"-0 long rod chowck starter and putty with fluorescent components i/c necessary electric connection and fixing on wall or ceiling etc as a approved Engineer Incharge. | 12 | 3200 | P.No. | 38400
7 | P/F wall / ceiling mounted light, fancy type, superior quality i/c necessary electric connection an with holder, without energy saver. | 20 | 600 | P.No. | 12000
8 | P/F Energy Saver superior quality i/c fixing on existing holder etc complete etc. | 100 | 600 | P.No. | 60000
|  |  |  | Total-B | 454800
|  |  |  | Grand Total A+B | 1399982
|  |  | Say | Rs | 1.4
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 15
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 212) Construction / Rehabilitation of existing School Building in Taluka Khipro District Sanghar 2013-14 Programme (04-Units) @ GMS. Dolat abad (B/Work) Taluka Khipro
S.# | Items of Work | Quantity | Rate | Unit | Amount
Part-A Civil Work.
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 154 | 3176.25 | %OCft | 489.1425
2 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No: 4 p-15) | 339 | 8694.95 | %Cft | 29475.8805
3 | filling watering and ramming under floor with new earth excavted from foundation lead upto nae chain lift upto 5ft.(S.I.No: 22- P-4) | 14182 | 3630 | %OCft | 51480.66
4 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 360 | 11948.36 | %Cft | 43014.096
5 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 411 | 3015.76 | %Sft | 12394.7736
6 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 3" thick ) (S.I.No -16-P.No 42) | 933 | 4411.82 | %Sft | 41162.2806
7 | Supplying and fixing in position iron/steel grill of 3/4" * 1/4" flat iron of approved design including painting 3 coats etc, complete (weight not less than 3.70 Lbs per sq. ft. of finished grill. ( S.I.No: 26 P.No: 92) | 358 | 180.5 | P.Sft | 64619
8 | Providing and laying HALA or Pattern tiles glazed 8"X8" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with salurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (S.I.No 61 P.No 47) | 110 | 34520.31 | %Cft | 37972.341
9 | Laying Floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete (S.I.No 24 P.No 43) | 38 | 27679.86 | %Sft | 10518.3468
10 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 127 | 28299.3 | %Sft | 35940.111
|  | Grand Total Part A" |  |  | 327066.632
|  | Cost Of Carrage |  |  | 114473.3212
|  | G.Total |  |  | 441539.9532
|  |  | Say | Rs | 0.44154
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 16
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 252) Up-Gradation of Middle School to High School in Sindh 2008-09 Programme District Sanghar (06-Units) @ GBMS. Talib-ul-Moula Colony Tando Adam.
S.# | Items of Work | Qty: | Rate | Unit | Amount
PART-A CIVIL WORK.
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 3953 | 3176.25 | %OCft | 12555.7162
2 | Cement concrete brick work or stone ballast 1:3:6 (S.I.No: 4 p-15) | 1086 | 8694.95 | %Cft | 94427.157
3 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 1408 | 11948.36 | %Cft | 168232.9088
4 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 2805 | 337 | P.Cft | 945285
5 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 137.75 | 5001.7 | Cwt | 688984.175
6 | Filling watering and remming earth ground floor with surplus earth excavated from Foundation lead upto 1 chain and lift upto 5' feet (S.I.No. 21 P-4) | 165 | 1215.5 | %OCft | 200.5575
7 | Filling watering and remming earth ground floor with surplus earth excavated from out side lead upto 1 chain and lift upto 5' feet (S.I.No. 21 P-4) | 101 | 3630 | %OCft | 366.63
8 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) | 386 | 12674.36 | %Cft | 48923.0296
13 | Pacca brick work in other than building (S.I.No. 7 () P.No. 57). | 2469 | 12346.65 | %Cft | 304838.7885
15 | Providing and Fixing G.I Frames / Chowkats of size 7" x 2" 4-1/2" x 3" for door and window using 20" guage G.I sheet i/c welded hinges and fitting (S.I.No 28 P.No 92) | 49 | 228.9 | P.Sft | 11216
14 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) | 16 | 180.5 | P.Sft | 2888
15 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) | 53 | 902.93 | P.Sft | 47855.29
9 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 19185 | 2206.6 | %Sft | 423336.21
10 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 19185 | 2197.52 | %Sft | 421594.212
11 | Cement Plaster 3/4" thick upto 20' height ratio 1:4 (S.I.No: 11 ( C ) P.No 51) | 169 | 3015.76 | %Sft | 5096.6344
17 | Cement pointing strick joints and walls (1:2) (S.I.No 19 (A) P.No 52) | 293 | 1287.44 | %Sft | 3772
12 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing & dividing into pannels. ( 2" thick ) (S.I.No -16-P.No 42) | 133 | 3275.5 | %Sft | 4356.415
17 | Extra labor rate for cement plaster patta curved or around edges slab width not be less then horiztal or vertica (S.I.No 35 P.No 61) | 586 | 19.64 | P.Rft | 11509
16 | Laying Floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete (S.I.No 24 P.No 43) | 89 | 27679.86 | %Sft | 24635.0754
17 | White glazing tiles 1/4" thick dado (S.I.No 37 P.No 44) | 282 | 28299.3 | %Sft | 79804.026
13 | White Washing 3 coats (S.I.No 26-C-P.No 54) | 116 | 829.95 | %Sft | 962.742
32 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | 19185 | 442.75 | %Sft | 84942
33 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | 19185 | 1079.65 | %Sft | 207131
21 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 70 | 726.72 | P.Sft | 50870
39 | Colour wash 02 Coats (S.I.No 25 (b) P.No 53) | 522 | 859.9 | %Sft | 4489
15 | Preparing surfacce painting Door and Windows any type i/c edges 3 Coats New Surface (S.i.No 05 P.No 70) | 105 | 2116.41 | %Sft | 2222.2305
30 | Preparing & Painting guard bars iron similar opoen i/c standared paterns any type of edges 03-coats new surface (S.I.No. 06 P/87). | 140 | 977.4 | %Sft | 1368
40 | P/L Halla or Pattern Tiles glazed 6"x6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2grey cement motar 3/4" thick etc complete (S.I.No 61 P.No 48) | 100 | 47651.56 | %Sft | 47652
39 | Providing & Fixing Barbed wire fencing with 12 gauge-4 points @ 6" apart barbed wire i/c straithening & fixing in angle iron vertical posts (S.I.No. 09 P-95). | 2000 | 8.38 | P.Rft | 16760
40 | Providing & Fixing angle iron vertical plats for barbed wire fencing of size 2" x 2" 1/4" embedded in RCC / Masonary pillars i/c making cuts/ holders @ 12" i/c fixing in pillars by chiseling and filling with the cement snad mortar, sapring & finishing the surface (S.I.NO. 8 P-95). | 250 | 169.18 | P.Rft | 42295
|  |  | Total Part A" |  | 3758568.798
PART B" WATER SUPPLY & SANITARY FITTING
1 | P/F: squanting eurptan type white glazed earthenware W.C Pan with from inlet complete with & i/c the cost of flusing elsiem with internal fitting and flushing pipe bedn and making requisite number of holes wass plinth and floor pipe clear for connection & making good in cement conrcrete 1:2:4 with 4" dia (S.I.No: 2 P.No: 1) | 3 | 5486.8 | Each | 16460
2 | Providing and fixing RCC Pipe with collar class"B" digging the trenches to required to depth and fixing in position i/c cutting bending and jointing with maxphalt composition and cement mortar 1:1 and testing etc complete (S.I.No. 2 P/24)
| 4" dia | 20 | 146.57 | P.Rft | 2931
| 6" dia | 20 | 199.25 | P.Rft | 3985
3 | Providing G.I pipe specials clamps etc I/c fixing cutting and fitting complete with and I/c the cost of breaking through walls and Roof making good painting with 2-coats after cleaning the pipe etc with thite zink paint with pigment to match the colour of the building and testing with water pressure head of 200' feet handling. ( S.I.No: 1p- P.No: 12 )
| i) 1/2" dia pipe | 100 | 73.21 | P.Rft | 7321
| ii) 3/4" dia pipe | 80 | 95.79 | P.Rft | 7663.2
| iii) 1" dia pipe | 50 | 128.55 | P.Rft | 6427.5
| iv) 1-1/4" dia pipe | 90 | 153.19 | P.Rft | 13787.1
4 | P/F handle volves china (S.I.No. 7 P.No. 14)
| 1/2" dia. | 3 | 200.42 | Each | 601
| 3/4" dia. | 3 | 271.92 | Each | 816
5 | P/F concealed stop cock or superior quality with C.P head 1/2" dia (S.I.No. 12(a) P/19). | 3 | 889.46 | Each | 2668
6 | P/F Concealed long bib cock or superior quality with C.P head 1/2" dia (S.I.No. 13 (a) P/18). | 3 | 1109.46 | Each | 3328
7 | S/F Bathroom Assasseris set 7 pieces i/c tawal rad etc (SI.No. 23 P/19). | 3 | 10322.4 | Each | 30967
8 | P/F: Nyloon connection 1/2" dia complete with bracess stop cook with pair of brass nuts and linding joints tonyloon connection (S.I.No: 23 P.No: 6) | 4 | 447.15 | Each | 1789
9 | P/F 22"x16" lavatory basin in white glazed earthen ware complete with and i/c cost of W.I or c.I cantilever brackets 6" inch bolts walls painted white in two coat after primary coat etc complete (S.12 P.4) | 1 | 4694.8 | Each | 4695
10 | Add Extra for labour for providing and fixing earthen ware padistal white or coloured glazed (S.I.No. 11 P/3). | 1 | 2533.47 | Each | 2533
11 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No. 20 P/6) | 3 | 2042.43 | Each | 6127
12 | P/F chorom plated brass towel rail complete with brackets fixing on wooden glass with 1" long C.P brass screws 3/4" dia round square (S.I.No 1 P.No 7) | 2 | 1269.95 | Each | 2540
13 | S/F hand pump with all accessories 1-1/2" dia cor stainer with wooden shoe i/c boring fitting and finding etc complete (R.A Approved)
| a) Boring pipe | 90 | 38.95 | P.Rft | 3506
| b) Coir Stainer | 10 | 76.05 | P.Rft | 761
14 | S/F Approved quality motor pump set single phase motor 1.00 H.P complete 1:2:4 plate from i/c fitting with C.I nuts and bolts. | 1 | 18540 | Each | 18540
15 | S/F jet shower with end of superior quality single C.P head 1/2" dia (S.I.No 15 P.No 19) | 3 | 1142.24 | Each | 3427
16 | P/F 24" x 12" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat 9a)standard pattern (S.I.No. 3 (a) P/7) | 3 | 1711.6 | Each | 5135
17 | S/F swan type piler cock of superior quality single with C.P head 1/2" dia (S.I.No 18(b) P.No 16) | 3 | 795.3 | Each | 2386
18 | Providing Chamber 15" x19" inside dimantion 24" depth for homes meters etc (S.I.No 2 P/20). | 3 | 5913.22 | Each | 17740
|  |  | Total Part B |  | 166133.8
| Grand Total Part A" + B" |  |  | Rs: | 3924702.5979
| Cost of Carriage of Material |  |  | Rs: | 300493
|  |  | Grand Total | Rs: | 4225195.598
|  |  | Say | Rs: | 4.2252
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.
Note on E28: Anwer ali:

## 17
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- (ADP.No. 255) Up-Gradation of Middle School to High Schools (230-Units) & High Schools to Higher Secondary Schools (115-Units) in Sindh 2007-08 Programme District Sanghar (20-Units) @ GMS. Mitho Khoso (Middle to High School) Tal. Tando Adam.
S.# | Items of Work | Qty: | Rate | Unit | Amount
PART-A CIVIL WORK.
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) | 1742 | 3176.25 | %OCft | 5533.0275
2 | Cement concrete brick work or stone ballast 1:3:6 (S.I.No: 4 p-15) | 490 | 8694.95 | %Cft | 42605.255
3 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) | 685 | 11948.36 | %Cft | 81846.266
4 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) | 1391 | 337 | P.Cft | 468767
5 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) | 68.31 | 5001.7 | Cwt | 341666.127
6 | Pacca brick work in other than building (S.I.No. 7 () P.No. 57). | 1214 | 12346.65 | %Cft | 149888.331
7 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) | 9120 | 2206.6 | %Sft | 201241.92
8 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) | 9120 | 2197.52 | %Sft | 200413.824
9 | Primary coat of chalk under distemper (S.I.No. 23 P-53) | 9120 | 442.75 | %Sft | 40379
10 | Distempering 3 Coats (S.I.No 24-C-P.No 53) | 9120 | 1079.65 | %Sft | 98464
11 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I.No 24 P.No 91) | 70 | 726.72 | P.Sft | 50870
12 | Preparing & Painting guard bars iron similar opoen i/c standared paterns any type of edges 03-coats new surface (S.I.No. 06 P/87). | 140 | 977.4 | %Sft | 1368
13 | P/L Halla or Pattern Tiles glazed 6"x6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2grey cement motar 3/4" thick etc complete (S.I.No 61 P.No 48) | 100 | 47651.56 | %Sft | 47652
14 | Providing & Fixing Barbed wire fencing with 12 gauge-4 points @ 6" apart barbed wire i/c straithening & fixing in angle iron vertical posts (S.I.No. 09 P-95). | 1000 | 8.38 | P.Rft | 8380
15 | Providing & Fixing angle iron vertical plats for barbed wire fencing of size 2" x 2" 1/4" embedded in RCC / Masonary pillars i/c making cuts/ holders @ 12" i/c fixing in pillars by chiseling and filling with the cement snad mortar, sapring & finishing the surface (S.I.NO. 8 P-95). | 125 | 169.18 | P.Rft | 21147.5
|  |  | Total Part A" |  | 1760222.2505
| Grand Total Part A |  |  | Rs: | 1760222.2505
| Cost of Carriage of Material |  |  | Rs: | 156922
|  |  | Grand Total | Rs: | 1917144.2505
|  |  | Say | Rs: | 1.9171
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.
Note on E15: Anwer ali: